Federal Democratic Republic of Ethiopia

Occupational Standard

POWER GENERATION OPERATION

NTQF Level iII and IV

Ministry of Education

June 2012

Introduction

Ethiopia has embarked on a process of reforming its TVET-System. Within the policies and strategies of the Ethiopian Government, technology transformation – by using international standards and international best practices as the basis, and, adopting, adapting and verifying them in the Ethiopian context – is a pivotal element. TVET is given an important role with regard to technology transfer. The new paradigm in the outcome-based TVET system is the orientation at the current and anticipated future demand of the economy and the labor market.

The Ethiopia Occupational Standards (EOS) is the core element of the Ethiopian National TVET-Strategy and an important factor within the context of the National TVET-Qualification Framework (NTQF). They are national Ethiopian standards, which define the occupational requirements and expected outcome related to a specific occupation without taking TVET delivery into account.

This document details the mandatory format, sequencing, wording and layout for the Ethiopia Occupational Standard which comprised of Units of Competence.

A Unit of Competence describes a distinct work activity.  It is documented in a standard format that comprises:

- Occupational title and NTQF level

- Unit title

- Unit code

- Unit descriptor

- Elements and Performance criteria

- Variables and Range statement

- Evidence guide

Together all the parts of a Unit of Competence guide the assessor in determining whether the candidate is competent.

The ensuing sections of this EOS document comprise a description of the occupation with all the key components of a Unit of Competence:

- chart with an overview of all Units of Competence for the respective level (Unit of Competence Chart) including the Unit Codes and the Unit Titles

- contents of each Unit of Competence (competence standard)

- occupational map providing the technical and vocational education and training (TVET) providers with information and important requirements to consider when designing training programs for this standards and for the individual, a career path

UNIT OF COMPETENCE CHART

Occupational Standard: Power Generation Operation

Occupational Code: EIS PGO

NTQF Level III EIS PGO3 02 0612 Operate and Monitor Air Conditioning Equipment and Ventilation System EIS PGO3 01 0612 Conduct Single Energy Source Isolation Procedures for Permit to Work EIS PGO3 03 0612 Operate and Monitor Fuel Supply EIS PGO3 05 0612 Operate and Monitor Fixed Fire Protection System EIS PGO3 04 0612 Operate and Monitor Fuel Firing Plant (Gas or Oil) EIS PGO3 06 0612 Operate and Monitor Compressed Air System EIS PGO3 09 0612 Operate Hydro Generator/Synchronous Condenser/Pump Unit EIS PGO3 07 0612 Operate and Monitor Oil System EIS PGO3 08 0612 Operate and Monitor Heat Exchangers EIS PGO3 10 0612 Operate and Monitor Wind Generator EIS PGO3 11 0612 Operate and Monitor Condensing and Cooling Water Systems EIS PGO3 12 0612 Operate and Monitor Dual Fuel Firing Plant EIS PGO3 14 0612 Interpret and Analyze Single Operation Protection Devices EIS PGO3 15 0612 Operate Hydro-Electric Generating Plant and Auxiliary Equipment EIS PGO3 13 0612 Operate and Monitor Water Treatment Plant EIS PGO3 18 0612 Operate and Monitor Supervisory, Control and Data Acquisition Systems EIS PGO3 16 0612 Conduct Water Conveyance and Control EIS PGO3 17 0612 Conduct Non-Routine Operational Testing EIS PGO3 19 0612 Operate HV Condition Changing Apparatus EIS PGO3 20 0612 Operate HV Primary Switchgear EIS PGO3 21 0612 Operate HV Secondary Switchgear Lead Workplace Communication EIS PGO3 24 0612 Conduct Operational Checks on In-Service Mechanical Plant EIS PGO3 23 0612 Conduct Operational Checks on In-Service Electrical Plant EIS PGO3 22 0612 Respond to Critical Incidents

EIS PGO3 25 0612 Operate and Monitor Auxiliary Steam System EIS PGO3 26 0612 Operate and Monitor Water System (Condensate and Feed-Water) EIS PGO3 27 0612 Operate and Monitor Condensing and Cooling Water Systems EIS PGO3 39 1012 Maintain Quality System and Continuous Improvement Processes (Kaizen) EIS PGO3 37 0612 Lead Small Teams EIS PGO3 32 0612 Organize Personal Work Priorities and Development EIS PGO3 34 0612 Apply Quality Control EIS PGO3 35 0612 Monitor Implementation of Work Plan/ Activities. EIS PGO3 33 0612 Support Innovation and Change EIS PGO3 31 0612 Apply Environmental and Sustainable Energy Procedures EIS PGO3 28 0612 Operate and Monitor Boiler Unit EIS PGO3 29 0612 Operate and Monitor Steam Turbine EIS PGO3 36 0612 Lead Workplace Communication EIS PGO3 30 0612 Shut Down Steam Turbine EIS PGO3 38 0612 Improve Business Practice NTQF Level IV EIS PGO4 02 0612 Conduct Multiple Energy Source Isolation Procedures EIS PGO4 03 0612 Coordinate and Direct Switching Program EIS PGO4 01 0612 Monitor Compliance with OHS Policy and Procedures EIS PGO4 04 0612 Coordinate First Response Team Operation EIS PGO4 06 0612 Operate and Monitor AC Electrical System EIS PGO4 05 0612 Operate and Monitor DC Electrical System EIS PGO4 08 0612 Co-ordinate Operational Strategies for Power Production EIS PGO4 09 0612 Perform Risk Analysis of Generation Plant EIS PGO4 07 0612 Undertake Commissioning/ Decommissioning EIS PGO4 11 0612 Monitor and Implement Environmental Plans and Procedures EIS PGO4 12 0612 Produce Maintenance Plans for Generation Production Plant EIS PGO4 10 0612 Monitor Implementation of Enterprise Production/ Maintenance Quality Control Procedures EIS PGO4 13 0612 Coordinate Local HV Networks EIS PGO4 14 0612 Manage Critical Incidents EIS PGO4 15 0612 Schedule Generation EIS PGO4 24 0612 Operate and Monitor Dual Fuel Firing Plant EIS PGO4 16 0612 Plan Scheduled Outage EIS PGO4 17 0612 Deliver and Review Training EIS PGO4 18 0612 Coordinate Permit to Work System EIS PGO4 22 0612 Perform Cost Estimations EIS PGO4 26 0612 Interpret and Analyze LV and Mechanical Protection Devices EIS PGO4 27 0612 Develop HV Switching Programs EIS PGO4 21 0612 Coordinate Electrical Energy Production EIS PGO4 25 0612 Coordinate the Network/System EIS PGO4 20 0612 Manage System Re-start EIS PGO4 23 0612 Control Permit to Work Operations EIS PGO4 19 0612 Interpret and Analyze Multi-Operation Protection Devices EIS PGO4 30 0612 Write Programs for Control Systems EIS PGO4 29 0612 Control Hydro Generation / Pumping EIS PGO4 28 0612 Operate and Monitor System Equipment EIS PGO4 33 0612 Plan and Organize Work EIS PGO4 32 0612 Coordinate Team Activities EIS PGO4 37 0612 Utilize Specialized Communication Skills EIS PGO4 34 0612 Establish Quality Standards EIS PGO4 31 0612 Conduct Technical Inspection of Process Plant and Equipment EIS PGO4 38 0612 Manage and Maintain Small/Medium Business Operation EIS PGO4 35 0612 Migrate to New Technology EIS PGO4 36 0612 Develop Individuals and Team EIS PGO4 39 1012 Manage Continuous Improvement System

NTQF Level III

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Conduct Single Energy Source Isolation Procedures for Permit to Work |
| Unit Code | EIS PGO3 01 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to apply single energy source isolation procedures of the permit to work procedures at the isolating level. Job requirements including permits are coordinated with other personnel involved in, or affected by, the isolation in accordance with enterprise/site requirements. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for isolation, de-isolation and restoration | - Work requirements are identified from request/work orders or equivalent and clarified/confirmed with the appropriate parties or by site inspection - Safety issues are identified to comply with statutory, enterprise and site requirements - Materials, equipment and resources required to satisfy the job plan are identified, requisitioned, obtained and inspected for compliance with job specifications - Work is planned in detail with the responsible issuing officer, including sequencing and prioritizing of work, and the maintenance of plant security and capacity in accordance with permit/site requirements - Job requirements including permits are coordinated with other personnel involved in, or affected by, the isolation in accordance with enterprise/site requirements - Where appropriate the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of on-the-job training |
| - Perform isolation | - Plant to be isolated is correctly identified - Isolation is performed in accordance with enterprise/site permit to work procedures - Isolations are confirmed with others involved in, or affected by, the work in accordance with enterprise/site procedures |
| - Perform de-isolation and restoration | - De-isolation and restoration of plant is performed in accordance with permit to work procedures - De-isolations are confirmed with others involved in, or affected by, the work in accordance with enterprise/site procedures - Work completion details are finalized in accordance with enterprise/site procedures |
| Variable | Range |
| Other personnel involved | May include but not limited to: - Issuing officer, isolating officers, recipient in charge and testing officer or their equivalent. |
| Permits | May include but not limited to: - Any documentation/forms approved for use by the enterprise safety rules and permit to work procedures. |
| Work completion details | May include but not limited to: - log books, computer input |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the underpinning knowledge and skills |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Environmental legislation - Plant status - Relevant plant and equipment its location and operating parameters; - Enterprise recording procedures - Isolating procedures - Communication principles and procedures - Computers and software - Introduction to power production plant - Typical arrangement of power production plant - Thermodynamics - Properties of matter - Power plant cycle - General responsibilities for power production plant operations - Electrical principles - Transformers - Switchgear - Electrical protection - Schematic diagrams - Auxiliary supply systems - High voltage systems - High voltage switching procedures - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate and/or identify relevant plant and equipment - Operate plant within design parameters - Identify plant status - Prepare plant/equipment for operation - Communicate effectively - Apply isolating procedures - Plan and prioritize work - Use drawings, diagrams and symbols - Apply data analysis techniques and tools. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Air Conditioning Equipment and Ventilation System |
| Unit Code | EIS PGO3 02 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to diagnose and repair faults in air conditioning equipment / ventilation systems, and associated accessories and wiring systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for the work | - Work requirements are identified from request/work orders or equivalent and clarified/confirmed with appropriate parties or by site inspection - Occupational Health and Safety standards, statutory requirements, relevant Ethiopian standards, codes of practice, manufacturers’ specifications, environmental requirements and enterprise procedures are identified, applied and monitored throughout the work procedure - Resources required to satisfy the work plan are identified, obtained and inspected for compliance with the job specifications - Relevant plans, drawings and texts are selected and interpreted in accordance with the work plan - Correct size, type and quantity of materials/components are determined, obtained and inspected for compliance with the job specifications - Work is planned in detail including sequencing and prioritizing and considerations made, where appropriate, for the maintenance of plant security and capacity in accordance with system/site requirements - Co-ordination requirements, including requests for isolations where appropriate, are resolved with others involved, affected or required by the work - Potential hazards are identified and prevention and/or control measures are selected in accordance with the work plan and site procedures - Work area is prepared in accordance with work requirements and site procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Verify the fault | - Normal performance and function of the equipment is ascertained by consulting appropriate reference sources in accordance with the work plan - Fault indicators and appropriate technical information/diagnostic techniques are used to verify reported symptoms/faults in accordance with the work plan - Symptoms are reproduced and monitored if possible, whilst due regard for personnel safety and plant security is observed in accordance with the work plan |
| - Find the fault | - Required isolations are confirmed where appropriate in accordance with site requirements - Fault finding is carried out in conjunction with others involved in, or affected by, the work in accordance with enterprise/job requirements - Equipment components, wires, cables, terminations and support fixings are inspected for obvious faults in accordance with the work plan - All appropriate fault finding/diagnostic techniques are identified, selected and used to determine the fault in accordance with the work plan - All appropriate components are disconnected to enable accurate test measurements of suspected faulty components without the concern of “back-feed” readings in accordance with the work plan - Test and measurement instruments are used in accordance with manufacturer instructions and job requirements |
| - Determine cause of fault | - All appropriate personnel are consulted in order to obtain as many details relating to the faulty equipment as possible in accordance with the work plan - Appropriate use is made of any information from fault indicators and maintenance records in accordance with the work plan - Valid conclusions about the nature and cause of the fault are reached from analysis of available evidence in accordance with the work plan |
| - Repair or rectify the fault | - Required isolations are confirmed where appropriate in accordance with site requirements - Appropriate repair procedures are undertaken in conjunction with others involved in, or affected by, the work in accordance with the work plan - Faulty, worn, damaged or unsecured components are replaced, repaired or secured in accordance with the work plan - Parts and components are selected and replaced as required in accordance with appropriate specifications and the work plan - Components disconnected for testing are reconnected having been proven free of faults and all terminations are then checked to ensure they are electrically and mechanically sound in accordance with the work plan - All faults are repaired or rectified in accordance with the work plan - Final job inspection is performed and permits are relinquished as required in accordance with the work plan |
| - Complete the work | - Work is completed and appropriate personnel notified in accordance with site/enterprise requirements - Work area is cleared of waste, cleaned, restored and secured in accordance with site/enterprise procedures - Plant, tools and equipment are maintained and stored in accordance with site/enterprise procedures - Work completion details are finalised in accordance with site/enterprise procedures |

| Variable | Range |
| --- | --- |
| Equipment | May include but not limited to: - Air conditioning (refrigerated and evaporative), water coolers, packaged air conditioners and refrigerators. |
| Materials | May include but not limited to: - Solvents, insulation tape, contact cleaners, heat shrink, vacuum pumps, gas recovery units and gas bottles. |
| Components | May include but not limited to: - Fuses/circuit breakers, overloads, indicator lamps, plugs, residual current devices, earth leakage circuit breakers and light emitting/power diodes. |
| Test and measurement instruments | May include but not limited to: - Manifold gauges, thermometers, insulation testers, voltmeters, ammeters and refrigerant detectors. |
| Fault finding and diagnostic techniques | May include but not limited to: - Linear approach, half split rule, sensory detection and insulation/continuity tests. |
| Tests and operational checks | May include but not limited to: - May include correct air circulation, drainage, vibration, correct temperature, noise, pressure checks and leak detection. |
| Isolations | - Can refer to electrical/mechanical or other associated processes. |
| Work site environment | May include but not limited to: - Affected by nearby plant or processes, e.g. heat, noise, dust, oil, water and chemical. |
| Work completion details | May include but not limited to: - Plant and maintenance records, job cards, check sheets and on device labeling updates. Work may be performed with equipment on line. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; - Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Verification techniques - Diagnostic and fault finding techniques and procedures - Repair techniques and procedures - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational health and safety standards - Relevant statutory requirements and codes of practice - Relevant Ethiopian standards - Equipment and material required to perform the work - Isolation procedures - Layout of plant/work site and operation of its equipment - Fault finding and diagnostic techniques - Repair techniques - Air conditioning and refrigeration equipment - Environmental legislation - Regulatory procedures - Electrical principles - Test and measurement instruments - Circuit plan appreciation - Engineering and workshop practice - Communication principles - Refrigerant gases |
| Underpinning Skills | Demonstrates skills to: - Apply occupational health and safety standards - Follow relevant statutory regulations and codes of practice - Apply relevant Ethiopian standards - Use plans, drawings and texts - Use test and measurement instruments - Use fault finding and diagnostic techniques - Determine the cause of faults - Repair faults - Recover refrigerant gases - Select materials for the job - Apply regulatory procedures - Apply electrical principles - Communicate effectively - Apply data analysis techniques and tools. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Fuel Supply |
| Unit Code | EIS PGO3 03 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, inspect and monitor fuel supply from source to recipient unit storage. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare | - Safety issues are identified to comply with enterprise and site requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant inspection and field preparation for service are carried out in accordance with manufacturer and enterprise procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise procedures - Sequence for re-commissioning of plant is determined to suit existing circumstances in accordance with enterprise requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate fuel plant | - Plant is operated in accordance with enterprise/site and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise procedures - Plant integrity and personnel safety are maintained through consultation with appropriate personnel, and with reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise procedures - Appropriate personnel are notified when defects are detected - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and environmental legislation. |
| Systems, plant and/or equipment | May include but not limited to: - electrical supply switchboard; supervisory, alarm, protection and control equipment; gas supply; gas delivery; fire protection systems; compressors and pumps; electric motors; valves, actuators and dampers (electric, hydraulic, pneumatic and manual); filters and strainers heaters (electrical/steam), oil recirculation systems, attemporators and gas or oil storage systems or biomas systems. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise/site safety rules; equipment and alarm manuals; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise/site log books; manufacturer operation and maintenance manuals; and specialist’s reports. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, alarms (visible and or audible) and basic fault finding equipment. |
| Communications | May include but not limited to: - Telephone, two way radio, pager public address system, computer (electronic mail) and operating log (written or verbal). |
| Tests | May include but not limited to: - Stand-by plant tests, post maintenance operating tests and leak testing. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, technical and engineering officers or equivalent, power system control personnel or equivalent, maintenance staff, power plant operations personnel, contractor and specialist personnel. |
| Test, fault finding and operating tools | May include but not limited to: - Power or hand tools, control system equipment and leak detectors. |
| Operating environment | May be during inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas, during night periods and during continuous operation. |
| Faults and abnormal operating conditions | May include but not limited to: - motor/pump/ actuator/valve/damper failure/malfunction; control equipment failure/ malfunctions; loss of electrical supply to plant and equipment; breakdown in delivery of fuel supply; excessive vibration pumps/motors; high filter/strainer differentials; delivery system blockages; fuel supply and delivery system fires; and line fractures/leaks. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of fuel supply plant - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Basic motor performance - Basic pump and compressor performance - Valve, damper and actuator types and characteristics - Fuel leak detection and control - Fuel supply systems |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate fuel supply system - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools; Communicate effectively - Apply data analysis techniques and tools - Operate in a team - Use diagrams, drawings and symbols.. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Fuel Firing Plant (Gas or Oil) |
| Unit Code | EIS PGO3 04 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, inspect and monitor gas or oil firing plant. |
| Elements | Performance Criteria |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant inspection, pre-operational tests and field preparations for service are carried out in accordance with manufacturer and enterprise/site procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site procedures - Sequence for re-commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise/site procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and with reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and environmental legislation. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Plant and equipment | May include but not limited to: - electrical supply switchboard; supervisory, protection, alarm and control equipment; gas supply system; gas ignition system; fire protection systems; valves, actuators and dampers (electric, hydraulic, pneumatic and manual); compressed air systems; ignition and cooling air; filters, strainers, pressure control devices, oil supply system; oil ignition system compressors and pumps; auxiliary steam systems and gas and/or oil guns. |
| Tests | May include but not limited to: - Post maintenance operating tests and stand-by plant tests. |
| Faults and abnormal operating conditions | May include but not limited to: - motor/pump/ actuator/valve/dampers failure/malfunctions, control equipment failure/ malfunctions, loss of electrical supply to plant and equipment, excessive vibration of pumps/motors, high filter/strainer differentials, delivery system blockages, fuel preparation and delivery system fires, pipe fracture and leaks. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Test, fault finding and operating tools | May include but not limited to: - gas detector, power or hand tools and control system equipment |
| Operating environment | May include but not limited to: - Inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas, during night periods and during continuous operation. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - Supervisor/team leader or equivalent, technical and engineering officers or equivalent, power system control personnel or equivalent; contractor and specialist personnel, maintenance staff and power plant operations personnel. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of fuel firing plant - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, - protection and control equipment - Emergency procedures - Basic motor performance - Basic pump and compressor performance - Actuator, valve and damper types and characteristics - The process |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate fuel firing plant - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Operate in a team - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety and continuity of supply - Use diagrams, drawings and symbols. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test / Oral Questioning - Observation / Demonstration |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Fixed Fire Protection System |
| Unit Code | EIS PGO3 05 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, inspect and monitor fixed fire protection systems |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant inspection and field preparations for service are carried out in accordance with manufacturer and enterprise procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise procedures - Sequence for re-commissioning of plant is determined to suit existing circumstances in accordance with enterprise requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response in accordance with enterprise / manufactures requirements - Correct action is taken in accordance with enterprise procedures - Plant is returned to required operational status upon completion of test |
| - Analyze system faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise procedures - Plant integrity and personnel safety are maintained through consultation with appropriate personnel, and with reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise procedures - Appropriate personnel are notified when defects are detected |
| - Complete Documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation enterprise safety rules, relevant state and federal legislation, national standards for plant and environmental legislation. |
| Information and documentation sources | May include but not limited to: - Verbal and written communications, enterprise/site safety rules documentation/form(s), equipment and alarm manuals, dedicated computer equipment, enterprise/site standing and operating instructions, enterprise/site log book and manufacturer operation and maintenance manuals. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Tests | May include but not limited to: - Stand-by plant tests, post maintenance operating tests and alarm tests. |
| Test, fault finding and operating tools | May include but not limited to: - hand and power tools and CO2 equipment |
| Operating environment | May include but not limited to: - During inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas, during night periods and during continuous operation. |
| Faults and abnormal operating conditions | May include but not limited to: - motor/pump/ actuator/valve/damper failure/malfunction, control equipment failure/ malfunctions, loss of electrical supply to plant and equipment, loss/ low air, water, lubricating oil to plant/ equipment, CO2 system faults/ malfunctions, CO2 leaks, high filter/ strainer DP, and excessive vibration pumps/ motors. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, power system control personnel or equivalent, contractor and specialist personnel, maintenance staff and power plant operations personnel. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of fixed fire protection systems - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation |
|  | - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate fixed fire protection systems - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Operate in a team - Use diagrams, drawings and symbols - Co-ordinate the operation of equipment to maintain plant integrity - Personnel safety and continuity of supply.. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Compressed Air System |
| Unit Code | EIS PGO3 06 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate compressed gas systems excluding air/steam. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant inspection and field preparations for service are carried out in accordance with enterprise operational requirements - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site requirements - Sequence for re commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate the teams and individuals roles and responsibilities within the team are identified, and where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise, site and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions taken to rectify abnormalities are in accordance with enterprise and site requirements - Plant to be removed from service is locally identified and removed from service in accordance with enterprise and site requirements - Corrective actions are taken in accordance with enterprise safety rules and site requirements when abnormalities are identified during the removal from service |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and with reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and Ethiopian standards. |
| Systems, plant and or equipment | May include but not limited to: - electrical supply switchboard(s) and transformers; compressors; electrical motors; valves, actuators and dampers (electric, hydraulic, pneumatic, mechanical and manual); supervisory, protection, alarm and control equipment; cooling water plant and equipment; filters; strainers; moisture removal devices; pressure control devices; safety devices; high and low pressure systems; and fans. |
| Information and documentation sources | May include but not limited to: - Verbal and written communications, enterprise/site safety rules documentation/forms, equipment and alarm manuals, dedicated computer equipment, enterprise operating instructions, enterprise/site log book, enterprise standing instructions and plant notes and materials handling data sheets. |
| Tests | May include but not limited to: - Motor direction checks, stand-by plant “cut-in” tests and performance tests. |
| Test, fault finding and operating tools | May include but not limited to: - Hand and power tools, proving dead equipment and high voltage testers. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Operating environment | May include but not limited to: - During inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas and during continuous operation. |
| Faults and abnormal operating conditions | May include but not limited to: - motor/pump/actuator/ valve/damper failure/malfunction, control equipment failure/malfunctions, loss of electrical supply to plant and equipment, loss/low cooling air/water, lubricating/power oil flow to plant/equipment, excessive vibration pumps/motors, high air/oil strainer /filter/ differentials, moisture removal plant and equipment malfunctions and excessive vibration pumps/motors. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - Supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, contractor staff and maintenance staff. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of compressed gas system - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Knowledge of the properties of gases, their use and precautions to be taken - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant OHS regulations and statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software; Supervisory, alarm, protection and control equipment - Emergency procedures - Valve, damper and actuator types and characteristics - Properties of gases, their uses and precautions to be taken - Material safe handling data sheets - Introduction to power production plant - Mathematics - Mechanics - Properties of matter - Lubrication and bearings - Compressors and Electric motors - Switchgear - Electrical protection - Auxiliary supply systems - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations and statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate compressed gas systems - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and priorities work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Oil System |
| Unit Code | EIS PGO3 07 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, monitor and inspect oil systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site and legislative requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluate - Localized plant inspection, pre-operational checks and field preparations for service are carried out in accordance with manufacturer and enterprise/site procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site procedures - Sequence for re commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions taken or reported, to rectify abnormalities are in accordance with industry standards and site requirements - Plant is removed from service in accordance with enterprise and site requirements - Corrective actions are taken in accordance with enterprise safety rules and site requirements when abnormalities are identified during the removal from service |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with company procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for expected operation or to detect deviations from normal operating conditions of the plant - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, and abnormalities and status are reported and logged in accordance with enterprise/site procedures Relevant Occupational Health and Safety regulations |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of OHS legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and Ethiopian standards. |
| Information and documentation sources | May include but not limited to: - Verbal or written communications; enterprise safety rules documentation; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Systems, plant and/or equipment | May include but not limited to: - electrical supply switchboards, electrical motors, valves and actuators (electric, hydraulic, pneumatic and manual), supervisory, protection, alarm and control equipment, cooling water plant and equipment, filters, strainers, moisture removal devices, pressure control devices, safety devices, high and low pressure systems, pumps (motor, shaft or steam driven); oil systems may include lubricating and hydraulic and seal oil systems. |
| Tests | - Stand-by plant “cut-in” tests, motor direction checks and performance tests. |
| Test, fault finding and operating tools | may include: - high voltage testers, proving dead equipment, power or hand tools |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and or audible). |
| Operating environment | may be: - during inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas or during continuous operation |
| Faults and abnormal operating conditions | may include: - motor/pump/ actuator/valve/ dampers failure/malfunctions, control equipment failure/ malfunctions, loss of electrical supply to plant and equipment, loss/low cooling air/water, lubricating flow to plant/equipment, high pressure/temperature, high oil strainer/filter dp, moisture removal plant and equipment malfunctions and excessive vibration pumps/motors |
| Appropriate personnel to consult, give or receive direction | may include: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff and contractor staff |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of compressed gas system - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Knowledge of the properties of gases, their use and precautions to be taken - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Basic motor performance - Basic pump performance - Valve and actuator types and characteristics - Oil conditioning equipment (including coolers) - The system interaction with other plant and equipment external to that covered in this competence - Fire protection control systems - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - Mechanics - Properties of matter - Lubrication and bearings - Compressors - Liquid pumping systems - Power plant cycle - General responsibilities for power production plant operations - Turbine lubrication and oil systems - Electrical principles - Transformers - Switchgear - Electrical protection - Auxiliary supply systems - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate oil systems - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and priorities work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Heat Exchangers |
| Unit Code | EIS PGO3 08 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate and monitor heat exchangers / cooling systems within power stations. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant inspection and field preparation for service are carried out in accordance with manufacturer and enterprise procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise procedures - Sequence for re commissioning of plant in accordance with enterprise requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions taken to rectify abnormalities are in accordance with manufacturer and enterprise procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Correct action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise procedures |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise/site procedures 5.4 Appropriate personnel are notified when defects are detected 5.5 Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation and national standards for plant. |
| Information and documentation sources | May include but not limited to: - Verbal and written communications, enterprise/site safety rules documentation/form(s), enterprise/site standing and operating instructions, enterprise/site log book, manufacturer operation and maintenance manuals and dedicated computer equipment. |
| Tests | May include but not limited to: - alarm tests, stand-by plant test and post maintenance operating tests |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and or audible). - Communications may be by means of telephone, two way radio, pager, public address system, computer (electronic mail), operating log (written or verbal), whistle or hand signal. |
| Systems, plant and/or equipment | May include but not limited to: - hydrogen coolers; oil coolers; general cooling water coolers; distilled water coolers; seal oil coolers; auxiliary cooling water; stator cooling; stator cable cooling; air cooling systems; condenser cleaning systems; radiators; valves and actuators (electric, hydraulic, pneumatic, manual); supervisory, protection, alarm and control equipment; transformer cooling systems; and refrigerating systems. |
| Test, fault finding and operating tools | May include but not limited to: - hand and power tools and cooling medium detecting equipment - Operating environment may be, during inclement or otherwise harsh weather conditions, wet/noisy/dusty/hot areas or during continuous operation. |
| Faults and abnormal operating conditions | May include but not limited to: - motor/pump/ actuator/valve/ dampers failure/malfunctions, control equipment failure/ malfunctions, loss of electrical supply to plant and equipment, loss/low air, water, lubricating oil to plant/equipment, cooling medium system faults/malfunctions, cooling medium leaks, high filter/strainer dp and excessive vibration pumps/motors. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, power system control personnel or equivalent, technical and engineering officers or equivalent, contractor and specialist personnel, maintenance staff and power plant operations personnel. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of cooling systems - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software; Supervisory, alarm, protection and control equipment - Emergency procedures - Basic motor performance - Basic pump and compressor performance - Valve, damper and actuator types and characteristics - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - Mechanics - Lubrication and bearings - Compressors - Feed water treatment - Pumps - Liquid pumping systems - Power plant cycle - General responsibilities for power production plant operations - Steam power plant boiler water and steam systems - Basic turbine construction and operating principles - Turbine lubrication and oil systems - Condensate and feed water systems - Feed water heating and drainage systems - Circulating water system - Condenser systems - Electrical principles - Transformers - Electric motors - Switchgear - Heating of electrical equipment - Electrical protection - Auxiliary supply systems - Safe operating principles - Turbine operations - Hydrogen systems |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate cooling system - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate Hydro Generator/Synchronous Condenser / Pump Unit |
| Unit Code | EIS PGO3 09 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to start-up, maintain steady state running and shutdown a hydro unit operating in generator or synchronous condenser or pump mode. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site requirements - Work, plant and type of start requirements are identified from relevant personnel and documentation - The turbine running-up and loading schedule are ascertained from relevant documentation and in accordance with enterprise/site requirements - Localized plant inspection, pre operational tests and field preparation for service are carried out in accordance with manufacturer and enterprise/site procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site procedures - Sequence for re commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements. |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise/site procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - System and plant is observed for correct operational response - Correct action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze plant faults | - Cause of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Actions necessary to rectify fault are correctly determined - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation - Appropriate personnel is notified when defects are detected - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures. |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and Ethiopian standards. |
| Plant and equipment | May include but not limited to: - turbines; turbines with under slung pumps; reversible turbines; auxiliary plant and equipment; governor and associated hydraulic circuits; generator and generator auxiliary plant; computer with equipment control functions; supervisory, alarm and control equipment; electrical motors, fans and pumps; electrical supply and distribution systems; valves and dampers (electric, hydraulic, pneumatic and manual); lubrication and oil conditioning systems; static/rotating rectifiers; brush gear and slip ring fire protection equipment; brush gear, slip rings and commutators; AVR/AER; heat exchangers, filters and strainers; generators; transformers; water drainage systems; and environmental protective systems. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and or audible). |
| Tests | May include but not limited to: - motor direction checks, stand-by plant “cut-in” tests, relief valves operation tests, over speed tests, main inlet valves/guide vanes timing tests, load rejection tests, governor damping tests and phase rotation tests. |
| Test, fault finding and operating tools | May include but not limited to: - Include low and high voltage testers, proving dead equipment, powered or non-powered hand tools. |
| Appropriate personnel | May include but not limited to: - supervisor/team leader or equivalent, engineering officer / hydro maintenance office or equivalent, technical and engineering officers or equivalent, contractor staff, maintenance staff, applicable water control authority or equivalent and “trans grid” operator or equivalent. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of hydro turbine generator/pump unit - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Motor performance characteristics - Basic fan performance characteristics - Pump performance characteristics - Generator performance characteristics - Valve and actuator type and characteristic (may include pressure conduit valves} - Speed control systems - Electrical supply and distribution systems - Principles of heat exchanger operation - Unit lubrication systems and oil conditioning systems - Equipment behaviors under the influence of high water pressure and/or flows - Use diagrams, drawings and symbols - Operate equipment under the influence of high water pressures and or flows - Co-ordinate the remote operation of equipment to maintain personnel safety and plant integrity - Operate a hydro turbine generator/pump unit. |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Wind Generator |
| Unit Code | EIS PGO3 10 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, inspect and monitor wind generator plant. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant inspection and field preparation for service are carried out in accordance with manufacturer and enterprise/site procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site procedures - Sequence for re-commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise/site procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Correct action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements |
| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise/site procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise procedures - Appropriate personnel are notified when defects are detected - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation and national standards for plant. |
| Information and documentation sources | May include but not limited to: - Verbal or written communications; enterprise safety rules documentation; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Systems, plant and/or equipment | May include but not limited to: - may include electrical supply switchboard(s) and transformers; wind generator; supervisory, alarm, protection and control equipment |
| Tests | May include but not limited to: - Stand-by plant tests and post maintenance operating tests. |
| Test, fault finding and operating tools | May include but not limited to: - High voltage testers, proving dead equipment, power or hand tools and control system equipment. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Faults and abnormal operating conditions | May include but not limited to: - Speed controller faults, excessive vibration, blade position controller malfunctions and lubrication failure. |
| Operating environment | May include but not limited to: - During inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas or during night periods. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, technical and engineering officers or equivalent, power system control personnel or equivalent, contractor and specialist personnel, maintenance staff and power plant operations personnel. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of wind generator and associated plant - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate wind generator - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools; Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Condensing and Cooling Water |
| Unit Code | ERG PGO3 11 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, inspect and monitor condenser cooling water and auxiliary cooling water systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site and legislative requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluate - Localized plant inspection, pre-operational checks and field preparation for service are carried out in accordance with manufacturer and enterprise/site procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site procedures - Sequence for re commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions taken or reported, to rectify abnormalities are in accordance with industry standards and site requirements |
| - Test plant operational | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |

| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise/site procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation |
| --- | --- |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, and abnormalities and status are reported and logged in accordance with enterprise/site procedures - Documents are secured in appropriate copies |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and environmental legislation. |
| Information and documentation sources | May include but not limited to: - Verbal or written communications; enterprise safety rules documentation; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Systems, plant and/or equipment | May include but not limited to: - electrical supply switchboards; condenser cooling water; auxiliary cooling water; treated water systems; chemical treatment systems; supervisory, alarm and control equipment; high and low pressure pump characteristics/operating conditions; valves, actuators and dampers (electric, hydraulic, pneumatic and manual); compressed air systems; filters; strainers; pressure control devices; heat exchangers; emergency water supply services; drum screens and cleaning systems; and condenser cleaning systems. |
| Tests | may include: - Stand-by plant tests, post maintenance operating tests and test for water quality. |
| Test, fault finding and operating tools | May include but not limited to: - May include power or hand tools and control system equipment. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Faults and abnormal operating conditions | May include but not limited to: - motor/pump/ actuator/valve/dampers failure/malfunctions, control equipment failure/ malfunctions, loss of electrical supply to plant and equipment, excessive vibration pumps/motors, high filter/strainer differential pressure, loss of major auxiliary, loss of control medium and water conductivity |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - Supervisor/team leader or equivalent, power plant operations personnel, technical and engineering officers or equivalent, maintenance staff, contractor and specialist personnel and power system control personnel or equivalent. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of condenser and cooling water systems - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Basic motor performance - Basic pump performance - Condenser performance and principles - Valves and actuators types and characteristics - System components and interaction - Introduction to power production plant - Typical arrangements of power production plant - Mathematics Mechanics - Thermodynamics - Properties of matter - Lubrication and bearings - Compressors - Feed water treatment - Pumps - Liquid pumping systems - Power plant cycle - General responsibilities for power production plant operations - Coal handling plant - Bunkering - Precipitators - Fabric filters - Ash and dust removal systems - Steam power plant boiler water and steam systems - Boiler draft system - Fuels - Principles governing efficient combustion - Fuel conditioning and fuel firing equipment - Control of a boiler - Basic turbine construction and operating principles - Turbine lubrication and oil systems - Turbine governors - Condensate and feed water systems - Feed water heating and drainage systems - Circulating water system - Condenser systems - Air extraction systems - Turbine operations - Turbine efficiency - Electrical principles - Transformers - Electric motors - AC generators - Alternators, exciters and hydrogen systems - Switchgear - Heating of electrical equipment - Electrical protection - Schematic diagrams - Auxiliary supply systems - High voltage systems - High voltage switching procedures |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate condenser and auxiliary cooling water systems - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety and continuity of supply - Coordinate the operate of equipment to maintain optimum efficiency |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Dual Fuel Firing Plant |
| Unit Code | EIS PGO3 12 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required for the operation, inspection and monitoring of dual fuel firing plant in which each fuel source is capable of providing 100% maximum continuous rating. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant inspection, pre-operational tests and field preparations for service are carried out in accordance with manufacturer and enterprise/site procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site procedures - Sequence for re-commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Changeover from one fuel source to the other is conducted with minimal effect on load and steam conditions - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise/site procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and with reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and environmental legislation. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Systems, plant and equipment | May include: - electrical supply switchboard and electric motors; gas supply system; gas ignition system; oil supply system; oil ignition system; oil and gas burners, coal supply system; coal feeders; coal mills/pulverizes; primary and secondary air supplies, pulverized fuel burners, fire protection systems, mill inserting systems; valves, actuators and dampers (electric, hydraulic, pneumatic and manual); fans, pumps and compressors, compressed air systems, pulse air systems; ignition and cooling air systems; filters, strainers, pressure control devices; auxiliary steam systems, supervisory, protection, alarm and control equipment; burner management and fuel safety systems. |
| Tests | Post maintenance operating tests and stand-by plant tests. |
| Test, fault finding and operating tools | May include but not limited to: - gas detector, power or hand tools and control system equipment |
| Technical and operational indicators | May include but not limited to: - May include stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Faults and abnormal operating conditions | May include but not limited to: - motor/pump/ actuator/valve/dampers failure/malfunctions, control equipment failure/ malfunctions, loss of electrical supply to plant and equipment, excessive vibration of pumps/motors, high filter/strainer differentials, delivery system blockages, fuel preparation and delivery system fires, pipe fracture and leaks. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - Supervisor/team leader or equivalent, technical and engineering officers or equivalent, power system control personnel or equivalent; contractor and specialist personnel, maintenance staff and power plant operations personnel. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of fuel firing plant - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Fuels and the combustion process - Prevention of boiler explosions and implosions - Plant status Environmental legislation Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Basic motor performance - Fan types and Characteristics - Basic pump and compressor performance - Actuator, valve and damper types and characteristics. |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate fuel firing plant - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and priorities work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Operate in a team - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety and continuity of supply - Use diagrams, drawings and symbols. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Water Treatment Plant |
| Unit Code | EIS PGO3 13 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, inspect and monitor water treatment and purification plant. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant inspection and field preparation for service are carried out in accordance with manufacturer and enterprise procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise procedures - Sequence for re commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions taken to rectify abnormalities in accordance with manufacturer and enterprise procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise/site procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | may include: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant. |
| Information and documentation sources | may include: - Verbal and written communications, enterprise/site safety rules documentation/forms, enterprise/site standing and operating instructions, enterprise/site log book, manufacturer operation and maintenance manuals, dedicated computer equipment and equipment and alarm manuals. |
| Systems, plant and/or equipment | May include: - electrical supply switchboard(s) and transformers; electrical motors; valves, actuators and dampers (electric, hydraulic, pneumatic, manual); supervisory, protection, alarm and control equipment; dams de-sanding chambers canals and pipelines; lime softening plant; acid cleaning equipment; chemical storage vessels; pressure vessels; water clarifying plant; water filtering plant; cation and anion exchangers; degassers; mixed bed exchangers; compressors and pumps; trash screens; flock level control and caustic cleaning. |
| Tests | may include: - Motor direction checks, stand-by plant “cut-in” tests and performance tests. |
| Test, fault finding and operating tools | May include but not limited to: - hand and power tools and control system equipment |
| Technical and operational indicators | may include: - Stimuli (audio, smell, touch, visual), local indicators and recorders and alarms (visible and or audible). |
| Faults and abnormal operating conditions | may include: - motor/pump/actuator/ valve/ damper failure/malfunction, control equipment failure/malfunctions, loss of electrical supply to plant and equipment, process chemical limits exceeded, process chemicals leaks/spillages, loss of resin, high filter/strainer differential pressure and conductivity/silica limitations |
| Appropriate personnel to consult, give or receive direction | may include: - supervisor/team leader or equivalent, power system control personnel or equivalent, technical and engineering officers or equivalent, contractor and specialist personnel, maintenance staff and power plant operations personnel. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of water treatment plant - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Material safe data sheets |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures; Basic motor performance - Basic pump and compressor performance - Valve, damper and actuator types and characteristics - Process chemicals used, their properties, handling and spillage clean-up procedures - Material safe handling data sheets - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - Mechanics - Properties of matter - Lubrication and bearings - Compressors - Feed water treatment - Pumps - Liquid pumping systems - Power plant cycle - General responsibilities for power production plant operations - Steam power plant boiler water and steam systems - Condensate and feed water systems - Feed water heating and drainage systems - Circulating water system - Condenser systems - Electrical principles - Transformers - Electric motors - Switchgear - Electrical protection - Schematic diagrams - Auxiliary supply systems - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate water treatment plant - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Interpret and Analyze Single Operation Protection Devices |
| Unit Code | EIS PGO3 14 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to interpret and analyze of the operation of single operation protection devices. |

| Elements | Performance Criteria |
| --- | --- |
| - Respond to protection operation | - Protection operation is confirmed in accordance with enterprise procedures - Apparatus affected is identified in accordance with enterprise procedures - Targets, flags and alarms are identified and recorded in accordance with enterprise/site procedure - Relevant stake holders are advised in accordance with enterprise procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Interpret and determine cause of protection operation | - External information is managed and communication with external stakeholders is conducted and recorded in accordance with enterprise procedures - Information is collated and assessed in a logical and sequential manner in accordance with enterprise procedures - Sequence of events prior to and following protection operation is identified and assessed in accordance with enterprise procedures - Protection operations are assessed and evaluated in accordance with enterprise procedures - Findings are analyzed in conjunction with protection type and recorded data, to determine most probable cause of protection operation |
| - Restore protection | - All relevant stake holders are informed of findings and plan of action in accordance with enterprise procedures - Relevant protection indicators are reset in accordance with enterprise procedures - Corrective action is taken according to fault type in accordance with enterprise/site procedures |
| - Complete documentation | - Records are maintained and all events and operations are logged in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| Protection | May include but not limited to: - Over current, over voltage/overload, bucholtz, winding temperatures, and related L.V. protection. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Communications | May include but not limited to: - Telephone, two way radio, pager, computer (electronic mail) and operating logs (written or verbal). |
| Appropriate personnel for consultation, giving or receiving direction | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system controller/network controller, field operator, restricted H.V. operators, independent generators and customers. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Responding to protection equipment operation - Interpreting and determining cause of equipment operation - Restoring protection - Knowledge of protection equipment and schemes - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Relevant plant and equipment, its location and operating parameters - Enterprise recording procedures - Responding to protection equipment operation - Interpreting and determining cause of equipment operation - Restoring protection - Knowledge of protection equipment and schemes |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Communicate effectively - Apply data analysis techniques and tools - Apply diagnostic techniques - Apply or determine appropriate corrective actions required - Plan and prioritize work - Use plans, drawings and symbols - Recognize abnormal plant/system/equipment operating conditions - Evaluate protection operation and determine the appropriate response. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate Hydro-Electric Generating Plant and Auxiliary Equipment |
| Unit Code | EIS PGO3 15 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate a hydro-electric generating station. This will include both the operational and maintenance activities associated with such plant. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and Prepare Work | - Occupational Health and Safety standards, statutory requirements, relevant Ethiopian standards, codes of practice, manufacturers’ specifications, environmental requirements and enterprise procedures are identified, applied and monitored throughout the work procedure. - Work, plant and type of start requirements are identified from relevant personnel and documentation. - Turbine running-up and loading schedules are ascertained from relevant documentation and in accordance with enterprise/site requirements. - Localized plant and auxiliary equipment inspections, pre-operational tests and field preparation for service are carried out in accordance with manufacturer's and enterprise/site procedures. - Plant and auxiliary equipment operational prerequisites are established in accordance with manufacturer and enterprise/site procedures. - Sequence for re-commissioning of plant and auxiliary equipment is determined to suit existing circumstances in accordance with enterprise/site requirements. - Where appropriate, the teams and individual’s roles and responsibilities within the team are identified, and where required, assist in the provision of on-the-job training. - Work is planned in detail including sequencing and prioritizing and considerations made, where appropriate, for the maintenance of plant security and capacity in accordance with system/site requirements. - Coordination requirements, including requests for isolations where appropriate, are resolved with others involved, affected or required by the work. |
| - Operate and Monitor hydro plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures. - Key indicator limits are maintained in accordance with manufacturer specifications and enterprise requirements. - Auxiliary equipment is operated in accordance with enterprise and manufacturer operating procedures. - Plant and auxiliary equipment is monitored and observed to detect deviations from normal operating conditions and system requirements. - Plant and auxiliary equipment is operated within legislative requirements to gain maximum efficiency of energy conversion and to meet active and reactive dispatch power outputs. - Corrective actions are taken to rectify any abnormalities in accordance with manufacturer's and enterprise/site procedures. |
| - Test plant and auxiliary equipment operation | - Tests are performed in accordance with defined procedures applicable to the test. - Plant and equipment is observed for correct operational response. - Corrective action is taken when response is not in accordance with documentation, plant integrity or personal safety requirements. - Plant and equipment is returned to required operational status on completion of test. |
| - Analyze plant and auxiliary equipment faults. | - Causes of abnormal operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner. - Actions necessary to rectify fault are determined. - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation. - Appropriate personnel are notified when defects are detected. |
| - Complete documentation | - Documentation is updated, maintained and equipment problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures. |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and Ethiopian standards. |
| Plant and equipment | May include but not limited to: - turbines; turbines with under slung pumps; inlet valve, inlet bypass valve, scroll case and draft tube, relief valve, wicket gates or spear valve, gate swing ring or spear actuator, runner, turbine bearing; reversible turbines; auxiliary plant and equipment, including batteries, chargers, governor oil pumps, auxiliary generators, standby generators, air compressors, transformer and bearing cooling water pumps, pressure reducing valves, dewatering and sump pumps, seal water filters, bearing oil coolers, oil and water separators, fire detection and protection equipment; governor and associated hydraulic circuits; generator and auxiliary plant including main exciter, commentator, pilot exciter, voltage regulator, cooling systems, lube oil systems, seal systems, brake systems; computer with equipment control functions; supervisory, alarm and control equipment; electrical motors, fans and pumps; electrical supply and distribution systems; valves and dampers (electric, hydraulic, pneumatic and manual); lubrication and oil conditioning systems; static/rotating rectifiers; brush gear and slipping fire protection equipment; slip rings and commentators; AVR/AER; heat exchangers, filters and strainers; generators; transformers; water drainage systems; and environmental protective systems. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and or audible). |
| Tests | May include but not limited to: - Motor direction checks, stand-by plant “cut-in” tests, relief valves operation tests, over speed tests, main inlet valves/ guide vanes timing tests, load rejection tests, governor damping tests and phrase rotation tests. |
| Test, fault finding and operating tools | May include but not limited to: - Low and high voltage testers, proving dead equipment, powered or non-powered hand tools. |
| Appropriate personnel to consult, give or receive direction may include, | May include but not limited to: - supervisor/team leader or equivalent, engineering officer/ hydro maintenance office or equivalent, technical and engineering officers or equivalent, contractor staff, maintenance staff, applicable water control authority or equivalent and “trans grid” operator or equivalent. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of hydro turbine generator - Operationally testing plant - Analyzing plant faults, Monitoring plant operation - Work completion details - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Motor performance characteristics - Basic fan performance characteristics - Pump performance characteristics - Generator performance characteristics - Valve and actuator type and characteristic (may include pressure conduit valves) - Speed control systems - Electrical supply and distribution systems - Principles of heat exchanger operation - Unit lubrication systems and oil conditioning systems - Equipment behaviors under the influence of high water pressure and/or flows - Civil and hydraulic structures, turbines, valves and gates, governors, bypass and relief valves, generators, exciters, transformers, batteries, communications, auxiliary plant - Governing, frequency, excitation, voltage, voltage phase and speed matching, synchronizing, active and reactive power setting. |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation; Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures; Identify plant status; Prepare plant/equipment for operation - Organize resources - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols - Operate equipment under the influence of high water pressures and/or flows - Co-ordinate the operation of equipment to maintain personnel safety and plant integrity; Operate and manage a hydro turbine generator unit. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Conduct Water Conveyance and Control |
| Unit Code | EIS PGO3 16 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required for the operation of storage, conveyance and control systems of hydro generation water supplies. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare | - Occupational Health and Safety standards, statutory requirements, relevant Ethiopian standards, codes of practice, manufacturers’ specifications, environmental requirements and enterprise procedures are identified, applied and monitored throughout the work procedure. - Work requirements are identified and clarified/confirmed with appropriate parties or by site inspection. - Resources required to satisfy the work plan are identified and obtained in accordance with enterprise/site procedures. - Potential hazards are identified and prevention and/or control measures are selected in accordance with the work plan and site procedures. - Work is planned in detail including sequencing and prioritizing and considerations made, where appropriate, for the maintenance of plant security and capacity in accordance with system/site requirements. - Coordination requirements, including requests for isolations where appropriate, are resolved with others involved, affected or required by the work. - Where appropriate, the teams‟ and individuals‟ roles and responsibilities within the team are identified, and where required, assist in the provision of on-the-job training. |
| - Supply water for power generation | - Inspections of storage and conveyance systems are scheduled and problems are reported and monitored in accordance with enterprise/site requirements. - Water quality is monitored and recorded in accordance with enterprise/site requirements - Flow regulating systems are monitored and adjusted to meet generation needs and other user requirements in accordance with enterprise procedures. - Flows are monitored and where appropriate diversions are determined to facilitate maintenance or emergency activities. - Dam surveillance procedures are performed in accordance with enterprise/site requirements. - Dam levels are maintained/ monitored in accordance with system/site requirements. - Functional tests of equipment are undertaken in accordance with manufacturers' specifications and enterprise/site requirements. |
| - Implement flood control procedures | - Potential flood conditions are determined using data collected and reports communicated in accordance with enterprise procedures. - Flood control procedures are implemented in accordance with enterprise procedures. - Flood control outcomes are monitored and recorded/reported to appropriate personnel and reviewed in accordance with enterprise procedures. |
| - Complete documentation | - Documentation is updated, maintained and equipment problems, movements, abnormalities and states are reported and logged in accordance with enterprise/site procedures. |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant, standard operating procedures, local by-laws, environmental protection. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - Power plant operator/system controllers or equivalent, technical and engineering officers or equivalent, maintenance staff, other authorities, general public. |
| Information and documentation sources | May include but not limited to: - Verbal or written communications, enterprise safety rules and operating instruction documentation, manufacturers’ operating and maintenance manuals, log books, dedicated computer equipment, protection and alarm manuals. |
| Communications | May include but not limited to: - By means of telephone, two way radio, dedicated computer equipment, logs. |
| Equipment | May include but not limited to: - : lakes, dams, intakes/regulating gates spillways, intake gates, canals/flumes, tunnels, penstocks, hill top valves (HTV), tail race, riparian water, dewatering outlets, surge towers/shafts/ponds, pumping stations, discharge valves, pumping systems, on and off road vehicles. |
| System limitations | May include but not limited to: - Weather conditions, environmental requirements, minimum operating levels, statutory requirement, community service obligations. |
| Functional tests | May include but not limited to: - Carried out on mechanical/electrical and static devices. |
| Flood control procedures | May include but not limited to: - Implementation of local area flood procedures, operation of dewatering outlets. |
| Technical and operational indicators | May include but not limited to: - Remote or local indicators and recorders, computers and alarms (visible and/or audible). |
| Work completion details | May include but not limited to: - Enterprise recording procedures (electronic or hard copy), environmental reports, personnel training reports. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Management of water supplies for hydro generation - Implementation of flood control - Documentation and reporting procedures. - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - System hydraulics; coordination processes - System supplies layout - Environmental aspects of water storage/conveyance system - System processes; lockout/isolation procedures for mechanical and electrical installations - Policies, procedures and legislation - Relevant utilities and service bodies - Communication systems - Equipment operation, capacity and limitations - Affect of weather and conditions on operation of water storage/conveyance systems - Pipes and fittings - Pumping and valving systems - Control systems. |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations, relevant statutory and environmental requirements - Apply enterprise/site safety and emergency procedures - Apply enterprise recording procedures - Plan and prioritize work - Communicate effectively - Respond to abnormal operating conditions - Apply testing and diagnostic techniques - Manage water control systems. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Conduct Non-Routine Operational Testing |
| Unit Code | EIS PGO3 17 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to conduct testing of generation plant and associated equipment which may be of a non-routine nature |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for testing | - Safety issues are identified and complied with in accordance with enterprise/site and legislative requirements - Needs and outcomes for the tests are defined in accordance with work requirements - Test procedures are determined and monitoring equipment requirements are defined in accordance with the test objectives - Availability and access to plant is determined in accordance with work requirements - Coordination requirements, including requests for isolations where appropriate, are resolved with others involved, affected or required by the testing procedure - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Conduct non-routine testing | - Testing is performed in accordance with relevant sections of enterprise, state or national standards and codes of practice - Required isolations are confirmed where appropriate in accordance with enterprise/site requirements - Testing is performed in accordance with defined procedures application to the test - Plant is observed and corrective action taken when response is not in accordance with plant operating parameters/plant integrity or personnel safety - Testing completed, permits relinquished where appropriate, and plant returned to required operational status |
| - Complete the work | - Appropriate personnel notified of the completion of testing in accordance with enterprise/site procedures - Plant problems or abnormalities are reported and logged in accordance with enterprise/site procedures - Test results/observations are interpreted and documented in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Generation plant and/or equipment | May include but not limited to: - turbines and generators; mills; fans; pumps; heat exchangers; fired and unfired pressure vessels; motors; transformers; switchgear; pneumatic, hydraulic and electrical/electronic control systems; cooling systems; and chemical treatment and water quality systems. |
| Relevant standards | May include but not limited to: - Sections of Occupational Health and Safety legislation, enterprise safety rules and procedures, relevant state and federal legislation, national standards or codes of practices for plant. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; equipment and alarm manuals; dedicated computer equipment; drawings, logic diagrams; plant records; enterprise/site log books; and manufacturer operation and maintenance manuals. |
| Testing | May include but not limited to: - Commissioning of newly installed plant or equipment/ post maintenance tests, QA/QC tests and fault finding procedures. |
| Testing environment | May include but not limited to: - Remote from plant; aided by indicators and monitors; during inclement or otherwise harsh weather conditions; wet/noisy/dusty areas; during night periods; and in confined spaces. |
| Test equipment | May include but not limited to: - calculators, thermocouples, multi meters, flow meters, stopwatch, check sheets, data logger, power or hand tools |
| Test results | May include but not limited to: - Conveyed to supervisor/team leader or equivalent; technical and engineering officers or equivalent; power system control personnel or equivalent; maintenance staff; power plant operations staff personnel; contractor and external specialist personnel. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Management of water supplies for hydro generation - Implementation of flood control - Documentation and reporting procedures. Dealing with an unplanned event by drawing on essential knowledge and skills to provide |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Location of relevant plant and equipment and its operating parameters - Testing procedures and techniques - Enterprise recording procedures - Isolation procedures - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Locate relevant plant and equipment - Identify plant status - Recognize abnormal plant operating conditions - Restore normal operating conditions - Apply testing techniques and procedures - Use testing equipment - Communicate effectively - Apply data analysis techniques and tools. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Supervisory, Control and Data Acquisition Systems |
| Unit Code | EIS PGO3 18 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake monitoring and operation of screen based supervisory, control and data acquisition systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Operate screen displays | - Safety issues are identified in accordance with enterprise/system requirements - System requirements are identified from relevant personnel and documentation - Screen displays and applications are identified and retrieved in accordance with system requirements - Functions available from the screen based equipment are identified and selected in accordance with system procedures - Functions available from the screen based equipment are utilized in accordance with system requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Monitor and interpret information | - Screen displays are monitored in accordance with enterprise/system procedures - Abnormal values are identified by analysis of information obtained from screen displays in accordance with enterprise/system procedures - Corrective action taken is in accordance with enterprise/system procedures - Alarms are acknowledged, prioritized and responded to in accordance with enterprise/system procedures. |
| - Enhance screen display | - Requirements for the development of new screen displays are identified and confirmed in accordance with system requirements - New screen displays are researched, assessed and confirmed with appropriate personnel in accordance with system requirements. |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation and national standards for plant. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Communications | May include but not limited to: - means of telephone, two way radio, pager, computer (electronic mail) and operating logs (written or verbal) |
| Appropriate personnel | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system controller/network controller, field operator and restricted HV operators. |
| Operating environment | May include but not limited to: - remote from plant and equipment being operated |
| Displays and functions | May include but not limited to: - trends, alarms, generation plant, fuel supplies, remote plant and equipment, substations, power distribution network, transmission network, stakeholder systems, multiple screens, multiple windows, linkage between screens, trending facilities, index searches, formats, colors, tags, key commands, dedicated keys and alarms. |
| Faults and abnormal operating conditions | May include but not limited to: - hardware and software faults and system failures |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - The full range of displays and applications available is explained - Operation of screed based equipment - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, it’s location and operating parameters - Equipment status - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Operate screen based equipment - Identify equipment status - Plan and priorities work - Communicate effectively - Apply data analysis techniques and tools - Identify and respond to abnormal equipment operating conditions - Use diagrams, drawings and symbols. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate HV Condition Changing Apparatus |
| Unit Code | EIS PGO3 19 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake the local operation of all high voltage condition modifying devices. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for operations | - Procedures and safety requirements/limits for operating condition changing devices are adhered to in accordance with manufacturers enterprise/site and statutory requirements - Location of apparatus is determined from plans, drawings, system diagrams and where appropriate maps - Device to be operated is identified and confirmed - Condition and status of apparatus to be safely operated is determined visually - Prepare device for operation in accordance with enterprise procedures - Device to be operated is verified with key stake holders, using appropriate procedures and guidelines, in accordance with enterprise policy - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Operate condition changing device | - Contact with stake holders is maintained throughout and communication is concise and clear - System conditions are evaluated prior to operation in accordance with enterprise procedures - Device is operated to manufacturer instructions and enterprise policy and guidelines in accordance with enterprise procedures - Device is controlled and adjusted in order to alter system conditions to achieve desired outcome - Apparatus is examined to ensure device has functioned correctly - System conditions are re-evaluated to confirm desired outcome - Apparatus is secured in accordance with operational procedure and policy - Confirmation procedure is conducted after operation in accordance with enterprise policy - Documentation is updated; equipment problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures.. |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation and national standards for plant. |
| Apparatus/ devices | May include but not limited to: - On load transformer tap changers, off load transformer tap changers, capacitor banks, rotary converters, voltage regulators, rectifiers and transformers. |
| Communications | May include but not limited to: - Means of telephone, two way radio, pager, computer (electronic mail), operating logs (written or verbal) and intercom. |
| System parameters | May include but not limited to: - voltage, current, frequency, VAR load and equipment capability |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Operating environment | May include but not limited to: - Remote from plant and equipment being operated (operation is assisted by remote indicators of plant status and other parameters monitored), during inclement or otherwise harsh weather conditions, in wet/ noisy/dusty areas or during night periods. |
| Appropriate personnel for consultation, to give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system controller/network controller, field operator and restricted H.V. operators |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparing for operating apparatus - Operating H.V. apparatus - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Relevant plant and equipment, its location and operating parameters - Enterprise recording procedures - Enterprise procedures - H.V. systems and interconnected circuitry - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations, relevant statutory legislation, relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate relevant plant and equipment - Operate equipment within design parameters - Identify plant status - Prepare equipment for operation - Communicate effectively - Recognize abnormal switch gear operation - Plan and prioritize work and apply enterprise procedures |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate HV Primary Switchgear |
| Unit Code | EIS PGO3 20 0612 |
| Unit Descriptor | This unit refers to the local operation of high voltage primary circuit breaking devices. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to operate primary switchgear | - Work requirements are identified and clarified/confirmed with appropriate parties in accordance with enterprise procedures - Procedures/safety precautions when operating H.V. circuit breakers are identified and recognized in accordance with enterprise procedures - Identify circuit breaker type and determine correct operating procedure in accordance with enterprise procedures - Examine and assess circuit breaker condition for safe operation in accordance with enterprise procedures - Suppress related protection if and where necessary in accordance with enterprise procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate circuit breaker | - Mechanical operation and limitations of the equipment are identified in accordance with enterprise procedures - Implications of actions are identified and recognized in accordance with enterprise procedures - Circuit breaker is operated and confirmation that required status has been achieved is given in accordance with enterprise procedures - Racking, testing, isolation, circuit earthling and reinstatement procedures are carried out to manufacturer’s instructions and enterprise/site procedures - Confirm test equipment integrity and prove circuit de-energized in accordance with operating procedures |
| - Validate circuit breaker integrity | - Equipment inspected for safe operation in accordance with enterprise procedures - Circuit breaker environment is inspected to ensure all statutory requirements are met - Confirm circuit breaker operates in accordance with manufacturer’s specifications |
| - Complete documentation | - Documentation is updated, log sheets maintained and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures. |

| Variable | Range |
| --- | --- |
| Safety standards | may include: relevant sections of occupational health and safety legislation, enterprise safety rules, relevant state and federal legislation and national standards for plant |
| Implications | may be: safety of personnel and public, damage to equipment, loss of plant, legal implications, system integrity, capital cost, lost enterprise revenue and community costs |
| Technical and operational indicators | may include: stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible) |
| Equipment | May include but not limited to: vacuum circuit breaker, oil circuit breaker, gas circuit breaker, air circuit breaker, phasing sticks, earthing trucks, gloves, testers, earths and discharge equipment (personal safety equipment) |
| Communications | may be: by means of telephone, two way radio, pager, computer (electronic mail), operating logs (written or verbal) and intercoms |
| Appropriate personnel for consultation, to give or receive direction | May include but not limited to: supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system controller/network controller, field operator and restricted H.V. operators |
| Information and documentation sources | may include: verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Occupational, health and safety legislation; - Statutory legislation; - Enterprise/site safety procedures; - Enterprise/site emergency procedures - Preparation for switchgear operations - Operation and knowledge of circuit breakers - Implications of circuit breaker operations |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Circuit breaker operating parameters - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - Consequences of operator actions - H.V. power systems and parameters - H.V. protection schemes; Enterprise procedures - Circuit breaker construction and operation - Isolation and earthing procedures - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate relevant plant and equipment - Operate circuit breaker within design parameters - Identify plant status - Prepare equipment for operation - Communicate effectively - Recognize abnormal circuit breaker operation - Plan and prioritize work - Use plans, diagrams and symbols - Operate protection equipment - Isolate and earth - Apply enterprise procedures |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate HV Secondary Switchgear |
| Unit Code | EIS PGO3 21 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake the local operation of high voltage secondary circuit breaking devices. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to operate secondary switchgear | - Work requirements are identified and clarified/confirmed with appropriate parties in accordance with enterprise procedures - Procedures/safety standards when operating H.V. switch gears are identified and recognized in accordance with enterprise procedures - Location of switchgear is determined from appropriate drawings, plans and maps - Identify switch gear type and determine correct operating procedure in accordance with enterprise procedures - Examine and assess switch gear condition for safe operation in accordance with enterprise procedures - Suppress related protection if and where necessary in accordance with enterprise procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Operate switch gear | - Mechanical operation and limitations of the equipment are identified in accordance with enterprise procedures - Implications of actions are identified and recognized in accordance with enterprise procedures - Switch gear is operated and confirmation that required status has been achieved is given in accordance with enterprise procedures - Racking, testing, isolation, circuit earthing and reinstatement procedures are carried out to manufacturer instructions and enterprise/site procedures - Confirm test equipment’ integrity. and over circuit e-energized in accordance w the op rating procedures |
| - Validate switch gear integrity | - Equipment inspected for safe operation in accordance with enterprise procedures - Switch gear environment is inspected to ensure all statutory requirements are met - Confirm switch gear operates in accordance with manufacturer specifications. |
| - Complete documentation | - Documentation is updated, log sheets maintained and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures. |

| Variable | Range |
| --- | --- |
| Equipment | May include but not limited to: - air insulated single phase/three phase link operated URD switchgear, oil immersed ring main switch (RMU) metal clad, compact switching station, load break elbows and oil immersed rotary switch, ring main switch SF6 metal clad, arc chute air break switch, horn deflecting air break switch, sectionalizes, expulsion drop outs and H.V. links |
| Safety standards | May include but not limited to: - relevant sections of occupational health and safety legislation, enterprise safety rules, relevant state and federal legislation and national standards for plant - implications may be safety of personnel and public, damage to equipment, loss of plant, legal implications, system integrity, capital cost, lost enterprise revenue and community costs |
| Information and documentation sources | May include but not limited to: - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/site standing and operating instructions enterprise log books - manufacturer operation and maintenance manuals and equipment and alarm manuals |
| Technical and operational indicators | May include but not limited to: - stimuli (audio, smell, touch, visual) - local indicators and recorders - computers and alarms (visible and or audible) |
| Communications | May include but not limited to: - telephone, two way radio, pager - computer (electronic mail), - operating loss (written or verbal) and intercom |
| Appropriate personnel for consultation to give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, - power plant operations personnel or equivalent, - technical and engineering officers or equivalent, - maintenance staff or other operating staff or equivalent - system controller/network controller - field operator and restricted H.V. operators |
| Evidence Guide |  |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - The preparation for secondary switchgear operations - The operation and knowledge of secondary switch gear - The implications of secondary switch gear operations - Apply environmental risk assessment process - Implement, monitor and review environmental procedures during the currency of the work - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items. |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Secondary switch gear operating parameters - Relevant plant and equipment, its location and operating parameters - Enterprise recording procedures - Consequences of operator actions - H.V. power systems and parameters - H.V. protection schemes - Enterprise procedures - Secondary switch gear construction and operation - Isolation and earthing procedures - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate relevant plant and equipment - Operate switch gear within design parameters - Identify plant status - Prepare equipment for operation - Communicate effectively - Recognize abnormal switch gear operation - Plan and priorities work - Use plans, diagrams and symbols - Operate protection equipment - Isolate and earth - Apply enterprise procedures |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Respond to Critical Incidents |
| Unit Code | EIS PGO3 22 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to respond to incidents of a critical nature that may impact on the operational effectiveness of the plant or system, endanger human life or property, or have an adverse impact on the environment. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify critical incident and consequences | - Information and documentation to determine system status is assessed and evaluated in accordance with system requirements - Fault location is determined by establishing, monitoring and evaluating system configuration and operational pre-requisites in accordance with enterprise procedures - Fault information is collated in accordance with procedures to evaluate type and cause of failure - System limitations and performance, including location and external influences, are identified - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Stabilize the system/s | - Appropriate response techniques are identified and used in accordance with requirements. - Appropriate personnel and external stake holders are consulted with in accordance with enterprise procedures prior to further action - Implications of personnel and key stake holder actions are monitored and analyzed - System requirements are assessed, evaluated and controlled to maintain stability and system integrity - Corrective actions to rectify abnormalities are implemented following analysis of data in accordance with system procedure. |
| - Restore the system. | - Specialized assistance is identified and attended to where required in accordance with enterprise procedures - Strategies to restore system integrity are identified, evaluated and communicated in accordance with procedures to appropriate personnel - Restoration strategy is undertaken, monitored, evaluated and adjusted in accordance with procedure. |
| - Review response to incident and instigate preventative procedure | - Effectiveness of response is evaluated in accordance with system procedures - Stakeholder responses and perspective of incident are obtained, recorded and analyzed - Alternative responses/contingencies are identified and assessed in accordance with system procedures - Incident and alternative preventive measures are documented in accordance with procedures - Improvements for managing future critical incidents are recommended and approved - Relevant findings are communicated to appropriate key stake holders. |

| Variable | Range |
| --- | --- |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Operating environment | May include but not limited to: - Remote from plant and equipment being operated (operation is assisted by remote indicators of plant status and other parameters monitored), during inclement or otherwise harsh weather conditions, in wet/noisy/dusty areas or during night periods. |
| Communications | May include but not limited to: - Means of telephone, two way radio, pager, computer (electronic mail) and operating logs (written or verbal). |
| Appropriate personnel, team members/other authorities | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system controller, field operators, restricted operators, emergency personnel, network controllers/coordinators, generation controllers, plant operators, field operators, support staff, fire service, police, ambulance, emergency services, enterprise and site representatives, consumers and independent power producers. |
| Operating environment | May include but not limited to: - Remote from plant and equipment being operated (operation is assisted by remote indicators of plant status and other parameters monitored), during inclement or otherwise harsh weather conditions, in wet/noisy/dusty areas or during night periods. |
| Unit operations | May include but not limited to: - Spurious faults in automatic systems, automatic systems operating out of range failure of automatic system components and routine plant movement. |
| Types of incident | May include but not limited to: - Localized blackout, interconnected/isolated power system potential power system threat, accidents, life threatening situations, generation plant and auxiliary plant faults/failure and loss of network and generation components. |
| System conditions | May include but not limited to: - Voltage profiles, spare plant, generation/transmission capability limits, variation from normal trends and switching. |
| Documentation | May include but not limited to: - Policy, procedure, standard operating instructions, contingency plans and emergency switching programs. |
| Liaison with key stake holders | May include but not limited to: - system/network controllers/coordinators, oncoming shift change, field operators, support staff, asset centers, patrolmen, customers, other government bodies, co-generation authorities, generation plant operators, on call staff, police, fire and emergency services and private systems. |
| Post incident debrief | May include but not limited to: - probable fault/failure cause, strategic/contingency plan, environmental implications, economic factors, policy, procedure, training, safety factors and emergency switching programs |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - application of relevant sections of occupational health and safety legislation; statutory legislation; enterprise/site safety procedures; enterprise/site emergency procedures - Preparing for system stabilization - Stabilizing and restoring system operations - Coordination requirements - Identifying and responding to abnormal system operating conditions - Policies for system incident and follow up procedures - Generation/transmission capability limits - Impact of actions - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant OHS regulations and statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Relevant plant and equipment, its locations and operating parameters - Enterprise recording procedures - System/network characteristics - Contingency plans - Supervisory, alarm, protection and control equipment - Switchgear operation and - Load shedding principles - Communication principles - Control and data acquisition systems - Computers and software - Switching practices and procedures |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations and statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Manager and control system/network - Identify plant status - Communicate effectively - Apply data analysis techniques and tools - Identify and respond to abnormal system operating conditions - Plan and prioritize work - Co-ordinate the operation of system/network to maintain plant integrity, personnel safety, continuity of supply and optimum efficiency - Use diagrams, drawings and symbols - Apply stress management techniques - Direct and co-ordinate personnel - Select appropriate load shedding - Apply diagnostic techniques |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Conduct Operational Checks on In-Service Electrical Plant |
| Unit Code | EIS PGO3 23 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to conduct operational checks on in-service electrical plant. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan for plant in-service checks | - Safety issues are identified to comply with enterprise/site requirements - Work, plant and resource requirements are identified from relevant information, requests, work orders or equivalent and documentation. - Plant status and work requirements are clarified/confirmed with appropriate parties or by site inspection - Equipment is check for correct calibration, operation. correct size, type and quantity of materials/components are determined, obtained and inspected for compliance with the job specifications - Potential hazards are identified and prevention and/or control measures are selected in accordance with the work plan and site procedures - Pre-access checks are carried out in accordance with enterprise and site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Carry out in-service electrical checks | - Systems/plant is operated in accordance with enterprise/site and manufacturer operating procedures - In-service electrical checks are done in conjunction with others involved in, or affected by, the work in accordance with the work plan - Plant checks are monitored and observed to detect deviations from normal operation - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise/site procedures - In-service checks are performed in accordance with defined enterprise procedures. - System/plant integrity and personnel safety are maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation. |
| - Complete work | - When checks are completed, control measures are returned to required operational status where appropriate. - Appropriate personnel are notified of the completion of work in accordance with enterprise/site procedures - Plant problems or abnormalities are reported and logged in accordance with enterprise/site procedures - Check results are interpreted and documented in accordance with enterprise/site procedures. |

| Variable | Range |
| --- | --- |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; equipment and alarm manuals; dedicated computer equipment; enterprise standing instructions and plant notes; enterprise log books; manufacturer operation and maintenance manuals |
| Plant and/or equipment | May include but not limited to: - turbines and generators; fans; pumps; heat exchangers; motors; transformers; switchgear; electrical/electronic control systems; cooling systems; and chemical treatment and water quality systems, fuel delivery system; auxiliary plant; generator excitation system; fire protection system; switchboards; Safety standards may include relevant sections of Occupational Health and Safety legislation, enterprise safety rules, national standards for plant, relevant state and federal legislation and Ethiopian standards. |
| Operational Checks | May include but not limited to: - fault finding, performance checking, indication and protection checks and work on control and trip circuits and minor testing |
| Key indicators | May include but not limited to: - frequency, machine/ equipment voltage and current, plant temperatures, reactive power flows, power factor, plant load capabilities, protection settings, visual and audible indicators, analogue and digital displays. |
| Appropriate personnel for consultation, to give or receive direction | May include but not limited to: - Supervisor/team leader or equivalent; other coordinators of energy production; other operating staff; technical and engineering officers or equivalent; maintenance personnel; and contractor staff. |
| Technical and operational indicators | May include but not limited to: - stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and or audible) |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - Systems components and interactions |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for checks - Communicate effectively - Maintain plant integrity - Apply data analysis techniques and tools - Recognize abnormal plant operating conditions - Apply or determine appropriate corrective actions required - Plan and prioritize work; personnel safety - Interpret remote indication of plant status and condition - Interpret and apply reading of appropriate diagrams and symbols. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |
| Occupational Standard: Power Generation Operation Level III |  |
| Unit Title | Conduct Operational Checks on In-Service Mechanical Plant |
| Unit Code | EIS PGO3 24 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to conduct operational checks on in-service mechanical plant. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan for plant in-service checks | - Safety issues are identified to comply with enterprise/site requirements - Work, plant and resource requirements are identified from relevant information, requests, work orders or equivalent and documentation. - Plant status and work requirements are clarified/ confirmed with appropriate parties or by site inspection - Equipment is check for correct calibration, operation, correct size, type and quantity of materials/components are determined, obtained and inspected for compliance with the job specifications - Potential hazards are identified and prevention and/or control measures are selected in accordance with the work plan and site procedures - Pre access checks are carried out in accordance with enterprise and site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Carry out in-service mechanical checks | - Systems / plant is operated in accordance with enterprise/site and manufacturer operating procedures - in-service mechanical checks are done in conjunction with others involved in, or affected by, the work in accordance with the work plan - Plant checks are monitored and observed to detect deviations from normal operation - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise/site procedures - In-service checks are performed in accordance with defined enterprise procedures. - System/plant integrity and personnel safety are maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation |
| - Complete the work | - When checks are completed, control measures are returned to required operational status where appropriate. - Appropriate personnel are notified of the completion of work in accordance with enterprise/site procedures - Plant problems or abnormalities are reported and logged in accordance with enterprise/site procedures - Check results are interpreted and documented in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; equipment and alarm manuals; dedicated computer equipment; enterprise standing instructions and plant notes; enterprise log books; manufacturer operation and maintenance manuals. |
| Plant and/or equipment | May include but not limited to: - turbines and generators; fans; pumps; heat exchangers; fired and unfired pressure vessels; couplings; pneumatic, hydraulic control systems; cooling systems; and chemical treatment and water quality systems, fuel delivery system; fire protection system; Safety standards may include relevant sections of Occupational Health and Safety legislation, enterprise safety rules, national standards for plant, relevant state and federal legislation and Ethiopian standards. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and or audible). |
| Operational Checks | May include but not limited to: - Fault finding, performance checking. Indication and protection checks and work on control and trip circuits and minor testing. |
| Appropriate personnel for consultation, to give or receive direction | May include but not limited to: - Supervisor/team leader or equivalent; other coordinators of energy production; other operating staff; technical and engineering officers or equivalent; maintenance personnel; and contractor staff. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; - Statutory legislation; - Enterprise/site safety procedures; - Enterprise/site emergency procedures - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant OHS regulations and statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures Systems components and interactions |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Communicate effectively - Co-ordinate the operation of plant and equipment - Maintain generator unit integrity - Apply principles of electrical generation - Apply data analysis techniques and tools - Recognize abnormal plant operating conditions - Apply or determine appropriate corrective actions required - Plan and prioritize work - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety and continuity of supply - Co-ordinate the operation of equipment to maintain optimum efficiency - Interpret remote indication of plant status and condition - Interpret and apply reading of appropriate diagrams and symbols. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |
| Occupational Standard: Power Generation Operation Level III |  |
| Unit Title | Operate and Monitor Auxiliary Steam System |
| Unit Code | EIS PGO3 25 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, inspect and monitor auxiliary steam systems in a power station. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site and legislative requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluate - Localized plant inspection, pre-operational checks and field preparation for service are carried out in accordance with manufacturer and enterprise/site procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site procedures - Sequence for re commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions taken or reported, to rectify abnormalities are in accordance with industry standards and site requirements |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise/site procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for expected operation or to detect deviations from normal operating conditions of the plant - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, and abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | may include: - relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation and national standards for plant. |
| Information and documentation sources | - may include verbal or written communications; enterprise/site safety rules documentation; dedicated computer equipment; enterprise/site standing and operating instructions; and enterprise/site log books. |
| Tests | may include: - stand-by plant tests, post maintenance operating tests and alarm tests |
| Systems, plant and/or equipment | may include: - auxiliary boiler; steam range; soot blowers; inserting steam; fuel oil systems; boiler drain system; deaeration; gland steam; air ejectors; turbine drains; feed heaters; deaerators; turbine flange heating; valves; actuators (electric, pneumatic, manual); electrical supply switchboards; electrical motors; supervisory, alarm, protection and control equipment; cooling water equipment; filters; pressure control devices; safety devices; and high and low pressure systems |
| Technical and operational indicators | - may include stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and or audible) |
| Communications | - may be by means of telephone, two way radio, pager, public address system, computers (electronic mail) and operating log (written or verbal) |
| Faults and abnormal operating conditions | - may include motor/pump/ actuator/valve/dampers failure/malfunctions, control equipment failure/ malfunctions, loss of electrical supply to plant and equipment, excessive vibration pumps/motors, loss/low air , water, lubricating oil to plant/equipment, steam leaks, steam system faults/malfunctions, high filter/strainer differential pressure and excessive vibration pumps/motors. |
| Operating environment | - may be during inclement or otherwise harsh weather conditions, in wet/noisy/dusty areas or during night periods |
| Test, fault finding and operating tools | - may include power or hand tools and steam detecting equipment. |
| Appropriate personnel to consult, give or receive direction | - may include supervisor/team leader or equivalent, power plant operations personnel, technical and engineering officers or equivalent, maintenance staff, contractor personnel and power system control personnel or equivalent |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Evidence that shows a candidate is able to: - Implement OHS workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Demonstrate an understanding of the Essential Knowledge and Associated Skills as described in 6) of this unit - Demonstrate an appropriate level of skills enabling employment - Conduct work observing the relevant legislation, regulations, polices and workplace procedures Demonstrated performance across a representative range of contexts from the prescribed items below: - Knowledge and application of relevant sections of: occupational health and safety legislation; statutory legislation; enterprise/site safety procedures; enterprise / site emergency procedures - Preparation and planning of work - Operation of auxiliary steam systems - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Valve, damper and actuator types and characteristics - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - Mechanics - Thermodynamics - Properties of matter - Lubrication and bearings - Compressors - Feed water treatment - Pumps - Liquid pumping systems - Power plant cycle - General responsibilities for power production plant operations - Steam power plant boiler water and steam systems - Basic turbine construction and operating principles - Safe operating principles - Air extraction systems - Feed water heating and drainage systems |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate auxiliary steam systems - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety and continuity of supply. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Water System (Condensate and Feed-Water) |
| Unit Code | EIS PGO3 26 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, inspect and monitor the condensation and feed water system. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site and legislative requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluate - Localized plant inspection, pre operational checks and field preparation for service are carried out in accordance with manufacturer and enterprise/site procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site procedures - Sequence for re commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions taken or reported, to rectify abnormalities are in accordance with industry standards and site requirements |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - System and plant are observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze system faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise/site procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation |
| - Monitor plan | - Plant to be monitored/inspected is physically identified - Plant is monitored for normal operation or to detect deviations, - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | 6.1 Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance |

| Variable | Range |
| --- | --- |
| Safety standards | - may include relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and environmental legislation. |
| Information and documentation sources | - may include verbal or written communications; enterprise safety rules documentation; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Systems, plant and/or equipment | - may include electrical supply switchboards; low pressure feed systems; high pressure feed systems; feed heating systems; treated water; chemical treatment systems; supervisory, alarm and control equipment; high and low pressure pump characteristics/operating conditions; valves and actuators (electric, hydraulic, pneumatic and manual); compressed air systems; filters; strainers; pressure control devices; and HP/LP feed heating systems |
| Technical and operational indicators | - may include stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible) |
| Test, fault finding and operating tools | - may include power or hand tools and control system equipment |
| Operating environment | - may be, during inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas, during night periods or during continuous operation |
| Faults and abnormal operating conditions | - may include motor/pump/ actuator/valve/ dampers failure/malfunctions, control equipment failure/ malfunctions, loss of electrical supply to plant and equipment, excessive vibration pumps/motors, high filter/strainer differential pressure, loss of major auxiliary, loss of control medium and water quality |
| Communications | - may be by means of telephone, two way radio, pager, public address system, computer (electronic mail) and operating log (written or verbal) |
| Tests | - may include stand-by plant tests, post maintenance operating tests and tests for water quality |
| Appropriate personnel to consult, give or receive direction | - may include supervisor/team leader or equivalent, power plant operations personnel, technical and engineering officers or equivalent, maintenance staff, contractor and specialist personnel and power system control personnel or equivalent |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | A candidate is able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Demonstrate an understanding of the essential knowledge and associated skills as described in 6) Essential Knowledge and Associated Skills of this unit - Demonstrate an appropriate level of skills enabling employment - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures Demonstrated performance across a representative range of contexts from the prescribed items below: - Knowledge and application of relevant sections of: occupational health and safety legislation; statutory legislation; enterprise/site safety procedures; enterprise/site emergency procedures - Preparation and planning of work - Operation of condensate and feed water systems - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Basic motor performance - Basic pump performance - Valve and actuator types and characteristics - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - Mechanics - Thermodynamics - Properties of matter - Lubrication and bearings - Feed water treatment - Pumps - Liquid pumping systems - Power plant cycle - General responsibilities for power production plant operations - Steam power plant boiler water and steam systems - Condensate and feed water systems - Feed water heating and drainage systems - Circulating water system - Condenser systems - Air extraction systems - Turbine operations - Turbine efficiency - Electrical principles - Transformers - Electric motors - Switchgear - Electrical protection - Schematic diagrams - Auxiliary supply systems - High voltage switching procedures - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate condensate and feed water system - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety and continuity of supply - Co-ordinate the operate of equipment to maintain optimum efficiency. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Condensing and Cooling Water Systems |
| Unit Code | EIS PGO3 27 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, inspect and monitor condenser cooling water and auxiliary cooling water systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site and legislative requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluate - Localized plant inspection, pre-operational checks and field preparation for service are carried out in accordance with manufacturer and enterprise/site procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site procedures - Sequence for re commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required,. |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions taken or reported, to rectify abnormalities are in accordance with industry standards and site requirements |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - System and plant are observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze system faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise/site procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation - Appropriate personnel are notified when defects are detected |
| - Monitor plan | - Plant to be monitored/inspected is physically identified - Plant is monitored for normal operation or to detect deviations, - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance |

| Variable | Range |
| --- | --- |
| Safety standards | - may include relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and environmental legislation |
| Systems, plant and/or equipment | - may include electrical supply switchboards; condenser cooling water; auxiliary cooling water; treated water systems; chemical treatment systems; supervisory, alarm and control equipment; high and low pressure pump characteristics/operating conditions; valves, actuators and dampers (electric, hydraulic, pneumatic and manual); compressed air systems; filters; strainers; pressure control devices; heat exchangers; emergency water supply services; drum screens and cleaning systems; and condenser cleaning systems |
| Information and documentation sources | - may include verbal or written communications; enterprise safety rules documentation; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals |
| Faults and abnormal operating conditions | - may include motor/pump/ actuator/valve/dampers failure/malfunctions, control equipment failure/ malfunctions, loss of electrical supply to plant and equipment, excessive vibration pumps/motors, high filter/strainer differential pressure, loss of major auxiliary, loss of control medium and water conductivity. |
| Operating environment | - may be during inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas, during night periods or during continuous operation |
| Test, fault finding and operating tools | - may include power or hand tools and control system equipment |
| Tests | - may include stand-by plant tests, post maintenance operating tests and test for water quality |
| Communications | - may be by means of telephone, two way radio, pager, public address system, computer (electronic mail) and operating log (written or verbal) |
| Technical and operational indicators | - may include stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible) |
| Appropriate personnel to consult, give or receive direction | - may include supervisor/team leader or equivalent, power plant operations personnel, technical and engineering officers or equivalent, maintenance staff, contractor and specialist personnel and power system control personnel or equivalent |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | A candidate is able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Demonstrate an understanding of the essential knowledge and associated skills as described in 6) Essential Knowledge and Associated Skills of this unit - Demonstrate an appropriate level of skills enabling employment - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures Demonstrated performance across a representative range of contexts from the prescribed items below: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of condenser and cooling water systems - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Basic motor performance - Basic pump performance - Condenser performance and principles - Valves and actuators types and characteristics - System components and interaction - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - Mechanics - Thermodynamics - Properties of matter - Lubrication and bearings - Compressors - Feed water treatment - Pumps - Liquid pumping systems - Power plant cycle - General responsibilities for power production plant operations - Coal handling plant - Bunkering - Precipitators - Fabric filters - Ash and dust removal systems - Steam power plant boiler water and steam systems - Boiler draft system - Fuels - Principles governing efficient combustion - Fuel conditioning and fuel firing equipment - Control of a boiler - Basic turbine construction and operating principles - Turbine lubrication and oil systems - Turbine governors - Condensate and feed water systems - Feed water heating and drainage systems - Circulating water system - Condenser systems - Air extraction systems - Turbine operations - Turbine efficiency - Electrical principles - Transformers - Electric motors - AC generators - Alternators, exciters and hydrogen systems - Switchgear - Heating of electrical equipment - Electrical protection - Schematic diagrams - Auxiliary supply systems - High voltage systems - High voltage switching procedures - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate condenser and auxiliary cooling water systems - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety and continuity of supply - Co-ordinate the operation of equipment to maintain optimum efficiency. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Boiler Unit |
| Unit Code | EIS PGO3 28 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate and monitor the in-service boiler unit capable of supplying steam. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site and legislative requirements - Work requirements are identified from relevant personnel and documentation - Pre-operational checks are carried out on plant according to manufacturer recommendations and site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Combustion is established and supported in accordance with enterprise, manufacturer and site requirements. - Combustion support fuel consumption is kept at minimum levels - Fuel and air and feed flows are adjusted to achieve required steam conditions and demand and observing operating requirements - Plant is operated within limits of plant design, enterprise or site requirements - Plant is monitored and observed to detect deviations from required operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise/site procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - System and plant are observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze system faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise/site procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation - Appropriate personnel are notified when defects are detected |
| - Monitor plan | - Plant to be monitored/inspected is physically identified - Plant is monitored for normal operation or to detect deviations, - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance |

| Variable | Range |
| --- | --- |
| Safety standards | - may include relevant sections of Occupational Health and Safety legislation, enterprise safety rules, electricity workers act and national standards for plant |
| Plant and equipment | - may include electrical supply switchboard(s) and transformers; boiler and auxiliary plant; fuel and fuel delivery system plant; fuel management system; flame detection equipment; steam temperature control plant; boiler heating surfaces dust removal system; combustion waste extraction system; electric motors (AC and DC, high and low voltage); electricity distribution system (AC and DC transformers); diesel engine driven auxiliary plant; station water distribution systems; hydraulic power oil system; compressed air systems; computers with equipment control functions; and supervisory, alarm, protection and control equipment. |
| Information and documentation sources | - may include verbal or written communications; enterprise isolation documentation; site operating instructions; plant limit book; equipment and alarm manuals; crippled plant book; daily log book; dedicated computer equipment; and local and general documented enterprise instructions. |
| Tests | - may include loss of major auxiliary controls response checks, stand-by plant “cut-in” tests, dampers/valves operating checks and performance tests |
| Technical and operational indicators | - may include stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and or audible) |
| Communications | - may be by means of telephone, two way radio, pager, facsimile, computer (electronic mail) and operating log (written or verbal) |
| Operating environment | - may be remote from plant and equipment being operated; (operation is assisted by remote indicators of plant status and other parameters monitored); in wet/noisy/dusty/hot areas or during continuous operation |
| Appropriate personnel to consult, give or receive direction | - may include supervisor/team leader or equivalent; other coordinators of energy production or equivalent; technical and engineering officers or equivalent; maintenance staff; other operating staff and contractor staff. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | A candidate is able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Demonstrate an understanding of the essential knowledge and associated skills as described in essential knowledge and associated skills of this unit - Demonstrate an appropriate level of skills enabling employment - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures Demonstrated performance across a representative range of contexts from the prescribed items below: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of boiler plant and equipment - Operationally testing plant - Analyzing plant faults - System components and interaction with other plant and equipment - Temperature and pressure requirements - Ability to prepare plant/equipment for operation - Principles of relevant fuel combustion - Principles of boiler and feed water chemical treatment - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles; - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control - equipment - Emergency procedures - Basic motor performance - Basic pump and compressor performance - Valve, damper and actuator types and characteristics - Boiler operation processes - The system components and their interaction with other plant and equipment external to that covered by this competence - Principles of air heater operation - Principles of relevant fuel combustion; - Electricity distribution system, AC and DC - Station water distribution systems - Fire protection control systems - Compressed air systems - Principles of boiler and feed water chemical treatment - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - Mechanics - Thermodynamics - Properties of matter - Lubrication and bearings - Compressors - Feed water treatment - Power plant cycle - General responsibilities for power production plant operations - Coal handling plant - Bunkering - Steam power plant boiler water and steam systems - Boiler draft system - Fuels - Principles governing efficient combustion - Fuel conditioning and fuel firing equipment - Control of a boiler - Boiler efficiency - Electrical principles - Transformers - Electric motors - Switchgear - Heating of electrical equipment - Electrical protection - Schematic diagrams - Auxiliary supply systems - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate boiler plant and equipment - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety, continuity of supply and optimum efficiency. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |
| Occupational Standard: Power Generation Operation Level III |  |
| Unit Title | Operate and Monitor Steam Turbine |
| Unit Code | EIS PGO3 29 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate and monitor of an in-service steam turbine. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site and legislative requirements - Work requirements are identified from relevant personnel and documentation - Pre-operational checks are carried out on plant according to manufacturer recommendations and site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Turbine output is adjusted to meet demand whilst observing operating requirements and minimizing turbine life expenditure - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise/site procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - System and plant are observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze system faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise/site procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation - Appropriate personnel are notified when defects are detected |
| - Monitor plan | - Plant to be monitored/inspected is physically identified - Plant is monitored for normal operation or to detect deviations, - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance |

| Variable | Range |
| --- | --- |
| Safety standards | - may include relevant sections of Occupational Health and Safety legislation, enterprise safety rules, Ethiopian standards, national standards for plant and relevant state and federal legislation |
| Plant and equipment | - may include turbine and auxiliary plant; turbine lubrication and power/control oil systems; turbine by-pass system plant; condensate and feed water system plant to boiler economizer inlet NRV; condensate polishing plant; high and low pressure heating systems; steam condensing and cooling systems; condenser vacuum raising equipment; turbine glad sealing equipment; cooling water systems plant; boiler feed water degerating equipment; condensate and feed water chemical treatment equipment; electric motors AC and DC; electricity distribution systems AC and DC; station water distribution systems; hydraulic oil system; pumps; compressed air systems; computers with equipment control functions; supervisory, alarm, protection and control equipment; and diesel engine driven auxiliary plant. |
| Information and documentation sources | - may include verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; manufacturer operational and maintenance manuals; equipment and alarm manuals; enterprise log books; dedicated computer equipment; enterprise standing instructions; and plant notes |
| Tests | - may include loss of a major auxiliary controls response checks, stand-by plant “cut-in” tests, valves operating checks, on-load turbine valve and emergency governor operation test, performance tests, boiler feed pumps “low load leak off” valve operation tests, heater leak checks, alarm and protection tests |
| Faults and abnormal operating conditions | - may include loss of a major auxiliary; loss of electrical Generation to auxiliaries); turbine water ingress; excessively high turbine and turbine valves heating/cooling rates/differentials; high condenser vacuum; condenser tube leak; high dissolved oxygen, conductivity; high turbine bearing temperatures/vibration; high/low bearing oil temperature; loss of turbine bearing oil flow/pressure; low/high pressure heaters malfunctions; actuator/valve mechanical/electrical faults/failure; failed field devices; and turbine protection |
| Technical and operational indicators | - may include stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and or audible) |
| Appropriate personnel to consult, give or receive direction | - may include supervisor/team leader or equivalent; other coordinators of energy production or equivalent; technical and engineering officers or equivalent; maintenance staff; other operating staff and contractor staff |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | A candidate is able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Demonstrate an understanding of the essential knowledge and associated skills as described in 6) Essential Knowledge and Associated Skills of this unit - Demonstrate an appropriate level of skills enabling employment - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures. - Demonstrated performance across a representative range of contexts from the prescribed items below: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of turbine plant and equipment - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Knowledge of the system components and their interaction - Knowledge of turbine operational processes - Knowledge of turbine supervision and control systems - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Valve and actuator types and characteristics - Turbine speed control equipment - Heat transfer principles - The system components and interaction - Electricity distribution systems AC and DC - The system components and their interaction with other plant and equipment external to that covered by this competence - Station water distribution systems - Fire protection control systems - Compressed air systems - Principles of condensate and feed water chemical treatment - Turbine life expenditure and control - Turbine bypass system - Vacuum raising and turbine gland sealing systems - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - Mechanics - Thermodynamics - Properties of matter - Lubrication and bearings - Pumps - Liquid pumping systems - Power plant cycle - General responsibilities for power production plant operations - Turbine construction and operating principles - Turbine lubrication and oil systems - Condensate and feed water systems - Feed water heating and drainage systems - Circulating water system - Condenser systems - Turbine operations - Turbine efficiency - Electrical principles - Transformers - Electric motors - Switchgear - Heating of electrical equipment - Electrical protection - Schematic diagrams - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate turbine plant and equipment - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety, continuity of supply and optimum efficiency. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Shut Down Steam Turbine |
| Unit Code | EIS PGO3 30 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to conduct a shut-down of a steam turbine to where it can be placed at rest. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site and legislative requirements - Work requirements are identified from relevant personnel and documentation - The turbine shutdown schedule is ascertained from relevant documentation and in accordance with enterprise/site requirements - Pre-operational checks are carried out on plant according to manufacturer recommendations and site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Turbine output is adjusted to meet demand whilst observing operating requirements and minimizing turbine life expenditure - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise/site procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - System and plant are observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze system faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise/site procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance |

| Variable | Range |
| --- | --- |
| Safety standards | - may include relevant sections of Occupational Health and Safety legislation, enterprise safety rules, Ethiopian standards, national standards for plant and relevant state and federal legislation |
| Plant and equipment | - may include turbine and auxiliary plant turbine by-pass system plant; turbine lubrication and power/control oil systems; condensate and feed water system plant to boiler economizer inlet valve; condensate polishing plant; high and low pressure heating systems; steam condensing and cooling systems; condenser vacuum raising equipment; turbine gland sealing equipment; condenser cooling water systems plant; boiler feed water de-aerating equipment; condensate and feed water chemical treatment equipment; electric motors AC and DC; electricity distribution systems AC and DC; diesel engine driven auxiliary plant; station water distribution systems; hydraulic oil system; pumps; compressed air systems; computers with equipment control functions; supervisory, alarm, protection and control equipment; and pumps |
| Information and documentation sources | - may include verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; manufacturer operational and maintenance manuals; equipment and alarm manuals, enterprise log books, dedicated computer equipment, enterprise standing instructions and plant notes |
| Tests | - may include motor direction checks, stand-by plant “cut-in” tests, pre and post shut-down tests, valves operating checks, alarm and protection tests and turbine over speed tests |
| Technical and operational indicators | - may include stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and/or audible) |
| Operating environment | - may be remote from plant and equipment being operated; where operation is assisted by remote indicators of plant status and other parameters monitored; in wet/noisy/dusty/hot areas; during night periods; and during inclement or otherwise harsh weather conditions. |
| Unit operations | - may include emergency shut down; turbine shutdown, with or without turbine bypass, or by using forced cooling procedures |
| Faults and abnormal operating conditions | - may include loss of a major auxiliary; turbine water ingress; excessively high turbine and turbine valves heating/cooling rates/differentials; high condenser vacuum; condenser tube leak; high dissolved oxygen, conductivity; high turbine bearing temperatures/ vibration; high/low bearing oil temperature; loss of turbine bearing oil flow/pressure; low/high pressure heaters malfunctions; turbine bypass system malfunctions; actuator/valve mechanical/electrical faults/failure; failed field devices; and turbine protection |
| Appropriate personnel to consult, give or receive direction | - may include supervisor/team leader or equivalent; technical and engineering officers or equivalent; maintenance staff; power plant operations personnel or equivalent |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | A candidate is able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures - Demonstrate performance across a representative range of contexts from the prescribed items below: - Knowledge and application of relevant sections of: - Occupational Health and Safety legislation; - Statutory legislation; - Enterprise/site safety procedures; - Enterprise/site emergency procedures - Preparation and planning of work - Operation of turbine plant and equipment - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Knowledge of the system components and their interaction - Knowledge of turbine shutdown and cooling processes - Knowledge of turbine supervision and control systems - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Valve and actuator types and characteristics - Turbine speed control equipment - Heat transfer principles - The system components and interaction - Electricity distribution systems AC and DC - The system components and their interaction with other plant and equipment external to that covered by this competence - Station water distribution systems - Fire protection control systems - Power and control oil systems - Compressed air systems - Principles of condensate and feed water chemical treatment - Turbine life expenditure and control - Turbine bypass system - Vacuum raising and turbine gland sealing systems - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - Mechanics and Thermodynamics - Properties of matter - Lubrication and bearings - Pumps and Liquid pumping systems - Power plant cycle - General responsibilities for power production plant operations - Turbine construction and operating principles - Turbine lubrication and oil systems - Condensate and feed water systems - Feed water heating and drainage systems - Circulating water system and Condenser systems - Turbine operations and efficiency - Electrical principles - Transformers and Electric motors - Switchgear - Heating of electrical equipment - Electrical protection - Schematic diagrams - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate turbine plant and equipment - Apply turbine cooling techniques and procedures - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety, continuity of supply and optimum efficiency. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Apply Environment and Sustainable Energy Procedures |
| Unit Code | EIS PGO3 31 0612 |
| Unit Descriptor | This unit covers the implementation of relevant environmental procedures to specific projects/sites. It includes the identification of possible environmental risks and impacts, the undertaking of work in accordance with sustainable energy and energy conservation principles, the provision of re-cycling materials and the recording and reporting of environmental incidents. It also encompasses the process of reviewing and participating and contributing in environmental procedures according to established enterprise requirements. |

| Elements | Performance Criteria |  |
| --- | --- | --- |
| - Prepare to implement environmental and sustainable energy | - Works schedule(s), including drawings, plans, requirements, established procedures, and material lists, are received, analyzed and confirmed, if necessary, by site inspection. - Relevant requirements and established procedures for the work are communicated to all personnel and identified for all work sites. - OHS policies and procedures related to requirements and established procedures for the implementation of environmental and sustainable energy procedures are obtained and confirmed for the purposes of the work to be performed and communicated. - Environmental and sustainable energy procedures are identified, prioritized and combined within relevant projects, following consultation with others for completion within acceptable timeframes and in accordance with established procedures. - Hazards are identified; OHS risks assessed and control measures are prioritized, implemented and monitored including emergency exits kept clear according to established procedures. - Relevant work permits are obtained to access and perform work according to environmental and sustainable energy procedures, requirements and/or established procedures. - Resources including personnel, equipment, tools and personal protective equipment required for the job are obtained and confirmed in working order. - Relevant personnel at worksite are confirmed current in environmental and sustainable energy procedures and other related work procedures according to requirements. - Liaison and communication issues with other/authorized personnel, authorities, clients and land owners are resolved to carry out work where necessary. - Site is prepared according to the work schedule, taking into account environmental and sustainable energy procedures and the need to minimize risk and damage to property, commerce, and individuals in accordance with established procedures. - Personnel participating in the work, including plant operators and contractors, are fully briefed on environmental and sustainable energy procedures and respective responsibilities confirmed where applicable in accordance with established procedures. |  |
| - Carry out environmental and sustainable energy procedures | - OHS and sustainable energy principles and practices to reduce the incidents of accidents and minimize waste are monitored and followed in accordance with requirements and/or established procedures. - Use of power tools/equipment, techniques and practices are safely followed under environmental and sustainable energy procedures and, currency according to requirements confirmed. - Essential knowledge and associated skills are applied in the safe implementation of environmental and sustainable energy procedures to ensure completion in an agreed timeframe and, to quality standards with a minimum of waste according to requirements. - Relevant environmental procedures are applied to a specific project(s)/site(s). - Work is conducted in accordance with the principles of sustainable energy and energy conservation. - Provision for the re-cycling or re-use of materials is undertaken where possible. - Hazard warnings and safety signs are recognized and hazards and assessed OHS risks are reported to the immediate authorized persons for directions according to established procedures. - Unplanned events in the implementation of environmental and sustainable energy procedures are undertaken within the scope of established procedures. - Known solutions to a variety of problems are applied using acquired essential knowledge and associated skills on environmental and sustainable energy procedures. - Ongoing checks of quality of the work are undertaken in accordance with instructions and established procedures. |  |
| - Complete the environmental and sustainable energy procedures | - Work undertaken is checked against works schedule for conformance with requirements and environmental and sustainable energy procedures and, anomalies reported in accordance with established procedures. - Accidents and/or injuries are reported in accordance with requirements/established procedures, where applicable. - Work site is rehabilitated, cleaned up and made safe in accordance with environmental and sustainable energy procedures as well as other established procedures. - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with environmental and sustainable energy procedures as well as other established procedures. - Relevant work permit(s) are signed off and, environmental risks/incidents and potential impacts are reported and recorded according to requirements/established procedures. - Works completion records, reports, as installed /modified drawing and/or documentation and information are finalized and processed and appropriate personnel notified. |  |
| Variable | Range |  |
| Specific project(s)/site(s) | May include, but is not limited to: - buildings - plants construction and maintenance sites - workshops - laboratories - catchments - flood plains irrigation sites - wetlands - drainage sites - waste disposal sites - easements |  |
| Environmental risks | May include: - impact of mismanagement of chemicals - impact of mismanagement of biological agents - detrimental impact on limited water resources - spillage and waste disposal - detrimental impact on water catchment areas (urban and non-urban) - detrimental impact on rivers - waterways and channels - unsatisfactory trade waste treatment - and disposal processes - poor construction processes - planning deficiencies - neglect of sustainable energy principles |  |
| Environmental legislation | May include - relevant federal legislation - relevant local government by-laws - relevant government or quasi government policies and regulations - relevant community planning and development agreements (e.g. land care agreements) |  |
| Incidents of environmental impact | May include: - emissions to air - releases to/of water - releases to land - vibration and noise - disposal of waste - contamination of land - impact on communities - destruction of habitat - use of energy sources - waste generation processes and technologies - impact on culturally significant sites - may involve the implementation of emergency responses |  |
| Environmental management documentation | May include: - information on applicable environmental laws or other requirements - complaint records - training records - process information - process operational log books - inspection - maintenance and calibration records - relevant contractor and supplier information - incident reports - information on emergency preparedness and response - records of significant environmental impacts - chain of custody and compliance records - audit results - management reviews |  |
| The following constants and variables included in this unit: | - Appropriate and relevant persons (see Personnel) - Appropriate authorities - Assessing risk - Assessment - Authorization - Diagnostic, testing and restoration - Documenting detail work events, record keeping and or storage of information - Drawings and specifications - Emergency - Environmental and sustainable energy procedures - Environmental legislation | - Environmental management documentation - Established procedures - Fall prevention - Hazards and Identifying hazards - Inspect - Legislation - MSDS - Notification - OHS practices and issues - Permits and/or permits to work - Personnel - Quality assurance systems - Requirements - Testing procedures - Work clearance systems |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge to: - applying environmental and sustainable energy procedures - Occupational Health and Safety principles - Environmental Fundamentals |
| Underpinning Skills | Demonstrates skills to: - Material handling and the environment - Filtering and sampling oil and the environment - Enterprise specific - OHS instructions |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Assessment Methods | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Organize Personal Work Priorities and Development |
| Unit Code | EIS PGO3 32 0612 |
| Unit Descriptor | This unit covers the skills and knowledge required to organise own work schedules, monitor and obtain feedback on work performance, and maintain required levels of competence. |

| Elements | Performance Criteria |
| --- | --- |
| - Organise and complete own work schedule | - Work goals and objectives are understood, negotiated and agreed in accordance with organisational requirements - Workload is assessed and prioritised to ensure completion within identified timeframes - Factors affecting the achievement of work objectives are identified and incorporated into work plans - Business technology is used efficiently and effectively to manage and monitor scheduling and completion of tasks |
| - Monitor own work performance | - Personal work performance is accurately monitored and adjusted to ensure maintenance of job quality and customer service - Feedback on performance is actively sought from colleagues and clients and evaluated in the context of individual and group requirements - Variations in the quality of service and products are routinely identified and reported in accordance with organisational requirements |
| - Develop and maintain own competence level | - Personal knowledge and skills are assessed against competence standards performance descriptions to determine development needs and priorities - Opportunities for improvement are identified and planned in liaison with colleagues - Feedback is used to identify and develop ways to improve competence within available opportunities - New skills and opportunities to develop them are identified to achieve and maintain continuous learning - Records and documents relating to achievements and assessments are stored and maintained in accordance with own requirements |

| Variable | Range |
| --- | --- |
| They may use legislation, codes and national standards relevant to the workplace including: | - award and enterprise agreements and relevant industrial instruments - relevant legislation from all levels of government that affects business operation, especially in regard to Occupational Health and Safety and environmental issues, equal opportunity, industrial relations and anti-discrimination - relevant industry codes of practice |
| Work goals and objectives | May include: - sales targets - reporting deadlines - production targets - budgetary targets - team participation - team and individual learning goals |
| Organizational requirements | May be included in: - quality assurance and/or procedures manuals - goals, objectives, plans, systems and processes - legal and organizational policy/guidelines and requirements - business and performance plans - access and equity principles and practice - ethical standards - Occupational Health and Safety policies, procedures and programs - quality and continuous improvement processes and standards - defined resource parameters |
| Factors affecting the achievement of work objectives | May include: - competing work demands - technology/equipment breakdowns - unforeseen incidents - workplace hazards, risks and controls - environmental factors such as time, weather, etc - resource and materials availability - budget constraints |
| Business technology | May include: - computers - computer applications - modems - personal schedulers - e-mail - internet/extranet/intranet - photocopiers - scanners - facsimile machines - printers |
| Feedback on performance | May include: - formal/informal performance appraisals - obtaining feedback from supervisors and colleagues - obtaining feedback from clients - personal, reflective behaviour strategies - routine organizational methods for monitoring service delivery |
| Competence standards are standards which measure: | - all those personal and technical knowledge, skills and attitudinal aspects (competencies) required to effectively and efficiently undertake the day to day tasks and duties of the practitioner's work function |
| Opportunities for improvement | May include: - coaching, mentoring and/or supervision - formal/informal learning programs - internal/external training provision - work experience/exchange/opportunities - personal study - career planning/development - performance appraisals - workplace skills assessment - quality assurance assessments and recommendations - Recognition of Prior Learning |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Preparing work plans - Prioritizing and scheduling work objectives and tasks - Seeking and acting on feedback from clients and colleagues - Reviewing own work performance against achievements through self assessment - Accessing learning opportunities to extend own personal work competencies |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - The relevant legislation from all levels of government that affects business operation, especially in regard to Occupational Health and Safety and environmental issues, equal opportunity, industrial relations and anti-discrimination - Understanding the organization’s policies, plans and procedures - Knowledge of methods to elicit, analyze and interpret feedback - Understanding techniques to prepare personal plans and establish priorities - Knowledge of the principles and techniques of goal setting, measuring performance, time management and personal assessment - Understanding processes to interpret competence standards and apply them to self |
| Underpinning Skills | Demonstrates skills to: - Literacy for reading and understanding the organization’s procedures, own work goals and objectives - Proofreading and editing skills for checking own work - Planning to organize work priorities and arrangements - Problem solving to solve routine problems - Communication including giving and receiving constructive feedback on development needs - Technology including the ability to select and use technology appropriate to a task - Ability to relate to people from a range of social, cultural and ethnic backgrounds and physical and mental abilities |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Support Innovation and Change |
| Unit Code | EIS PGO3 33 0612 |
| Unit Descriptor | This unit covers the skills and knowledge required to contribute ideas for improved work practices and to support the implementation of innovative work practices to effect change. |

| Elements | Performance Criteria |
| --- | --- |
| - Clarify ideas to improve work practices | - Advantages, disadvantages and consequences of ideas are identified - Options are considered and discussed with colleagues - Feedback is reflected and used to improve ideas - Methods of communicating ideas are considered |
| - Advise on innovative work practices | - Advice is clear and consistent with organizational requirements - Advice provided is realistic and relevant within context of current work practices and objectives - Recommendations are provided on required resources, timelines and roles and responsibilities for successful implementation of change - Information about risk factors is used to identify potential constraints - Feedback on innovations is obtained from designated individuals and groups |
| - Support implementation of new work practices | - Work schedules are adjusted to incorporate necessary modifications to existing work patterns and routines - Business technology is used to manage and provide access to information on progress towards objectives of change - Mentoring and coaching is provided to support individuals and groups in the introduction of change - Consultation is undertaken with individuals and teams to promote participation in change - Advice is provided on the impact of change in a manner accessible to designated personnel |

| Variable | Range |
| --- | --- |
| Organizational requirements | May be included in: - quality assurances and/or procedures manuals - goals, objectives, plans, systems and processes - legal and organizational policy/guidelines and requirements - Occupational Health and Safety policies, procedures and programs - business and performance plans - anti-discrimination and related policy - access and equity principles and practice - ethical standards - quality and continuous improvement processes and standards - defined resource parameters - consultation and communication processes |
| Roles and responsibilities | May include: - job description and employment arrangements - organization’s policy relevant to work role - team structures - supervision and accountability requirements including Occupational Health and Safety - skills, training and competencies - Code of Conduct |
| Change | May include: - implementation of new work practices and/or services - organizational restructures - introduction of new technology - change in work location - new client base - staffing changes - job role changes - work priorities |
| Risk factors | May include: - disturbances to workflow - confusion/loss of confidence - cost blow out - supplier problems - product/service delivery problems - time delays |
| Feedback on innovations | May be obtained from: - customer satisfaction surveys - interviews - comments from colleagues - analysis of qualitative/quantitative data - recommendations - management decisions - quality assurance data |
| Designated individuals and groups | May include: - supervisor - clients - colleagues - external organization - committee - line management |
| Business technology | May include: - computers - computer applications - fax - e-mail - internet/extranet/intranet |
| Mentoring and coaching | May include: - providing feedback to another team member - fair and ethical practice - non-discriminatory processes and activities - respecting the contribution of all participants and giving credit for achievements - presenting and promoting a positive image of the collective group - problem solving - providing encouragement |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Ideas for change are communicated effectively - Giving feedback and advice to colleagues on processes of implementation - Change is supported |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - The relevant legislation from all levels of government that affects business operation, especially in regard to Occupational Health and Safety and environmental issues, equal opportunity, industrial relations and anti-discrimination - Understanding the organization’s policies, plans and procedures - Knowledge of own roles and responsibilities - Understanding the context of change - Principles and techniques of identifying strengths and weaknesses - Understanding the impacts of change - Knowledge of critical success factors and how they relate to change - Processes to interpret and apply feedback - Principles and techniques of goal setting and recording priorities |
| Underpinning Skills | Demonstrates skills to: - Literacy to read and understand a variety of texts; prepare general information and papers according to target audience; spell with accuracy; use grammar and punctuation effectively as an aid to understanding - Proofreading and editing to ensure clarity of meaning and conformity to organizational requirements, check for accuracy and consistency of information - Communication including active listening, questioning and clarifying, presenting and reporting - Ability to accept positive and negative feedback - Planning to organize work priorities and arrangements - Team work for working as a member of a team during periods of change - Consultation to maintain effective relationships during periods of change - Ability to relate to people from a range of social, cultural and ethnic backgrounds and physical and mental abilities |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Apply Quality Control |
| Unit Code | EIS PGO3 34 0612 |
| Unit Descriptor | This unit covers the knowledge, attitudes and skills required in applying quality control in the operations and workplace. |

| Elements | Performance Criteria |
| --- | --- |
| - Implement quality standards | - Agreed quality standard and procedures are acquired and confirmed - Standard procedures are introduced to organizational staff / personnel. - Quality standard and procedures documents are provided to employees in accordance with the organization policy. - Standard procedures are revised / updated when necessary |
| - Assess quality of service delivered | - Services delivered are checked against organization quality standards and specifications - Service delivered are evaluated using the appropriate evaluation parameters and in accordance with organization standards - Causes of any identified faults are identified and corrective actions are taken in accordance with organization policies and procedures |
| - Record information | - Basic information on the quality performance is recorded in accordance with organization procedures - Records of work quality are maintained according to the requirements of the organization |
| - Study causes of quality deviations | - Causes of deviations from final outputs or services are investigated and reported in accordance with organization procedures - Suitable preventive action is recommended based on organization quality standards and identified causes of deviation from specified quality standards of final service or output |
| - Complete documentation | - Information on quality and other indicators of service performance is recorded. - All service processes and outcomes are recorded. |

| Variable | Range |
| --- | --- |
| Quality check | - Check against design / specifications - Visual inspection and Physical inspection |
| Quality standards | - materials - components - process / procedures |
| Quality parameters | - standard design / specifications - material specification |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Checked completed work continuously against organization standard - Identified and isolated faulty or poor service - Checked service delivered against organization standards - Identified and applied corrective actions on the causes of identified faults or error - Recorded basic information regarding quality performance - Investigated causes of deviations of services against standard - Recommended suitable preventive actions |
| Underpinning Knowledge | Demonstrates knowledge of: - Relevant quality standards, policies and procedures - Characteristics of services - Safety environment aspects of service processes - Evaluation techniques and quality checking procedures - Workplace procedures and reporting procedures |
| Underpinning Skills | Demonstrates skills to: - interpret work instructions, specifications and standards appropriate to the required work or service - carry out relevant performance evaluation - maintain accurate work records - meet work specifications and requirements - communicate effectively within defined workplace procedures |
| Resource Implications | The following resources should be provided: - Access to relevant workplace or appropriately simulated environment and materials relevant to the activity/ task |
| Methods of Assessment | Competence may be accessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the workplace or in a simulated workplace setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Monitor Implementation of Work Plan/Activities |
| Unit Code | EIS PGO3 35 0612 |
| Unit Descriptor | This unit covers competence required to oversee and monitor the quality of work operations within an enterprise. This unit may be carried out by team leaders or supervisors. |

| Elements | Performance Criteria |
| --- | --- |
| - Monitor and improve workplace operations | - Efficiency and service levels are monitored on an ongoing basis. - Operations in the workplace support overall enterprise goals and quality assurance initiatives. - Quality problems and issues are promptly identified and adjustments are made accordingly. - Procedures and systems are changed in consultation with colleagues to improve efficiency and effectiveness. - Colleagues are consulted about ways to improve efficiency and service levels. |
| - Plan and organise workflow | - Current workload of colleagues is accurately assessed. - Work is scheduled in a manner which enhances efficiency and customer service quality. - Work is delegated to appropriate people in accordance with principles of delegation. - Workflow is assessed against agreed objectives and timelines and colleagues are assisted in prioritisation of workload. - Input is provided to appropriate management regarding staffing needs. |
| - Maintain workplace records | - Workplace records are accurately completed and submitted within required timeframes. - Where appropriate completion of records is delegated and monitored prior to submission. |
| - Solve problems and make decisions | - Workplace problems are promptly identified and considered from an operational and customer service perspective. - Short term action in initiated to resolve the immediate problem where appropriate. - Problems are analysed for any long term impact and potential solutions are assessed and actioned in consultation with relevant colleagues. - Where problem is raised by a team member, they are encouraged to participate in solving the problem. - Follow up action is taken to monitor the effectiveness of solutions in the workplace. |

| Variables | Range |
| --- | --- |
| Problems | May include but not limited to: - difficult customer service situations - equipment breakdown/technical failure - delays and time difficulties - competence |
| Workplace records | May include but is not limited to: - staff records and regular performance reports |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment must confirm appropriate knowledge and skills to: - ability to effectively monitor and respond to a range of common operational and service issues in the workplace - understanding of the role of staff involved in workplace monitoring - knowledge of quality assurance, principles of workflow planning, delegation and problem solving |
| Underpinning Knowledge and Attitudes | Demonstrate knowledge of: - roles and responsibilities in monitoring work operations - overview of leadership and management responsibilities - principles of work planning and principles of delegation - typical work organization methods appropriate to the sector - quality assurance principles and time management - problem solving and decision making processes - industrial and/or legislative issues which affect short term work organization as appropriate to industry sector |
| Underpinning Skills | Demonstrate skills to: - monitoring and improving workplace operations - planning and organizing workflow - maintaining workplace records |
| Resource Implications | Access is required to real or appropriately simulated work areas, materials and equipment |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the workplace or in a simulated workplace setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Lead Workplace Communication |
| Unit Code | EIS PGO3 36 0612 |
| Unit Descriptor | This unit covers the knowledge, attitudes and skills needed to lead in the dissemination and discussion of information and issues in the workplace. |

| Elements | Performance Criteria |
| --- | --- |
| 1. Communicate information about workplace processes | - Appropriate communication method is selected - Multiple operations involving several topics areas are communicated accordingly - Questions are used to gain extra information - Correct sources of information are identified - Information is selected and organized correctly - Verbal and written reporting is undertaken when required - Communication skills are maintained in all situations |
| 2. Lead workplace discussion | - Response to workplace issues are sought - Response to workplace issues are provided immediately - Constructive contributions are made to workplace discussions on such issues as production, quality and safety - Goals/objectives and action plan undertaken in the workplace are communicated. |
| 3. Identify and communicate issues arising in the workplace | - Issues and problems are identified as they arise - Information regarding problems and issues are organized coherently to ensure clear and effective communication - Dialogue is initiated with appropriate staff/personnel - Communication problems and issues are raised as they arise |

| Variable | Range |  |
| --- | --- | --- |
| Methods of communication | - Non-verbal gestures - Verbal - Face to face - Two-way radio - Speaking to groups | - Using telephone - Written - Using Internet - Cell phone |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge to: - Dealt with a range of communication/information at one time - Made constructive contributions in workplace issues - Sought workplace issues effectively - Responded to workplace issues promptly - Presented information clearly and effectively written form - Used appropriate sources of information - Asked appropriate questions - Provided accurate information |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Organization requirements for written and electronic communication methods - Effective verbal communication methods |
| Underpinning Skills | Demonstrates skills to: - Organize information - Understand and convey intended meaning - Participate in variety of workplace discussions - Comply with organization requirements for the use of written and electronic communication methods |
| Resources Implication | The following resources must be provided: variety of information, communication tools, simulated workplace |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation/Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the workplace or in a simulated workplace setting |

| Occupational Standard :Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Lead Small Teams |
| Unit Code | EIS PGO3 37 0612 |
| Unit Descriptor | This unit covers the knowledge, attitudes and skills to lead small teams including setting and maintaining team and individual performance standards. |

| Elements | Performance Criteria |
| --- | --- |
| - Provide team leadership | - Work requirements are identified and presented to team members - Reasons for instructions and requirements are communicated to team members - Team members’ queries and concerns are recognized, discussed and dealt with |
| - Assign responsibilities | - Duties and responsibilities are allocated having regard to the skills, knowledge and aptitude required to properly undertake the assigned task and according to company policy - Duties are allocated having regard to individual preference, domestic and personal considerations, whenever possible |
| - Set performance expectations for team members | - Performance expectations are established based on client needs and according to assignment requirements - Performance expectations are based on individual team members duties and area of responsibility - Performance expectations are discussed and disseminated to individual team members |
| - Supervised team performance | - Monitoring of performance takes place against defined performance criteria and/or assignment instructions and corrective action taken if required - Team members are provided with feedback, positive support and advice on strategies to overcome any deficiencies - Performance issues which cannot be rectified or addressed within the team are referenced to appropriate personnel according to employer policy - Team members are kept informed of any changes in the priority allocated to assignments or tasks which might impact on client/customer needs and satisfaction - Team operations are monitored to ensure that employer/ client needs and requirements are met - Follow-up communication is provided on all issues affecting the team - All relevant documentation is completed in accordance with company procedures |

| Variable | Range |
| --- | --- |
| Work requirements | - client profile - assignment instructions |
| Team member’s concerns | - roster/shift details |
| Monitor performance | - formal process - informal process |
| Feedback | - formal process - informal process |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - maintained or improved individuals and/or team performance given a variety of possible scenario - assessed and monitored team and individual performance against set criteria - represented concerns of a team and individual to next level of management or appropriate specialist and to negotiate on their behalf - allocated duties and responsibilities, having regard to individual’s knowledge, skills and aptitude and the needs of the tasks to be performed - set and communicated performance expectations for a range of tasks and duties within the team and provided feedback to team members |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of - maintaining or improving individuals and/or team performance given a variety of possible scenario - assessing and monitoring team and individual performance against set criteria - representing concerns of a team and individual to next level of management or appropriate specialist and to negotiate on their behalf - allocating duties and responsibilities, having regard to individual’s knowledge, skills and aptitude and the needs of the tasks to be performed - setting and communicating performance expectations for a range of tasks and duties within the team and providing feedback to team members |
| Underpinning Skills | - communication skills required for leading teams - informal performance counseling skills - team building skills - negotiating skills |
| Resource Implications | - access to relevant workplace or appropriately simulated environment where assessment can take place - materials relevant to the proposed activity or task |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation/Demonstration with Oral questioning |
| Context of Assessment | - Competence may be assessed individually in the actual workplace or through accredited institution |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Improve Business Practice |
| Unit Code | EIS PGO3 38 0612 |
| Unit Descriptor | This unit covers the skills, knowledge and attitudes required in promoting, improving and growing business operations. |

| Elements | Performance Criteria |
| --- | --- |
| - Diagnose the business | - Data required for diagnosis is determined and acquired - Competitive advantage of the business is determined from the data - SWOT analysis of the data is undertaken |
| - Benchmark the business | - Sources of relevant benchmarking data are identified - Key indicators for benchmarking are selected in consultation with key stakeholders - Like indicators of own practice are compared with benchmark indicators - Areas for improvement are identified |
| - Develop plans to improve business performance | - A consolidated list of required improvements is developed - Cost-benefit ratios for required improvements are determined - Work flow changes resulting from proposed improvements are determined - Proposed improvements are ranked according to agreed criteria - An action plan to implement the top ranked improvements is developed and agreed - Organizational structures are checked to ensure they are suitable |
| - Develop marketing and promotional plans | - The practice vision statement is reviewed - Practice objectives are developed/reviewed - Target markets are identified/refined - Market research data is obtained - Competitor analysis is obtained - Market position is developed/reviewed - Practice brand is developed - Benefits of practice/practice products/services are identified - Promotion tools are selected/developed |
| - Develop business growth plans | - Plans to increase yield per existing client are developed - Plans to add new clients are developed - Proposed plans are ranked according to agreed criteria - An action plan to implement the top ranked plans is developed and agreed - Practice work practices are reviewed to ensure they support growth plans |
| - Implement and monitor plans | - Implementation plan is developed in consultation with all relevant stakeholders - Indicators of success of the plan are agreed - Implementation is monitored against agreed indicators - Implementation is adjusted as required |

| Variable | Range |
| --- | --- |
| Data required includes: | - organization capability - appropriate business structure - level of client service which can be provided - internal policies, procedures and practices - staff levels, capabilities and structure - market, market definition - market changes/market segmentation - market consolidation/fragmentation - revenue - level of commercial activity - expected revenue levels, short and long term - revenue growth rate - break even data - pricing policy - revenue assumptions - business environment - economic conditions - social factors - demographic factors - technological impacts - political/legislative/regulative impacts - competitors, competitor pricing and response to pricing - competitor marketing/branding - competitor products |
| Competitive advantage includes: | - services/products - fees - location - timeframe |
| Objectives should be 'SMART' , that | - Specific - Measurable - Achievable - Realistic - Time defined |
| Market research data includes: | - data about existing clients - data about possible new clients - data from internal sources - data from external sources such as: - trade associations/journals - Yellow Pages small business surveys - libraries - Internet - Chamber of Commerce - client surveys - industry reports - secondary market research - primary market research such as: - telephone surveys - personal interviews - mail surveys |
| Competitor analysis | - competitor offerings - competitor promotion strategies and activities - competitor profile in the market place |
| SWOT analysis includes: | - internal strengths such as staff capability, recognized quality - internal weaknesses such as poor morale, under-capitalization, poor technology - external opportunities such as changing market and economic conditions - external threats such as industry fee structures, strategic alliances, competitor marketing |
| Key indicators may include: | - salary cost and staffing - personnel productivity (particularly of principals) - profitability - fee structure - client base - size staff/principal - overhead/overhead control |
| Organizational structures include: | - Legal structure (partnership, Limited Liability Company, etc.) - organizational structure/hierarchy - reward schemes |
| Market position should include data on: | - product - the good or service provided - product mix - the core product - what is bought - the tangible product - what is perceived - the augmented product - total package of consumer - features/benefits - product differentiation from competitive products - new/changed products - Price and pricing strategies (cost plus, supply/demand, ability to pay, etc.) - Pricing objectives (profit, market penetration, etc.) - cost components - market position - distribution strategies - marketing channels - promotion - promotional strategies - target audience - communication - promotion budget |
| Practice brand may include: | - practice image - practice logo/letter head/signage - phone answering protocol - facility decor - slogans - templates for communication/invoicing - style guide - writing style - AIDA (attention, interest, desire, action) |
| Benefits may include: | - features as perceived by the client - benefits as perceived by the client |
| Promotion tools include: | - networking and referrals - seminars - advertising - press releases - publicity and sponsorship - brochures - newsletters (print and/or electronic) - websites - direct mail - telemarketing/cold calling |
| Yield per existing client may be increased by: | - raising charge out rates/fees - packaging fees - reduce discounts - sell more services to existing clients |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | The candidate must be able to demonstrate: - ability to identify the key indicators of business performance - ability to identify the key market data for the business - knowledge of a wide range of available information sources - ability to acquire information not readily available within a business - ability to analyze data and determine areas of improvement - ability to negotiate required improvements to ensure implementation - ability to evaluate systems against practice requirements - and form recommendations and/or make recommendations - ability to assess the accuracy and relevance of information |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - data analysis - communication skills - computer skills to manipulate data and present information - negotiation skills - problem solving - planning skills - marketing principles - ability to acquire and interpret relevant data - current product and marketing mix - use of market intelligence - development and implementation strategies of promotion and growth plans |
| Underpinning Skills | Demonstrates skill in: - data analysis and manipulation - ability to acquire and interpret required data, current practice systems and structures and sources of relevant benchmarking data - applying methods of selecting relevant key benchmarking indicators - communication skills - working and consulting with others when developing plans for the business - planning skills, negotiation skills and problem solving using computers to manipulate, present and distribute information |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral questioning |
| Context of Assessment | Competence may be assessed in the workplace or in a simulated workplace setting |

| Occupational Standard: Power Generation Operation Level III |  |
| --- | --- |
| Unit Title | Maintain Quality System and Continuous Improvement Processes (Kaizen) |
| Unit Code | EIS PGO3 39 1012 |
| Unit Descriptor | This unit of competence covers the skills and knowledge required to prevent process improvements in their own work from slipping back to former practices or digressing to less efficient practices. It covers responsibility for the day- to-day operation of the work/functional area and ensuring that quality system requirements are met and that continuous improvements are initiated and institutionalized. |

| Elements | Performance Criteria |
| --- | --- |
| - Develop and maintain quality framework within work area | - Distribute and explain information about the enterprise's quality system to personnel - Encourage personnel to participate in improvement processes and to assume responsibility and authority - Allocate responsibilities for quality within work area in accordance with quality system - Provide coaching and mentoring to ensure that personnel are able to meet their responsibilities and quality requirements |
| - Maintain quality documentation | - Identify required quality documentation, including records of improvement plans and initiatives - Prepare and maintain quality documentation and keep accurate data records - Maintain document control system for work area - Contribute to the development and revision of quality manuals and work instructions for the work area - Develop and implement inspection and test plans for quality controlled products |
| - Facilitate the application of standardized procedures | - Ensure all required procedures are accessible by relevant personnel - Assist personnel to access relevant procedures, as required - Facilitate the resolution of conflicts arising from job - Facilitate the completion of required work in accordance with standard procedures and practices. |
| - Provide training in quality systems and improvement processes | - Analyze roles, duties and current competency of relevant personnel - Identify training needs in relation to quality system and continuous improvement processes (kaizen) - Identify opportunities for skills development and/or training programs to meet needs - Initiate and monitor training and skills development programs - Maintain accurate training record |
| - Monitor and review performance | - Review performance outcomes to identify ways in which planning and operations could be improved - Use the organization’s systems and technology to monitor and review progress and to identify ways in which planning and operations could be improved - Enhance customer service through the use of quality improvement techniques and processes - Adjust plans and communicate these to personnel involved in their development and implementation |
| - Build continuous improvement process | - Organize and facilitate improvement team - Encourage work group members to routinely monitor key process indicators - Build capacity in the work group to critically review the relevant parts of the value chain - Assist work group members to formalize improvement suggestions - Facilitate relevant resources and assist work group members to develop implementation plans - Monitor implementation of improvement plans taking appropriate actions to assist implementation where required. |
| - Facilitate the identification of improvement opportunities | - Analyze the job completion process - Ask relevant questions of job incumbent - Encourage job incumbents to conceive and suggest improvements - Facilitate the trying out of improvements, as appropriate |
| - Evaluate relevant components of quality system | - Undertake regular audits of components of the quality system that relate to the work area - Implement improvements in the quality system in accordance with own level of responsibility and workplace procedures - Facilitate the updating of standard procedures and practices - Ensure the capability of the work team aligns with the requirements of the procedure |

| Variable | Range |
| --- | --- |
| Coaching and mentoring | May refer to: - providing assistance with problem-solving - providing feedback, support and encouragement - teaching another member of the team, usually focusing on a specific work task or skill |
| Continuous improvement processes may include: | May include: - cyclical audits and reviews of workplace, team and individual performance - evaluations and monitoring of effectiveness - implementation of quality systems, such as International Standardization for Organization (ISO) - modifications and improvements to systems, processes, services and products - policies and procedures which allow the organization to systematically review and improve the quality of its products, services and procedures - seeking and considering feedback from a range of stakeholders - Kaizen - Enterprise-specific improvement systems |
| Technology | May include: - computerized systems and software such as databases, project management and word processing - telecommunications devices - any other technology used to carry out work roles and responsibilities |
| Customer service | May be: - internal or external - to existing, new or potential clients |
| Key process indicators | Key process indicators may include: - statistical process control data/charts - orders - lost time, injury and other OHS records - equipment reliability charts, etc. |
| Continuous improvement tools | May include: - statistics - cause and effect diagrams - fishbone diagram - Pareto diagrams - run charts - X bar R charts - PDCA - Sigma techniques - balanced scorecards - benchmarking - performance measurement - upstream and downstream customers - internal and external customers immediate and/or final |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Evidence of the following is essential: - taking active steps to implement, monitor and adjust plans, processes and procedures to improve performance - supporting others to implement the continuous improvement system/processes, and to identify and report opportunities for further improvement - knowledge of principles and techniques associated with continuous improvement systems and processes - assist others to follow standard procedures and practices - assist others make improvement suggestions - standardize and sustain improvements Assessors should ensure that candidates can: - implement and monitor defined quality system - requirements and initiate continuous improvements within the work area - apply effective problem identification and problem solving techniques - strengthen customer service through a focus on continuous improvement - implement, monitor and evaluate quality systems in the work area - initiate quality processes to enhance the quality of performance of individuals and teams in the work area - gain commitment of individuals/teams to quality principles and practices - implement effective communication strategies - encourage ideas and feedback from team members when developing and refining techniques and processes - analyze training needs and implement training programs - prepare and maintain quality and audit documentation |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - principles and techniques associated with: - benchmarking - best practice - change management - continuous improvement systems and processes - quality systems - range of procedures available and their application to different jobs - applicability of takt time and muda to jobs - identification and possible causes of variability in jobs - continuous improvement process for organization - questioning techniques - methods of conceiving improvements - suggestion and try out procedures - relevant OHS - quality measurement tools for use in continuous improvement processes - established communication channels and protocols - communication/reporting protocols - continuous improvement principles and process - enterprise business goals and key performance indicators - enterprise information systems management - enterprise organizational structure, delegations and responsibilities - policy and procedure development processes - relevant health, safety and environment requirements - relevant national and international quality standards and protocols - standard operating procedures (SOPs) for the technical work performed in work area - enterprise quality system |
| Underpinning Skills | Demonstrates skills to: - coach and mentor team members - gain the commitment of individuals and teams to continuously improve - innovate or design better ways of performing work - communicate with relevant people - prioritize and plan tasks related to encouraging and improving use of standardized procedures - negotiate with others to resolve conflicts and gain commitment to standardized procedures - facilitate other employees in improvement activities - implement and monitor defined quality system requirements - initiate continuous improvements within the work area - apply effective problem identification and problem solving techniques - strengthen customer service through a focus on continuous improvement - implement, monitor and evaluate quality systems - implement effective communication strategies - encourage ideas and feedback from team members when developing and refining techniques and processes - analyze training needs and implementing training programs - prepare and maintain quality and audit documentation |
| Resources Implication | Access may be required to: - workplace procedures and plans relevant to work area - specifications and documentation relating to planned, currently being implemented, or implemented changes to work processes and procedures relevant to the candidate - documentation and information in relation to production, waste, overheads and hazard control/management - enterprise quality manual and procedures - quality control data/records |
| Methods of Assessment | Competence in this unit may be assessed by using a combination of the following to generate evidence: - demonstration in the workplace - suitable simulation - oral or written questioning to assess knowledge of procedures and contingency management; principles and techniques associated with change management - review of the audit process and outcomes generated by the candidates Those aspects of competence dealing with improvement processes could be assessed by the use of suitable simulations and/or a pilot plant and/or a range of case studies and scenarios. In all cases, practical assessment should be supported by questions to assess underpinning knowledge and those aspects of competence which are difficult to assess directly. |
| Context of Assessment | Competence may be assessed in the work place or in a simulated workplace setting / environment. |

NTQF Level IV

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Monitor Compliance with OHS Policy and Procedures |
| Unit Code | EIS PGO4 01 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to implement and monitor the organization’s Occupational Health and Safety policies, procedures and programs in the relevant work area to achieve and maintain Occupational Health and Safety standards. This unit describes generic Occupational Health and Safety competencies applicable for employees with supervisory responsibilities to be exhibited in the work area of responsibility. It involves application of relevant Occupational Health and Safety legislation and codes of practice, including duties and responsibilities of all parties under the general duty of care. It requires the ability to implement and comply with workplace procedures in hazard identification and risk control, observation of others safe practices during work operations and conduct of participative arrangements for maintaining health and safety in the workplace. |

| Elements | Performance Criteria |
| --- | --- |
| - Provide information to the work group about Occupational Health and Safety and the organization’s policies, procedures and programs | - Relevant provisions of Occupational Health and Safety legislation and codes of practice are accurately and clearly explained to the work group - Information on the organization’s Occupational Health and Safety policies, procedures and programs is provided in a readily accessible manner and is accurately and clearly explained to the work group - Information about identified hazards and the outcome of risk assessment and risk control procedures is regularly provided and is accurately and clearly explained to the work group - Where appropriate, the teams and individuals roles and responsibilities within the team are identified, and, where required, assist in the provision of on-the-job training |
| - Implement and monitor participative arrangements for the management of OHS | - Organizational procedures for consultation over Occupational Health and Safety issues are implemented and monitored to ensure that all members of the work group have the opportunity to contribute - Issues raised through consultation are dealt with and resolved promptly, or referred to the appropriate personnel for resolution in accordance with workplace procedures for issue resolution - The outcomes of consultation over Occupational Health and Safety issues are made known to the work group promptly |
| - Implement and monitor the organization’s procedures for identifying hazards and assessing risks | - Existing and potential hazards in the work area are identified and reported so that risk assessment and risk control procedures can be applied |
| - Implement and monitor the organization’s procedures for controlling risks | - Work procedures to control risks are implemented and adherence to them by the work group is monitored in accordance with workplace procedures - Existing risk control measures are monitored and results reported regularly in accordance with workplace procedures - Inadequacies in existing risk control measures are identified in accordance with the hierarchy of control and reported to designated personnel - Inadequacies in resource allocation for implementation of risk control measures are identified and reported to designated personnel |
| - Implement the organization’s procedures for dealing with hazardous events | - Workplace procedures for dealing with hazardous events are implemented whenever necessary to ensure that prompt control action is taken - Hazardous events are investigated to identify their cause in accordance with investigation procedures - Control measures to prevent recurrence, and minimize risks of hazardous events, are implemented, based on the hierarchy of control if within scope of responsibilities and competencies, or alternatively referred to designated personnel for implementation |
| - Implement and monitor the organization’s procedures for providing OHS training | - Occupational Health and Safety training needs are identified accurately, specifying gaps between Occupational Health and Safety competencies required and those held by work group members - Arrangements are made for fulfilling identified Occupational Health and Safety training needs in both on and off-the-job training programs in consultation with relevant parties |
| - Implement and monitor the organization’s procedure for maintaining OHS records | - Occupational Health and Safety records for work area are accurately and legibly completed in accordance with workplace requirements for Occupational Health and Safety records and legal requirements for the maintenance of records of occupational injury and disease - Aggregate information from the area’s Occupational Health and Safety records is used to identify hazards and monitor risk control procedures within work area according to organizational procedures and within scope of responsibilities and competencies |

| Variable | Range |
| --- | --- |
| Hazardous events | May include but not limited to: - Include accidents, fires and emergencies such as chemical spills or bomb scare. Procedures for dealing with them include evacuation, chemical containment and First Aid procedures |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Evidence of understanding of hierarchy of control (the preferred order of risk control measures for most to least preferred, i.e. elimination, engineering controls, administrative controls and personal protective equipment) is required. - Evidence of understanding of the significance of other management systems and procedures for Occupational Health and Safety is required. - Evidence of knowledge of literacy levels and communication skills of work group members and consequent suitable communication techniques is required. - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures including identification of hazards and controlling of risks - Enterprise /site emergency procedures and techniques - Environmental legislation - Plant status - Participative arrangements including safety committees - Provision of OHS instruction to others - Maintenance of Occupational Health and Safety records |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise /site emergency procedures and techniques - Apply enterprise recording procedures - Locate and/or identify relevant plant and equipment - Identify plant status - Communicate effectively. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Conduct Multiple Energy Source Isolation Procedures |
| Unit Code | EIS PGO4 02 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required for the application of permit to work procedures where multiple energy sources require isolation for safe access to high voltage, low voltage or mechanical apparatus. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for isolation, de-isolation and restoration | - Work requirements are identified from request/work orders or equivalent and clarified/confirmed with the appropriate parties or by site inspection - Safety issues are identified to comply with statutory, enterprise and site requirements - Materials, equipment and resources required to satisfy the job plan are identified, requisitioned, obtained and inspected for compliance with job specifications - Work is planned in detail with the responsible issuing officer, including sequencing and prioritizing of work, and the maintenance of plant security and capacity in accordance with permit/site requirements - Job requirements including permits/risk assessment are coordinated with other personnel involved in, or affected by, the isolation in accordance with enterprise/site requirements - Where appropriate the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of on-the-job training |
| - Perform isolation | - Plant to be isolated is correctly identified - Isolation is performed in accordance with enterprise/site permit to work procedures - Isolations are confirmed with others involved in, or affected by, the work in accordance with enterprise/site procedures |
| - Perform de-isolation and restoration | - De-isolation and restoration of plant is performed in accordance with permit to work procedures - De-isolations are confirmed with others involved in, or affected by, the work in accordance with enterprise/site procedures - Work completion details are finalized in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Other personnel involved | May include but not limited to: - Issuing officer, isolating officers, recipient in charge and testing officer or their equivalent. |
| Permits | May include but not limited to: - Any documentation/forms approved for use by the enterprise safety rules and permit to work procedures. |
| Work completion details | May include but not limited to: - log books, computer input |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures, Applying isolation procedures - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Environmental legislation - Plant status - Relevant plant and equipment its location and operating parameters - Enterprise recording procedures - Isolating procedures - Communication principles and procedures - Computers and software - Introduction to power production plant - Typical arrangement of power production plant - Thermodynamics - Properties of matter - Power plant cycle - General responsibilities for power production plant operations - Electrical principles - Transformers - Switchgear - Electrical protection - Single line and protection diagrams - Auxiliary supply systems - High voltage systems |
| Underpinning Skills | Demonstrates skills to: - High voltage switching procedures - Safe operating principles - Specific skills needed to achieve the Performance Criteria: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate and/or identify relevant plant and equipment - Operate plant within design parameters - Identify plant status - Prepare plant/equipment for operation - Communicate effectively - Apply isolating procedures - Plan and prioritize work - Use drawings, diagrams and symbols. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Coordinate and Direct Switching Program |
| Unit Code | EIS PGO4 03 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to coordinate and direct resources when managing a switching program. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for switching program | - Qualifications/authorizations of personnel performing switching operations are established - Occupational health and safety standards, statutory/enterprise regulations, codes of practice and environmental requirements are identified, applied and monitored throughout the program - Contingency plans are evaluated and discussed with appropriate stakeholders and, where necessary, amendments are relayed to all relevant parties - Permits and access requirements are established prior to program commencement - Documentation is distributed to relevant parties prior to program commencement - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Direct switching program | - All parties involved in switching program are advised and directed to locations - Communication is established with all involved parties and maintained throughout duration of program - System schematic diagram or equivalent is updated as program proceeds - Access to plant is controlled in accordance with enterprise/site policy - Work groups are coordinated and directed in accordance with enterprise procedures - Permits issued are monitored and recorded in accordance with enterprise procedures - Switching program is controlled to ensure outage coincides with planned timetable |
| - Maintain dynamic integrity of system | - Switching program steps are verified before and after each operation - Steps are logged upon successful completion of each operation - System conditions/stability is constantly monitored in accordance with system requirements - Alternative program steps are quickly and accurately developed if/when unexpected problems occur |
| - Complete documentation | - Documentation is updated and equipment problems, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Appropriate personnel for consultation, to give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, high voltage operators, restricted high voltage operators, testers in charge, testers, recipient in charge, recipients, contractors and system/network operators. |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant State and federal legislation and national standards for plant. |
| Work parties | May include but not limited to: - enterprise personnel and contractors |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals. |
| Communications | May include but not limited to: - By means of telephone, two way radio, pager, computer (electronic mail), operating logs (written or verbal), faxes and reports. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Operating environment | May include but not limited to: - Remote from plant and equipment being operated (operation is assisted by remote indicators of plant status and other parameters monitored), during inclement or otherwise harsh weather conditions, in wet/ noisy/dusty areas or during night periods. |

| Evidence Guide |  |  |
| --- | --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparing for switching programs - Directing and coordinating switching programs - Monitoring system integrity and stability - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |  |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Relevant plant and equipment, its location and operating parameters - Enterprise recording procedures - Switching operations and procedures - System diagrams - Systems (network) - Communication principles - Computers and software |  |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations and relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Communicate effectively - Acquire and analyze information relevant to system operation - Recognize abnormal plant/system operating conditions - Determine appropriate corrective actions required - Plan and prioritize work - Acquire and analyze information relevant to system operation - Recognize abnormal plant/system operating conditions - Determine appropriate corrective actions required. |  |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |  |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |  |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |  |
| Occupational Standard: Power Generation Operation Level IV |  |  |
| Unit Title |  | Coordinate First Response Team Operation |
| Unit Code |  | EIS PGO4 04 0612 |
| Unit Descriptor |  | This unit deals with the skills and knowledge required to coordinate the operations of a first response team. |

| Elements | Performance Criteria |
| --- | --- |
| - Coordinate the workplace emergency team | - The purpose of the team is identified and, where necessary, clarified with relevant people - The duties and responsibilities of team members are identified - Instructions from supervising team members are carried out in accordance with enterprise/site procedures - Team members are supported in relation to duties and responsibilities - Appropriate team member identification is displayed in accordance with procedures |
| - Cooperate with other emergency service(s) personnel | - The roles and responsibilities of emergency service(s) personnel are clarified, where necessary - Role and authority of emergency services is conveyed to other team members - Instructions from relevant emergency services personnel are clarified and complied with - Guidance and assistance for emergency services is provided in accordance with enterprise/site procedures - Directions and advice are given to emergency service personnel and team members after appropriate site inspection - A plan to ensure personnel safety and plant integrity is developed in accordance with statutory, industry and site standards - Relevant documentation is obtained in accordance with procedures - Materials, equipment and resources required to satisfy the job are identified and obtained |
| - Evaluate the emergency | - Nature, extent and cause of the emergency is identified in accordance with procedures - Potential risk to personnel, equipment, environment and production is identified - Notification of emergency is undertaken in accordance with authorized procedures - Emergency evacuation procedures are followed where appropriate - Requirement for special expert assistance is identified - Incident is evaluated to prevent repetition of risk - Location of emergency is identified and most effective route to emergency is determined |
| - Respond to emergency | - Vehicles and buildings are secured and protected in accordance with site procedures - Potential sources of danger are isolated and warning signs/signals and barriers are put in place in accordance with site/enterprise procedures - Emergency responses are applied in accordance with site and/or enterprise safety procedures - Materials, equipment and resources required to satisfy the job are identified and obtained - Effective lines of communication are established if required - The use of personal protective clothing, equipment and/or procedures is monitored in accordance with procedures - Technical advice to emergency service personnel is given in accordance with procedures |
| - Report outcomes of emergency response | - Fire and emergency equipment is marked or positioned after use, in accordance with procedures, to indicate it requires servicing or replacing - The use of emergency equipment is reported according to procedures - De-briefing is attended and responded to in accordance with procedures - Effectiveness of emergency response is evaluated and recommendations are submitted for consideration |

| Variable | Range |
| --- | --- |
| Site hazards | May include but not limited to: - Power lines, trees, overhead service lines, abnormal weather conditions, dangerous materials/chemicals, earthworks/obstructions, underground services, hazardous substances and electrical, thermal, explosive and structural hazards. |
| Personnel | May refers to: - All people on site at the time of the emergency and may include supervisory, maintenance and operational staff, contractors, trainees and visitors. |
| Information and documentation sources | May include but not limited to: - Verbal and written communications, enterprise/site operating instructions, equipment manufacturer’s recommendations, dedicated computer equipment and enterprise/site log books. |
| Additional resources | May include but not limited to: - personnel, fire fighting equipment, fire fighting protective clothing, chemical protective clothing, air cylinders for breathing apparatus, rescue equipment, fire retardant compounds, oil containment materials/equipment, vehicles for transport of materials or personnel, stand-by air compressors, storm water pumps, gas monitoring equipment, communication equipment, ladders, spill kits, salvage gear and forcible entry tools. |
| Special assistance | May include but not limited to: - On site personnel (e.g. chemists, fire team), rescue team, environmental officer, safety officer, radiation officer floor warden or equivalent, chief warden or equivalent and security staff. |
| External emergency groups | May include but not limited to: - Police, fire brigade, ambulance, state emergency service supply authorities (such as water utility). |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, national standards for plant and relevant State and federal legislation. |
| Communications | May include but not limited to: - By means of verbal, telephone system, two-way radio, pager, emergency public address system, radio, facsimile, computer (electronic mail), enterprise/site log book, whistle or hand signal. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - occupational health and safety legislation - environmental legislation - statutory legislation - enterprise/site safety procedures - enterprise/site emergency procedures - application of leadership skills - communicating effectively with the appropriate personnel and agencies during an emergency - identification of potential hazards during response - application of firefighting and rescue principles and techniques - responding to an emergency situation - dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - relevant OHS regulations and statutory legislation - relevant enterprise/site safety procedures enterprise/site emergency procedures and techniques and first aid - plant status - relevant plant and equipment, its location and operating parameters - site communications systems - appropriate warning signs - equipment appropriate for the task - operation of emergency stations - roles of the emergency team and its members - classifications of fires and emergencies - roles and responsibilities of emergency services - firefighting and rescue principles and techniques - communication principles - human resources and management principles within a team - material safety data sheets and emergency services |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations, relevant statutory legislation and relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Locate relevant plant and equipment - Prepare emergency plant/equipment for operation - Communicate effectively - Plan and prioritize work - Work in a team - Apply First Aid and resuscitation techniques - Apply emergency and evacuation procedures - Identify and operate appropriate emergency communications equipment - Apply emergency techniques and procedures. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Operate and Monitor DC Electrical System |
| Unit Code | EIS PGO4 05 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate and monitor the local and remote operation of DC electrical switchgear, ring mains, switchboards, and rectification and distribution systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Plant and prepare for switching operations | - Safety issues are identified to comply with enterprise/site and legislative requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluate - Localized plant/equipment inspection, pre- operational checks and field preparation for service are carried out in accordance with manufacturer’s and enterprise/site procedures - Switchboard/equipment operational prerequisites are established in accordance with manufacturer’s and enterprise/site procedures - Sequence for switching is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Conduct switching operations | - Switching operations are carried out in accordance with enterprise and manufacturer’s operating procedures and programs - Paralleling/balancing requirements are assessed and met to ensure system stability - Switchboard, system and rectifier loads are monitored to prevent overloading during switching operations |
| - Carry out local operation of switchgear, switchboards and rectification systems | - Local operation of switchgear is carried out in accordance with manufacturer’s and enterprise/site procedures and programs - Isolation, removal and reinstatement of switchgear is carried out in accordance with manufacturer’s and enterprise/site procedures - Rectification system is operated, isolated and reinstated in accordance with manufacturer’s and enterprise/site procedures |
| - Test switchgear and rectification equipment operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Switchgear and/or rectification equipment is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, system integrity or personnel safety requirements - Switchgear and/or rectification equipment is returned to required operational status upon completion of test |
| - Analyze system, switchgear and rectification equipment faults | - Causes of abnormal system/switchgear operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Operation of protection systems is identified and assessed to evaluate the nature and cause of fault conditions - Corrective action taken is in accordance with enterprise/site procedures - System/switchgear/plant integrity and personnel safety are maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation |
| - Inspect and monitor system, switchboards and protection systems | - System/switchgear/equipment to be monitored/ inspected is physically identified - System/switchgear/equipment is monitored /inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects and abnormal operating conditions are detected |
| - Complete documentation | - Documentation is updated and equipment problems, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Systems, plant and/or equipment | May include but not limited to: - DC switchboards and ring mains; supervisory, control and protection equipment; circuit breakers; isolators; load breaking, non-load breaking; combined fuse switches (CFS) with or without contactor units; low voltage equipment; fuses; mini circuit breakers; contactors; switchboard auxiliary supplies; indication; earth leakage detection systems; rectifiers; static; motor generators; batteries and battery banks; inverters; DC lighting systems and metering. |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant State and federal legislation and national standards for plant. |
| Information and documentation sources | May include but not limited to: - Verbal or written communications; enterprise safety rules documentation; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Communications | May include but not limited to: - By means of telephone, two way radio, pager, public address system, computer (electronic mail) and operating log (written or verbal). |
| Tests | May include but not limited to: - Post maintenance operating tests, interlock tests, protection tests, alarm tests and emergency/black start checks. |
| Test, fault finding and operating tools | May include but not limited to: - Voltage testers, proving dead equipment, power or hand tools, control system equipment and fuse testers/multi meters. |
| Faults and abnormal operating conditions | May include but not limited to: - Switchboard protection operation; rectifiers protection operation; circuit/ feeder protection operation; circuit breaker faults; loss of supervisory/ control supplies; fuse failure; and earth faults. |
| Operating environment | May include but not limited to: - During inclement or otherwise harsh weather conditions, in wet/noisy/dusty areas or during night periods. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, technical and engineering officers or equivalent, power system control personnel or equivalent, power plant operations personnel, maintenance staff, contractor and specialist staff. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedure - Preparation and planning of work - Operation of switch gear - Conducting switching operations - Operationally testing plant - Analyzing equipment, system and protection faults - Monitoring equipment, system and protection operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant OHS regulations; - Relevant statutory legislation; - Relevant enterprise/site safety procedures; - Enterprise/site emergency procedures and techniques; - Relevant plant and equipment, its location and operating parameters; - Plant status; - Environmental legislation; - Enterprise recording procedures; - Communication principles; - Control and data acquisition systems; - Computers and software; - Supervisory, alarm, protection and control equipment; - Supervisory, alarm, protection and control equipment; - Switchboard(s), and ring main(s) layout and configuration; - Switchgear - operation, and isolation; - Protection - systems, types and function; - Interlocks and inter-tripping systems; - Emergency and system disturbance procedures; - Rectifiers and battery systems; - Switching practices and procedures; - Earth fault location systems and procedures; - Introduction to power production plant; - Typical arrangements of power production plant; - Mathematics; - General responsibilities for power production plant operations; - Electrical principles; - Electric motors; - Heating of electrical equipment; - Electrical protection; - Schematic diagrams; - Auxiliary supply systems; - Safe operating principles; - Inverters and rectifiers |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures |
|  | - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate switchgear and equipment - Conduct switching operations - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols - Produce and/or assess internal and external switching procedures - Assess and evaluate protection operation and determine the appropriate response - Apply switching practices and procedures |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Operate and Monitor AC Electrical System |
| Unit Code | EIS PGO4 06 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate and monitor local and remote operation of AC electrical switchgear, ring mains, switchboards and distribution systems including transformers and the remote operation of high voltage switch yards. |

| Elements | Performance Criteria |
| --- | --- |
| - Plant and prepare for switching operations | - Safety issues are identified to comply with enterprise/site and legislative requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant/equipment inspections, pre- operational checks and field preparation for service are carried out in accordance with manufacturer’s and enterprise/site procedures - Switchboard/yard operational prerequisites are established in accordance with manufacturer’s and enterprise/site procedures - Sequence for re-commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Conduct switching operations | - Switching operations are carried out in accordance with enterprise and manufacturer’s operating procedures and programs - Synchronizing requirements are assessed and met to ensure system stability - Switchboard, switch yard and transformer loads are monitored to prevent overloading during switching operations |
| - Carry out local operation of switchgear | - Local operation of switchgear is carried out in accordance with manufacturer’s and enterprise/site procedures and programs - Isolation, removal and reinstatement of switchgear is carried out in accordance with manufacturer’s and enterprise/site procedures |
| - Carry out circuit and feeder earthen | - Earthen requirements are assessed in accordance with enterprise/site requirements - Circuit/feeder is de-energized, isolated and tested prior to earthen in accordance with enterprise/site procedures - Earthen of circuit/feeders are achieved using the appropriate approved earthen devices |
| - Carry out switchboard and ring main earthen | - Isolation and earthen requirements are assessed in accordance with enterprise/site requirements - Switchboard/ring main is de-energized, isolated and tested prior to earthen in accordance with enterprise/site procedures - Earthen of switchboard/ring main is achieved using appropriate approved earthen devices in accordance with enterprise/site procedures |
| - Test switchgear operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Switchgear is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, system integrity or personnel safety requirements - Switchgear is returned to required operational status upon completion of test |
| - Analyze system and switchgear faults and operation | - Cause of abnormal system/switchgear operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Operation of protection systems is identified and assessed to evaluate the nature and cause of fault conditions - Corrective action taken is in accordance with enterprise/site procedures - System/switchgear/plant integrity and personnel safety are maintained through consultation with appropriate personnel, and with reference to plant, technical and operational documentation |
| - Inspect and monitor system, switchboards, transformers and protection systems | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects and abnormal operating conditions are detected |
| - Complete documentation | - Documentation is updated and equipment problems, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant State and federal legislation and national standards for plant. |
| Systems, plant and or equipment | May include but not limited to: - high and low voltage switchboards/yards/ring mains; supervisory, control and protection equipment; circuit breakers, air, air blast, minimum oil, bulk oil, SF6, vacuum, transformers, oil natural air natural (ONAN), oil natural air forced (ONAF), oil forced air forced (OFAF), dry type, earthen and neutral, voltage and current; Isolators, load breaking, non-load breaking; combined fuse switches (CFS), with or without contactor units; low voltage equipment, fuses, mini circuit breakers, contactors; switchboard/yard auxiliary supplies, control, supervision, protection, indication; earthen systems, earthen circuit breakers, integral earths, earth switches, portable earths and protection systems. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Tests | May include but not limited to: - Post maintenance operating tests, interlock tests, protection tests, alarm tests and emergency/black start checks. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, technical and engineering officers or equivalent, power system control personnel or equivalent, power plant operations personnel, maintenance staff, contractor and specialist staff. |
| Test, fault finding and operating tools | May include but not limited to: - Voltage testers, proving dead equipment, power or hand tools, control system equipment and fuse tester/multimeter. |
| Operating environment | May include but not limited to: - inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas or during night periods |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of switch gear - Conducting switching operations - Operationally testing plant - Analyzing equipment, system and protection faults - Monitoring equipment, system and protection operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Supervisory, alarm, protection and control equipment - Switchboard(s), switch yard(s) and ring main(s) layout and configuration - Switchgear - operation, isolation and earthen - Protection - systems, types and function - Earthen procedures, requirements and protocol Interlocks and inter-tripping systems - Emergency and system disturbance procedures - Switching practices and procedures - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - General responsibilities for power production plant operations - Electrical principles - Transformers and Electric motors - AC generators - Alternators, excitors and hydrogen systems - Heating of electrical equipment - Schematic diagrams - Auxiliary supply systems - High voltage systems - Safe operating principle |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate switchgear and equipment - Conduct switching operations - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Use diagrams, drawings and symbols - Produce and/or assess internal and external switching procedures - Assess and evaluate protection operation and determine the appropriate response - Apply switching practices and procedures. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Undertake Commissioning/Decommissioning |
| Unit Code | EIS PGO4 07 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake the decommissioning of plant and equipment and its subsequent re-commissioning following maintenance and, or overhaul. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for the work | - Work requirements are identified from request/work orders or equivalent and clarified/confirmed with appropriate parties or by site inspection - Occupational Health and Safety standards, statutory requirements, relevant Australian standards, codes of practice, manufacturers‟ specifications, environmental requirements and enterprise procedures are identified, applied and monitored throughout the work procedure - Resources required to satisfy the work plan are identified, obtained and inspected for compliance with the job specifications - Relevant plans, drawings and texts are selected and interpreted in accordance with the work plan - Correct size, type and quantity of materials/components are determined, obtained and inspected for compliance with the job specifications - Work is planned in detail including sequencing and prioritizing and considerations made, where appropriate, for the maintenance of plant security and capacity in accordance with system/site requirements - Coordination requirements, including requests for isolations where appropriate, are resolved with others involved, affected or required by the work - Potential hazards are identified and prevention and/or control measures are selected in accordance with the work plan and site procedures - Work area is prepared in accordance with work requirements and site procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Decommission plant or equipment | - Required isolations are confirmed where appropriate in accordance with site requirements - Equipment is decommissioned in conjunction with others involved or affected by the work in accordance with the work plan - Equipment is disconnected from energy and/or material sources in accordance with the work plan - Equipment is decommissioned in accordance with the work plan |
| - Remove the plant or equipment | - Required isolations are confirmed where appropriate in accordance with site requirements - Removal of plant or equipment is carried out in conjunction with others involved or affected by the work in accordance with the work plan - Removal of plant or equipment is carried out mindful of the effect on other plant or structures in accordance with the work plan - Unused electrical conductors are isolated and terminated in accordance with the work plan - Other sources of energy or material are terminated and blanked in accordance with the work plan |
| - Re-commission the plant or equipment | - Sequence for re-commissioning procedures are strictly adhered to in accordance with the work plan - Plant or equipment performance is monitored using appropriate methods and test equipment in accordance with the work plan - Data is collected, interpreted and referenced against specifications and variances recorded - Plant or equipment is adjusted to specifications using appropriate techniques in accordance with the work plan - Final inspections and performance data collected to ensure compliance with specifications |
| - Complete the work | - Work is completed and appropriate personnel notified in accordance with site/enterprise requirements - Work area is cleared of waste, cleaned, restored and secured in accordance with site/enterprise procedures - Plant, tools and equipment are maintained and stored in accordance with site/enterprise procedures - Work completion details are finalized in accordance with site/enterprise procedures |

| Variable | Range |
| --- | --- |
| Plant | May include but not limited to: - Generating sets, transformers, boiler and associated systems; turbine and auxiliaries; Hydro penstocks; Sub-systems, e.g. mill, conveyor, draught fan; electrical/electronic equipment; hydraulic and pneumatic; and water treatment. |
| Energy sources may include, | May include but not limited to: - Electrical, hydraulic, pneumatic, oil, gas and water. |
| Specifications or reference documentation includes | May include but not limited to: - Operating, maintenance procedures, manuals, drawings, original equipment manufacturer data and statutory requirements and standards. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Isolation procedures - Decommissioning procedures - Commissioning procedures - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety standards - Relevant statutory requirements and codes of practice - Environmental policies/requirements - Isolation procedures - Decommissioning procedures - Re-commissioning procedures - Test and measurement equipment - Relevant plant or equipment - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply Occupational Health and Safety standards - Apply relevant statutory requirements and codes of practice - Apply environmental policies/requirements - Apply isolation procedures - Apply decommissioning procedures - Apply re-commissioning procedures - Use test and measuring equipment; - Analyze relevant data - Identify relevant plant or equipment - Communicate effectively |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Coordinate Operational Strategies For Power Production |
| Unit Code | EIS PGO4 08 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge for the co-ordination of operational strategies to achieve the short and long term goals of the production plant. |

| Elements | Performance Criteria |
| --- | --- |
| - Coordinate the implementation of the strategy | - Plant operational procedures are implemented in consultation with others and reviewed as required - Plant operation and/or condition is monitored and reported against statutory and enterprise requirements taking into account constraints, budget requirements and performance indicators - Resources and supplies are coordinated to meet requirements |
| - Monitor the strategies | - Deviations from requirements are identified and recorded - New requirements that may impact on operating strategy are considered - Operating strategy is monitored for suitability/approval with statutory, industry and enterprise/site requirements |
| - Report performance against strategy requirements | - Data is collected and processed for review against the established strategy - Abnormal operating conditions are reported - Changes to the strategy are suggested in accordance with information received |

| Variable | Range |
| --- | --- |
| Strategies | May include but not limited to: - both long and short term |
| Reference information | May include but not limited to: - Operational data, maintenance data, market requirements and statutory requirements. |
| Communication | May include but not limited to: - liaison with stakeholders |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - application of relevant sections of OHS legislation; statutory legislation; enterprise/site safety procedures; enterprise/site emergency procedures - Plant operating parameters - Generation plant and systems - Communications - Coordinating operational strategies - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Environmental awareness and procedures - Location of relevant plant and equipment - Enterprise recording procedures - Measurement and analysis systems and procedures - Mechanical and electrical processes - Communication principles - Risk management principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations; relevant statutory legislation; and enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Apply problem solving - Plan and prioritize work - Communicate effectively - Apply risk management principles - Apply data analysis techniques and tools. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Perform Risk Analysis of Generation Plant |
| Unit Code | EIS PGO4 09 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to identify and analyze the risk in loss of generation/production plant. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify risk | - Plant and process maintenance and operational procedures are obtained - Plant operating and maintenance history is obtained including relevant incident and failure reports - Applicable Occupational Health and Safety and environmental standards are researched - Applicable plant and process technical documentation is obtained - Analysis objectives are clearly defined |
| - Conduct analysis | - Analysis is completed using appropriate methodology in accordance with enterprise/site requirements - Incident scenarios are established, and consequences analyzed and prioritized for risk - Defined objectives are obtained during analysis - Specialist assistance is sought when required |
| - Produce and implement/monitor recommendations | - Recommendations for preventative action are produced against each risk scenario as appropriate - Implementation of recommendations are monitored in accordance with enterprise/site requirements |
| - Complete documentation | - Risk analysis, processes, conclusions, scenarios and recommendations are documented - Risk analysis report is produced and submitted in accordance with enterprise/site requirements |

| Variable | Range |
| --- | --- |
| Resource documentation | May include but not limited to: - Operating and maintenance manuals, power plant strategies, national and/or international standards, condition monitoring, plant statistics and reports. |
| Statutory requirements | May include but not limited to: - Occupational Health and Safety legislation, environmental legislation, standards or codes of practice. |
| Risk analysis | May include but not limited to: - Apply to power generation plant, support equipment or processes found at power generation sites. - Power plant production loss, personnel safety, loss of generation, environmental impact and commercial risk. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: OHS legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Plant operating parameters - Risk management principles and techniques - Generating plant and processes - Production plant and generation loss monitoring and analysis - Identification and implementing of recommendations - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Environmental awareness and procedures - Relevant plant and equipment - Location of relevant plant and equipment - Enterprise recording procedures - Power generation plant and processes - Plant or equipment design - Effects of operating outside design limits - Communication principles - Risk management principles; Problem solving - Human resource management principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply enterprise recording procedures - Locate relevant plant and equipment - Identify plant status - Communicate effectively - Solve problems - Manage human resources - Apply risk management principles - Apply data analysis techniques and tools. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Monitor the Implementation of the Enterprise’s Production/Maintenance Quality Control Procedures |
| Unit Code | EIS PGO4 10 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to monitor the implementation of the production or maintenance quality control procedures at the enterprise level. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan for quality control | - Occupational Health and Safety standards, statutory requirements, relevant Australian standards, codes of practice, manufacturers‟ specifications, environmental requirements and enterprise procedures are identified, applied and monitored throughout the work procedure - Parameters are established accordance with standard procedures - Knowledge of process improvement techniques are used to facilitate work groups to assist in the identification and resolution of quality variances - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Monitor quality control | - Monitoring equipment is checked for correct calibration and environmental conditions confirmed to ensure reliability and accuracy of tests and results where required - Implement the enterprise quality control procedures - Deviation and fault data is collected and reported in accordance with procedures |
| - Complete documentation | - Calibration records of test equipment maintained in accordance with standard operating procedures where required - Documentation is completed in accordance with procedures |

| Variable | Range |
| --- | --- |
| Quality assurance and quality control standards | May refer to : - international and Australian standards |
| Monitoring equipment | May include but not limited to: - Precision measuring instrument such as micrometers, multi meter, oscilloscope and vernier calipers, pressure and temperature indicators/ recorders and vibration monitors/recorders. |
| Environmental conditions | May be: - affected by nearby plant or processes |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: occupational health and safety legislation; statutory legislation; enterprise/site safety procedures; enterprise/site emergency procedures - The application of quality control procedures, processes and techniques - Using specifications and manuals - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety standards - Relevant international and Australian standards, statutory requirements and codes of practice - Quality control procedures, processes and techniques - Statistical analysis and Data analysis - Monitoring equipment - Inspection techniques - Specifications and manuals - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply Occupational Health and Safety standards - Apply relevant international and Australian standards, statutory requirements and codes of practice - Apply quality control procedures, processes and techniques - Monitor quality control processes and techniques - Perform statistical analysis - Conduct inspections - Identify variances to specifications - Use specifications and manuals - Communicate effectively. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Monitor and Implement Environmental Plans and Procedures |
| Unit Code | EIS PGO4 11 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to address the monitoring and implementation of environmental plans and procedures and the development of environmental procedures for the local work area. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to Implement Environmental Plans and Procedures | - Environmental plans and procedures are identified and examined in accordance with the work site or project requirements. - Environmental risks and impacts are identified for the specific project or work site. - Environmental plans and procedures are selected in accordance with the specific project or work site requirements. |
| - Implement Environmental Plans and Procedures | - Emergency procedures are implemented and environmental risks are controlled in accordance with project/site requirements - Appropriate activities are carried out in accordance with the environmental plan and procedures. - Environmental control procedures are implemented, established and maintained, and risks mitigated in accordance with the project/site requirements. |
| - Develop Site/Project Environmental Procedures | - Specific needs for project/site environmental procedures are identified and assessed taking into account affected stakeholders and appropriate relevant data. - Specific project/site environmental procedures are developed and reviewed in accordance with appropriate relevant data. |
| - Manage Environmental Incident | - Environmental incidents are identified and controlled in accordance with the appropriate plans and procedures. - Environmental incidents are recorded and reported in accordance with the appropriate plans and procedures. |
| - Monitor and Report on the Applications of Environmental Plans and Procedures | - The application of environmental plans and procedures are monitored and documented. - Environmental risks and incidents are reported in accordance with site/enterprise procedures. - Participation by the relevant workforce in reviews of environmental procedures is ensured and reported. |
| Variable | Range |
| Issues, which broad environmental plans and procedures | May include but not limited to: - National, or State plans; water resources; industry/cross industry; business/enterprise cultural, heritage; conservation/flora/fauna; waste disposal; coastal protection; ground water protection; irrigation; salivations control; pollution/litter control; river/surface water systems; chemical management; biological control, i.e. blue green algae; corporate or enterprise. |
| Environmental legislation | May include but not limited to: - Relevant federal by-laws; relevant State legislation; relevant government or quasi government policies and regulations. |
| Environmental risks | May include but not limited to: - impact of mismanagement of chemicals; impact of mismanagement of biological agents; detrimental impact on limited water resources; spillage; waste disposal; detrimental impact on water catchment areas (urban and non-urban); detrimental impact on rivers, waterways and channels; unsatisfactory water and waste water treatment processes; unsatisfactory trade waste treatment and disposal process; poor construction processes; planning deficiencies. |
| Environmental impact | - any change to the environment whether adverse or beneficial, wholly or partially resulting from an enterprise’s activities, products or services. |
| Specific project/site | May include but not limited to: - Hydro storage dams, canals, rivers, spillways, drainage sites, workshops, waste disposal sites, power stations, maintenance sites. |
| Incidents of environmental impact | May include but not limited to: - emissions to air; releases to/of water; releases to land; vibration and noise; disposal of waste; contamination of land; impact on communities; destruction of habitat; use of energy sources; waste generation processes and technologies; impact on culturally significant sites; and may involve the implementation of emergency responses. |
| Stakeholders | May include but not limited to: - the enterprise; government (all levels); industry – extractive, other utilities, manufacturing, etc.; community action groups; environmental conservation groups; land care groups; primary producers; the general community and individuals; |
| Environmental management documentation | May include but not limited to: - information on applicable environmental laws or other requirements; compliant records; training records; process information; process operational log books,; inspection, maintenance and calibration records; relevant contractor and supplier information; incident reports; information on emergency preparedness and response; records of significant environmental impacts; chain of custody and compliance records; audit results; management reviews. |
| Evidence Guide |  |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Relating environmental plans and procedures to the project/site; identifying environmental risks and impacts; integrating operational activities into reviews of environmental procedures; developing project/site procedures; applying environmental plans and procedures to the project/site; monitoring application of environmental plans and procedures; managing environmental incidents at the project/site. - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant legislative requirements; standard operating procedures; environmental plans and procedures - Sedimentation and erosion control; risk assessment procedures - Rare and endangered plants; recording procedures - Reporting procedures - Monitoring procedures; identification of risks and impacts - Consultation procedures - Incident management procedures - Potential environmental risks and incidents - Disposal of dangerous and contaminated soils - Environmental auditing; concepts of due diligence - Principles of environmental protection - Endangered species and habitat protection - Environmental impact assessment - Control procedures for environmental risks and incidents - Waste management. |
| Underpinning Skills | Demonstrates skills to: - Apply control procedures at environmental risks and incidents - Access, interpret and apply relevant legislation and standard operating procedures - Assess environmental risks at the specific project/site - Apply environmental plans and procedures - Develop local workplace environmental procedures - Identify risks and impacts - Apply consultation processes - Manage environmental incidents - Conduct environmental audits - Apply due diligence - Monitor specific project/site - Identify possible cultural/heritage sites - Identify potential pollutants - Solve operational problems. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Produce Maintenance Plans for Generation Production Plant |
| Unit Code | EIS PGO4 12 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake the establishment and implementation of maintenance plans for generation production plant that may include boiler, turbine, hydro, electrical, control and monitoring, ash and dust; water treatment and fuel plant. |

| Elements | Performance Criteria |
| --- | --- |
| - Research and plan for maintenance | - Work requirements are identified, scoped and clarified/confirmed with appropriate parties or by site inspection - Occupational Health and Safety standards, statutory requirements, relevant Australian standards, codes of practice, manufacturers‟ specifications, environmental requirements and enterprise procedures are identified, applied and monitored throughout the work procedure. - Resources required to satisfy the work plan are identified, obtained and inspected for compliance with the job specifications - Relevant plans, drawings and texts are selected and interpreted in accordance with the work plan - Maintenance is planned in detail including sequencing and prioritizing and considerations made, where appropriate, for the maintenance of plant security and capacity in accordance with system/site requirements - Coordination requirements, including requests for isolations where appropriate, are resolved with others involved, affected or required by the work - Potential hazards are identified and prevention and/or control measures are selected - Plant operating/maintenance history, condition monitoring information, recent modifications and existing plant status are addressed in defining work scope - Costing of work is undertaken and impact on budget is assessed - Needs for operational testing and/or re-commissioning are identified - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Develop maintenance plan | - Work scope is scheduled into a plan in accordance with established criteria - Plant isolation and access requests are documented in accordance with enterprise requirements - Plans are developed in conjunction with other affected groups in accordance with enterprise requirements - Availability of resources is confirmed and documented in accordance with enterprise requirements - Information relevant to work activities is attached to maintenance plan in accordance with enterprise requirements - Maintenance plan and associated information is documented and distributed to all affected staff in accordance with enterprise communication systems - Maintenance methods are drafted in accordance with criteria developed in research - Maintenance methods in a document formatted in accordance with enterprise requirements - Methods are presented for review to relevant staff in accordance with enterprise requirements |
| - Implement and monitor maintenance plan | - Maintenance information is allocated to appropriate staff - Feedback is sought on application/progress of maintenance methods and plans - Maintenance methods and plans are modified to reflect feedback obtained - Modification of method/plan is reviewed/ approved by relevant staff - Amended/updated documentation is distributed to relevant staff in accordance with enterprise communication systems |

| Variable | Range |
| --- | --- |
| Generation production plant and equipment | May include but not limited to: - Boiler, turbine, hydro, electrical, control and monitoring, ash and dust, water treatment and fuel plant. |
| Plans | May include but not limited to: - Include either, long, medium and short term. |
| Communication | May include but not limited to: - Liaison with customers such as plant owners, operating staff, maintenance staff, supervisors and external organizations. |
| Produced documents | May include but not limited to: - Maintenance reports. Reference information may include benchmarking reports, maintenance data, market requirements, plant budgets, strategic plans and manufacturer specifications |
| Implementation plans | May include but not limited to: - use of the services of maintenance and planning staff |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: OHS legislation; statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures. - Maintenance plan development - Maintenance philosophies - Engineering principles - Maintenance techniques - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety standards - Relevant statutory requirements and codes of practice - Environmental requirements - Maintenance plan development - Plant and plant systems - Mechanical and electrical processes - Maintenance philosophies and work practices - Physical properties and failure modes of materials - Engineering principles and development processes - Strategic plan objectives and principles of application - Computer systems - Quality assurance/quality control - Risk management - Communication principles - Human resources management principles - Maintenance techniques, procedures and requirements - Re-commissioning and testing procedures |
| Underpinning Skills | Demonstrates skills to: - Apply Occupational Health and Safety standards; - Apply relevant statutory requirements and codes of practice - Apply environmental requirements - Apply risk management and quality assurance/quality control principles - Prioritize options and work - Solve problems - Communicate effectively - Analyze relevant information - Apply data analysis techniques and tools - Produce maintenance plans - Apply maintenance planning principles - Manage human resources - Identify maintenance requirements |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Coordinate Local HV Networks |
| Unit Code | EIS PGO4 13 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to coordinate the local control and management of HV substations and/or local networks. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Documentation to determine substation/ network status is assessed and evaluated - Substation and local network equipment operational prerequisites are established in accordance with manufacturers and enterprise/site procedures - Sequence for operating network section and equipment is determined to suit existing circumstances in accordance with enterprise/site requirements - Relevant information to forecast and plan responses for efficient operation is utilized - Regular consultation with key stakeholders is maintained and requirements recognized - Implications of operators actions to the system are identified and assessed - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate, monitor and control local network | - The local system is operated in accordance with enterprise/site operating procedures - Local network voltage and current requirements are assessed and evaluated to maintain stability and system integrity - Voltage/load profiles are identified and adhered to in accordance with enterprise operating procedures - Corrective actions to rectify abnormalities are implemented following analysis of data in accordance with manufacturer’s and system procedures - Resources required are identified and coordinated to meet system requirements - Operations are carried out in consultation with team members in accordance with system procedures |
| - Analyze and respond to local network/system faults or incidents | - Cause of fault conditions are identified by analyzing the technical, operational information and in consultation with system control - Operation of protection systems is identified and assessed to evaluate the nature and cause of fault conditions - Communication is established with other authorities and/or key stakeholders to identify nature/source of system interference (where required) - Corrective action is taken in accordance with enterprise/system procedures - Local system integrity and personnel safety are maintained through consultation with appropriate personnel and reference to plant technical, operational documentation and contingency plans. |
| - Review incident response and preventative procedures | - Incident responses are assessed and reviewed in accordance with system procedures - Alternative responses/contingencies are identified and assessed in accordance with system procedures - Alternative responses/contingencies are documented and approved in accordance with system procedures |
| - Complete documentation | - Documentation is updated, log sheets maintained and equipment/system problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures. |

| Variable | Range |
| --- | --- |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals. |
| Network implications | May include but not limited to: - System stability, line and transformer overloading, correct tap changer position, protection settings voltage transformer selection and synchronizing. |
| Network limitations | May include but not limited to: - Location, weather conditions, natural disasters, accidents, temperature and power swings. |
| Plant and equipment | May include but not limited to: - Circuit breakers, tap changers, protection settings, capacitor/ condenser banks, overhead switchgear, underground switchgear, transformers, protection indicators and substations. |
| Key indicators | May include but not limited to: - Voltage, current, reactive power flows, load, equipment loading limits, system node points and plant status. |
| System conditions | May include but not limited to: - Voltage profiles, spare plant, line capacity limits, variations from normal trends, plant testing and switching programs. |
| Operating environment | May include but not limited to: - Remote from plant and equipment being operated (operation is assisted by remote indicators), during inclement or harsh weather conditions, in wet/noisy/dusty areas or during night periods. |
| Voltage control | May include but not limited to: - Capacitor/condenser, switchgear, tap changers and network configuration. |
| Communications | May include but not limited to: - Means of telephone, two way radio, pager, computer (electronic mail) and operating logs (written or verbal). |
| Appropriate personnel for consultation, give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system/network controller, field operators and restricted H.V. operators. |
| Technical and operational indicators | May include but not limited to: - Local indicators and recorders, computers and alarms (visible and or audible). |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparing for system operations - Managing and controlling system operations - Coordination requirements - Identifying and responding to abnormal system operating conditions - Impact of actions - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - System/network characteristics - Contingency plans - Supervisory, alarm, protection and control equipment - Switchgear operation - Communication principles - Control and data acquisition systems - Computers and software - Switching practices and procedures |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Manager and control system/network - Identify plant status - Communicate effectively - Apply data analysis techniques and tools - Identify and respond to abnormal system operating conditions - Plan and prioritize work - Coordinate the operation of system/network to maintain plant integrity, personnel safety, continuity of supply and optimum efficiency - Use diagrams, drawings and symbols - Apply stress management techniques - Direct and coordinate personnel - Select appropriate load shedding - Apply diagnostic techniques. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Manage Critical Incidents |
| Unit Code | EIS PGO4 14 0612 |
| Unit Descriptor | This unit refers to the management of incidents of a critical nature that may impact on the operational effectiveness of the plant or system, endanger human life or property, or have an adverse impact on the environment. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify critical incident and consequences | - Critical incidents and probable implications are identified and assessed in accordance with enterprise procedures - Secondary threats to situation are identified and monitored in accordance with enterprise procedures - Data is evaluated in accordance with enterprise procedures to determine probable causes, consequences and potential responses - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Establish contingency plan | - Contingency plans are identified using relevant enterprise documentation and procedures - Requirements for additional resources are identified in accordance with enterprise procedures - Alternate contingencies to cater for crisis variations are developed in consultation with team members |
| - Establish communications | - Communication links with appropriate external authorities for coordination of their resources are established in accordance with enterprise procedures - Communication with appropriate key stakeholders is established to disseminate information in accordance with enterprise procedures - Team roles, both internal and external, are identified and conveyed to appropriate personnel in accordance with enterprise procedures |
| - Manage critical incident | - Response is managed in accordance with enterprise/site requirements and allowances for personnel/equipment limitations are made - Events and responses are prioritized taking into account needs of stakeholders in accordance with enterprise procedures - Impact of secondary threats are identified and assessed in accordance with enterprise procedures - Contingency plans are auctioned in accordance with enterprise/site policy and procedure - Additional resources are coordinated and directed in accordance with enterprise procedures - Restoration strategies are monitored, evaluated and adjusted as necessary in accordance with enterprise procedures |
| - Document and review incident and response | - Equipment failure/problems are recorded and processed in accordance with enterprise procedures - Feedback from stakeholders is recorded where necessary and aanalyzed in accordance with enterprise procedures - Required reports and findings are generated and distributed to appropriate personnel in accordance with enterprise procedures - Improvements to the critical incident management process are recommended to the appropriate parties in accordance with enterprise procedures - Alternative contingencies are analyzed and recommendations are communicated to appropriate personnel in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| Types of incident | May include but not limited to: - Localized blackout, interconnected/isolated power system potential power system threat, accidents, life threatening situations, generation plant and auxiliary plant faults/failure and loss of network and generation components, natural and environmental disasters. |
| Post incident debrief may be: | May include but not limited to: - Probable fault/failure cause, strategic/contingency plan, environmental implications, economic factors, policy, procedure, training, safety factors and emergency switching programs. |
| Documentation | May include but not limited to: - Policy, procedure, standard operating instructions, contingency plans and emergency switching programs. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals. |
| Communications | May include but not limited to: - By means of telephone, two way radio, pager, computer (electronic mail) and operating logs (written or verbal). |
| Liaison with key stakeholders | May include but not limited to: - system/network controllers/coordinators, oncoming shift change, field operators, support staff, asset centres, patrolmen, customers, other government bodies, co-generation authorities, generation plant operators, on call staff, police, fire and emergency services and private systems. |
| Appropriate personnel, team members/other authorities | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system controller, field operators, restricted operators, emergency personnel, network controllers/coordinators, generation controllers, plant operators, field operators, support staff, fire service, police, ambulance, emergency services, enterprise and site representatives, consumers and independent power producers. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Knowledge of emergency procedures - Knowledge of the rolls of external authorities/bodies - Ability to establish and manage emergency situations - Ability to tactical decision making techniques - Policies for system incident and follow up procedures - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Relevant plant and equipment, its locations and operating parameters - Enterprise recording procedures - System/network characteristics - Contingency plans - Supervisory, alarm, protection and control equipment - Switchgear operation - Load shedding principles - Communication principles - Control and data acquisition systems - Computers and software - Switching practices and procedures |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Manager and control system/network - Identify plant status - Communicate effectively - Apply data analysis techniques and tools - Identify and respond to abnormal system operating conditions - Plan and prioritize work - Coordinate the operation of system/network to maintain plant integrity, personnel safety, continuity of supply and optimum efficiency - Use diagrams, drawings and symbols - Apply stress management techniques - Direct and coordinate personnel - Select appropriate load shedding - Apply diagnostic techniques. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Schedule Generation |
| Unit Code | EIS PGO4 15 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake the scheduling of a generation plant to economically meet forecast demand. |

| Elements | Performance Criteria |
| --- | --- |
| - Forecast load profile | - Comprehensive information on all variables which have the potential to affect demand is obtained and employed to enable a realistic forecast - Information integrity is confirmed and recorded, and deficiencies are detected and rectified - Forecast prediction is based on the interpretation and analysis of relevant information - Forecast outcomes are produced in a time frame that enables system security and economic operation criteria to be maintained - Forecast prediction is continuously assessed against real time trends and adjustments made where applicable - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Identify unit availability and capability | - Unit status information is sought with sufficient regularity to maintain the integrity of scheduling plans - Information integrity is confirmed and deficiencies are detected and rectified - Information is processed and recorded in a time frame that enables effective scheduling - Comprehensive information on all factors which have the potential to affect the unit status is obtained - Effective relationships are cultivated and maintained with remote/independent power generators |
| - Prepare generation unit schedules | - Base load generation is scheduled in accordance with contractual obligations and enterprise procedures - Peak load generation is scheduled to meet system demand and maintain adequate spinning reserve capability - Units are operated in economic merit within the framework of the enterprise fuel strategies - Megawatts and megavar spinning reserve criteria are met at all times in accordance with local instructions - System security criteria are met at all times in accordance with enterprise procedures - Quality of supply standards are met at all times in accordance with statutory requirements - Plant maintenance commitments are incorporated in setting priorities for committing units - Schedule is produced with sufficient lead time to allow effective plant movements to occur - Power station plant problems are accurately assessed in terms of impact on unit commitment and scheduling requirements - Plant testing commitments are incorporated in setting priorities for committing units |
| - Implement generation unit schedules | - Circumstances resulting in unexpected changes to demand are identified and managed in accordance with system requirements - Transmission system losses are identified and minimized in accordance with system procedures - Transmission and generation system status changes are identified and accommodate in accordance with system procedures - Fuel supply status changes are identified and accommodated in accordance with system procedures - Generation outputs are monitored in accordance with system procedures - Power station plant problems are assessed in terms of impact on unit commitment and scheduling requirements in accordance with system procedures - System fault levels and transmission plant load levels are identified and not exceeded in accordance with system procedures - Scheduling of units is timed to optimize system efficiency in accordance with system procedures - Scheduling information is recorded and communicated to all stakeholders in accordance with system procedures |

| Variable | Range |
| --- | --- |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals. |
| Stations/ generation plant | May include but not limited to: - Main power station, remotely controlled power station, independent power producers, single and multiple generating sets and interconnected/isolated power systems. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Forecasting load profiles - Identifying unit status - Preparing generation schedules - Implementing generation schedules - Operating and loading characteristics of generation plant - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant OHS regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Enterprise recording procedures - Systems operating instructions - Relationships that weather, social and industrial variables have on system demand - Economic operating criteria including fuel strategies - Communication principles - Computers and software |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Schedule plant within design parameters to meet demand - Identify plant status - Communicate effectively - Apply data analysis techniques and tools - Plan and prioritize work - Coordinate the scheduling of generating units to maintain optimum system efficiency - Apply appropriate diagrams and symbols - Operate screen based equipment. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Plan Scheduled Outage |
| Unit Code | EIS PGO4 16 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to plan for a scheduled outage. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify outage requirements | - Outage requirements are identified from notification of requirement, work orders or equivalent and clarified with the appropriate parties and/or site inspection - Safety issues are identified to comply with statutory enterprise and site requirements - Date, time and expected duration of outage is assessed and confirmed - Schematic diagrams, drawings, plans and/or maps are consulted to determine area affected - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Create outage plan | - Statistical records are consulted to ascertain most favorable time for outage - Implications of outage are identified and assessed to ascertain impact of outage - Identify key stakeholders and/or equipment affected - Current status of affected equipment and consumers is identified and assessed - Consult with all key stakeholders to determine whether contingency plans require implementation and/or timetables require review is carried out in accordance with enterprise policy - Disruptions to key consumers are minimized by providing alternative routes of supply - Scope of work to be carried out during outage is evaluated against the allocated time frame. - Types of permits required to undergo work prior to and during outage are established in accordance with enterprise procedures - Notification of requirement or other pre-emptive request is approved in accordance with enterprise procedures |
| - Implement outage plan | - Work crews are notified of the outage plan through the appropriate channels in accordance with enterprise procedures - Notification of outage is communicated to all stakeholders in accordance with enterprise procedures |
| - Complete documentation | - Documentation is updated, files and records maintained in accordance with enterprise/site procedures. |

| Variable | Range |
| --- | --- |
| Type of scheduled outages | May include but not limited to: - Distribution/ network H.V. bus section, generation plant, major auxiliary plant, fuel supply, L.V. switchboards and transmissions. |
| Appropriate personnel for consultation, give or receive direction | May include but not limited to: - Supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent and system/network controllers. |
| Safety standards may include | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant State and federal legislation and national standards for plant. |
| Consumers and key stakeholders | May include but not limited to: - domestic customers, essential services, police, fire service, emergency services, local councils, corporate enterprises, industry, internal enterprise management, operators, controllers, maintenance personnel, contractors and independent power utilities. |
| Notification may include | May include but not limited to: - Television, radio, newspaper, mail, telephone, e-mail memos and notices |
| Documentation | May include but not limited to: - Operations project file, records, reports, computers, memos, notification of requirement and work orders. |
| Information and documentation sources may include | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Investigating and understanding implications of outage - Identifying and advising key stakeholders - Identifying outage requirements - Creating outage plans - Conducting meetings |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant OHS regulations, statutory legislation and enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Environmental awareness - Relevant plant and equipment, it’s location and operating parameters - Knowledge of system/s - Consumer requirements/ commitments - Contractual obligations - Essential consumers - Computations and use of statistics - Communications principles - Computers and software |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations, relevant statutory legislation and relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques Apply enterprise recording procedures - Identify plant status - Communicate effectively - Apply data analysis techniques and tools - Plan and prioritize work - Use diagrams, drawings, plans, maps and symbols - Draft interruption notices - Communicate with public and key stake holder. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Deliver and Review Training |
| Unit Code | EIS PGO4 17 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required by individuals who play a key role in providing and reviewing training to raise the levels of competence in the workforce. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare trainees | - The objectives of the training session are explained to and discussed with the trainees - The sequence of activities to be followed in the training session is explained to trainees - Trainees are made aware of the work application of the skill or job being taught - Any barriers to the performance of the job being taught are identified and discussed with trainees - The assessment process is explained to trainees - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Instruct trainees | - A systemic approach is taken to instruction - Instruction process is revised and modified as necessary to meet the trainees’ learning needs - Trainees are encouraged by positive comments from the trainer - Feedback during instruction is designed to help trainees learn from their mistakes - Trainees are encouraged and guided to evaluate their own performance and diagnose it for improvement |
| - Provide opportunities for practice | - Practice opportunities are provided according to the specific learning situation and the training objectives - Constructive feedback and reinforcement are provided during practice - Trainees’ readiness for assessment is monitored |
| - Confirm trainee has reached required standard of performance | - Evidence of satisfactory performance by the trainee is collected in accordance with the training session plan - The trainee is advised that he/she has reached the required standard of performance - Other appropriate personnel are advised that the trainee has reached the required standard of performance |
| - Evaluate training session | - Trainees are encouraged to raise problems or difficulties with any aspect of the training session - Trainees are asked to discuss their ability to apply the learning outcomes - Trainees’ reaction to the training session is sought - Own performance is reviewed against session objectives and in response to trainees’ comments - Review comments are summarized - The results of the evaluation are used to guide further training. |
| - Record training | - The details of the trainees who have completed the training are accurately recorded according to the organization requirements - Other records as required by legislation or agreement are kept - Records are released to authorized personnel only - Records are securely stored |
| - Provide information on training | - Information on training proposed, in hand or completed is provided to management as required - Information on proposed training is provided to prospective trainees on request - Information on appropriate, available training is provided to employees on request |

| Variable | Range |
| --- | --- |
| A systematic approach | May include but not limited to: - Explanation, demonstration, review, trainee explanation, trainee demonstration and feedback. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures; Principles of sustainable energy practice - Preparing trainees - Instructing trainees - Monitoring trainees progress - Evaluation of training procedures - Maintaining records and documentation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Communication procedures - Enterprise recording procedures - Teaching methods - Relevant enterprise skill requirements |
| Underpinning Skills | Demonstrates skills to: - Communicate effectively - Update records and maintain documentation - Apply teaching techniques - Train personnel to relevant enterprise skill levels - Evaluate training procedures - Monitor trainees’ progress. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Coordinate Permit to Work System |
| Unit Code | EIS PGO4 18 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to coordinate the permit to work system, its implementation and application on a day to day basis and during major outages and projects |

| Elements | Performance Criteria |
| --- | --- |
| - Implement permit to work procedures | - Work requirements are identified from relevant personnel and documentation - Permit to work is planned and prepared to achieve the defined work requirement in accordance with statutory, enterprise and site procedures - Plant isolations are coordinated and confirmed with the appropriate personnel - Issue, cancellation and recording of the permit to work is carried out in accordance with enterprise and site procedures - Plant de-isolation and restoration is coordinated and confirmed with the appropriate personnel - Documentation is completed in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of on-the-job training |
| - Coordinate outage permit to work requirements | - Outage plan is obtained from, and confirmed with, the appropriate personnel - Critical paths, major milestones and potential conflicts between permits are identified and assessed - Permit to work plan is created and structured to achieve outage targets - Permits are planned in accordance with statutory, enterprise/site procedures - Resources are identified, obtained and utilized to ensure outage plan is maintained - Issue and cancellation of permits is controlled and coordinated in accordance with work requirements - De-isolation and restoration of plant is planned and coordinated to meet re-commissioning targets - Records are maintained during the outage in accordance with enterprise/site requirements |
| - Manage permit to work system | - Permit to work system is monitored and reviewed, and results are evaluated in accordance with enterprise procedures - Results are documented and reports are confirmed with the appropriate personnel - Permit to work system incidents are identified - Permit to work incidents are investigated and assessed in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| Appropriate personnel | May include but not limited to: - project engineers and leaders, maintenance personnel, operations personnel, internal and external specialist services personnel, line management, contractors and standing permit to work and/or safety committees. |
| Documentation | May include but not limited to: - Occupational Health and Safety and environmental legislation, industry standards, enterprise safety and/or permit to work rules, enterprise and site procedures, enterprise permit to work documentation/form(s), operation and maintenance manuals, plant drawings and schematics and computer based software packages. |
| Resources | May include but not limited to: - Approved documentation/form(s), manpower, isolation equipment (locking devices, signs etc) and personal or mainframe computers. |
| Permit to work | May include but not limited to: - Any approved documentation/form(s) controlled by the safety rules or permit to work procedures of the candidate’s enterprise. |
| Incidents | May include but not limited to: - permit to work system breaches |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Occupational Health and Safety legislation - Statutory legislation - Enterprise/site safety procedures - Enterprise/site emergency procedures - Implementing permit to work system - Coordinating permit to work system - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |

| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Relevant plant and equipment, its location and operating parameters - Environmental legislation - Enterprise recording procedures - Computers and software - Auditing procedures and techniques - Investigation and evaluating techniques - Development and management techniques - Communication principles - Human resources and management principles - Introduction to power production plant - Typical arrangements of power production plant - Thermodynamics - Properties of matter - Power plant cycle - General responsibilities for power production plant operations - Control of a boiler - Basic turbine construction and operating principles - Turbine operations - Electrical principles - Transformers - AC generators - Alternators, excitors and hydrogen systems - Switchgear - Electrical protection - Schematic diagrams - Auxiliary supply systems - High voltage systems - High voltage switching procedures - Safe operating principles |
| --- | --- |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Locate relevant plant and equipment - Identify plant status - Plan and prioritize work - Apply planning principles and techniques - Communicate effectively - Apply data analysis techniques and tools - Develop and manage permit to work systems - Access and use diagrams, drawings and symbols - Manage human resources. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Interpret and Analyze Multi-Operation Protection Devices |
| Unit Code | EIS PGO4 19 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to interpret and analyze multi-operation high voltage protection schemes. |

| Elements | Performance Criteria |
| --- | --- |
| - Respond to protection operation | - Protection operation is confirmed in accordance with enterprise procedures - Apparatus affected is identified in accordance with enterprise procedures - Targets, flags and alarms are identified and recorded in accordance with enterprise/site procedure - Relevant stakeholders are advised in accordance with enterprise procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Interpret and determine cause of protection operation | - External information is managed and communication with external stakeholders is conducted and recorded in accordance with enterprise procedures - Information is collated and assessed in a logical and sequential manner in accordance with enterprise procedures - Sequence of events prior to and following protection operation is identified and assessed in accordance with enterprise procedures - Multiple protection operations are assessed and evaluated in accordance with enterprise procedures - Findings are analyzed in conjunction with protection type and recorded data, to determine most probable cause of protection operation |
| - Restore protection | - All relevant stakeholders are informed of findings and plan of action in accordance with enterprise procedures - Relevant protection indicators are reset in accordance with enterprise procedures - Corrective action is taken according to fault type in accordance with enterprise/site procedures |
| - Complete documentation | - Records are maintained and all events and operations are logged in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| Protection | May include but not limited to: - restricted earth fault, frame leakage, over current (instantaneous/inverse definite minimum time), earth fault (instantaneous/inverse definite minimum time), sensitive earth fault, phase differential, transformer differential, pilot wire differential, bus bar differential, phase failure, under frequency load shedding, auto recloses, oil circuit reclose, air circuit reclose, directional earth fault, back up timer, reverse power, generator earth/fault, auto trip, and distance protection. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Communications | May include but not limited to: - By means of telephone, two way radio, pager, computer (electronic mail) and operating logs (written or verbal). |
| Appropriate personnel for consultation, giving or receiving direction | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system controller/network controller, field operator, restricted H.V. operators, independent generators and customers. |
| Operating environment | May include but not limited to: - Remote from plant and equipment being operated, (operation is assisted by remote indicators of plant status and other parameters monitored), during inclement or otherwise harsh weather conditions, in wet/noisy/dusty areas or during night periods. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures, Responding to protection equipment operation, Interpreting and determining cause of equipment operation, Restoring protection. - The knowledge of protection equipment and schemes - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations; - Relevant statutory legislation; - Relevant enterprise/site safety procedures; - Enterprise/site emergency procedures and techniques; - Plant status; - Plant operating parameters; - Relevant plant and equipment, it’s location and operating parameters; - Enterprise recording procedures; - Responding to protection equipment operation; - Interpreting and determining cause of equipment operation; - Restoring protection; - The knowledge of protection equipment and schemes |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations; - Apply relevant statutory legislation; - Apply relevant enterprise/site safety procedures; - Apply enterprise/site emergency procedures and techniques; - Apply enterprise recording procedures; - Identify plant status; - Communicate effectively; - Apply data analysis techniques and tools; - Apply diagnostic techniques; - Apply or determine appropriate corrective actions required; - Plan and prioritize work; - Use plans, drawings and symbols; - Recognize abnormal plant/system/equipment operating conditions; - Evaluate protection operation and determine the appropriate response. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Manage System Re-Start |
| Unit Code | EIS PGO4 20 0612 |
| Unit Descriptor | This competence unit deals with the skills and knowledge required to manage a system re-start after the islanding or shut down of a system/network. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify cause | - Probable implications are identified and assessed in accordance with enterprise procedures - Secondary threats to situation are identified and monitored in accordance with enterprise procedures - The system configuration and/or generation capability is evaluated in accordance with enterprise procedures - External information is sort, collated and assessed in accordance with enterprise procedures - Probable cause of shutdown is identified from available information and resources - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training - Communication with appropriate key stakeholders is established in accordance with enterprise procedures - Communications with relevant personnel is established in accordance with enterprise procedures - Team roles, both internal and external, are identified and conveyed to appropriate personnel in accordance with enterprise procedures |
| - Restore system/network/generation | - Response is managed in accordance with enterprise/site requirements and allowances for personnel/equipment limitations are made - Responses are prioritized in accordance with enterprise procedures - Contingency/re-start plans are acted in accordance with enterprise/site policy and procedure - Additional resources are coordinated and directed in accordance with enterprise procedures - Re-start plans are monitored, evaluated and adjusted as necessary in accordance with enterprise procedures |
| - Document | - Equipment failure/problems are recorded and processed in accordance with enterprise procedures - Feedback from stakeholders is recorded and in accordance with enterprise procedures - Required reports and findings are generated and distributed to appropriate personnel in accordance with enterprise procedures - Alternative contingencies/re-start plans and/or recommendations are communicated to appropriate personnel in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| System implications | - Are machine and system stability, transmission line and transformer overloading, correct tap changer position, protection settings, voltage transformer selection, synchronizing, required load shedding selected and capacitor/confessor bank selection. |
| System conditions | May include but not limited to: - Voltage profiles, spare plant, generation/transmission capability limits, variation from normal trends and switching. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; equipment and alarm manuals and external stake holder agreements. |
| Documentation | May include but not limited to: - Policy, procedure, standard operating instructions, contingency plans and emergency switching programs. |
| Communications | May include but not limited to: - By means of telephone, two way radio, pager, computer (electronic mail), operating logs (written or verbal) and intercom. |
| Liaison with key stakeholders | May include but not limited to: - system/network controllers/coordinators, oncoming shift change, field operators, support staff, asset centers, patrolmen, customers, other government bodies, co-generation authorities, generation plant operators, on call staff, police, fire, emergency services, private systems and independent power producers. |
| Appropriate personnel for consultation, to give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, power plant operations personnel, police, fire brigade, ambulance, emergency services, interconnected equipment personnel, public relations, management and system/network controllers. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - The knowledge of the roles of external authorities/bodies - The ability to establish and control emergency situations in operating the network system - The ability to apply tactical decision making techniques in operating the network system - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Environmental awareness - Relevant plant and equipment, its location and operating parameters - Enterprise recording procedures - Equipment starting pre requisites - Supervisory, alarm, protection and control equipment - Auxiliary plant and plant operation - Computers and software - External authorities/bodies role - Independent generators - Communication equipment - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate relevant plant and equipment - Operate plant within design parameters - Identify plant status - Communicate effectively - Apply diagnostic techniques - Apply data analysis techniques and tools - Recognize abnormal plant operating conditions - Apply or determine appropriate corrective actions required - Plan and prioritize work - Maintain generator unit integrity - Interpret remote indication of plant status and condition - Use plans, diagrams, drawings and symbols - Delegate to and manage staff - Apply stress management techniques. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Coordinate Electrical Energy Production |
| Unit Code | EIS PGO4 21 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to coordinate the safe and effective management of energy production to meet demand on an electricity generating unit. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan for plant operation | - Safety issues are identified to comply with enterprise/site requirements - Work, plant and resource requirements are identified from relevant information and documentation - Pre-operational checks are carried out in accordance with enterprise and site requirements |
| - Operate generator and excitation system | - System is operated in accordance with enterprise/site and manufacturer’s operating procedures - Synchronizing requirements are assessed, evaluated and achieved to ensure machine/system stability during synchronizing - System is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer’s and enterprise/site procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Control generation of electrical energy | - Generator output is adjusted to meet demand whilst observing operating requirements - Reactive power generation and voltage regulation requirements are assessed and the system is controlled to achieve the desired output - Generator stabilities and operating limits are assessed and the system is controlled to maintain those limits in accordance with enterprise/site and manufacturer’s procedures - Generator cooling systems and limits are monitored and assessed, excitation system is controlled to maintain those limits in accordance with enterprise/site and manufacturer’s procedures |
| - Coordinate unit operations | - Systems are operated to meet requirements whilst observing plant limitations - Systems are monitored and observed to detect deviations from normal operating conditions - Causes of abnormal operating conditions are identified by analyzing the technical and operational information - Corrective actions taken to rectify system abnormalities are in accordance with enterprise and site requirements - System integrity, personnel safety and continuity of supply are maintained throughout - Consultation with appropriate personnel is undertaken as required in accordance with site requirements - Systems are operated at optimum efficiency. |
| - Monitor system/plant | - System/plant to be monitored is physically identified - System/plant is monitored for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise/site procedures - Appropriate personnel are notified when defects and abnormal operating conditions are detected |
| - Test system/plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - System/plant is observed for correct operational response - Correct action is taken when response is not in accordance with documentation, plant/system integrity or personnel safety requirements - System/plant is returned to required operational status upon completion of test |
| - Analyze system/plant faults | - Causes of abnormal system operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Actions necessary to rectify fault are correctly determined - System/plant integrity and personnel safety are maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation - Appropriate personnel are arranged for local investigation of identified operational abnormalities |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, national standards for plant, relevant State and federal legislation and Australian standards. |
| Systems, plant and equipment | May include but not limited to: - generator cooling systems; fuel delivery systems; generator and generator auxiliary plant; generator seal oil system; generation fire protection system; boiler, turbine and unit coordinated control systems; generator circuit breaker/transformer; unit auxiliary switchboards; electricity market auto loading systems; generator excitation systems which may include- DC pilot excitors and amplidyne(s) control, AC pilot excitors and thyristor control, brushless systems, static systems, associated supervisory, control and protection equipment; Circuit breakers, field, excitor, flashing, associated supervisory, control and protection equipment; Transformers, excitation, earthen and neutral, voltage and current; and automatic voltage regulator (AVR) system. |
| Tests | May include but not limited to: - Supply change-over tests, “black” start tests and capability tests. |
| Faults and abnormal operating conditions may include | May include but not limited to: - unit trip; market distribution network disturbances; loss of station AC supplies; spurious abnormal fuel condition, operations; generator hydrogen cooling/sealing system malfunctions; generator cooling system malfunctions; generator excitation/transformer; CB faults/malfunctions; and unit coordinated controls malfunctions |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), remote or local indicators and recorders, computers and alarms (visible and/or audible). |
| Operating environment | May include but not limited to: - Be remote from plant and equipment being operated; where operation is assisted by remote indicators of plant status and other parameters monitored; during night periods; during inclement or otherwise harsh weather conditions; and in wet/noisy/dusty areas. |
| Unit operations (systems requirements) | May include but not limited to: - Normal generating models and system auto frequency control mode. |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - Supervisor/team leader or equivalent; other coordinators of energy production; other operating staff; technical and engineering officers or equivalent; maintenance personnel; and contractor staff. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; equipment and alarm manuals; dedicated computer equipment; enterprise standing instructions and plant notes; enterprise log books; market load profile forecasts; electricity market bidding information; and manufacturer’s operation and maintenance manuals. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The preparation and planning of work - The operation of generator and excitation systems - Coordination of unit operations - Analyzing plant faults - Monitoring plant operation - Controlling system energy generation - The knowledge of generator and system stability principles |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Principles of generator and system stability - The systems components and interactions - Principles of electricity generation - Excitation and control systems - Introduction to power production plant - Typical arrangements of power production plant - Mathematics - Mechanics - Thermodynamics - Properties of matter - Lubrication and bearings Compressors - Feed water treatment - Pumps - Liquid pumping systems - Power plant cycle - General responsibilities for power production plant operations - Coal handling plant - Bunkering - Precipitators - Fabric filters - Steam power plant boiler water and steam systems - Boiler draft system - Fuels - Principles governing efficient combustion - Fuel conditioning and fuel firing equipment - Control of a boiler - Basic turbine construction and operating principles - Turbine lubrication and oil systems - Turbine governors - Condensate and feed water systems - Feed water heating and drainage systems - Circulating water system - Condenser systems - Air extraction systems - Turbine operations - Turbine efficiency - Electrical principles - Transformers - Electric motors - AC generators - Alternators, excitors and hydrogen systems - Switchgear - Heating of electrical equipment - Electrical protection - Schematic diagrams - Auxiliary supply systems - High voltage systems - High voltage switching procedures - Safe operating principles |
| Underpinning skills | Demonstrates skills of: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Coordinate power generation - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Use diagrams, drawings and symbols - Apply data analysis techniques and tools - Coordinate the operation of interacting systems - Coordinate the operation of plant and equipment - Maintain generator unit integrity - Apply principles of electrical generation. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Perform Cost Estimations |
| Unit Code | EIS PGO4 22 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to perform cost estimations for planned and forced plant outages (plant may be a single item or whole unit). |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work details | - Work plan and methods are obtained including preparation and re-commissioning - Time frame of work is established including required working patterns - Details of materials, equipment, specialist services and contractual provisions are obtained - Any specific disposal requirements are identified - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Identify costs | - Costs associated with the outage are identified in accordance with appropriate procedures - Penalty and transfer costs associated with the outage are determined and minimized |
| - Identify causes and options | - Potential causes of time frame over runs are identified - Potential variations in work scope are identified and options considered |
| - Complete documentation | - Final costs are documented and produced in accordance with appropriate procedures |

| Variable | Range |
| --- | --- |
| Costed work | May include but not limited to: - Be in accordance with the following legislation: Occupational Health and Safety; quality assurance standards; environmental, enterprise/site standards and agreements. |
| Costs | May include but not limited to: - Labor, spares, specialist services, disposal of waste and contractual costs, various options are: schedule of rates, period of quote validity and variations from original specification detailed. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Costing and quotation techniques and procedures - Employment awards and agreements - Penalty and transfer pricing procedures and systems - Data analysis - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant OHS regulations and statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Enterprise recording procedures - Environmental awareness and procedures - Relevant plant and equipment - Costing and quotation techniques and procedures - Employment awards and agreements - Penalty and transfer pricing procedures and systems - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Use drawings - Communicate effectively - Apply data analysis techniques and tools - Compile data - Identify cause and consequence of potential cost excursions - Produce quotations - Produce cost options |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Control Permit to Work Operations |
| Unit Code | EIS PGO4 23 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to perform work in association with a permit system. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for permit | - Plan and prepare for permit to work procedures - Work requirements are identified from request/work orders or equivalent and clarified/confirmed. - Relevant information and documentation is obtained in accordance with enterprise policy/procedures. - Occupational Health and Safety standards, enterprise procedures/requirements are identified and monitored throughout the work procedure. - Plant is identified in accordance with enterprise procedures. - Consultation with all key stakeholders to identify state of plant, requirements, isolations and timetables is confirmed in accordance with enterprise procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified, and where required, assist in the provision of on-the-job training |
| - Perform permit duties | - Permit is obtained and interpreted to confirm accuracy and relevance in accordance with job requirements. - Isolations and appropriate barriers/tagging are confirmed in accordance with permit instructions. - Permit requirements are conveyed and clarified to others involved or affected by the work in accordance with permit requirements. - Other s involved are “signed-onto the permit prior to the commencement of work in accordance with permit requirements - Permit conditions are monitored throughout the work sequence in accordance with permit requirements. |
| - Complete the work | - Plant is inspected and returned to normal, to ensure it is safe to return to service and all staff working are warned to remain clear. - All staff signed on is to sign off to indicate their authority to work is removed. - Work is completed and appropriate personnel notified in accordance with site/enterprise requirements |
| Variable | Range |
| Documentation | May include but not limited to: - Occupational Health and Safety and environmental legislation, industry standards, enterprise safety and/or permit to work rules, enterprise and site procedures, enterprise permit to work documentation/form(s), and computer based software packages. |
| Permits | - May refer to: Maintenance Access Permits, Electrical Access Permits, Mechanical Permits, Testing Permits, Restricted use Permits, Out of Service Declarations, Confined Space Entry Permits, Decommissioning/Re-commissioning Statements and associated request |
| Permit to work | May include but not limited to: - Any approved documentation/form(s) controlled by the safety rules or permit to work procedures of the enterprise. |
| Appropriate personnel may include | May include but not limited to: - project engineers and leaders, maintenance personnel, operations personnel, internal and external specialist services personnel, line management, contractors and standing permit to work and/or safety committees. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: occupational health and safety legislation; statutory legislation; enterprise/site safety procedures - Enterprise/site emergency procedures, permit to work system procedures - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Relevant plant and equipment, its location and operating parameters - Enterprise recording procedures - Computers and software - Communication principles - Typical arrangements of power production plant - Power plant cycle - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Locate relevant plant and equipment - Identify plant status - Plan and prioritize work - Apply planning principles and techniques - Communicate effectively - Access and use diagrams, drawings and symbols |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test / Oral Questioning - Observation / Demonstration |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Operate and Monitor Dual Fuel Firing Plant |
| Unit Code | EIS PGO4 24 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required for the operation, inspection and monitoring of dual fuel firing plant in which each fuel source is capable of providing 100% Maximum Continuous Rating. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant inspection, pre-operational tests and field preparations for service are carried out in accordance with manufacturer and enterprise/site procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise/site procedures - Sequence for re-commissioning of plant is determined to suit existing circumstances in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Changeover from one fuel source to the other is conducted with minimal effect on load and steam conditions - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise/site procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response - Corrective action is taken when response is not in accordance with documentation, plant integrity or personnel safety requirements - Plant is returned to required operational status upon completion of test |
| - Analyze plant faults | - Causes of abnormal plant operating conditions are identified by analyzing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise procedures - Plant integrity and personnel safety is maintained through consultation with appropriate personnel, and with reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | May include but not limited to: - Relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation, national standards for plant and environmental legislation. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Systems, plant and equipment | May include but not limited to: - electrical supply switchboard and electric motors; gas supply system; gas ignition system; oil supply system; oil ignition system; oil and gas burners, coal supply system; coal feeders; coal mills/pulverizes; primary and secondary air supplies, pulverized fuel burners, fire protection systems, mill inerting systems; valves, actuators and dampers (electric, hydraulic, pneumatic and manual); fans, pumps and compressors, compressed air systems, pulse air systems; ignition and cooling air systems; filters, strainers, pressure control devices; auxiliary steam systems, supervisory, protection, alarm and control equipment; burner management and fuel safety systems. |
| Operating environment | May include but not limited to: - During inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas, during night periods and during continuous operation. |
| Tests | May include but not limited to: - post maintenance operating tests and stand-by plant tests |
| Test, fault finding and operating tools | May include but not limited to: - gas detector, power or hand tools and control system equipment |
| Faults and abnormal operating conditions | May include but not limited to: - motor/pump/ actuator/valve/dampers failure/malfunctions, control equipment failure/ malfunctions, loss of electrical supply to plant and equipment, excessive vibration of pumps/motors, high filter/strainer differentials, delivery system blockages, fuel preparation and delivery system fires, pipe fracture and leaks. |
| Technical and operational indicators | May include but not limited to: - Stimuli (audio, smell, touch, visual), local indicators and recorders, computers and alarms (visible and or audible). |
| Appropriate personnel to consult, give or receive direction | May include but not limited to: - Supervisor/team leader or equivalent, technical and engineering officers or equivalent, power system control personnel or equivalent; contractor and specialist personnel, maintenance staff and power plant operations personnel. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Preparation and planning of work - Operation of fuel firing plant - Operationally testing plant - Analyzing plant faults - Monitoring plant operation - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Fuels and the combustion process - Prevention of boiler explosions and implosions - Plant status Environmental legislation Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures - Basic motor performance - Fan types and Characteristics - Basic pump and compressor performance - Actuator, valve and damper types and characteristics. |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate fuel firing plant - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Operate in a team - Co-ordinate the operation of equipment to maintain plant integrity, personnel safety and continuity of supply - Use diagrams, drawings and symbols. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Coordinate Network/System |
| Unit Code | EIS PGO4 25 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required for the co-ordination of a network/system. Systems may be interconnected, remote or isolated. |

|  | Performance Criteria |
| --- | --- |
| - Plan and prepare network operations | - Information and documentation to determine network/system status is assessed and evaluated in accordance with system requirements - Network/system and associated equipment operational pre-requisites are determined in accordance with enterprise/system procedures - Work priorities are determined to suit network circumstances in accordance with enterprise/system procedures - Network/system limitations and performance due to location and external influences are identified - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Coordinate network/ system | - Network/system is operated in accordance with enterprise/system operating procedures - Network/system demand is monitored to maintain quality of supply standards in accordance with requirements and to maintain stability and system integrity - Network/system load shedding sequence and priorities are monitored to ensure system integrity - Corrective actions to rectify deviations are implemented following analysis of data in accordance with system procedures - Resources required to meet system requirements are identified and coordinated in accordance with system procedures - Where required, operations are carried out in consultation with team members |
| - Interpret and respond to network/ system faults or incidents | - Causes of abnormal network/system operating conditions are identified by interpreting the technical and operational information in a logistical and sequential manner - Operation of protection systems are identified and assessed to evaluate the nature and cause of fault conditions. - Communication may be established with other authorities and/or key stakeholders to identify nature/source of system interference - Corrective action is taken in accordance with enterprise/system procedures - Network/system integrity and safety are maintained through consultation with appropriate personnel and reference to plant technical, operational documentation and contingency plans |
| - Complete documentation | - Documentation is updated, log sheets maintained and equipment/system problems, movements abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer operation and maintenance manuals; and equipment and alarm manuals. |
| Systems | May include but not limited to: - interconnected, remote or isolated |
| System integrity | May include but not limited to: - Be affected by machine and system stability, transmission line and transformer overloading, correct tap changer position, protection settings, voltage transformer selection, synchronizing, required load shedding selected, capacitor/condenser bank selection, loss of network and generation components. |
| System limitations | May include but not limited to: - Location, weather conditions, natural disasters, accidents, temperature and power swings. |
| System condition | May include but not limited to: - Voltage profiles, spare plant, generation/transmission capability limits, deviation from generation schedule, variation from normal trends, plant testing, switching programs and responsive spinning reserve. |
| Team members/other authorities | May include but not limited to: - network controllers/coordinators, generation controllers, plant operators, field operators, support staff, fire service, police, ambulance, emergency services, enterprise and site representatives, consumers and independent power producers. |
| Unit operations | May include but not limited to: - Spurious faults in automatic systems, automatic systems operating out of range, failure of automatic system components and routine plant movement. |
| Safety standards may include | May include but not limited to: - Relevant sections of OHS legislation, enterprise safety rules, relevant State and federal legislation and national standards for plant. |
| Appropriate personnel, team members/other authorities | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system controller, field operators, restricted operators, emergency personnel, network controllers/coordinators, generation controllers, plant operators, field operators, support staff, fire service, police, ambulance, emergency services, enterprise and site representatives, consumers and independent power producers. |
| Technical and operational indicators | May include but not limited to: - may include local indicators and recorders, computers and alarms (visible and or audible). |
| Equipment | May include but not limited to: - Machines, circuit breakers, tap changers, protection settings, capacitor/condenser banks, generators and SCADA systems. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Relevant system type - Preparing for system operations - Coordinating a Network/System operation - Interpreting and responding to faults and abnormal system operating conditions - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant OHS regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Relevant plant and equipment, its location and operating parameters - Enterprise recording procedures - System/Network types and characteristics - Contingency plans - Problem solving - Supervisory, alarm, protection and control equipment - Switchgear operation - Load shedding principles - Communication principles - Control and data acquisition systems - Computers and software - Switching practices and procedures |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Control system/network - Identify plant status - Communicate effectively - Identify and respond to abnormal system operating conditions - Plan and prioritize work - Coordinate the operation of system/network to maintain plant integrity, - Continuity of supply and optimum efficiency - Use diagrams, drawings and symbols - Direct and coordinate personnel - Select appropriate load shedding. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Interpret and Analyze LV Mechanical Protection Devices |
| Unit Code | EIS PGO4 26 0612 |
| Unit Descriptor | This unit refers to the ability to interpret and Analyze the conditions that have initiated the operation of low voltage and or mechanical protection device and to subsequently take corrective action in response to the operation of the device. |

| Elements | Performance Criteria |
| --- | --- |
| - Respond to LV/mechanical protection device operation | - Protection operation is confirmed in accordance with enterprise procedures - Apparatus affected is identified in accordance with enterprise procedures - Targets, flags and alarms are identified and recorded in accordance with enterprise/site procedure - Relevant stakeholders are advised in accordance with enterprise procedures |
| - Interpret conditions under which the operation of a LV/mechanical protection device occurred and determine the cause of operation | - External information is managed and communication with external stakeholders is conducted and recorded in accordance with enterprise procedures - Information is collated and assessed in a logical and sequential manner in accordance with enterprise procedures - Sequence of events prior to and following protection operation is identified and assessed in accordance with enterprise procedures - Where appropriate the simultaneous or sequential operation of multiple protection device is assessed and evaluated in accordance with enterprise procedures - Findings are analyzed with due regard for the type of protection device and recorded data, to determine most probable cause of protection operation |
| - Take corrective action in response to the operation of LV/ mechanical protection device/s | - Corrective action is taken, in accordance with enterprise/site procedures, to normalize the condition which has initiated the operation of the protection device and/or minimize the effect of the abnormal condition |
| - Reset or restore LV/ mechanical protection device | - Relevant mechanical protection devices and related indicators are reset or restored to the correct position required to monitor the plant in accordance with enterprise procedures |
| - Complete documentation | - Records are maintained and all events and operations are logged in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| Mechanical protection devices | - may include alarm and tripping functions of the following: level detection; proximity detection, position detection, temperature detection, temperature differential detection, thermal rate of rise detection, expansion detection, differential expansion detection, eccentricity detection, pressure detection, pressure differential detection, vibration detection, under-speed detection, over-speed detection, belt tracking, blocked Shute, belt sag, direct mechanical interlock and operation prevention devices.. |
| Operating environment | - may be remote from the plant and equipment being operated, (in cases where operation is assisted by remote indication of operating parameters and plant status), during inclement or otherwise harsh weather conditions, in hot/wet/noisy/dusty/elevated/confined or enclosed areas or during night periods |
| Communications | - may be by direct personal interaction or by means of telephone, verbal or text-based telephone messaging, two way radio, pager, computer (electronic mail) and/or operating logs (written or verbal). |
| Technical and operational indicators | - may include sensory stimuli (auditory, olfactory, tactile, visual), local indicators and recorders, computers and alarms (visible and/or audible) |
| Information and documentation sources | - may include verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; computer-based and computer accessed documentation; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Demonstrate an understanding of the essential knowledge and associated skills as described in essential knowledge and associated skills of this unit - Demonstrate an appropriate level of skills enabling employment - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedure Demonstrated performance across a representative range of contexts from the prescribed items below: - The knowledge and application of relevant sections of: occupational, health and safety legislation; statutory legislation; enterprise/site safety procedures; enterprise/site emergency procedures. - The knowledge of the purpose, function and operation of mechanical protection devices and schemes - The ability to respond to mechanical protection device operation - The ability to interpret the immediate plant conditions and determine the cause of mechanical protection device operation - The ability to determine appropriate corrective action in response to the operation of mechanical protection devices and carry out such action when required - The ability to reset and/or restore the mechanical protection device to service - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations; - Relevant statutory legislation; relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Enterprise recording procedures; the purpose, function and operation of mechanical protection devices and schemes - The location of relevant plant and equipment - Normal and abnormal operating parameters and status - Relevant methods and procedures for: responding to protection equipment operation - Trouble-shooting methods associated with interpreting data and determining the cause of mechanical protection device operation - The procedures to be used for resetting or restoring mechanical protection devices to service |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Use plans, drawings and symbols - Apply enterprise recording procedures - Communicate effectively - Plan and prioritize work - Identify plant status and recognize abnormal plant/system/equipment operating conditions - Identify instances of mechanical protection device operation - Apply data analysis and diagnostic techniques and tools to the operating environment - Determine appropriate corrective action and carry out such action when required. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Develop HV Switching Programs |
| Unit Code | EIS PGO4 27 0612 |
| Unit Descriptor | This unit refers to the development of switching programs where multiple sources of supply must be considered and managed. |

| Elements | Performance Criteria |
| --- | --- |
| - Interpret requirements | - Notification of requirement is confirmed and assessed - Area of planned outage is identified using system diagrams, drawings and/or maps, in consultation with appropriate personnel - Planned work details are interpreted from outage request or equivalent and stated on the draft program - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Research switching program me | - Implications of switching program on the system are identified and recognized - Types and function of switchgear to be operated are identified and their suitability for operation under forecast system conditions during scheduled outage is assessed - System loadings, limitations and alternate supply route capabilities are evaluated to ensure system integrity - Consultation with appropriate parties affected by the switching program is undertaken in accordance with enterprise procedures - Consideration is given to geographical and/or site location of isolation points to conclude shortest possible route when determining sequence of switching steps in order to minimize outage time - Isolated work area is appraised to ensure safe working clearances are maintained in accordance with mandatory regulations and enterprise/site requirements - H.V., L.V. and control circuitry is examined to ensure no back-feed to work is possible |
| - Draft switching program | - Draft is formatted in logical sequential steps, stating location, apparatus, apparatus ID and operation to be conducted - Permit to work procedures are entered at correct step in program - Program is planned to ensure access, work and reinstatement take place in a logical and sequential manner - Switching program is checked for errors and omissions in accordance with enterprise procedures - All documentation supporting the program is filled out requirements in accordance with enterprise procedures |
| - Validate program | - Switching program is forwarded to appropriate personnel for checking and verification in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| Program | - may include operations where primary and secondary isolations are required to isolate a work area, operations where switching involves multiple and interconnecting power generating utilities, commissioning/isolating/paralleling zone sub station plant, transmission systems, bus sections, zone transformers and interconnected power supplies. |
| Secondary isolations | - may include VTs, UPS supply, control systems, plant auxiliaries and DC supplies |
| Safety standards | - may include relevant sections of occupational health and safety legislation, enterprise safety rules, relevant state and federal legislation and national standards for plant |
| Information and documentation sources | - may include verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals Communications may be by means of telephone, two way radio, pager, computer (electronic mail) and operating logs (written or verbal) |
| Appropriate personnel for consultation, to give or receive direction | - may include supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, network/system controllers, field operators, line workers, external customers, project leaders and authorizing officer |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | The knowledge and application of relevant sections of: - Occupational, health and safety legislation; - Statutory legislation; - Enterprise/site safety procedures; - Enterprise/site emergency procedures - Researching switching programs - Drafting switching programs - Validation procedures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health & safety regulations; - Relevant statutory legislation; - Relevant enterprise/site safety procedures; - Enterprise/site emergency procedures and techniques; - Plant status; - Relevant plant and equipment, it’s location and operating parameters; - Enterprise recording procedures; - Electrical theory principles ; - Interconnected utilities systems and equipment; - Network systems; - Protection systems; - Isolating, tagging and earthen procedures; - Control systems; - Communication principles; - Computers and software |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health & safety regulations; - Apply relevant statutory legislation; - Apply relevant enterprise/site safety procedures; - Apply enterprise/site emergency procedures and techniques; - Apply enterprise recording procedures; - Identify plant status; - Communicate effectively; - Use data analysis techniques and tools; - Apply or determine appropriate corrective actions required; - Plan and prioritize work; - Interpret and apply reading of appropriate diagrams and symbols; - Apply electrical principles/theory to derive HV switching programs; - Write switching programs |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Operate and Monitor System Equipment |
| Unit Code | EIS PGO4 28 0612 |
| Unit Descriptor | This unit deals with skills and knowledge to operate, monitor and control of H.V. apparatus on the system, via SCADA control. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan the work | - Safety issues are identified in accordance with enterprise/system requirements - System requirements are identified from relevant personnel and documentation - System and associated equipment operational prerequisites are identified and established in accordance with manufacturers and/or enterprise/site procedures - Sequence for re commissioning of equipment is identified and determined in accordance with enterprise/system requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate system equipment | - The equipment is operated in accordance with enterprise/system procedures/programs - Load shedding requirements are identified, selected and monitored during equipment operations to ensure system integrity - Operations are carried out in consultation with appropriate personnel in accordance with enterprise/site requirements |
| - Monitor system equipment | - Voltage and current requirements are assessed, evaluated and controlled to maintain system integrity and stability - Equipment is monitored for normal operations or to detect deviations in accordance with system procedures - Corrective actions to rectify abnormalities are undertaken in accordance with system procedures - Appropriate personnel are notified when defects and/or abnormal operating conditions are detected in accordance with operating procedures |
| - Analyze equipment faults | - Cause of equipment operating faults are identified by analyzing the technical and operational information in a logical and sequential manner - Operation of protection system is identified and assessed to evaluate the nature and cause of fault conditions - Communication is established with other authorities and/or key stakeholders to identify nature/source of equipment fault/ failure - Corrective action taken is in accordance with enterprise/site procedures - Network/system integrity and personnel safety are maintained through consultation with appropriate personnel, and reference to plant, technical and operational documentation and contingency plans |
| - Complete documentation | - Documentation is updated and maintained and equipment problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards | - may include relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant State and federal legislation, national standards for plant and environmental legislation. |
| Equipment | - may include machines, circuit breakers, tap changers, protection settings, capacitor/condenser banks, switch gear, generators and transformers. |
| Operations | - may be continuous operation or during inclement or otherwise harsh weather conditions or during night periods |
| Appropriate personnel to consult, give or receive direction | - may include supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system controller/network controller, field operator and restricted HV operators |
| Faults and abnormal operating conditions | - may include control equipment failure/malfunctions, loss of electrical supply to plant and equipment, loss of transmission components, system limitations due to location, weather conditions, natural disasters, accidents, temperature and power swings. |
| Technical and operational indicators | - may include stimuli, local indicators and recorders, computers and alarms (visible and or audible) |
| Communications | - may be by means of telephone, two way radio, pager, public address system, computer (electronic mail) and operating log (written or verbal). |
| Key indicators | - may include voltage, current, reactive power flows, load, equipment, loading limits and system node points |
| Information and documentation sources | - may include verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Demonstrate an understanding of the essential knowledge and associated skills as described in 6) Essential Knowledge and Associated Skills of this unit - Demonstrate an appropriate level of skills enabling employment - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedure Demonstrated performance across a representative range of contexts from the prescribed items below: - The knowledge and application of relevant sections of: occupational, health and safety legislation; statutory legislation; enterprise/site safety procedures; enterprise/site emergency procedures. - The knowledge of the purpose, function and operation of mechanical protection devices and schemes - The ability to respond to mechanical protection device operation - The ability to interpret the immediate plant conditions and determine the cause of mechanical protection device operation - The ability to determine appropriate corrective action in response to the operation of mechanical protection devices and carry out such action when required - The ability to reset and/or restore the mechanical protection device to service - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items. |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and operating parameters - Equipment status - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Operate screen based equipment - Identify equipment status - Plan and prioritize work - Communicate effectively - Apply data analysis techniques and tools - Identify and respond to abnormal equipment operating conditions - Use diagrams, drawings and symbols |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Control Hydro Generation/Pumping |
| Unit Code | EIS PGO4 29 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake remote control of hydro plant. |

| Elements | Performance Criteria |
| --- | --- |
| - Maintain key indicator limits | - Pond levels, station discharges, machine voltage and current limits, frequency, time error (where applicable) are maintained in accordance with manufacturer’s specifications and enterprise requirements - Hydro plant is run at peak efficiency, or to the load schedule avoiding rough running zones in accordance with enterprise procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate remote hydro plant | - Machines are remotely stopped, started, loaded and unloaded in accordance with the operating regimes dictated by the generation schedule - Plant is remotely switched in and out of synchronous condenser operation (where required) in accordance with system requirements |
| - Maintain policy and procedure | - Procedures to alert public of increased river flows are adhered to in accordance with site/enterprise procedures - Minimum river flows are maintained in accordance with agreed limits - Water storage levels are monitored and maintained in accordance with statutory or policy guidelines |
| - Complete documentation | - Documentation is updated, maintained and equipment problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Appropriate personnel for consultation, to give or receive direction | May include but not limited to: - supervisor/team leader or equivalent, power plant operations personnel or equivalent, technical and engineering officers or equivalent, maintenance staff, other operating staff or equivalent, system controller/network controller, field operator and restricted H.V. operators |
| Operating environment may be | May include but not limited to: - remote from plant and equipment being operated and operation is assisted by remote indicators of plant status and other parameters monitored |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; enterprise operating instructions; dedicated computer equipment; enterprise/site standing and operating instructions; enterprise log books; manufacturer’s operation and maintenance manuals; and equipment and alarm manuals |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Knowledge and application of relevant sections of: OHS legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Knowledge of procedures that affect recreational, rural and commercial users of waterways and storages - Operation of remote hydro plant - Dealing with an unplanned event by drawing on Essential Knowledge and Skills to provide appropriate solutions incorporated in the holistic assessment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant OHS regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Equipment status - Plant operating parameters - Environmental awareness - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - Communication principles - Computers and software |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Operate plant within design parameters - Apply relevant environmental legislation - Identify plant status - Prepare plant/equipment for operation - Communicate effectively - Apply data analysis techniques and tools - Recognize abnormal plant operating conditions - Apply or determine appropriate corrective actions required - Plan and prioritize work - Coordinate the operation of equipment to maintain plant integrity, personnel safety, continuity of supply and optimum efficiency - Interpret remote indication of plant status and condition - Interpret and apply reading of appropriate diagrams and symbols, data and alarms. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Assessment Methods | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Write Programs for Control Systems |
| Unit Code | EIS PGO4 30 0612 |
| Unit Descriptor | This unit refers to the writing of programs from flow charts for electronic control systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for the work | - Work requirements are identified from request/work orders or equivalent and clarified/confirmed with appropriate parties or by site inspection - Occupational health and safety standards, statutory requirements, relevant Ethiopian standards, codes of practice, manufacturers’ specifications, environmental requirements and enterprise procedures are identified, applied and monitored throughout the work procedure - Resources required to satisfy the work plan are identified, obtained and inspected for compliance with the job specifications - Relevant plans, drawings and texts are selected and interpreted in accordance with the work plan - Work is planned in detail including sequencing, prioritizing and considerations made where appropriate for the maintenance of plant security and capacity in accordance with system/site requirements - Coordination requirements, including requests for isolations where appropriate, are resolved with others involved, affected or required by the work - Potential hazards are identified and prevention and/or control measures are selected in accordance with the work plan and site procedures - Work area is prepared in accordance with work requirements and site procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, |
| - Write and load programs | - Test and measurement instruments, software packages are selected and used to enable completion of the program writing in accordance with the work plan - Appropriate plans, drawings and text are selected to enable program writing for the control system in accordance with the work plan - Programming data is written with sequence and variables determined as being in accordance with the desired operating parameters of the control system - Test and measurement instruments, software packages are selected and used to enable the program to be loaded in accordance with the work plan |
| - Test operating parameters | - Test and measurement instruments, software packages to allow the testing of operating parameters are selected and used in accordance with the work plan - Appropriate plans, drawings and text and the written program are used to confirm programming data in accordance with the work plan - Sequence and variables are tested to confirm the desired operating parameters of the control system are met |
| - Complete the work | - Documentation of the programming is performed and presented to appropriate personnel in accordance with the work plan - Work procedures are modified and evaluated where necessary in accordance with new program documentation - Work is completed and appropriate personnel notified in accordance with site/enterprise requirements |

| Variable | Range |
| --- | --- |
| Test | can refer to: - manufacturer’s specifications and instruction sets, - programming flow charts, complete DOS reference manuals and software programming/interfacing sheets |
| Programming data | can refer to : - programs written in machine code, assembled and compiled language levels |
| Test and measurement instruments | may refer to: - a 150MHz multi-channel storage cathode ray oscilloscope, logic analyzer and portable VDU |
| Control system | can refer to : - a combination of equipment such as programmable controllers (with complete mathematical functions, data manipulation, proportional, integral and derivative functions); PLCs and distributive control systems |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Occupational, health and safety legislation; - Statutory legislation; - Enterprise/site safety procedures; - Enterprise/site emergency procedures - Preparation and planning of work - Writing and loading programs - Testing of operating parameters - Completion of work procedures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational health and safety standards; - Relevant statutory requirements and codes of practice; - Relevant Ethiopian standards; - Equipment and material required to perform the work; - Performance and function of the system; - Test and measurement instruments; - Programming; Programmable control systems; Distributive control; Software packages; - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply occupational health and safety standards - Apply relevant Ethiopian standards - Follow relevant statutory requirements and codes of practice - Locate and interpret plans, drawings and text and software packages - Write programs - Load programs - Use test and measurement instruments - Carry out documentation - Communicate effectively - Apply data analysis techniques and tools |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Assessment Methods | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Conduct Technical Inspection of Process Plant and Equipment |
| Unit Code | EIS PGO4 31 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to conduct the technical inspection of a generation plant, equipment, processes and associated infrastructure. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for inspection process plant | - Short term maintenance and operating history is obtained - Deviations from normal operational parameters are identified - Potential options for cause of deviations are established - Needs and outcomes for plant inspections and/or test are defined, in accordance with potential options - Appropriate method sheets, check sheets and isolation instructions are obtained - Relevant technical and engineering procedures are considered and adapted where required - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Inspection process plant | - Plant is correctly identified - Plant operational status is identified - Work is carried out in accordance statutory, enterprise/site requirements - Appropriate methods are followed - Relevant documentation is completed - The needs and outcomes for the inspection are achieved - Any needs for additional tests/inspections required are defined - Plant/equipment is left in a safe condition - Plant/equipment availability is declared - Specialist assistance is sought when required |
| - Evaluate/analyze inspection results | - Test/inspection results and data are analyzed - Conclusions drawn with reference to potential options - Causes for deviations from normal operation are identified |
| - Prepare remedial action plan | - Action plan is prepared for any required remedial action - Remedial action is followed up and checked for effectiveness - All relevant records and documentation are updated in accordance with statutory, industry and enterprise requirements |

| Variable | Range |
| --- | --- |
| Operating environment | May include but not limited to: - remote from plant, aided by indicators and monitors, during inclement or otherwise harsh weather conditions, in wet/noisy/dusty/hot areas, during night periods, dependant on duty cycle and working in confined spaces. |
| Faults and abnormal operating conditions | May include but not limited to: - pressure, level, flow, temperature, speed, vibration and mix |
| Technical and operational indicators may include | May include but not limited to: - Stimuli (audio, smell, touch, visual), remote or local indicators and recorders, alarms (visible and or audible) and basic fault finding equipment. |
| Generation plant and/or equipment | May include but not limited to: - Fired and unfired pressure vessels; pipe work valves and fittings; turbines and generators; chemical and water treatment processes; instrumentation and process control; and civil, electrical, thermal and mechanical works. |
| Tests may include | May include but not limited to: - Stand-by plant tests, pre-commissioning operating tests, functional testing and sampling. |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation/form(s); equipment and alarm manuals; dedicated computer equipment; drawings, logic diagrams; testing procedures; plant records; plant failure reports; enterprise/site standing and operating instructions; enterprise/site log books; manufacturer’s operation and maintenance manuals; and specialist’s reports. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - The process plant and its operating parameters - Inspection and test procedures - Identifying worn, damaged or faulty plant and equipment - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Environmental awareness - Relevant plant and equipment - Location of relevant plant and equipment - Enterprise recording procedures - Plant and processes - Inspection and test procedures - Relevant test equipment - Diagnostic techniques; - Sampling techniques - Basic principles of related plant systems - Quality assurance and quality control - Data logging systems - Relevant Ethiopian and/or international standards - relative to plant or process - Engineering assembly, design and operating principles - Material safety data sheets - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate relevant plant and equipment - Operate plant within design parameters - Identify plant status - Prepare plant/equipment for operation - Organize resources where applicable - Recognize abnormal plant operating conditions - Plan and priorities work - Communicate effectively - Apply documentation recording procedures - Recognize worn, damaged or seized components - Identify components against drawings, manuals and modules - Select and use engineering procedures and instructions - Apply sampling techniques - Apply diagnostic techniques - Apply data analysis techniques and tools - Apply testing and inspection techniques - Use material safety data sheets. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Coordinate Team Activities |
| Unit Code | EIS PGO4 32 0612 |
| Unit Descriptor | This unit covers the directing and coordinating of team activities required to achieve agreed goals |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for the work | - Occupational health and safety standards, statutory requirements, relevant Ethiopian Standards , codes of practice, environmental requirements and enterprise procedures are identified, applied and monitored throughout the teams activities - Work of the team is planned to ensure their safety, that of the public, and the security of plant and equipment - Hazards, or incidents, are identified, investigated and remedial action planned and implemented in accordance with enterprise, site and legislative requirements - Communication requirements are identified in accordance with work requirements - Communication and information systems are accessed and applied in accordance with work requirements |
| - Co-ordinate teamwork | - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training - Site and/or enterprise goals and the contributions to be made by team members are identified, interpreted and clarified - The need for cooperative interaction between team members is fostered to ensure balanced participation in accordance with work requirements - Defined roles and strengths of team members are identified and utilized to optimize efficiency in accordance with work requirements - Ground rules and work plans for the team are developed, revised and requirements to make changes are made through consultative processes - Team goals and unity are positively promoted to clients and team members - Proposals for team improvements, including flexibility of functions are initiated and/or encouraged from team members - Causes of disharmony and other barriers to achievement are identified and resolved or referred to appropriate parties |
| - Conduct team meetings | - Preparatory activity is completed including clarification of meeting objectives and research and preparation of views - Meeting procedures and objectives are identified and conveyed to team members in a logical and orderly manner - Formal presentations are undertaken to enhance communication and accordance with enterprise requirements - Points of view of team members, whether in agreement or dissent, are given a fair hearing - Every effort is made to encourage all team members to actively take part in team meetings |

| Variable | Range |
| --- | --- |
| Communication and information systems | - may include previous shift reporting, written and/or verbal instructions and operating procedures, electronic mail, telephones, pagers, facsimiles and two-way radios |
| Team | - is a generic term used to describe groups, crews, gangs, shifts, or other industrially and historically acceptable terms |

| Evidence Guide |  |
| --- | --- |
| Critical aspects of Competence | The knowledge and application of relevant sections of: - Occupational, health and safety legislation; - Statutory legislation; - Enterprise/site safety procedures; - Enterprise/site emergency procedures - Preparing work for team - Coordinating team work - Conducting team meetings |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Team goals; - Occupational health and safety regulations; - Relevant statutory requirements; - Functions required within the team; - Skills available and possessed by team members; - Interpersonal communication skills; - Teamwork methodology and structures; - Dispute resolution procedures; - Meeting procedures; - Communication procedures |
| Underpinning Skills | Demonstrates skills to: - Promote team unity; - Apply occupational health and safety regulations; - Apply relevant statutory requirements; - Communicate effectively with team and others; - Develop work plan; - Maximize and utilize team potential; - Identify skill shortages/training needs of team; - Resolve differences within the team; - Monitor team activities; - Provide team support through feedback; - Promote personal and personnel safety awareness; - Apply data analysis techniques and tools. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Plan and Organize Work |
| Unit Code | EIS PGO4 33 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake the planning and organizing of tasks to be undertaken by the team. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for work | - Work requirements are identified from request/work orders or equivalent and clarified/confirmed with appropriate parties or by site inspection - Occupational Health and Safety standards, statutory requirements, relevant Australian standards, codes of practice, manufacturer’s specifications, environmental requirements and enterprise procedures are identified, applied and monitored throughout the work procedure - Materials, equipment and resources required to satisfy job plan are identified, requisitioned, obtained and inspected for compliance with job specifications - Coordination requirements, including requests for isolations, are resolved with others involved or affected by the work in accordance with enterprise/site requirements - Work is planned in accordance with job requirements, appropriate plans, drawings and standards and, if necessary, by site inspection - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Coordinate work | - Permits are requested/received, interpreted, clarified and signed and conveyed to appropriate parties in accordance with enterprise procedures and job requirements - Tasks are assigned and monitored to ensure compliance with plans, work requirements and enterprise procedures - Work is conducted in accordance with sustainable energy principles - Provision for the re-cycling or re-use of materials is undertaken where possible - Job requirements are modified to meet unforeseen requirements, resources reallocated/rescheduled and the extent of change communicated promptly to all those affected in accordance with job requirements |
| - Complete the work | - Finalization of work and restoration of the site is monitored and ensured in accordance with enterprise procedures and job requirements - Permits are signed off and appropriate parties are notified of work completion in accordance with enterprise procedures and job requirements - Job records, costing data and necessary reports are prepared/finalized in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| Coordination issues | May include but not limited to: - team briefing, public notification, notice of intended work, safety coordination, fuel and rest stops, accommodation, liaison with other divisions/clients and preparing work plan. |
| Sustainable energy and principles | - May refers to or includes those factors defined in the glossary under „environment |
| Resources | May include but not limited to: - Materials, plant, equipment and personnel. |
| Job records | May include but not limited to: - Contract history file, plans, time sheets/cards and daily diary. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - The knowledge and application of relevant sections of: OHS legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Developing and implementing work plans - Coordination techniques - Work completion details - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Work planning and organization theory - Team goals - Team resource acquisition processes and procedures - Occupational Health and Safety - Enterprise permit procedures - Relevant plant and equipment - Relevant statutory requirements - Appropriate engineering and design practices and procedures - Enterprise recording procedures - Appropriate tools, equipment and materials required to do the work - Team communication process - Time management techniques |
| Underpinning Skills | Demonstrates skills to: - Develop and implement work plan - Coordinate/sequence work requirements - Assess team capabilities and capacities - Review job progress against agreed goals - Modify team work plan - Communicate information to others - Prepare and interpret work procedures - Estimate materials and resource requirements - Monitor team performance - Apply data analysis techniques and tools. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Establish Quality Standards |
| Unit Code | EIS PGO4 34 0612 |
| Unit Descriptor | This unit covers the knowledge, attitudes and skills required to monitor quality of work, establish quality specifications for product, participate in maintaining and improving quality at work, identify hazards and critical control points in the production of quality product, assist in planning of quality assurance procedures, report problems that affect quality and implement quality assurance procedures. |

| Element | Performance Criteria |
| --- | --- |
| - Establish quality specifications for product | - Market specifications are sourced and legislated requirements identified. - Quality specifications developed and agreed upon - Quality specifications are documented and introduced to organization staff / personnel in accordance with the organization policy - Quality specifications are updated when necessary |
| - Identify hazards and critical control points | - Critical control points impacting on quality are identified. - Degree of risk for each hazard is determined. - Necessary documentation is accomplished in accordance with organization quality procedures |
| - Assist in planning of quality assurance procedures | - Procedures for each identified control point are developed to ensure optimum quality. - Hazards and risks are minimized through application of appropriate controls. - Processes to monitor the effectiveness of quality assurance procedures are developed. |
| - Implement quality assurance procedures | - Responsibilities for carrying out procedures are allocated to staff and contractors. - Instructions are prepared in accordance with the enterprise’s quality assurance program. - Staff and contractors are given induction training on the quality assurance policy. - Staff and contractors are given in-service training relevant to their allocated procedures. |
| - Monitor quality of work outcome | - Quality requirements are identified - Inputs are inspected to confirm capability to meet quality requirements - Work is conducted to produce required outcomes - Work processes are monitored to confirm quality of output and/or service - Processes are adjusted to maintain outputs within specification. |
| - Participate in maintaining and improving quality at work | - Work area, materials, processes and product are routinely monitored to ensure compliance with quality requirements - Non-conformance in inputs, process, product and/or service is identified and reported according to workplace reporting requirements - Corrective action is taken within level of responsibility, to maintain quality standards - Quality issues are raised with designated personnel |
| - Report problems that affect quality | - Recognize potential or existing quality problems. - Identify instances of variation in quality from specifications or work instructions. - Report variation and potential problems to supervisor/manager according to enterprise guidelines. |

| Variable | Range statement |
| --- | --- |
| Sourced | May include but not limited to: - Purchasers of the product/service - End-users - Stakeholders |
| Legislated requirements | May include but not limited to: - Verification of product quality as part of consumer legislation or specific legislation related to product content or composition. |
| Safety procedures. | It may include but not limited to: - Use of tools and equipment - Workplace environment and handling of material safety - Following OHS procedures designated for the task - Respect related policies, regulations, legislations, rule and procedures |

| Evidence Guide |  |
| --- | --- |
| Critical Aspect of Competence | Assessment must confirm one's ability to: - Monitor quality of work - Establish quality specifications for product/service - Participate in maintaining and improving quality at work - Identify hazards and critical control points in the production of quality product/service - Assist in planning of quality assurance procedures - Report problems that affect quality - Implement quality assurance procedures |
| Underpinning Knowledge and Attitude | Demonstrates knowledge of: - Related policies and procedures - Obtaining and using information - Applying federal and regional legislation within day-today work activities - Accessing and using management systems to keep and maintain accurate records - Requirements for correct preparation potentially hazardous materials |
| Underpinning Skills | Demonstrates skills in: - Monitoring quality of work - Establishing quality specifications for product - Participating in maintaining and improving quality at work - Identifying hazards and critical control points in the production of quality product - Assisting in planning of quality assurance procedures - Reporting problems that affect quality - Implementing quality assurance procedures |
| Resource Implications | The following resources MUST be provided. - Access is required to real or appropriately simulated situations, including work areas, materials and equipment, - Documentation and information on workplace practices and OHS practices. - specifications and work instructions |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Observation/Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. This competence standard could be assessed on its own or in combination with other competencies relevant to the job function. |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Migrate to New Technology |
| Unit Code | EIS PGO4 35 0612 |
| Unit Descriptor | This unit defines the competence required to apply skills and knowledge in using new or upgraded technology. The rationale behind this unit emphasizes the importance of constantly reviewing work processes, skills and techniques in order to ensure that the quality of the entire business process is maintained at the highest level possible through the appropriate application of new technology. To this end, the person is typically engaged in on-going review and research in order to discover and apply new technology or techniques to improve aspects of the organization’s activities. |

| Elements | Performance Criteria |
| --- | --- |
| - Apply existing knowledge and techniques to technology and transfer | - Situations are identified where existing knowledge can be used as the basis for developing new skills. - New or upgraded technology skills are acquired and used to enhance learning. - New or upgraded equipment are identified, classified and used where appropriate, for the benefit of the organization. |
| - Apply functions of technology to assist in solving organizational problems | - Testing of new or upgraded equipment is conducted according to the specification manual. - Features of new or upgraded equipment are applied within the organization - Features and functions of new or upgraded equipment is used for solving organizational problems - Sources of information is accessed and used relating to new or upgraded equipment |
| - Evaluate new or upgraded technology performance | - New or upgraded equipment is evaluated for performance, usability and against OHS standards. - Environmental considerations are determined from new or upgraded equipment. - Feedback is sought from users where appropriate. |

| Variables | Range |
| --- | --- |
| Environmental Considerations | May include but is not limited to recycling, safe disposal of packaging (e.g. cardboard, polystyrene, paper, plastic) and correct disposal of waste materials by an authorized body |
| Feedback | May include surveys, questionnaires, interviews and meetings. |
| Evidence Guide |  |
| Critical Aspects of Competence | Competence must confirm the ability to transfer the application of existing skills and knowledge to new technology |
| Underpinning Knowledge and Attitudes | - Broad awareness of current technology trends and directions in the industry (e.g. systems/procedures, services, new developments, new protocols) - Knowledge of vendor product directions - Ability to locate appropriate sources of information regarding new technologies - Current industry products/services, procedures and techniques with knowledge of general features - Information gathering techniques |
| Underpinning Skills | - Research skills for identifying broad features of new technologies - Ability to assist in the decision making process - Literacy skills in regard to interpretation of technical manuals - Ability to solve known problems in a variety of situations and locations - Evaluate and apply new technology to assist in solving organizational problems - General analytical skills in relation to known problems |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Demonstration/ Observation with Oral Questioning |
| Context of Assessment | Competence may be assessed in the workplace or in a simulated workplace setting |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Develop Individuals and Team |
| Unit Code | EIS PGO4 36 0612 |
| Unit Descriptor | This unit covers the skills, knowledge and attitudes required to determine individual and team development needs and facilitate the development of the workgroup. |

| Elements | Performance Criteria |
| --- | --- |
| - Provide team leadership | - Learning and development needs are systematically identified and implemented in line with organizational requirements - Learning plan to meet individual and group training and developmental needs is collaboratively developed and implemented - Individuals are encouraged to self evaluate performance and identify areas for improvement - Feedback on performance of team members is collected from relevant sources and compared with established team learning process |
| - Foster individual and organizational growth | - Learning and development program goals and objectives are identified to match the specific knowledge and skills requirements of competence standards - Learning delivery methods are appropriate to the learning goals, the learning style of participants and availability of equipment and resources - Workplace learning opportunities and coaching/ mentoring assistance are provided to facilitate individual and team achievement of competencies - Resources and timelines required for learning activities are identified and approved in accordance with organizational requirements |
| - Monitor and evaluate workplace learning | - Feedback from individuals or teams is used to identify and implement improvements in future learning arrangements - Outcomes and performance of individuals/teams are assessed and recorded to determine the effectiveness of development programs and the extent of additional support - Modifications to learning plans are negotiated to improve the efficiency and effectiveness of learning - Records and reports of competence are maintained within organizational requirement |
| - Develop team commitment and cooperation | - Open communication processes to obtain and share information is used by team - Decisions are reached by the team in accordance with its agreed roles and responsibilities - Mutual concern and camaraderie are developed in the team |
| - Facilitate accomplishment of organizational goals | - Team members actively participated in team activities and communication processes - Teams members developed individual and joint responsibility for their actions - Collaborative efforts are sustained to attain organizational goals |

| Variable | Range statement |
| --- | --- |
| Learning and development needs | - Coaching, mentoring and/or supervision - Formal/informal learning program - Internal/external training provision - Work experience/exchange/opportunities - Personal study - Career planning/development - Performance appraisals - Workplace skills assessment - Recognition of prior learning |
| Organizational requirements | - Quality assurance and/or procedures manuals - Goals, objectives, plans, systems and processes - Legal and organizational policy/guidelines and requirements - Safety policies, procedures and programs - Confidentiality and security requirements - Business and performance plans - Ethical standards - Quality and continuous improvement processes and standards |
| Feedback on performance | - Formal/informal performance appraisals - Obtaining feedback from supervisors and colleagues - Obtaining feedback from clients - Personal and reflective behavior strategies - Routine and organizational methods for monitoring service delivery |
| Learning delivery methods | - On the job coaching or mentoring - Problem solving - Presentation/demonstration - Formal course participation - Work experience - Involvement in professional networks - Conference and seminar attendance - Induction |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment must confirm one's ability to: - Identify and implement learning opportunities for others - Give and receive feedback constructively - Facilitate participation of individuals in the work of the team - Negotiate learning plans to improve the effectiveness of learning - Prepare learning plans to match skill needs - Access and designate learning opportunities |
| Underpinning Knowledge and Attitude | - Coaching and mentoring principles - Understanding how to work effectively with team members who have diverse work styles, aspirations, cultures and perspective - Understanding how to facilitate team development and improvement - Understanding methods and techniques for eliciting and interpreting feedback - Understanding methods for identifying and prioritizing personal development opportunities and options - Knowledge of career paths and competence standards in the industry |
| Underpinning Skills | - Ability to read and understand a variety of texts, prepare general information and documents according to target audience; spell with accuracy; use grammar and punctuation effective relationships and conflict management - Communication skills including receiving feedback and reporting, maintaining effective relationships and conflict management - Planning skills to organize required resources and equipment to meet learning needs - Coaching and mentoring skills to provide support to colleagues - Reporting skills to organize information; assess information for relevance and accuracy; identify and elaborate on learning outcomes - Facilitation skills to conduct small group training sessions - Ability to relate to people from a range of social, cultural, physical and mental backgrounds |
| Resource Implications | The following resources MUST be provided. - Access is required to real or appropriately simulated situations, including work areas, materials and equipment, - Documentation and information on workplace practices and OHS practices. - Specifications and work instructions |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Observation/Demonstration with Oral questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. This competence standard could be assessed on its own or in combination with other competencies relevant to the job function. |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Utilize Specialized Communication Skills |
| Unit Code | EIS PGO4 37 0612 |
| Unit Descriptor | This unit covers the knowledge, skills and attitudes required to use specialized communication skills to meet specific needs of internal and external clients, conduct interviews, facilitate group discussions, and contribute to the development of communication strategies. |

| Element | Performance Criteria |
| --- | --- |
| - Meet common and specific communication needs of clients and colleagues | - Specific communication needs of clients and colleagues are identified and met - Different approaches are used to meet communication needs of clients and colleagues - Conflict is addressed promptly and in a timely way and in a manner which does not compromise the standing of the organization |
| - Contribute to the development of communication strategies | - Strategies for internal and external dissemination of information are developed, promoted, implemented and reviewed as required - Channels of communication are established and reviewed regularly - Coaching in effective communication is provided - Work related network and relationship are maintained as necessary - Negotiation and conflict resolution strategies are used where required - Communication with clients and colleagues is appropriate to individual needs and organizational objectives |
| - Represent the organization | - When participating in internal or external forums, presentation is relevant, appropriately researched and presented in a manner to promote the organization - Presentation is clear and sequential and delivered within a predetermined time - Utilize appropriate media to enhance presentation - Differences in views are respected - Written communication is consistent with organizational standards - Inquiries are responded in a manner consistent with organizational standard |
| - Facilitate group discussion | - Mechanisms which enhance effective group interaction is defined and implemented - Strategies which encourage all group members to participate are used routinely - Objectives and agenda for meetings and discussions are routinely set and followed - Relevant information is provided to group to facilitate outcomes - Evaluation of group communication strategies is undertaken to promote participation of all parties - Specific communication needs of individuals are identified and addressed |
| - Conduct interview | - A range of appropriate communication strategies are employed in interview situations - Records of interviews are made and maintained in accordance with organizational procedures - Effective questioning, listening and nonverbal communication techniques are used to ensure that required message is communicated |

| #### Variable | #### Range statement |
| --- | --- |
| Strategies | - Recognizing own limitations - Referral to specialists - Utilizing techniques and aids - Providing written drafts - Verbal and non verbal communication |
| Effective group interaction | - Identifying and evaluating what is occurring within an interaction in a non judgmental way - Using active listening - Making decision about appropriate words, behavior - Putting together response which is culturally appropriate - Expressing an individual perspective - Expressing own philosophy, ideology and background and exploring impact with relevance to communication |
| Types of Interview | - Related to staff issues - Routine - Confidential - Evidential - Non disclosure - Disclosure |
| Interview situations | - Establish rapport - Elicit facts and information - Facilitate resolution of issues - Develop action plans - Diffuse potentially difficult situation |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Demonstrate effective communication skills with clients accessing service and work colleagues - Adopt relevant communication techniques and strategies to meet client particular needs and difficulties |
| Underpinning Knowledge and Values | - Communication process - Dynamics of groups and different styles of group leadership - Communication skills relevant to client groups |
| Underpinning Skills | - Full range of communication techniques including: - Full range of communication - Active listening - Feedback - Interpretation - Role boundaries setting - Negotiation - Establishing empathy - Communication skills required to fulfill job roles as specified by the organization |
| Resource Implications | The following resources MUST be provided. - Access to real or appropriately simulated situations, including work areas, materials and equipment, - Documentation and information on workplace practices and OHS practices. - specifications and work instructions |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Observation/Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. This competence standard could be assessed on its own or in combination with other competencies relevant to the job function. |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Manage and Maintain Small / Medium Business Operation |
| Unit Code | EIS PGO4 38 0612 |
| Unit Descriptor | This unit is concerned with the operation of the business and with implementing the business plan. The strategies involve monitoring, managing and reviewing operational procedures. It is suitable for existing micro and small businesses or a department in a larger organization. |

| Element | Performance Criteria |
| --- | --- |
| - Develop operational strategies | - Action plan is developed to provide a clear and coherent direction in accordance with the business goals and objectives - Occupational Health and Safety and environmental issues are identified and strategies implemented to minimize risk factors - Strategies for using existing, new or emerging technologies are developed and implemented where practicable to optimize business performance - Performance measures, operational targets and quality assurance issues are developed to conform with the business plan - Structured approach to innovation, including the utilization of existing, new or emerging technologies, is developed to respond to changing customer requirements |
| - Implement operational strategies | - Systems and key performance indicators/targets are implemented to monitor business performance and customer satisfaction - Systems to control stock, expenditure/cost, wastage/ shrinkage and risks to health & safety are implemented in accordance with the business plan - Staffing requirements, where applicable, are maintained within budget to maximize productivity - The provision of goods/services is carried out in accordance with established technical, legal and ethical standards - The provision of goods/services meets time, cost and quality specifications in accordance with customer requirements - Quality procedures are applied to address product/service and customer requirements |
| - Monitor business performance | - The achievement of operational targets is regularly monitored/reviewed to ensure optimum business performance in accordance with the goals and objectives of the business plan - Systems and structures are reviewed, with a view to more effectively supporting business performance - Operating problems are investigated and analyzed to establish causes, and changes implemented as required - Operational policies and procedures are changed to incorporate corrective action taken |
| - Maintain networks | - Relevant personal and professional networks identified and maintained to support business operation - Strategies are developed for use of networks to assist in promoting the business and for monitoring changing business requirements |
| - Review business operations | - Business plan is reviewed and adjusted as required to maintain business viability in accordance with business goals and objectives - Proposed changes are clearly recorded to aid future planning and evaluation - Ongoing research into new business opportunities is undertaken and business goals and objectives adjusted as new business opportunities arise |

| Variable | Range statement |
| --- | --- |
| Legislation, codes and national standards relevant to the workplace which may include: | - award and enterprise agreements and relevant industrial instruments - national legislative requirements affecting business operation, especially in regard to Occupational Health and Safety and environmental issues, - relevant industry codes of practice |
| Operational strategies/ procedures may be determined by: | - business premises (e.g. size, location, layout) - purchase (sole or shared ownership) or leasing - premises, plant and equipment may be new or previously owned - requirements may be one-off requirements or recurrent - requirements (such as equipment maintenance) specific to the nature of the business - use of existing, new and emerging technologies including e-commerce - plant and equipment , including OHS requirements - physical and natural resources - methods/techniques/technology - management and administrative systems and procedures technology - raw materials |
| Occupational Health and Safety and environmental issues must include: | - establishment and maintenance of procedures for identifying risks to health and safety - establishment and maintenance of procedures for - assessing and controlling risks - controls may include instructions to workplace personnel - concerning: site hazards and controls, material safety - data sheets, use of personal protective equipment, - vehicle access, signs and barricades, traffic control, - outside contractors - • waste and by-products |
| Business goals and objectives may include: | - goals, objectives, plans, systems and processes - short, medium or long term goals - financial projections - customer needs/marketing projections - proposed size and scale of the business, market focus of the business - lifestyle issues Business outputs may include: - products - services |
| Operational targets may include: | - internal targets which may relate to size, quality, quantity and diversity, wages to sales, sales to area/stock - levels/stock turnover/average debtor payment periods and levels - external targets which may relate to market share and positioning and may involve exploring new markets, - building national or international trade links - targets which may be short, medium or long term - staffing level and skills mix |
| Technical standards may include: | - any current and generally agreed descriptions of what the product/service is, how it should be produced/ delivered and the quality, safety, efficiency or other measures to determine the activity is done effectively |
| Networks may include: | - personal contacts - professional associations - business/ industry association contacts - formal/ informal/ individual/ group/ organizational contacts And may assist in the provisions of information on: - business trends - changes in business environment - client requirements - technical support - financial advice |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Candidate must be able to demonstrate the ability to: - develop strategies to successfully manage the - operation of the business by interpreting information and - make appropriate adjustments to the business operations as required |
| Underpinning Knowledge and Attitudes | Knowledge of: - legislative requirements affecting business operation, especially in regard to OHS and environmental issues, - OHS responsibilities and procedures for managing hazards - technical or specialist skills relevant to the business operation - relevant industry codes of practice - identification of relevant performance measures - quality assurance principles and methods - role of innovation - principles of risk management relevant to the business, including risk assessment - relevant marketing, sales and financial concepts - methods for implementing operation and revenue control systems - systems to manage staff, control stock, expenditure, services and customer service - methods for monitoring performance and implementing improvements - methods for developing and maintaining networks |
| Underpinning Skills | - interpret legal requirements, company policies and procedures - communication skills including questioning, clarifying, reporting - numeracy skills for performance information and financial control - technical skills as relevant to the business - ability to relate to people from a range of social, cultural - and ethnic backgrounds and physical and mental abilities |
| Resources Implication | The following resources must be provided: - Access to real or appropriately simulated situations, including work areas, materials and equipment, - Documentation and information on workplace practices and OHS practices. - specifications and work instructions |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Observation/Demonstration with Oral questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. This competence standard could be assessed on its own or in combination with other competences relevant to the job function. |

| Occupational Standard: Power Generation Operation Level IV |  |
| --- | --- |
| Unit Title | Manage Continuous Improvement System |
| Unit Code | EIS PGO4 39 1012 |
| Unit Descriptor | This unit describes the performance outcomes, skills and knowledge required to sustain and develop an environment in which continuous improvement, innovation and learning are promoted and rewarded. |

| Elements | Performance Criteria |
| --- | --- |
| - Review programs, systems and processes | - Establish strategies to monitor and evaluate performance of key systems and processes - Undertake detailed analyses of supply chains, operational and product/service delivery systems - Identify performance measures, and assessment tools and techniques, and evaluate their effectiveness - Analyze performance reports and variance from plans for all key result areas of the organization - Identify and analyze changing trends and opportunities relevant to the organization - Seek advice from specialists, where appropriate, to identify technology and electronic commerce opportunities |
| - Develop options for continuous improvement | - Brief groups on performance improvement strategies and innovation as an essential element of competition - Foster creative climate and organizational learning through the promotion of interaction within and between work groups - Encourage, test and recognize new ideas and entrepreneurial behavior where successful - Accept failure of an idea during trialing, and recognize, celebrate and embed success into systems - Undertake risk management and cost benefit analyses for each option/idea approved for trial - Approve innovations through agreed organizational processes |
| - Implement innovative processes | - Promote continuous improvement as an essential part of doing business - Address impact of change and consequences for people, and implement transition plans - Ensure objectives, timeframes, measures and communication plans are in place to manage implementation - Implement contingency plans in the event of non-performance - Follow-up failure by prompt investigation and analysis of causes - Manage emerging challenges and opportunities effectively - Evaluate continuous improvement systems and processes regularly - Communicate costs and benefits of innovations and improvements to all relevant groups and individuals |

| Variable | Range |
| --- | --- |
| Sustainability may include: | - addressing environmental and resource sustainability initiatives, such as environmental management systems, action plans, green office programs, surveys and audits - applying the waste management hierarchy in the workplace - complying with regulations and corporate social responsibility considerations for sustainability to enhance the organisation's standing in business and community environments - determining organisation's most appropriate waste treatment, including waste to landfill, recycling, re-use, recoverable resources and wastewater treatment - implementing ecological footprint - implementing environmental management systems, e.g. ISO 14001:1996 Environmental management systems life cycle analyses - implementing government initiatives, - improving resource and energy efficiency - initiating and maintaining appropriate organisational procedures for operational energy consumption - introducing a green office program - a cultural change program - introducing green purchasing - introducing national and international reporting initiatives, - introducing product stewardship - reducing emissions of greenhouse gases - reducing use of non-renewable resources - referencing standards, guidelines and approaches, such as sustainability covenants and compacts or triple bottom line reporting - supporting sustainable supply chain. |
| Supply chains include: | - network of facilities that procures raw materials, transforms them into intermediate products or services and then finished goods or service, and delivers them through a distribution system - procurement, production and distribution, viewed as interlinked not as discrete elements |
| Performance reports may include: | - budget or cost variance - customer service - environmental - financial - OHS - quality - other operating parameters |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Evidence of the following is essential: - demonostration of consultation processes to introduce or evaluate an existing continuous improvement process or system, including suggested actions or an action plan - generation of an idea or concept which exhibits creative thinking and which offers the possibility of advantaging the organization - how the concept or idea was introduced, tested and evaluated - the idea or concept does not have to have been shown to work or to be adopted by the business - knowledge of quality management and continuous improvement theories |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - quality management and continuous improvement theories - creativity/innovation theories/concepts - risk management - cost-benefit analysis methods - creativity and innovation theories and concepts - organizational learning principles - quality management and continuous improvement theories - risk management - sustainability practices |
| Underpinning Skills | Demonstrates skills to: - analytical skills to identify improvement opportunities in relation to - the services/products delivered or concepts/ideas developed - flexibility and creativity skills to think laterally - leadership skills to foster a commitment to quality and an openness to innovation - teamwork and leadership skills to foster a commitment to quality and an openness to innovation |
| Resources Implication | Access may be required to: - workplace procedures and plans relevant to work area - appropriate documentation and resources normally used in the workplace |
| Methods of Assessment | Competence in this unit may be assessed by using a combination of the following to generate evidence: - demonstration in the workplace - suitable simulation - oral or written questioning to assess knowledge of principles and techniques associated with change management - evaluation of strategies established to monitor and evaluate performance of key systems and processes - review of briefing of groups on performance improvement strategies and innovation Those aspects of competence dealing with improvement processes could be assessed by the use of suitable simulations and/or a pilot plant and/or a range of case studies and scenarios. In all cases, practical assessment should be supported by questions to assess essential knowledge and those aspects of competence which are difficult to assess directly. |
| Context of Assessment | Competence may be assessed in the work place or in a simulated workplace setting / environment. |

Sector:	Economic Infrastructure

Sub-Sector:  Power Generation, Transmission and Distribution

Power Generation and Substation Management

Power System Operation Management

Power Transmission and Distribution Management

Level V

Power Generation Installation and Maintenance -

Mechanical

Power Transmission Systems Operation

Power Distribution Network Infrastructure System Installation

Power Generation and Substation Installation and Maintenance -Electrical and Electronics

Power Generation Operation

Power

System Operation

Level IV

Power Generation Operation and Maintenance Support

Power Line Works Support

Power Transmission, Distribution, Inspection and Maintenance

Power Generation and Substation Installation and Maintenance - Mechanical

Power Generation and Substation Installation and Maintenance -Electrical and Electronics

Power Generation Operation

Power Substation Operation

Power Transmission Systems Operation

Power Distribution Network Infrastructure System Installation

Power Generation and Substation Operation and Maintenance Support

Level I

Level II

Level III

Acknowledgement

We wish to extend thanks and appreciation to the many representatives of business, industry, academe and government agencies who donated their time and expertise to the development of this occupational standard.

We would like also to express our appreciation to the Experts of EEPCo, Ministry of Education (MoE) and Engineering Capacity Building Program (ECBP) who made the development of this occupational standard possible.

This occupational standard was developed on the June 2012 at Gibe, Ethiopia.