Federal Democratic Republic of Ethiopia

Occupational Standard

POWER LINE                                     WORKS SUPPORT

NTQF Level i

Ministry of Education

June 2012

Introduction

Ethiopia has embarked on a process of reforming its TVET-System. Within the policies and strategies of the Ethiopian Government, technology transformation – by using international standards and international best practices as the basis, and, adopting, adapting and verifying them in the Ethiopian context – is a pivotal element. TVET is given an important role with regard to technology transfer. The new paradigm in the outcome-based TVET system is the orientation at the current and anticipated future demand of the economy and the labor market.

The Ethiopia Occupational Standards (EOS) is the core element of the Ethiopian National TVET Strategy and an important factor within the context of the National TVET Qualification Framework (NTQF). They are national Ethiopian standards, which define the occupational requirements and expected outcome related to a specific occupation without taking TVET delivery into account.

This document details the mandatory format, sequencing, wording and layout for the Ethiopia Occupational Standard which comprised of Units of Competence.

A Unit of Competence describes a distinct work activity.  It is documented in a standard format that comprises:

- Occupational title and NTQF level

- Unit title

- Unit code

- Unit descriptor

- Elements and Performance criteria

- Variables and Range statement

- Evidence guide

Together all the parts of a Unit of Competence guide the assessor in determining whether the candidate is competent.

The ensuing sections of this EOS document comprise a description of the occupation with all the key components of a Unit of Competence:

- chart with an overview of all Units of Competence for the respective level (Unit of Competence Chart) including the Unit Codes and the Unit Titles

- contents of each Unit of Competence (competence standard)

- occupational map providing the technical and vocational education and training (TVET) providers with information and important requirements to consider when designing training programs for this standards and for the individual, a career path

UNIT OF COMPETENCE CHART

| Occupational Standard: Power Line Works Support |  |
| --- | --- |
| Occupational Code: EIS LWS |  |
| NTQF Level I EIS LWS1 03 0612 Work Safely near Live Electrical Apparatus as Non Electrical Worker EIS LWS1 02 0612 Comply with Environmental and Incidence Response Procedures EIS LWS1 01 0612 Apply OHS Practices in the Workplace EIS LWS1 06 0612 Monitor Safety Compliance for Vegetation Work near Live Electrical Apparatus EIS LWS1 05 0612 Plan for the Removal of Vegetation up to Vegetation Exclusion Zone near Live Electrical Apparatus EIS LWS1 04 0612 Operate Vegetation Control Plant, Machinery and Equipment near Live Electrical Apparatus EIS LWS1 09 0612 Use Safely Elevating Work Platform (EWP) near Live Electrical Apparatus EIS LWS1 08 0612 Cut Vegetation at Ground Level outside ‘Vegetation Exclusion Zone’ Near Live Electrical Apparatus EIS LWS1 07 0612 Cut Vegetation above Ground outside Live Work Zone near Live Electrical Apparatus (Climbing and Platform) EIS LWS1 11 0612 Load and Unload Competition Vehicle and Support Equipment EIS LWS1 12 0612 Spread and Compact Materials Manually EIS LWS1 10 0612 Erect Transmission Towers EIS LWS1 18 0612 Develop Understanding of Entrepreneurship EIS LWS1 17 0612 Work with Others EIS LWS1 16 0612 Apply Quality Standards EIS LWS1 14 0612 Demonstrate Work Values EIS LWS1 15 0612 Receive and Respond to Workplace Communication EIS LWS1 13 0612 Provide Basic First Aid EIS LWS1 19 1012 Apply 5S Procedures |  |
| Occupational Standard: Power Line Works Support Level I |  |
| Unit Title | Apply OHS Practices in the Workplace |
| Unit Code | EIS LWS1 01 0612 |
| Unit Descriptor | This unit specifies the mandatory requirements of occupational health and safety and how they apply to the various electro technology work functions. It encompasses responsibilities for health and safety, risk management processes at all operative levels and adherence to safety practices as part of the normal way of doing work. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to enter a work area | - Instruction in hazards and risk control measures for specific work functions and work areas are identified and obtained. - Work area access permits are obtained from appropriate personnel according to established procedures. - Preparations for electrical and non-electrical isolation are carried out to prevent creation of hazards from loss of machine/system/process control according to established procedures. - Tools and equipment needed for the work are checked for safety and correct functionality according to established procedures and regulatory requirements. |
| - Apply safe working practices | - Workplace procedures and work instructions for controlling risk are followed accurately. - Workplace procedures for dealing with accidents, fires and emergencies are followed according to work procedures and scope of responsibility and competencies. |
| - Follow workplace procedures for hazard identification and risk control | - Hazards are identified and control measures implemented and monitored through active participation in the consultation process with employer and other employees. - Hazards in the work area are recognized and reported to appropriate personnel according to established procedures. - OHS records of incidents are completed in accordance with regulatory requirements and established procedures. - Workplace instructions and training are followed accurately within established procedures. |

| Variable | Range |
| --- | --- |
| Apply OHS Practices in the Workplace shall be demonstrated in relation to: | - Relevant Occupational Health and Safety legislation, regulations and codes of practice related to hazards present in the industry and particular workplace - Accepted industry work procedures and the specific safety procedures and work instructions for particular workplace. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate able to: - Implement Occupational Health and Safety workplace procedures and practices, including the use of risk control measures encompassing: - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures - Apply OHS practices in the workplace and including: - Preparing to enter the workplace including, the use of work permits and clearances and isolation permissions. - Applying work procedures and instructions as they apply to risk control measures. - Dealing with accidents and emergencies within the scope of responsibility. - Participation in consultation processes, identifying hazards and implementing and monitoring control measures - Dealing with unplanned events by drawing on essential knowledge and skills to provide appropriate solutions. |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles - The basic legal requirements covering occupational health and safety in the workplace encompassing: - general aims and objectives of the relevant legislation relating to OHS - employer and employee responsibilities, rights and obligations - major functions of safety committees and representatives - powers give to Occupational Health and Safety Inspectors - The requirements for personal safety in the workplace encompassing: - the safety precautions that are required to ensure personal safety in the workplace - potential hazards in relation to improper industrial housekeeping - sources of pollution in an engineering environment and outline control measures - Emergency first aid for an electric shock victim Note: Emergency first aid is limited to first-on-the scene assistance to a victim of electric shock, and basics of CPR. |
| Underpinning Skills | Demonstrates skills to: - Occupational Health and Safety principles - Working safely with electrical tools or equipment encompassing: - causes of electrical accidents and state the effects that electric shock can cause - purpose of circuit protection devices, such as fuses, circuit breakers and Residual Current Devices (RCDs) - safe isolation of an electrical supply - Workplace safety check, identifying potential workplace hazards and suggested measures for accident prevention encompassing: - safety checklist for a typical workplace environment - identifying and reporting potential workplace hazards - methods of prevention of safety hazards within a typical workplace environment - emergency procedures for the rescue of an electric shock victim equipment - Safe working practices and applying OHS practices in the workplace - Occupational Health and Safety principles |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Comply with Environmental and Incidence Response Procedures |
| Unit Code | EIS LWS1 02 0612 |
| Unit Descriptor | This unit covers the compliance of environmental and incidental response procedures whilst undertaking tasks in the Electricity Supply Industry workplace and refers to relevant legislation, codes and practices and established procedures. The Competence standard refers to compliance with relevant sections of Federal and Regional OHS and Environmental Protection Acts/Directives. The checking of plant and equipment should be performed through visual and mechanical checks. The plant and equipment used is that typically used in preparing worksites and compliance with environmental policies and procedures. Relevant regulations and procedures are referred to, but not limited to, the worksite and the use of plant; machinery/equipment; cleaning materials and aids; equipment operation; personal protective equipment e.g. safety boots, eye and ear protection, safety helmets. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to comply with environmental and incident response procedures | - Work instructions are received and confirmed. - Relevant requirements and established procedures to be followed for the work to be performed are discussed with all persons to establish and confirm the work schedule. - OHS and environmental policies and procedures to be followed for the work to be performed are received and confirmed. - Suggestions to assist with complying with environmental and incident response procedures are made to others involved in the work. - Hazards are identified; OHS risks assessed and emergency exits kept clear according to given instructions and established procedures. - Scope of responsibility under any relevant work permits is received and confirmed according to requirements and established procedures with relevant persons. - Resources including environmental compliance personal protective equipment required for the incident are obtained and in working order according to established procedures. - Relevant responsibilities associated with first aid and other related work safety procedures at the worksite are confirmed in accordance with requirements and established procedures to ensure safety measures are followed in the instance of an incident. - Client issues are referred to appropriate persons in accordance with industry and community standards. - Site is reviewed according to given instructions and the work schedule for a quality outcome and to minimize risk and damage to property, commerce and individuals in accordance with established procedures. - Road signs, barriers and warning devices are positioned in accordance with requirements. |
| - Carry out compliance with environmental and incident response procedures | - OHS and sustainable energy principles and practices to reduce the incidents of accidents and minimize waste are followed in accordance with given instructions, requirements and/or established procedures. - Environmental requirements for the work are mentioned, reviewed and control measures, recommended for inclusion in the work process. - Any environmental incidents and potential problems are referred to appropriate persons in accordance with established procedures. - Lifting, climbing, working in confined spaces and or aloft, and use of power tools, techniques and practices are safely followed in accordance with given instructions and according to requirements confirmed to eliminate the prospects of incidents. - Operational knowledge for compliance with environmental and incident response procedures is confirmed to ensure completion in an agreed timeframe and to quality standards with a minimum of waste according to requirements and established procedures. - Complying with environmental and incident response procedures is carried out in accordance with given instructions and established procedures. - Hazard warnings and safety signs are recognized and hazards and assessed OHS risks are reported to the immediate authorized persons for directions according to established procedures. - Non-routine events are referred to the immediate authorized persons for directions according to established procedures. - Problems associated with complying with environmental and incident response procedures are dealt with using acquired known solutions and skills related to routine procedures to ensure work instructions and established procedures are met. - Ongoing checks of quality of the work are undertaken in accordance with given instructions and established procedures.. |
| - Complete the compliance with environmental and incident response procedures | - Work undertaken is checked against work schedule and anomalies reported to authorized persons in accordance with established procedures. - Accidents and incidents are reported to authorized persons in accordance with established procedures. - Work site is rehabilitated, cleaned up and made safe in accordance with given instructions and established procedures. - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. - Appropriate persons are notified of work completion according to established procedures. - Environmental completion records, report forms/data sheets are completed accurately in accordance with given instructions and established procedures. |

| Variable | Range |
| --- | --- |
| The following constants and variables included in this unit: | - Appropriate and relevant persons (see Personnel) - Appropriate authorities - Appropriate work platform - Assessing risk - Authorization - Confined space - Documenting detail work events, record keeping and or storage of information - Drawings and specifications - Emergency - Environmental and sustainable energy procedures - Environmental legislation - Established procedures - Fall prevention - Hazards - Identifying hazards - Legislation - MSDS - Notification - OHS practices - OHS issues - Permits and/or permits to work - Personnel - Quality assurance systems - Requirements |
| Evidence Guide |  |
| Critical Aspects of Competence | Assessment requires evidence that the candidate able to: - Implement Occupational Health and Safety workplace procedures and practices, including the use of risk control measures encompassing: - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles: - The basic legal requirements covering occupational health and safety in the workplace encompassing: - general aims and objectives of the relevant legislation relating to OHS - employer and employee responsibilities, rights and obligations - major functions of safety committees and representatives - powers give to Occupational Health and Safety Inspectors - The requirements for personal safety in the workplace encompassing: - the safety precautions that are required to ensure personal safety in the workplace - potential hazards in relation to improper industrial housekeeping - sources of pollution in an engineering environment and outline control measures - c) Emergency First Aid for an electric shock victim Note: Emergency First Aid is limited to first-on-the scene assistance to a victim of electric shock, and basics of CPR. - Occupational Health and Safety, enterprise responsibilities: Evidence shall show an understanding of OHS enterprise responsibilities to an extent indicated by the following aspects: - Provisions of relevant health and safety legislation - Principles and practice of effective occupational health and safety management - Management arrangements relating to regulatory compliance - Enterprise hazards and risks, control measures and relevant expertise required - Characteristics and composition of workforce and their impact on occupational health and safety management - Relevance of enterprise management systems to occupational health and safety management - Analysis of working environment and design of appropriate occupational health and safety management systems - Analysis of relevant data and evaluation of occupational health and safety system effectiveness - Assess resources to establish and maintain occupational health and safety management systems. - Environmental fundamentals Evidence shall show an understanding of the environmental fundamentals to an extent indicated by the following aspects: - Environmental standards, codes, environmental legislation, supply authority regulations and or enterprise requirements applicable to the control of environment associated with the worksite encompassing: - Relevant federal legislation - Relevant legislation - Relevant local government by-laws - Relevant government or quasi government policies and regulations - Relevant community planning and development agreements Note: Examples include land care agreements - Employer and employee responsibilities - Methods of obtaining information on environmental issues and updates - Methods of identifying environmental impacts from work related activities - Meaning of environmental terms encompassing: - Identification, assessment and control of risks - Compliance - Best practice - Sustainable energy - Procedures in implementing management plans to ensure compliance - Enterprise specific — policy and procedure instructions Evidence shall show an understanding of the enterprise specific policies and procedures to an extent indicated by the following aspects: - Responsibilities and duty of care of employer and employee relationship - Methods of obtaining the up-to-date information on enterprise policy and procedures - Rules and regulations - Induction into workplace encompassing: - Location of work area and storage area - Timetable - Uniform - Personal well-being - Housekeeping rules - Emergency procedures - Evacuation procedures - Techniques when deal with others encompassing: - Working in teams - Customer relation - Complaint and issues procedures - Overview of enterprise professional development available encompassing: - Fire fighting procedures - Fatigue management - Training and Competence development - understanding and promotion - Enterprises specific — OHS instructions Evidence shall show an understanding of the enterprise specific Occupational Health and Safety rules, regulations, policies and procedures to an extent indicated by the following aspects: - Standards, codes, legislation, supply authority regulations and specific enterprise regulations pertaining to the OHS policies and procedures - Methods of obtaining the up-to-date information on enterprise OHS policy and procedures - Specific enterprise personal protection equipment encompassing: - Type and application - Where and when to be used - Method of replacement - Responsibility of maintenance including cleaning inspection and testing - Emergency response, rescue, evacuation and First Aid procedures - Personal well-being encompassing: - Hygiene - Fatigue/stress management - Drugs/alcohol - OHS training encompassing: - Induction training - Specific hazard training - Specific task or equipment training - Emergency and evacuation training - Training as part of broader programs such as equipment operation - OHS records including audits, inspection reports, workplace health and environmental monitoring records, training and instruction records, manufacturers and suppliers information such as MSDSs, registers, maintenance reports, workers compensation and rehabilitation records and First Aid/medical records. |
| Underpinning Skills | Demonstrates skills to: - Electrical safe working practice: - Risk management and assessment of risk encompassing: - Principle and purpose of risk management - Processes for conducting a risk assessment - Hazards associated with low-voltage, extra-low voltage and high-currents encompassing: - Arrangement of power distribution and circuits in an electrical installations - Parts of an electrical system and equipment that operate at low-voltage and extra-low voltage - Parts of an electrical system and equipment where high-currents are likely. - Risks and control measures associated with high-voltage encompassing: - Parts of an electrical system and equipment that operate at high-voltage, - The terms ‘touch voltage’, ‘step voltage’, ‘induced voltage’ and ‘creep age’ as they relate to the hazards of high-voltage - Control measures used for dealing with the hazards of high-voltage - Optical fiber safety encompassing: - Coherent optical sources and joining procedures - Laser safety class 3a devices or their replacement - e) Risks and control measures associated with low voltage encompassing: - Risks associated with modifying electrical installations, fault finding, maintenance and repair - Control measures before, while and after working on electrical installations, circuits or equipment - Isolation and tagging-off procedures - Risks and restrictions in working live - Control measures for working live - Risks and control measures associated with harmful dusts and airborne contaminants. Note: Sources include thermal insulation, fibrous cement materials and asbestos and other fiber reinforced switchboard materials. - Safety, selection, use, maintenance and care of test equipment encompassing: - Safety characteristics of electrical testing devices - Safe use of electrical testing device - Checks and storage methods for maintaining the safety of testing devices - Protective apparatus and apparel for line work Note: Examples include responsibilities for the selection, use, maintenance and storage of protective apparatus and apparel and the types of protective apparatus and apparel used for the line worker - Requirements for the use of ladders Note: Examples include practical demonstration of carrying, erecting, collapsing and lowering different types of extension ladder against a standing pole, maintenance checks on different types of ladders, renewal of extension ropes and the safety issues relating to clearances from overhead conductors - Requirements for climbing and working aloft Note: Examples include methods used to identify a pole is safe to climb, methods used to inspect a line worker’s body belt, application of knots and hitches appropriate to the requirements of a line worker, height safety principles including personal fall protection, prevention and related requirements, and the practical procedure of climbing an overhead structure and fitting a pole chair - Traffic management Note: Examples include purpose of traffic management and a line worker’s responsibilities in accordance with relevant statutory requirements and electricity supply industry requirements, demonstration of the procedure used to provide an effective traffic management scheme and the use of a two-way radio - Control of small fires Note: Examples include the identification, selection and operation of the appropriate extinguishing mediums for various types of fires, general fire prevention methods and the precautions for personal protection when fighting small fires - Rescue victims from heights and confined spaces Note: Examples include planning, identifying, the procedures, and establishing responses, developing techniques, involvement of external emergency services and practical demonstration/rehearsals of rescuing a person from heights and from confined spaces and emergency procedures for the rescue of an electric shock victim including CPR - Requirements for aerial line work Note: Examples include planning, establishing and implementing relevant aviation authority clearances, determining system requirements, aircrew familiarization with network operations and equipment, requirements for effective communications operations for aerial work - Material handling and the environment Evidence shall show an understanding of the environmental fundamentals to an extent indicated by the following aspects: - Methods of obtaining updated environmental information and data sheets on the proper use and handling of equipment and materials - Environmental standards, codes, environmental legislation, OHS legislation, hazardous substances/dangerous goods regulations, supply authority regulations and or enterprise requirements applicable environmental care when handling materials including provision of manufacturers and suppliers information such as material safety data sheets (MSDS) - Types and application of personal protective equipment used for hazards substances - Types and application of personal protective equipment used for hazards substances and dangerous goods - Techniques in handling equipment to eliminate/reduce risks to the environment from spillages of oils, herbicides, pesticides and chemicals from such equipment encompassing: - Vehicle loading crane - Chainsaw - Enterprise vehicles - Explosive power tools - Procedures for handling and control of spillages of herbicides - Methods of disposing and storage of herbicides, pesticides and chemicals - Methods of cleaning mobile plant, equipment and tools - Recording of data |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Work Safely near Live Electrical Apparatus as Non Electrical Worker |
| Unit Code | EIS LWS1 03 0612 |
| Unit Descriptor | This unit covers compliance with working safely up to the defined “safe approach distance” near energized electrical apparatus (inc. electrical power lines) for non-electrical worker. It includes work functions that may be performed, such as vegetation control, scaffolding, rigging, painting, and/or any other activity that requires working safely and complying with requirements and/or established procedures near live electrical apparatus by a non-electrical worker. Also included is the preparation of risk assessment control measures that encompass job safety assessment. It does not include any work that is or may be performed by other competent operatives within the defined “safe working zone”. The defined “safe working zone” is that so defined by relevant regulatory agencies/bodies, local government legislation, Industry bi-partite body –Guidelines/Codes of Practices or other related requirements for Safe work and access near live Electrical and Mechanical Apparatus. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to work safely near live electrical apparatus as nonelectrical worker | - Instructions related to the work to be performed safely near live electrical apparatus as non-electrical worker are received and confirmed. - Relevant requirements and established procedures to be followed and, relevant personnel to be communicated with for the work to be performed are identified. - OHS policies and procedures to be followed for the work to be performed are received and confirmed. - Suggestions to assist in meeting the safety requirements for working near live electrical apparatus as a non-electrical worker are made to others involved in the work. - Hazards are identified; OHS risks assessed and control measures are prioritized, implemented and monitored including emergency exits kept clear according to established procedures. - Scope of responsibility and process of relevant work permit(s) issue is identified, received and confirmed according to requirements and established procedures. - Relevant responsibility associated with First Aid, Safety Observers and/or other related work safety procedures at the worksite are identified in accordance with requirements and established procedures to ensure safety measures are followed in the instance of an incident. - Processes for identifying and reporting client issues to appropriate personnel in accordance with industry/acceptable /community standards are identified. - Site and the work schedule to be prepared are confirmed according to given instructions for a quality outcome and to minimize risk and damage to property, commerce, stock and individuals in accordance and established procedures. - Electricity infrastructure assets, related voltages and requirements for working safely near live electrical apparatus as non-electrical worker are identified. - Safe approach distances including any zones thereof that may apply, as defined in industry guidelines, requirements and/or established procedures for the intended work are confirmed. |
| - Carry out the work safely near live electrical apparatus as non-electrical worker. | - OHS principles and practices to reduce the incidents of accidents are identified in accordance with given instructions, requirements and/or established procedures. - Working safely and complying with all safety requirements for working near live electrical apparatus as a non-electrical worker are followed in accordance with given instructions and established routines/procedures. - Processes for monitoring and reporting/referring hazards and OHS risks to the immediate authorized personnel for directions according to established procedures are followed. - Non-routine events are referred to the immediate authorized personnel for directions according to established procedures. - Unexpected events associated with working safely near live electrical apparatus as a non-electrical worker are responded to using acquired known solutions and skills related to routine procedures to ensure work instructions and established procedures are met. |
| - Complete the work safely near live electrical apparatus as non-electrical worker. | - Work schedule and anomalies for completion and checking of the work are reported to authorize personnel in accordance with established procedures. - Processes for reporting to authorized personnel accidents and/or incidents are confirmed in accordance with established procedures. - Requirements for returning work permit(s) and/or access Authorization permits are confirmed. - Appropriate personnel are notified of work completion according to established procedures. - Works completion records, report forms/data sheets are completed accurately in accordance with given instructions and established procedures. |

| Variable | Range |
| --- | --- |
| Work functions that may be performed such as: | - vegetation control - operation of cranes - elevating work platforms - excavators - concrete pumps etc - scaffolding - rigging - painting, and/or - any other activity that requires working safely and complying with requirements and/or established procedures near live electrical apparatus by a non-electrical worker/ |
| Safely up to the defined "safe working zone" near energized electrical apparatus (inc. electrical power lines) for non-electrical worker including: | - an understanding of risk assessment control measures that encompass job safety assessment but excluding any work that is or may be performed by other competent operatives within the defined "safe working zone" Safe use of plant, |
| Equipment and tools within electrical environments including | but not limited by: - the electricity supply infrastructure assets, - infrastructure constructions and excavations including an understanding of safe approach distances zones/Safe Working Clearance, - work permit(s) and/or access Authorization permits, - technical standards and Industry Guidelines, - rural applications, - road construction, - pavements and - effect of inclement weather |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination - legislation, regulations, polices and workplace procedures; |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Basic electrical principles: Evidence shall show an understanding of electrical principles to an extent indicated by the following aspects: - Advanced engineering Mathematics Evidence shall show an understanding of advanced engineering Mathematic to an extent indicated by the following aspects: - Differentiation Calculus encompassing: - Integration, integration by parts, - Numerical methods, - Partial and total differentiation. - Linear Algebra encompassing: - Matrices and inverse matrices; - Linear mapping, - Determinants, - Solution of linear equations. - Vectors encompassing: - Geometrical representation, - Addition and scalar multiplication, - Dot and cross products, Equations of lines and planes. - Variables encompassing: - Graphs, level curves and surfaces - Partial derivatives; chain rule; directional derivative; - Maxima and minima. - Sequences and Series encompassing: - Algebraic and Fourier series, convergence; Taylor’s Theorem - Power series manipulation. - Differential Equations encompassing: - First order and separable linear equations - Second order linear equations. - Partial differential equations. - Numerical Techniques. - Number encompassing: - Integer, irrational and complex numbers. - Number systems. - Arithmetic operations. - Accuracy and stability. - Statistics encompassing: - Assembly, representation and analysis of data. - Fitting distributions to data. - Non-parametric statistics. - Tests of significance for means, variances and extreme values. - Fundamentals for working safely near live electrical apparatus. |
| Underpinning Skills | Demonstrates skills to: - Electrical safe working practice - Transmission, distribution and rail power systems |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Operate Vegetation Control Plant, Machinery and Equipment near Live Electrical Apparatus |
| Unit Code | EIS LWS1 04 0612 |
| Unit Descriptor | This unit covers the operation and routine maintenance of vegetation control machinery and equipment such as chippers, chainsaws, brush cutters, power pruners, and chemical control and other related associated and powered vegetation control machinery and equipment used near live electrical apparatus. It excludes plant and machinery that encompasses driving/flying and associated licenses, such as aerial croppers, slashers, tritters, boom-operated mowers, stump grinders, insulated elevating work platforms and the like. Also included is the preparation of risk assessment control measures that encompass job safety assessment. It also includes traffic control measures and compliance with relevant regulatory agencies/bodies, local government legislation, Industry bi-partite body – Guidelines/Codes of Practices or other related requirements for safe use of equipment near live electrical and mechanical apparatus. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to operate and conduct routine maintenance of vegetation control machinery and equipment near live electrical apparatus. | - Work instructions are received and confirmed. - Relevant requirements and established procedures to be followed for the work to be preformed are discussed with all personnel to establish and confirm the work schedule. - OHS policies and procedures to be followed for the work to be performed are received and confirmed. - Suggestions to assist and/or improve meeting safe operation of vegetation control machinery and equipment near live electrical apparatus outcomes are made to others involved in the work. - Scope of responsibility under the relevant work permit(s)/access Authorization(s) identified according to requirements and established procedures with relevant personnel. - Hazards are identified; OHS risks are identified and reported according to established procedures. - Resources including, equipment, tools and personal protective equipment required for the job are obtained and, confirmed in working order according to established procedures. - Relevant responsibility associated with First Aid and/or other related work safety procedures at the worksite are confirmed in accordance with requirements and established procedures to ensure safety measures are followed in the instance of an incident. - Client issues are identified and referred to appropriate personnel in accordance with industry/acceptable /community standards. - Site is prepared to produce a quality outcome, follow sustainable energy principles and practices, and to minimize risk and damage to property, commerce, stock and individuals in accordance with established procedures. - Road signs, barriers and warning devices are obtained and positioned in accordance with given instructions and requirements. - Pre-operational checks are undertaken to confirm safe and correct operation of machinery and equipment for safe use near live electrical apparatus according to requirements and established procedures. - Work permit(s)/access Authorization(s) are confirmed and received, where applicable, for commencement of the work according to requirements and established procedures with relevant personnel. |
| - Operate and conduct routine maintenance of vegetation control machinery and equipment near live electrical apparatus. | - OHS and Sustainable Energy principles and practices to reduce the incidents of accidents and minimize waste are followed in accordance with given instructions, requirements and/or established procedures. - Use of machinery and equipment, techniques and practices are safely followed in accordance with given instructions and, according to requirements confirmed to eliminate the prospects of incidents. - Operational knowledge for the usage of vegetation control machinery and equipment near live electrical apparatus to be applied to the work is confirmed to ensure completion in an agreed timeframe and, to quality standards with a minimum of waste according to requirements and established procedures. - Vegetation control machinery and equipment is safely operated near live electrical apparatus in accordance with the work schedule, requirements, given instructions and established procedures. - Hazard warnings and safety signs are recognized and hazards and assessed OHS risks are monitored and reported/referred to the immediate authorized personnel for directions according to established procedures. - Non-routine events are referred to the immediate authorized personnel for directions according to established procedures. - Problems associated with the operation of vegetation control machinery and equipment near live electrical apparatus are attended to using acquired known solutions and skills related to routine procedures to ensure work instructions and established procedures are met. - Ongoing checks of quality of the work are undertaken in accordance with given instructions and established procedures. |
| - Complete the operation and routine maintenance of vegetation control machinery and equipment near live electrical apparatus. | - Work undertaken is checked against work schedule and anomalies reported to authorized personnel in accordance with established procedures. - Accidents and/or incidents are implemented and reported to authorize personnel in accordance with established procedures. - Work site is rehabilitated, cleaned-up, sustainable energy principles and practices applied, and made safe in accordance with given instructions and established procedures or an agreed standard. - Machinery, equipment, tools and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. - Appropriate personnel are notified of work completion according to established procedures. - Post-operational checks, minor maintenance and/or relevant documentation of machinery and equipment are conducted according to requirements. - Requirements for returning work permit(s) and/or access Authorization permits are confirmed, where applicable. - Works completion records, report forms/data sheets are completed accurately in accordance with given instructions and established procedures. |

| Variable | Range |
| --- | --- |
| This unit is to be demonstrated in relation to the operation and routine maintenance of vegetation control machinery and equipment such as: | - chippers - chainsaws - brush cutters - power pruners - chemical control and other related associated and powered - vegetation control machinery and - equipment used near live electrical apparatus |
| Excludes plant and machinery that encompasses driving/flying and associated licenses, such as: | - aerial croppers, - slashers, - tritters, - boom-operated mowers, - stump grinders, - insulated elevating work platforms and the like |
| Preparation of risk assessment control measures that encompass job safety assessment and Includes: | - traffic control measures and compliance with relevant regulatory agencies/bodies, - local government legislation, - Industry bi-partite body – Guidelines/Codes of - Practices or other related requirements for Safe use of equipment near live Electrical and Mechanical Apparatus. |
| Prevailing Licensing Requirements | - Excludes any work that is or may be performed by other competent operatives within the - defined “ordinary person zone” - Working near energized live electricity supply infrastructure assets - Includes periodical and pre-operational checks of the machinery and equipment for safe - operation and conduct of maintenance checks and, associated documentation - Safe approach distances zones/Safe Working Clearance - Work permit(s) and/or access Authorization permits - Technical standards and Industry Guidelines It may also include other areas such as: - Feeder route plans, infrastructure constructions and excavations, rural applications, road construction, pavements and inclement weather - Ground configuration – undulations, uneven ground, soft ground, damp, etc - Plant, equipment and tools for use in electrical environments |
| The following constants and variables included in this unit are fully described: | - Appropriate and relevant persons (see Personnel) - Appropriate authorities - Appropriate work platform - Assessing risk - Assessment - Authorization - Confined space - Documenting detail work events, record keeping and or storage - of information - Drawings and specifications - Emergency - Environmental and sustainable energy procedures - Environmental legislation - Established procedures - Fall prevention - Hazards - Identifying hazards - Inspect - Legislation - MSDS - Notification - OHS practices - OHS issues - Permits and/or permits to work - Personnel - Quality assurance systems - Requirements - Work clearance systems |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Evidence that shows a candidate is able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures; |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Confirm operational knowledge associated with the operation of control plant, machinery and equipment near live electrical apparatus in all of the following: - Principles of electricity, the three phase power system. - Power system. - Recognition of aerial voltage systems. - Identification of Low Voltage Aerial Circuits. - Identification of High Voltage Aerial Circuits. - “Safe working zone” so defined by relevant authorities. - Use of technical standards, acts, regulations, codes /guidelines and established/enterprise/asset owner’s procedures. - System Control – Information required and functions. - Vicinity Permit – Information required and functions. - Sensitive Earth Fault (SEF) System - Confirm environmental principals and procedures - Confirm vegetation control associated with the operation of control plant, machinery and equipment near live electrical apparatus in all of the following: - Identify tree types - Confirm vegetation species and types - Confirm vegetation cutting techniques for different vegetation - Confirm appropriate vegetation machinery and equipment to be used - Use of feeder route plans Conduct calculations related to loading and slinging Confirm the safe operation of machinery and equipment used in the control of vegetation near live electrical apparatus, in at least 6 of the following: - Chippers. - Chainsaws. - Brush cutters. - Slashers. - Power pruners. - Chemical control. - Pre and post operational checks, inspections and minor maintenance. - Safe deployment of machinery and equipment in varying conditions and weather |
| Underpinning Skills | Demonstrates skills to: - Confirm safe practices associated with the operation of control plant, machinery and equipment near live electrical apparatus in all of the following: - OHS safety practices and procedures. - Electric shock and resuscitation. - Release and rescue Role of the Safety Observer Events constituting an incident. - Procedures in the event of/responding to, incidents. - Methods of identifying hazards. - Risk assessment procedures. - Selection of the best position for monitoring and controlling work (cutting) - Selection of correct line of site to the cutter Correct observation of the work from ground level Constant analysis and decision making relevant to the safety of the work, taking into account prevailing site conditions (lay of the land) and on-going weather conditions |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Plan for the Removal of Vegetation up to Vegetation Exclusion Zone near Live Electrical Apparatus |
| Unit Code | EIS LWS1 05 0612 |
| Unit Descriptor | This unit covers the preparation for the controlled removal of vegetation near live electrical apparatus up to the live work zone as defined for both Authorized and Instructed Persons in the industry guidelines associated with live electrical apparatus. This includes electrical and communications conductors and cables/power lines and associated equipment on poles and structures according to requirements and established procedures. It does not include the full gamut of rigging techniques and practices required of a Rigger or entry into to the safe approach distance (SAD) as defined for persons, mobile plant, equipment and specialized tools. It includes the preparation of a plan for the control and removal of vegetation, specifying appropriate chemical control methods, using slinging and loading techniques and practices to be used, traffic management, and appropriate pruning and/or cutting techniques and practices (encompasses cutting plan) for given vegetation species to minimize re growth within the electrical field according to requirements and procedures. Also included is the preparation of risk assessment control measures that encompass job safety assessment. Encompassed is compliance with relevant regulatory agencies/bodies, local government legislation, Industry bipartite body – Guidelines/Codes of Practices or other related requirements for safe work and access near live electrical and mechanical apparatus. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for the development of the plan for the removal of vegetation up to vegetation exclusion zone near electrical apparatus. | - Work instructions are received and confirmed. - Relevant requirements and established procedures to be followed for the development of the work plan are discussed with all personnel to establish and confirm the work schedule. - OHS policies and procedures to be followed for the work to be performed are received and confirmed. - Suggestions to assist in meeting the planning for the removal of vegetation up to the live work zone near live electrical apparatus outcomes are made to others involved in the work. - Hazards are identified; OHS risks are identified and reported according to established procedures. - Scope of responsibility under the relevant work permit(s)/access Authorization(s) are identified and confirmed according to requirements and established procedures with relevant personnel. - Resources including, plant, equipment, tools and personal protective equipment required for the job are identified in accordance with established procedures. - Relevant responsibility associated with First Aid, Aerial Rescue, Tree-Top Rescue and/or other related work safety procedures at the worksite are confirmed, where appropriate, in accordance with requirements and established procedures to ensure safety measures are followed in the instance of an incident. - Client issues are identified and referred to appropriate personnel in accordance with industry/acceptable /community standards. - Site preparation requirements are confirmed according to given instructions and planning of the work schedule for a quality outcome and to meet sustainable energy principles and practices to minimize risk and damage to property, commerce, stock, and individuals in accordance and established procedures. - Road signs, barriers and warning device requirements and positioning in accordance with given instructions and requirements are confirmed. |
| - Carry out the development of the Plan for the removal of vegetation up to vegetation exclusion zone near live electrical apparatus | - OHS and Sustainable Energy principles and practices to reduce the incidents of accidents and minimize waste are confirmed in accordance with given instructions, requirements and/or established procedures. - Lifting, climbing, working in confined spaces and/or aloft, and use of power tools/equipment, techniques and practices are confirmed in accordance with given instructions and, according to requirements confirmed to eliminate the prospects of incidents. - Operational knowledge for planning the removal of vegetation up to the live work zone near live electrical apparatus to be applied to the work, is confirmed to ensure completion will be within an agreed timeframe and, to quality standards with a minimum of waste according to requirements and established procedures. - Produce plan for the removal of vegetation up to the live work zone near live electrical apparatus accordance with given instructions and established procedures. - Hazard warnings and safety signs are recognized and hazards and assessed OHS risks are monitored and reported/referred to the immediate authorized personnel for directions according to established procedures. - Non-routine events are referred to the immediate authorized personnel for directions according to established procedures. - Development of the plan is carried out in accordance with the work schedule and to requirements. - Problems associated with producing the plan for the removal of vegetation up to the live work zone live electrical apparatus are attended to according to acquired known solutions and skills related to routine procedures to ensure the plan is produced as per instructions and established procedures. - Ongoing checks of quality of the work are undertaken in accordance with given instructions and established procedures. |
| - Complete development of the plan for the removal of vegetation up to vegetation exclusion zone near electrical apparatus. | - Work undertaken is checked against work schedule and anomalies reported to authorize personnel in accordance with established procedures. - Potential accidents and/or incidents are identified and reported to authorize personnel in accordance with established procedures. - Work site to be rehabilitated, cleaned up and made safe is identified in accordance with given instructions and established procedures. - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. - Appropriate personnel are notified of work completion according to established procedures. - Works completion records, report forms/data sheets are completed accurately in accordance with given instructions and established procedures. |

| Variable | Range |
| --- | --- |
| This unit shall/may be demonstrated in relation to preparation for the controlled removal of vegetation around live power lines up to the live work zone as defined for both instructed and authorized persons in the industry guidelines associated with live electrical apparatus. | - Includes electrical and communications conductors and cables/power lines and associated equipment on poles and structures according to requirements and established procedures. - Excludes the full gamut of rigging techniques and practices required of a Rigger or entry into to the safe approach distance (SAD) as defined for persons, mobile plant, and equipment and specialized tools. - Includes the preparation of a plan for the control and removal of vegetation, specifying appropriate chemical control methods, using slinging and loading techniques and practices to be used, traffic management, and appropriate pruning and/or cutting techniques and practices (encompasses cutting plan) for given vegetation species to minimize re growth within the electrical field according to requirements and procedures. - Includes the preparation of risk assessment control measures that encompass job safety assessment and compliance with relevant regulatory agencies/bodies, local government legislation, Industry bi-partite body – Guidelines/Codes of Practices or other related requirements for safe work and access near live electrical and mechanical apparatus. - Working safely up to the defined “ordinary person zone” near energized electrical apparatus (inc. electrical power lines) for non-electrical worker/ordinary persons and in some instances vegetation. - Risk assessment control measures that encompass job safety assessment. - Excludes any work that is or may be performed by other competent operatives within the defined “ordinary person zone” - Electricity supply infrastructure assets including electrical apparatus, electrical and communication conductors, and equipment Safe approach distances zones/Safe Working Clearance - It may also include other areas such as: Feeder route plans, infrastructure constructions and excavations, rural applications, road construction, pavements and inclement weather - Plant, equipment and tools for use in electrical environments for vegetation control, loading and slinging equipment. - Vegetation control includes: site rehabilitation, horticultural vegetation cutting and pruning techniques to minimize re growth - chemicals and physical cutting and pruning tools/equipment, concerns for vegetation type/species and significance – heritage, significant, urban/rural; vegetation fire prone areas and areas of particular significance. |
| Constants and variables in the unit include: | - Appropriate and relevant persons (see Personnel) - Appropriate authorities - Appropriate work platform |
|  | - Assessing risk - Assessment - Authorization - Confined space - Documenting detail work events, record keeping and or storage - of information - Drawings and specifications - Emergency - Environmental and sustainable energy procedures - Environmental legislation - Environmental management documentation - Established procedures - Fall prevention - Hazards - Identifying hazards - Inspect - Legislation - MSDS - Notification. - OHS practices - OHS issues - Permits and/or permits to work - Personnel - Quality assurance systems - Requirements - Testing procedures - Work clearance systems |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Evidence that shows a candidate is able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Magnetism - Electro technology science and materials - Occupational Health and Safety principles - Hazard assessment and risk management - Pruning principles near power line - Tree preservation principles - Enterprises specific - policies and procedure instructions - Enterprises specific - OHS instructions |
| Underpinning Skills | Demonstrates skills to: - Electrical safe working practices - Power line safety practices - Power line clearances and approach distances - Establishing rigging requirements for vegetation control - Power line access and isolation procedures - Chemical control of foliage |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Monitor Safety Compliance for Vegetation Work near Live Electrical Apparatus |
| Unit Code | EIS LWS1 06 0612 |
| Unit Descriptor | This unit covers the control and monitor of work associated with vegetation control near live electrical apparatus. This includes observing, spotting, rendering warnings to stop unsafe work activities, and/or encroachment of ordinary persons, public, personnel and mobile plant and equipment into the safe approach distance (SAD) as defined for persons and mobile plant and equipment. A person designated as a safety observer, solely dedicated to the role, normally carries out this work. Also included is the preparation of risk assessment control measures that encompass job safety assessment. All work and zones is in compliance with relevant regulatory agencies/bodies, local government legislation, Industry bi-partite body – Guidelines/Codes of Practices or other related requirements for safe work and access near live electrical and mechanical apparatus. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to control safety compliance for vegetation work near live electrical apparatus | - Work instructions are received and confirmed. - Relevant requirements and established procedures to be followed for the work to be performed are discussed with all personnel to establish and confirm the work schedule. - OHS policies and procedures to be followed for the work to be performed are received and confirmed. - Suggestions to assist in meeting control of safety compliance for vegetation work near live electrical apparatus outcomes are made to others involved in the work. - Hazards are identified; OHS risks associated with working near live electrical apparatus are identified and reported according to established procedures. - Scope of responsibility under the relevant work permit(s)/access Authorization(s) are received and confirmed according to requirements and established procedures with relevant personnel. - Resources including, equipment, tools and personal protective equipment required for the job are identified and, in working order according to established procedures. - Relevant responsibility associated with First Aid, Pole Top and Aerial Rescue and/or other related work safety procedures at the worksite are confirmed in accordance with requirements and established procedures to ensure safety measures are followed in the instance of an incident. - Client issues are identified and referred to appropriate personnel in accordance with industry/acceptable /community standards. - Site preparation is in accord with given instructions and established procedures. - Work schedule is prepared, to produce a quality outcome, follow sustainable energy principles and practices, and to minimize risk and damage to property, commerce, stock and individuals in accordance with established procedures. - Road signs, barriers and warning devices are planned and positioned in accordance with given instructions, established procedures and requirements. |
| - Carry out the control of safety compliance for vegetation work near live electrical apparatus. | - OHS and Sustainable Energy principles and practices to reduce the incidents of accidents and minimize waste/energy are followed in accordance with given instructions, requirements and/or established procedures. - Lifting, climbing, working in confined spaces and/or aloft, and use of power tools/equipment, techniques and practices are observed in accordance with given instructions and, according to requirements to eliminate the prospects of incidents. - Operational knowledge for controlling the safety compliance for vegetation work near live electrical apparatus is applied to the work to ensure safe systems of work are observed and completion is in an agreed timeframe and, to quality standards. - Safety compliance is controlled and monitored for vegetation work near live electrical apparatus in accordance with given instructions, requirements and established procedures. - Hazard warnings and safety signs are recognized and hazards and assessed OHS risks are reported/referred to the immediate authorized personnel for directions according to established procedures. - Non-routine events are responded and referred to the immediate authorized personnel for directions according to established procedures. - Work is performed in accordance with the work schedule and to requirements. - Problems associated with the control of safety compliance and monitoring for vegetation work near live electrical apparatus is responded to using acquired known solutions and skills related to routine procedures to ensure work instructions and established procedures are met. - Ongoing checks of quality of the work are undertaken in accordance with given instructions and established procedures. |
| - Complete the control of safety compliance for vegetation work near live electrical apparatus. | - Work undertaken is checked against work schedule and anomalies reported to authorized personnel in accordance with established procedures. - Accidents and/or incidents are implemented and reported to authorize personnel in accordance with established procedures. - Work site is rehabilitated, cleaned-up, sustainable energy principles and practices applied, and made safe in accordance with given instructions and established procedures or an agreed standard. - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. - Appropriate personnel are notified of work completion according to established procedures. - Requirements for returning work permit(s) and/or access Authorization permits are confirmed. - Works completion records, report forms/data sheets are completed accurately in accordance with given instructions and established procedures within. |

| Variable | Range |
| --- | --- |
| This unit shall/may be demonstrated in relation to monitoring and controlling vegetation work near live electrical apparatus and/or including the following: | - Voltages exceeding 240 V, 11/22/33 and/or 66 KV - Includes observing, spotting, rendering warnings to stop unsafe work activities, and/or encroachment of ordinary persons, public, personnel and mobile plant and equipment into the safe approach distance (SAD) as defined for persons and mobile plant and equipment. A person designated as a Safety Observer, solely dedicated to the role, normally carries out this work. - Work and zones is in compliance with relevant regulatory agencies/bodies, local government legislation, Industry bi-partite body – Guidelines/Codes of Practices or other related requirements for Safe work and access near live Electrical and Mechanical Apparatus. - Working safely up to the defined “ordinary person zone” near energized electrical apparatus (inc. electrical power lines) for non-electrical worker/ordinary persons. - Risk assessment control measures that encompass job safety assessment. - Excludes any work that is or may be performed by other competent operatives within the defined “live work zone” - Electricity supply infrastructure assets and infrastructure constructions and excavations - Safe approach distances zones/Safe Working Clearance - It may also include other areas such as: Feeder route plans, infrastructure constructions and excavations, rural applications, road construction, pavements and inclement weather - Ground configuration – undulations, uneven ground, soft ground, damp, etc - Plant, machinery, equipment and tools for use in electrical environments |
| The following constants and variables included are fully described as: | - Appropriate and relevant persons (see Personnel) - Appropriate authorities - Appropriate work platform - Assessing risk - Assessment - Authorization - Documenting detail work events, record keeping and or storage of information - Drawings and specifications - Emergency - Environmental and sustainable energy procedures - Environmental legislation - Established procedures - Fall prevention - Hazards - Identifying hazards - Inspect - Legislation - MSDS - Notification - OHS practices - OHS issues - Permits and/or permits to work - Personnel - Quality assurance systems - Requirements - Work clearance systems |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Evidence that shows a candidate is able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles - Enterprises specific - policies and procedure instructions - Enterprises specific - OHS instructions |
| Underpinning Skills | Demonstrates skills to: - Electrical safe working practices - Power line safety practices - Power line clearances and approach distances |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Supports Level I |  |
| --- | --- |
| Unit Title | Cut Vegetation above Ground Outside Live Work Zone near Live Electrical Apparatus (Climbing and Platform) |
| Unit Code | EIS LWS1 07 0612 |
| Unit Descriptor | This unit covers cutting and/or pruning vegetation above ground level and removal of vegetation obstructions, up to the live work zone as defined for both Authorized and Instructed Persons in the industry guidelines associated with live electrical apparatus, using the established cutting plan relevant to the vegetation type. It encompasses the safe use of appropriate/specialized tools and equipment according to requirements and established procedures. It includes safely accessing trees from above ground level to install restraints/slings, removing tree limbs in a safe manner and, clearing debris from the felling site to eliminate the occurrence of electrical incidents. It DOES NOT include entry of persons, mobile plant, equipment, and/or specialized tools into to the safe approach distance (SAD) as defined. Also included is the preparation of risk assessment control measures that encompass job safety assessment. All work and zones is in compliance with relevant regulatory agencies/bodies, local government legislation, Industry bi-partite body– Guidelines/Codes of Practices or other related requirements for Safe work and access near live Electrical and Mechanical Apparatus. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to cut/prune vegetation above ground (using climbing technique) up to the vegetation exclusion zone near live electrical apparatus. | - Work instructions and cutting plan are received and confirmed. - Relevant requirements and established procedures to be followed for the work to be performed in accord with the cutting are discussed with all personnel to establish and confirm the work schedule. - OHS policies and procedures to be followed for the work to be performed are received and confirmed. - Suggestions to assist and/or improve meeting the cutting of vegetation above ground level outside the climber exclusion zone near electrical apparatus outcomes are made to others involved in the work. - Hazards are identified; OHS risks associated with working near live electrical apparatus are identified and reported according to established procedures. - Scope of responsibility under the relevant work permit(s)/access Authorization(s) identified according to requirements and established procedures with relevant personnel. - Resources including, equipment, tools, approved platforms and personal protective equipment required for the job are obtained and, in working order according to established procedures. - Relevant responsibility associated with First Aid, working aloft, and/or other related work safety procedures at the worksite are confirmed in accordance with requirements and established procedures to ensure safety measures are followed in the instance of an incident. - Client issues including environmental values are identified and referred to appropriate personnel in accordance with industry/acceptable /community standards. - Site is prepared to produce a quality outcome, follow sustainable energy principles and practices, and to minimize risk and damage to property, commerce, stock and individuals in accordance with established procedures. - Road signs, barriers and warning devices are obtained and positioned in accordance with given instructions and requirements. - Pre-operational checks are undertaken to confirm safe and correct operation of tools and equipment for safe use near live electrical apparatus according to requirements and established procedures. - Work permit(s)/access Authorization(s) are confirmed and received, where applicable, for commencement of the work according to requirements and established procedures with relevant personnel. |
| - Carry out the cutting/pruning of vegetation above ground (using climbing technique) up to the vegetation exclusion zone near live electrical apparatus. | - OHS and Sustainable Energy principles and practices to reduce the incidents of accidents and minimize waste are followed in accordance with given instructions, requirements and/or established procedures. - Lifting, climbing, working in confined spaces and/or aloft, and use of tools/equipment, techniques and practices are safely followed in accordance with given instructions and, according to requirements confirmed to eliminate the prospects of incidents. - Operational knowledge for the cutting of vegetation above ground level outside the climber exclusion zone near electrical apparatus is confirmed to ensure completion in an agreed timeframe and, to quality standards with a minimum of waste according to requirements and established procedures and established procedures. - Cutting of vegetation above ground level outside the climber exclusion zone near electrical apparatus is carried out in accordance with the cutting plan and work schedule and, given instructions and established procedures. - Hazard warnings and safety signs are recognized and hazards and assessed OHS risks are monitored and reported/referred to the immediate authorized personnel for directions according to established procedures. - Non-routine events are referred to the immediate authorized personnel for directions according to established procedures. - Problems associated with cutting vegetation above ground level outside of the vegetation exclusion zone near electrical apparatus are attended to using acquired known solutions and skills related to routine procedures to ensure work instructions and established procedures are met. - Ongoing checks of quality of the work are undertaken in accordance with given instructions and established procedures. |
| - Complete the cutting/pruning of vegetation above ground (using climbing technique) up to the vegetation exclusion zone near live electrical apparatus. | - Work undertaken is checked against cutting plan and work schedule, work schedule and anomalies reported to authorize personnel in accordance with established procedures. - Accidents and/or incidents are implemented and reported to authorize personnel in accordance with established procedures. - Work site is rehabilitated, cleaned-up, sustainable energy principles and practices applied, and made safe in accordance with given instructions and established procedures or an agreed standard. - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. - Appropriate personnel are notified of work completion according to established procedures. - Post-operational checks, minor maintenance and/or relevant documentation of equipment and tools/platform are conducted according to requirements. - Requirements for returning work permit(s) and/or access Authorization permits are confirmed, where applicable. - Works completion records, report forms/data sheets are completed accurately in accordance with given instructions and established procedures. |

| Variable | Range |
| --- | --- |
| This unit shall/may be demonstrated in relation to the cutting and/or pruning of vegetation above ground level and removal of vegetation obstructions up to the live work zone (using platform technique) as defined for both authorized and instructed persons in the industry guidelines associated with live electrical apparatus. | - Aerial work is conducted using regulator and/or industry approved platform(s) and includes insulated type and aerial emergency rescue near live electrical apparatus - Use of established cutting plan(s) relevant to the vegetation type Safety practices include: - the safe use of appropriate/specialized tools and equipment, the safe use of vegetation climbing equipment and techniques and may include safely accessing trees to install restraints/slings, removing tree limbs in a safe manner, clearing debris from the felling site to eliminate the occurrence of electrical incidents and reparation of risk assessment control measures that encompass job safety assessment. - It also includes working safely up to the defined “ordinary person zone” near energized electrical apparatus (inc. electrical power lines) for non-electrical worker/ordinary persons and risk assessment control measures that encompass job safety assessment. - Excludes entry of persons, mobile plant, equipment, and/or specialized tools into to the safe approach distance (SAD) as defined. - Work and zones is in compliance with relevant regulatory agencies/bodies, local government legislation, Industry bi-partite body– Guidelines/Codes of Practices or other related requirements for Safe work and access near live Electrical and Mechanical Apparatus - Working safely up to the defined “safe working zone” near energized electrical apparatus (inc. electrical power lines) for non-electrical worker/ordinary persons. - Excludes any work that is or may be performed by other competent operatives within the defined “live work zone” - Electricity supply infrastructure assets condition – sagging, swaying, ties, cross arms, poles, insulators, conductors, service wires, electrical apparatus/equipment, etc. - Safe approach distances zones/Safe Working Clearance - Other areas which may need to be taken into consideration are: work permit(s) and/or access Authorization permits, technical standards and Industry Guidelines, rural applications, - inclement weather, ground configuration and access – undulations, uneven ground, soft ground, damp, road construction, pavements, etc, feeder route plans and the use of technology and mathematical calculations - Equipment and specialized tools for use in electrical environments and loading and slinging techniques - Vegetation control includes: site rehabilitation, horticultural vegetation cutting and pruning techniques to minimize re growth - chemicals and physical cutting and pruning tools/equipment, concerns for vegetation type/species and significance – heritage, significant, urban/rural; vegetation fire prone areas and areas of particular significance. - Safe operation and care of an Elevating Work Platform - Work permit(s) and/or access Authorization permits - Technical standards and Industry Guidelines - Loading and slinging techniques - Use of technology and mathematical calculations |
| The following constants and variables in this unit: are: | - Appropriate and relevant persons (see Personnel) - Appropriate authorities - Appropriate work platform - Assessing risk - Assessment - Authorization - Diagnostic, testing and restoration - Documenting detail work events, record keeping and or storage of information - Drawings and specifications - Emergency - Environmental and sustainable energy procedures - Environmental legislation - Established procedures - Fall prevention - Hazards - Identifying hazards - Inspect - Legislation - MSDS - Notification - OHS practices - OHS issues - Permits and/or permits to work - Personnel - Quality assurance systems - Requirements - Testing procedures - Work clearance systems Environmental management documentation |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Evidence that shows a candidate is able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles - Enterprises specific - policies and procedure instructions - Enterprises specific - OHS instructions |
| Underpinning Skills | Demonstrates skills to: - Electrical safe working practices - Power line safety practices - Operating tools and equipment from a platform - Power line clearances and approach distances |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Cut Vegetation at Ground Level Outside ‘Vegetation Exclusion Zone’ Near Live Electrical Apparatus |
| Unit Code | EIS LWS1 08 0612 |
| Unit Descriptor | This unit covers cutting and/or pruning vegetation at ground level and removal of vegetation obstructions up to the live work zone as defined for both Instructed and Authorized Persons in the industry guidelines associated with live electrical apparatus using the established cutting plan relevant to the vegetation type. It encompasses the safe use of appropriate/specialized tools and equipment according to requirements and established procedures. It includes safely accessing trees to install restraints/slings, removing small trees in a safe manner and, clearing debris from the felling site to eliminate the occurrence of electrical incidents. It DOES NOT include entry of persons, mobile plant, equipment, and/or specialized tools into to the safe approach distance (SAD) as defined. Also included is the preparation of risk assessment control measures that encompass job safety assessment. All work is in compliance with relevant regulatory agencies/bodies, local government legislation, Industry bipartite body– Guidelines/Codes of Practices or other related requirements for Safe work and access near live Electrical and Mechanical Apparatus. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to cut/prune vegetation at ground level up to vegetation exclusion zone near live electrical apparatus. | - Work instructions and cutting plan are received and confirmed. - Relevant requirements and established procedures to be followed for the work to be performed in accord with the cutting are discussed with all personnel to establish and confirm the work schedule. - OHS policies and procedures to be followed for the work to be performed are received and confirmed. - Suggestions to assist and/or improve meeting the cutting of vegetation at ground level outside of the live work zone near electrical apparatus outcomes are made to others involved in the work. - Hazards are identified; OHS risks associated with working near live electrical apparatus are identified and reported according to established procedures. - Scope of responsibility under the relevant work permit(s)/access Authorization(s) identified according to requirements and established procedures with relevant personnel. - Resources including, vehicles, equipment, tools and personal protective equipment required for the job are obtained and, confirmed in working order according to established procedures. - Relevant responsibility associated with First Aid and/or other related work safety procedures at the worksite are confirmed in accordance with requirements and established procedures to ensure safety measures are followed in the instance of an incident. - Client issues including environmental values are identified and referred to appropriate personnel in accordance with industry/acceptable /community standards. - Site is prepared to produce a quality outcome, follow sustainable energy principles and practices, and to minimize risk and damage to property, commerce, stock and individuals in accordance with established procedures. - Road signs, barriers and warning devices are obtained and positioned in accordance with given instructions and requirements. - Pre-operational checks are undertaken to confirm safe and correct operation of tools and equipment for safe use near live electrical apparatus according to requirements and established procedures. - Work permit(s)/access Authorization(s) are confirmed and received, where applicable, for commencement of the work according to requirements and established procedures with relevant personnel. |
| - Carry out the cutting/pruning of vegetation at ground level up to vegetation exclusion zone near live electrical apparatus. | - OHS and Sustainable Energy principles and practices to reduce the incidents of accidents and minimize waste are followed in accordance with given instructions, requirements and/or established procedures. - Lifting, climbing, working in confined spaces, and use of tools/equipment, techniques and practices are safely followed in accordance with given instructions and, according to requirements confirmed to eliminate the prospects of incidents. - Operational knowledge for cutting vegetation species and types at ground level outside of the live work exclusion zone near electrical apparatus is confirmed to ensure completion in an agreed timeframe and, to quality standards with a minimum of waste according to requirements and established procedures. - Cutting of vegetation at ground level outside of the live work zone near electrical apparatus is carried out in accordance with the cutting plan and work schedule, and given instructions and established procedures. - Hazard warnings and safety signs are recognized and hazards and assessed OHS risks are reported/referred to the immediate authorized personnel for directions according to established procedures. - Non-routine events are referred to the immediate authorized personnel for directions according to established procedures. - Problems associated with cutting vegetation at ground level outside of the vegetation exclusion zone near electrical apparatus are attended to using acquired known solutions and skills related to routine procedures to ensure work instructions and established procedures are met. - Ongoing checks of quality of the work are undertaken in accordance with given instructions and established procedures. - OHS and Sustainable Energy principles and practices to reduce the incidents of accidents and minimize waste are followed in accordance with given instructions, requirements and/or established procedures. |
| - Complete the cutting/pruning of vegetation at ground level up to vegetation exclusion zone near live electrical apparatus. | - Work undertaken is checked against cutting plan and work schedule, and anomalies reported to Authorized personnel in accordance with established procedures. - Accidents and/or incidents are implemented and reported to authorized personnel in accordance with established procedures. - Work site is rehabilitated, cleaned-up, sustainable energy principles and practices applied, and made safe in accordance with given instructions and established procedures or an agreed standard. - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. - Appropriate personnel are notified of work completion according to established procedures. - Post-operational checks, minor maintenance and/or relevant documentation of equipment and tools are conducted according to requirements. - Requirements for returning work permit(s) and/or access Authorization permits are confirmed, where applicable. - Works completion records, report forms/data sheets are completed accurately in accordance with given instructions and established procedures. |

| Variable | Range |
| --- | --- |
| This unit shall/may be demonstrated in relation to the cutting and/or pruning of vegetation above ground level and removal of vegetation obstructions up to the live work zone (using platform technique) as defined for both Authorized and Instructed Persons in the industry guidelines associated with live electrical apparatus. | - Aerial work is conducted using regulator and/or industry approved platform(s) and includes insulated type and aerial emergency rescue near live electrical apparatus - Use of established cutting plan(s) relevant to the vegetation type - Safety practices include: the safe use of appropriate/specialized tools and equipment, the safe use of vegetation climbing equipment and techniques and may include safely accessing trees to install restraints/slings, removing tree limbs in a safe manner, clearing debris from the felling site to eliminate the occurrence of electrical incidents and reparation of risk assessment control measures that encompass job safety assessment. It also includes working safely up to the - Defined “ordinary person zone” near energized electrical apparatus (inc. electrical power lines) for non-electrical worker/ordinary persons and risk assessment control measures that encompass job safety assessment. - Excludes entry of persons, mobile plant, equipment, and/or specialized tools into to the safe approach distance (SAD) as defined. - Work and zones is in compliance with relevant regulatory agencies/bodies, local government legislation, Industry bi-partite body– Guidelines/Codes of Practices or other related requirements for Safe work and access near live Electrical and Mechanical Apparatus - Working safely up to the defined “safe working zone” near energized electrical apparatus (inc. electrical power lines) for non-electrical worker/ordinary persons. - Excludes any work that is or may be performed by other competent operatives within the defined “live work zone” - Electricity supply infrastructure assets condition – sagging, swaying, ties, cross arms, poles, insulators, conductors, service wires, electrical apparatus/equipment, etc. - Safe approach distances zones/Safe Working Clearance - Other areas which may need to be taken into consideration are: work permit(s) and/or access Authorization permits, technical standards and Industry Guidelines, rural applications, inclement weather, ground configuration and access – undulations, uneven ground, soft ground, damp, road construction, pavements, etc, feeder route plans and the use of technology and mathematical calculations - Equipment and specialized tools for use in electrical environments and loading and slinging techniques - Vegetation control includes: site rehabilitation, horticultural vegetation cutting and pruning techniques to minimize re growth - chemicals and physical cutting and pruning tools/equipment, concerns for vegetation type/species and significance – heritage, significant, urban/rural; vegetation fire prone areas and areas of particular significance. - Safe operation and care of an Elevating Work Platform - Work permit(s) and/or access Authorization permits - Technical standards and Industry Guidelines - Loading and slinging techniques - Use of technology and mathematical calculations |
| The following constants and variables included in this unit: | - Appropriate and relevant persons (see Personnel) - Appropriate authorities - Appropriate work platform - Assessing risk - Assessment - Authorization - Diagnostic, testing and restoration - Documenting detail work events, record keeping and or storage of information - Drawings and specifications - Emergency - Environmental and sustainable energy procedures - Environmental legislation - Environmental management documentation - Established procedures - Fall prevention - Hazards - Identifying hazards - Inspect - Legislation - MSDS - Notification - OHS practices - OHS issues - Permits and/or permits to work - Personnel - Quality assurance systems - Requirements - Testing procedures - Work clearance systems |
| Evidence Guide |  |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles - Enterprises specific - policies and procedure instructions - Enterprises specific - OHS instructions |
| Underpinning Skills | Demonstrates skills to: - Electrical safe working practices - Power line safety practices - Operating tools and equipment from a platform - Power line clearances and approach distances |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Use Safely Elevating Work Platform (EWP) near Live Electrical Apparatus |
| Unit Code | EIS LWS1 09 0612 |
| Unit Descriptor | This unit covers the operation of the use of insulated Elevating Work Platform (EWP) near live electrical apparatus. It includes the identification of hazards and the correct procedures to follow to minimize risk to self and to others. It also encompasses periodical and preoperational checks on the insulated EWP according to requirements and established procedures. Also included is the preparation of risk assessment control measures that encompass job safety assessment. All work and zones is in compliance with relevant regulatory agencies/ bodies, local government legislation, Industry bi-partite body– Guidelines/Codes of Practices or other related requirements for Safe work and access near live Electrical and Mechanical Apparatus. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to use insulated Elevating Work Platform (EWP) safely near live electrical and mechanical apparatus | - Work instructions are received and confirmed - Relevant requirements and established procedures to be followed for the work to be preformed are discussed with all personnel to establish and confirm the work schedule - OHS policies and procedures to be followed for the work to be performed are received and confirmed. - Suggestions to assist and/or improve meeting safe use of insulated Elevating Work Platform (EWP) near live electrical apparatus are made to others involved in the work. - Hazards are identified; OHS risks associated with working near live electrical apparatus are identified and reported according to established procedures. - Scope of responsibility under the relevant work permit(s)/access Authorization(s) identified according to requirements and established procedures with relevant personnel. - Resources including equipment, tools and personal protective equipment required for the job are obtained and, in working order according to established procedures. - Relevant responsibility associated with First Aid, Emergency Lowering of EWP, Control Descent Device (CDD) and/or other related work safety procedures at the worksite are confirmed in accordance with requirements and established procedures to ensure safety measures are followed in the instance of an incident. - Client issues are identified and referred to appropriate personnel in accordance with industry/acceptable /community standards. Site is prepared to produce a quality outcome, follow sustainable energy principles and practices, and to minimize risk and damage to property commerce, stock and individuals in accordance with established procedures. - Pre-operational checks are undertaken to confirm safe and correct operation of insulated Elevating Work Platform (EWP) near live electrical apparatus according to requirements and established procedures, and where applicable insulation integrity is confirmed. - Road signs, barriers and warning devices are obtained and positioned in accordance with given instructions and requirements. - Work permit(s)/access Authorization(s) are confirmed and received, where applicable, for commencement of the work according to requirements and established procedures with relevant personnel. |
| - Carry out the safe use of insulated Elevating Work Platform (EWP) near live electrical and mechanical apparatus | - OHS and Sustainable Energy principles and practices to reduce the incidents of accidents and minimize waste are followed in accordance with given instructions, requirements and/or established procedures. - Requirements for working aloft, and use of tools/equipment, techniques and practices are observed and complied with in accordance with given instructions and, according to requirements confirmed to eliminate the prospects of incidents - Operational knowledge for the safe use of insulated Elevating Work Platform (EWP) safely near live Electrical and Mechanical Apparatus to be applied to the work is applied to ensure completion in an agreed timeframe and, to quality standards with a minimum of waste according to requirements and established procedures. - Insulated Elevating Work Platform (EWP) is safely operated near live Electrical and Mechanical Apparatus in accordance with the work schedule, requirements, given instructions and established procedures. - Hazard warnings and safety signs are recognized and hazards and assessed OHS risks are reported/referred to the immediate authorized personnel for directions according to established procedures. - Non-routine events are referred to the immediate authorized personnel for directions according to established procedures. - Problems associated with the safe operation of insulated Elevating Work Platform (EWP) near live Electrical and Mechanical Apparatus are attended to, using acquired known solutions and skills related to routine procedures to ensure work established procedures are met. - Ongoing checks of quality of the work are undertaken in accordance with given instructions and established procedures. |
| - Complete the safe use of insulated Elevating Work Platform (EWP) near live electrical and mechanical apparatus | - Operation of insulated Elevating Work Platform (EWP) near live Electrical and Mechanical Apparatus is checked against work schedule and anomalies reported to Authorized personnel in accordance with established procedures - Accidents and/or incidents are implemented and reported to authorized personnel in accordance with established procedures. - Work site is rehabilitated, cleaned-up, sustainable energy principles and practices applied, and made safe in accordance with given instructions and established procedures or an agreed standard. - Appropriate personnel are notified of work completion according to established procedures - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. - Post-operational checks, minor maintenance and/or relevant documentation of the insulated Elevating Work Platform (EWP) are conducted according to requirements. - Requirements for returning work permit(s) and/or access Authorization permits are confirmed, where applicable. - Works completion records, report forms/data sheets are completed accurately in accordance with given instructions and established procedures |

| Variable | Range |
| --- | --- |
| This unit shall/may be demonstrated in relation to the safe use of elevating work platforms for the control of vegetation near electrical apparatus. Operation of insulated Elevating Work Platforms (EWP) near live electrical apparatus. | - Includes the identification of hazards and the correct procedures to follow to minimize risk to self and to others. - Included is the preparation of risk assessment control measures that encompass job safety assessment. - Work and zones are in compliance with relevant regulatory agencies/bodies, - local government legislation, Industry bi-partite body– Guidelines/Codes of Practices or other related requirements for safe work and access near live electrical and mechanical apparatus - Insulated elevating works platforms may include are not limited to appropriately rated equipment. - Risk assessment control measures that encompass job safety assessment. - Excludes any work that is or may be performed by other competent operatives within the defined “ordinary person zone” - Working near energized live electricity supply infrastructure assets - Emergency lowering - Includes periodical and pre-operational checks on the insulated Elevating Work Platform (EWP) and operational and maintenance checks and, associated documentation - Verification of insulation integrity - Safe approach distances zones/Safe Working Clearance - Work permit(s) and/or access Authorization permits - Technical standards and Industry Guidelines - It may also include other areas such as: Feeder route plans, infrastructure constructions and excavations, rural applications, road construction, pavements and inclement weather - Ground configuration – undulations, uneven ground, soft ground, damp, etc - Plant, equipment and tools for use in electrical environments |
| The following constants and variables included in this unit: | - Appropriate and relevant persons (see Personnel) - Appropriate authorities - Appropriate work platform - Assessing risk - Assessment - Authorization - Confined space - Documenting detail work events, record keeping and or storage of information - Drawings and specifications - Emergency - Environmental and sustainable energy procedures - Environmental legislation - Established procedures - Fall prevention - Hazards - Identifying hazards - Inspect - Legislation - MSDS - Notification - OHS practices - OHS issues - Permits and/or permits to work - Personnel - Quality assurance systems - Requirements - Work clearance systems |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles - Elevating work platform operational principles - Enterprises specific - policies and procedure instructions |
| Underpinning Skills | Demonstrates skills to: - Electrical safe working practices - Power line safety practices - Power line clearances and approach distances |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Erect Transmission Towers |
| Unit Code | EIS LWS1 10 0612 |
| Unit Descriptor | This unit covers the erection of towers in sections or in parts, in accordance with construction plans and specifications. It includes the correct positioning of road signs, barriers and or warning devices, the inspection and confirmation that excavation/foundation construction is in accordance with the works order and the identification of potential hazards and safety risks with recommendations for preventative action being referred to appropriate authorities. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to erect transmission towers | - Work instructions are received and confirmed. - Relevant requirements and established procedures to be followed for the work to be preformed are discussed with all personnel to establish and confirm the work schedule. - OHS policies and procedures to be followed for the work to be performed are received and confirmed. - Suggestions to assist in meeting erection of towers outcomes are made to others involved in the work. - Hazards are identified; OHS risks assessed and emergency exits kept clear according to given instructions and established procedures. - Scope of responsibility under the relevant work permit is received and confirmed according to requirements and established procedures with relevant personnel. - Resources including, equipment, tools and personnel protective equipment required for the job are obtained and, in working order according to established procedures. - Relevant responsibility associated with First Aid, Tower/Pole Top Rescue and/or other related work safety procedures at the work site are confirmed in accordance with requirements and established procedures to ensure safety measures are followed in the instance of an incident. - Client issues are referred to appropriate personnel in accordance with industry/acceptable /community standards. - Site is prepared according to given instructions and the work schedule for a quality outcome and to minimize risk and damage to property, commerce, and individuals in accordance and established procedures. - Road signs, barriers and warning devices are positioned in accordance with given instructions and requirements. |
| - Carry out the erection of transmission towers. | - OHS and sustainable energy principles and practices to reduce the incidents of accidents and minimize waste are followed in accordance with given instructions, requirements and/or established procedures. - Lifting, climbing, working aloft, and use of power tools/equipment, techniques and practices are safely followed in accordance with given instructions and, according to requirements confirmed to eliminate the prospects of incidents. - Operational knowledge for the operation of support plant and equipment used for the erection of towers to be applied to the work is confirmed to ensure completion in an agreed timeframe and, to quality standards with a minimum of waste according to requirements and established procedures. - Operation of support plant and equipment used for the erection of towers is carried out in accordance with given instructions and established routines/procedures. - Hazard warnings and safety signs are recognized and hazards and assessed OHS risks are reported to the immediate authorized persons for directions according to established procedures. - Non-routine events are referred to the immediate authorized personnel for directions according to established procedures. - Problems associated with operation of support plant and equipment used for the erection of towers are dealt with using acquired known solutions and skills related to routine procedures to ensure work instructions and established procedures are met. - Ongoing checks of quality of the work are undertaken in accordance with given instructions and established procedures. |
| - Complete the erection of transmission towers | - Work undertaken is checked against work schedule and anomalies reported to authorize personnel in accordance with established procedures. - Accidents and/or incidents are implemented and reported to authorize personnel in accordance with established procedures. - Work site is rehabilitated, cleaned up and made safe in accordance with given instructions and established procedures. - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. - Appropriate personnel are notified of work completion according to established procedures. - Works completion records, report forms/data sheets are completed accurately in accordance with given instructions and established procedures. |

| Variable | Range |
| --- | --- |
| This unit shall/may be demonstrated in relation to erection of transmission towers | - Tower types may include pyramid, delta and pi and other enterprise specific types. - Methods of erection may include crane and/or gin pole. - Foundations may include mass concrete, caisson or pile-based and screw-anchor or bored types |
| The following constants and variables included in this unit: | - Appropriate and relevant persons (see Personnel) - Appropriate authorities - Appropriate work platform - Assessing risk - Authorization - Documenting detail work events, record keeping and or storage of information - Drawings and specifications - Emergency - Environmental and sustainable energy procedures - Environmental legislation - Established procedures - Fall prevention - Hazards - Identifying hazards - Legislation - MSDS - Notification - OHS practices - OHS issues - Permits and/or permits to work - Personnel - Quality assurance systems - Requirements - Work clearance systems |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures. |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles - Enterprise specific - technical drawings and documents |
| Underpinning Skills | Demonstrates skills to: - Electrical safe working practices - Hand tools - Power tools - Engineering applications of material properties - Transmission structures and hardware |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Load and Unload Competition Vehicle and Support Equipment |
| Unit Code | EIS LWS1 11 0612 |
| Unit Descriptor | This unit of Competence describes the skills and knowledge required to prepare, load and unload support equipment and a competition vehicle for transportation. It requires the ability to select, prepare and pack tools and equipment, prepare and fit transportation devices, components and covers to a competition vehicle and load and unload the tooling, equipment and competition vehicle. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare specific tooling and equipment needed for an event | - Clarify job requirements using team instructions, specifications, category rules and supplementary regulations, including configuration, quality, equipment and quantities - Observe occupational health and safety (OHS) requirements, including regulatory requirements, equipment and system isolation requirements, and personal protection needs throughout the work - Select specific tooling and equipment needed for an event - Pack and secure tooling and equipment to avoid damage during transportation - Check equipment listing and account for resources |
| - Prepare competition vehicle for transportation | - Clean competition vehicle and prepare for transportation - Fit specific transportation devices, components and covers - Identify secure locations on vehicle and transporters - Report problems with required equipment or vehicle to appropriate persons |
| - Load and secure competition vehicle and equipment for transportation | - Compile checklist for resources and vehicle securing - Conduct loading to team procedures - Safely secure vehicle and equipment and check mechanisms - Store hazardous material in accordance with legislative requirements - Secure transporters tailgates/ramps and doors/bins |

| - Unload competition vehicle and support equipment | - Unload competition vehicle according to team procedures - Unload tooling and equipment according to team procedures - Clean transporters and prepare for subsequent use - Complete team/event documentation |
| --- | --- |

| Variable | Range |
| --- | --- |
| Preparation of the competition vehicle | Preparation of the competition vehicle may include: - applying vehicle-specific transportation requirements - removing fluids, including fuel - disconnecting battery/power supply - downloading data - gear position - other transportation requirements necessary for transportation by a third party via means such as road freight, air, rail or sea |
| OHS requirements | OHS requirements are to be in accordance with applicable National legislation and regulations, and organisational safety policies and procedures, and may include: - personal protective equipment and clothing, including closed-in shoes, long trousers, handling gloves and other equipment - safety equipment - first aid equipment - hazard and risk control - management of hazardous materials and substances - manual handling, including shifting, lifting and carrying - emergency procedures - team insurance requirements - material safety management systems - controlling body requirements - manufacturer/component supplier specifications - local safe operating procedures |
| Legislative requirements | Legislative requirements are to be in accordance with applicable National legislation, regulations, certification requirements and codes of practice, and may include: - award and enterprise agreements - industrial relations - National standards - confidentiality and privacy - OHS - the environment - equal opportunity - anti-discrimination - duty of care - health regulations - vehicle transportation |
| Tooling and equipment | Tooling and equipment may include: - transporter over 4.5 tonne tare weight and associated support equipment - material and manual handling equipment - winches - ratchet straps and tie down straps |
| Specific transportation devices, components and covers | Specific transportation devices, components and covers may include: - anti-rub devices - blanking plugs (e.g. exhaust) - guards - air filter covers - vehicle covers - transportation tyres and wheels |
| Information and procedures | Information and procedures may include: - controlling body rules, category rules and supplementary regulations - event scheduling and location details - team procedures and standards related to: - competition vehicle transportation and security competition vehicle assembly - reporting and communication - use of tooling and equipment - emergency service contacts and team persons emergency contacts - team emergency and event procedures for accidents or injury - work instructions, including worksheets, material safety data sheets (MSDS), assembly procedures, plans, drawings, designs and checklists - manufacturer/component supplier specifications and application procedures for test equipment and material - safety body publications - environmental, hazardous chemicals and dangerous goods legislation and local requirements relating to the disposal and use of fuels, lubricants, coolants and cleaning agents |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - interpret and apply team requirements, controlling body and category rules and supplementary regulations - correctly apply and use safety equipment and personal protective equipment - follow task instructions, operating procedures and inspection processes to: - minimize the risk of injury to self or others - prevent damage to competition vehicle or equipment - achieve required outcomes within team time and quality standards - correctly prepare, load and unload a minimum of one (1) competition vehicle and support equipment on two (2) occasions in differing conditions - work with and around other team members - work effectively with others - modify activities to cater for variations in workplace context and environment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - storage and transportation of hazardous chemicals and dangerous goods methods and equipment - competition vehicle transportation preparation methods - competition vehicle security principles - load distribution principles - loading and unloading techniques - securing methods and equipment - record keeping techniques - applicable National legislation, regulations, standards and codes of practice, including OHS, personal safety and environment, relevant to preparing competition vehicles and support equipment for transportation, including manual handling and loading heavy equipment |
| Underpinning Skills | Demonstrates skills to: - technical skills to the level required to use workplace technology related to lifting and securing equipment - communication skills to the level required to communicate ideas and information to enable organisation of tooling and equipment and reporting of progress against schedule - literacy skills to the level required to collect, organise and understand information related to storage and transportation of dangerous goods and hazardous chemicals, team tool and equipment requirements, and event scheduling and location details - numeracy skills to the level required to use mathematical ideas and techniques to correctly complete measurements and estimate material requirements required for the work - problem-solving skills to the level required to use checking and inspection techniques to maximise space utilisation - team skills to the level required to work with others and in a team by recognising dependencies and using cooperative approaches to optimise workflow and productivity - planning skills to the level required to plan and organise activities, including loading and unloading sequence, to avoid backtracking or workflow interruptions |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | ## Spread and Compact Materials Manually |
| Unit Code | EIS LWS1 12 0612 |
| Unit Descriptor | This unit covers the manual spreading and compacting of materials in the civil construction industry. It includes planning and preparing, conducting compaction machine operational checks, spreading and compacting materials, and cleaning up. Licensing, legislative, regulatory and certification requirements that apply to this unit can vary between states, territories, and industry sectors. Relevant information must be sourced prior to application of the unit. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare | 1.1. Access, interpret and apply compliance documentation relevant to the work activity 1.2. Obtain and confirm safety requirements from the site safety plan and organizational policies and procedures, and apply to the allotted task 1.3. Identify, obtain and implement signage requirements from the project traffic management plan 1.4. Select plant and tools and equipment to carry out tasks consistent with the requirements of the job, check for serviceability and rectify or report any faults 1.5. Identify environmental protection requirements from the project environmental management plan, and confirm and apply to the allotted task |
| - Conduct compaction machine operational checks | 2.1. Carry out pre-start, start-up and shutdown procedures in accordance with manufacturer's and/or site specific requirements 2.2. Check machine controls and functions for serviceability, and rectify or report any faults |
| - Spread and compact materials | 3.1. Conduct basic field identification test and identify material type 3.2. Direct trucks to required location for loading/dumping 3.3. Direct delivered/relocated materials to correct location 3.4. Check manufactured material for segregation 3.5. Conduct field test to ensure material moisture is suitable 3.6. Direct machine operator to spread materials to specified levels 3.7. Finish materials by hand to specified levels 3.8. Consolidate materials into layers by hand held mechanical compaction equipment 3.9. Conduct field test to ensure compaction has been achieved in restricted locations |
| - Clean up | 4.1. Clear work area and dispose of or recycle materials in accordance with project environmental management plan 4.2. Clean, check, maintain and store tools and equipment |

| Variable | Range |
| --- | --- |
| Relevant compliance documentation may include: | - legislative, organisational and site requirements and procedures - manufacturer's guidelines and specifications - national standards - employment and workplace relations legislation - equal employment opportunity and disability discrimination legislation |
| Safety requirements may include: | - OHS requirements in accordance with National legislation and regulations, organisational safety policies and procedures, and project safety plan including: - protective clothing and equipment - use of tools and equipment - workplace environment and safety - handling of materials - use of fire fighting equipment - use of First Aid equipment - hazard control and hazardous materials and substances - safe operating procedures including: - recognising and preventing hazards associated with high voltage power lines - uneven/unstable terrain - trees - overhead service lines - bridges - surrounding buildings - obstructions - structures and facilities - dangerous materials - recently filled trenches - other machines - personnel - traffic control - working at heights - working in proximity to others - worksite visitors and the public - safe parking practices including: - ensuring access ways are clear, - equipment/machinery is away from overhangs and refuelling sites, - safe distance from excavations, and - secured from unauthorized access or movement - recognising hazards and risks including: - uneven/unstable terrain, - trees, - fires, - overhead and underground services, - bridges, - buildings, - excavations, - traffic, - embankments, - cuttings, - structures and - hazardous materials - emergency procedures related to equipment operation including: - emergency shutdown and stopping, - extinguishing equipment fires, - organisational First Aid requirements and evacuation |
| Tools and equipment may include: | - rakes - shovels - mechanical compaction equipment |
| Environmental protection requirements may include: | - organisational/project environmental management plan - waste management - water quality protection - noise - vibration - dust and clean-up management |
| Basic field identification test for materials may include: | - the visual and feel identification test for material type identification - the visual identification test for material segregation - the visual and feel identification test for material moisture content - project specification testing requirements for material compaction - speed moisture content test |
| Materials may include: | - soils - aggregates - clay - sand - gravel - stabilised material - pre mix - cold mix - hot mix |
| Maintain may include: | - cleaning - authorized servicing - monitoring, recording and reporting of faults - conduct of authorized minor replacements |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate’s: - knowledge of the requirements, procedures and instructions for manually spreading and compacting materials - implementation of requirements, procedures and techniques for the safe, effective and efficient completion of the manual spreading and compacting of materials - working with others to undertake and complete the manual spreading and compacting of materials that meets all of the required outcomes - consistent timely completion of manual spreading and compacting of materials that safely, effectively and efficiently meets the required outcomes - a minimum of three separate operations requiring the hand spreading and the mechanical (hand operated) compaction of two different material types to site specification |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - basic principles of soil technology for civil works - basic soil compaction theory including the effects of moisture and mechanical interlock - hand operated mechanical compaction machine types, characteristics, technical capabilities and limitations - site and equipment safety requirements - site isolation and traffic control responsibilities and authorities - project quality requirements - civil construction terminology - practical field tests for moisture content, shrinkage and compaction - JSAs/safe work method statement |
| Underpinning Skills | - Demonstrates skills to: - apply legislative, organisation and site requirements and procedures for manually spreading and compacting materials - organise work activities - select and use relevant tools and equipment safely - identify and report on hazards related to the worksite and work activity - communicate effectively to receive and clarify work instructions |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Provide Basic First Aid |
| Unit Code | EIS LWS1 13 0612 |
| Unit Descriptor | This unit of competence covers the process of providing essential first aid in recognizing and responding to an emergency using basic life support measures. The first aider is not expected to deal with complex casualties or incidents, but to provide an initial response where first aid is required. The first aider will generally be working under supervision. It requires the ability to respond positively to emergencies in line with practiced actions and demonstrate basic first aid casualty management principles. Providing basic first aid requires knowledge of the use of safe working practices, the emergency network, and first aid casualty management principles. |

| Elements | Performance Criteria |
| --- | --- |
| - Assess the situation | - Emergency situation is recognized. - Physical hazards to personal and others health and safety are identified. - Immediate risk to self and casualty's health and safety are minimized by isolating the hazard. - The casualty's physical condition and vital signs are assessed. |
| - Apply basic first aid techniques | - Casualty is reassured in a caring and calm manner and made comfortable using available resources. - First aid care is provided in accordance with established first aid procedures. - First aid assistance is sought from others as appropriate. |

| Variable | Range |
| --- | --- |
| Emergency situations | May include: - Fire, fuel spillage, anhydrous ammonia emergencies and chemical spillage. Emergency situations can also arise due to trauma, e.g., road accidents, snakebite or poisoning, respiratory or cardiac arrest, and electrocution. |
| Hazards | - May include: - Proximity of other people, lack of oxygen, vehicles and machinery, fire, gas, fume and electrical situations. |
| Maladies | May include: - Bleeding and shock, burns, fits, choking, heart attack, fractures, poisoning and drowning. |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - has the skills and knowledge to recognize and respond to an emergency using basic life support measures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - The use of safe working practices. - The emergency network. |
| Underpinning Skills | Demonstrates skills to: - Respond positively to emergencies in line with practiced actions. - Apply first aid casualty management techniques. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Demonstrate Work Values |
| Unit Code | EIS LWS1 14 0612 |
| Unit Descriptor | This unit of competence covers the knowledge, skills, and attitude in demonstrating proper work values. |

| Elements | Performance Criteria |
| --- | --- |
| ##### Define the purpose of work | ##### One’s unique sense of purpose for working and the ‘whys’ of work are identified, reflected on and clearly defined for one’s development as a person and as a member of society. ##### Personal mission is in harmony with company’s values |
| ##### Apply work values/ethics | ##### Work values/ethics/concepts are classified and reaffirmed in accordance with the transparent company ethical standards, policies and guidelines. ##### Work practices are undertaken in compliance with industry work ethical standards, organizational policy and guidelines ##### Personal behavior and relationships with co-workers and/or clients are conducted in accordance with ethical standards, policy and guidelines. ##### Company resources are used in accordance with transparent company ethical standard, policies and guidelines. |
| - Deal with ethical problems | - Company ethical standards, organizational policy and guidelines on the prevention and reporting of unethical conduct are accessed and applied in accordance with transparent company ethical standard, policies and guidelines. - Work incidents/situations are reported and/or resolved in accordance with company protocol/guidelines. - Resolution and/or referral of ethical problems identified are used as learning opportunities. |
| - Maintain integrity of conduct in the workplace | - Personal work practices and values are demonstrated consistently with acceptable ethical conduct and company’s core values. - Instructions to co-workers are provided based on ethical, lawful and reasonable directives. - Company values/practices are shared with co-workers using appropriate behavior and language. |

| Variable | Range |
| --- | --- |
| Work values/ethics/ concepts | May include but are not limited to: - Commitment/ Dedication - Sense of urgency - Sense of purpose - Love for work - High motivation - Orderliness - Reliability and Dependability - Competence - Goal-oriented - Sense of responsibility - Being knowledgeable - Loyalty to work/company - Sensitivity to others - Compassion/Caring attitude - Balancing between family and work - Sense of nationalism |
| Work practices | - Quality of work - Punctuality - Efficiency - Effectiveness - Productivity - Resourcefulness - Innovativeness/Creativity - Cost consciousness - 5S - Attention to details |
| Incidents/situations | - Violent/intense dispute or argument - Gambling - Use of prohibited substances - Pilferages - Damage to person or property - Vandalism - Falsification - Bribery - Sexual Harassment - Blackmail |
| Company resources | - Consumable materials - Equipment/Machineries - Human - Time - Financial resources |
| Instructions | - Verbal - Written |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | - Assessment requires evidence that the candidate: - Defined one’s unique sense of purpose for working - Clarified and affirmed work values/ethics/concepts consistently in the workplace - Demonstrated work practices satisfactorily and consistently in compliance with industry work ethical standards, organizational policy and guidelines - Demonstrated personal behaviour and relationships with co-workers and/or clients consistent with ethical standards, policy and guidelines - Used company resources in accordance with company ethical standard, policies and guidelines. - Followed company ethical standards, organizational policy and guidelines on the prevention and reporting of unethical conduct/behaviour |
| Underpinning Knowledge | - Demonstrates knowledge of: - Occupational health and safety - Work values and ethics - Company performance and ethical standards - Company policies and guidelines - Fundamental rights at work including gender sensitivity - Work responsibilities/job functions - Corporate social responsibilities - Company code of conduct/values - Balancing work and family responsibilities |
| Underpinning Skills | Demonstrates skills to: - Interpersonal communication - Communication - Self awareness, understanding and acceptance - Application of good manners and right conduct |
| Resource Implications | - The following resources must be provided: - Workplace or assessment location - Case studies/Scenarios |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Observation/Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Supports Level I |  |
| --- | --- |
| Unit Title | Receive and Respond to Workplace Communication |
| Unit Code | EIS LWS1 15 0612 |
| Unit Descriptor | This unit of competence covers the knowledge, skills and attitudes required to receive, respond and act on verbal and written communication. |

| ### Element | ### Performance Criteria |
| --- | --- |
| - Follow routine spoken messages | ##### Required information is gathered by listening attentively and correctly interpreting or understanding information/ instructions ##### Instructions/information are properly recorded ##### Instructions are acted upon immediately in accordance with information received ##### Clarification is sought from workplace supervisor on all occasions when any instruction/information is not clear |
| - Perform workplace duties following written notices | - Written notices and instructions are read and interpreted correctly in accordance with organizational guidelines - Routine written instruction are followed in sequence - Feedback is given to workplace supervisor based on the instructions/information received |

| Variable | Range |
| --- | --- |
| Written notices and instructions | It refers to: - Handwritten and printed material - Internal memos - External communications - Electronic mail - Briefing notes - General correspondence - Marketing materials - Journal articles |
| Organizational Guidelines | ## It may include: - Information documentation procedures - Company policies and procedures - Organization manuals - Service manual |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Demonstrated knowledge of organizational procedures for handling verbal and written communications - Received and acted on verbal messages and instructions - Demonstrated competence in recording instructions/information |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Knowledge of organizational policies/guidelines in regard to processing internal/external information - Ethical work practices in handling communications - Communication process |
| Underpinning Skills | Demonstrates skills to: - Conciseness in receiving and clarifying messages/information/communication - Accuracy in recording messages/information |
| Resource Implications | - The following resources must be provided: - Pens - Note pads |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Demonstration/Observation with Oral Questioning |
| Context of Assessment | - Competence may be assessed individually in the actual workplace or simulation environment in TESDA accredited institutions. |

| Occupational Standard: Power Line Works Supports Level I |  |
| --- | --- |
| Unit Title | Apply Quality Standards |
| Unit Code | EIS LWS1 16 0612 |
| Unit Descriptor | This unit of competence covers the skills and knowledge required in applying quality standards in the workplace and work operations. |

| Elements | Performance Criteria |
| --- | --- |
| - Assess own work | ##### Completed work is checked against workplace standards relevant to the operations being undertaken ##### An understanding is demonstrated on how the work activities and completed work relate to the next operation process and to the final appearance of the product ##### Faulty pieces or final products are identified and isolated in accordance with company policies and procedures ##### Faults and any identified causes are recorded and reported in accordance with workplace procedures |
| - Assess quality of received articles | - Received materials or final product are checked against workplace standards and specifications - Materials or products are measured using the appropriate measuring instruments in accordance with workplace procedures - Causes of any identified faults are identified and corrective actions are taken in accordance with workplace procedures |
| - Record information | - Basic information on the quality performance is recorded in accordance with workplace procedures - Records of work quality are maintained according to the requirements of the company |
| - Study causes of quality deviations | - Causes of deviations from final products are investigated and reported in accordance with workplace procedures - Suitable preventive action is recommended based on workplace quality standards and identified causes of deviation from specified quality standards of materials or final product |
| - Complete documentation | - Information on quality and other indicators of production performance is recorded. - All production processes and outcomes are recorded. |

| Variable | Range |
| --- | --- |
| Quality check | - Visual inspection - Physical measurements - Check against design/specifications |
| Quality standards | - Materials - Intermediate product - Final product - Production/servicing processes |
| Quality parameters | - Chemical composition - Strength - Setting time - Product variation - Materials - Damage and imperfections - Moisture content |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Checked completed work continuously against workplace standard - Identified and isolated faulty pieces or final product - Checked received materials, component parts or final product against workplace standards - Identified and applied corrective actions on the causes of identified faults - Measured materials, component parts or products - Recorded basic information regarding quality performance - Investigated causes of deviations of materials against standard - Recommended suitable preventive actions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant quality standards, policies and procedures - Characteristics of materials used - Safety environment aspects of operation processes - Relevant measurement techniques and quality checking procedures - Workplace procedures - Reporting procedures |
| Underpinning Skills | Demonstrates skills to: - Interpret work instructions, specifications, standards and patterns appropriate to the required work - Carry out relevant visual inspections of materials, component parts and final products - Carry out relevant physical measurements - Maintain accurate work records in accordance with procedures - Meet work specifications - Communicate effectively within defined workplace procedures |
| Resource Implications | The following resources should be provided: - Access to relevant workplace or appropriately simulated environment where assessment can take place - Materials relevant to the proposed activity or task |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Observation/Demonstration with Oral Questioning |
| Context for Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Work with Others |
| Unit Code | EIS LWS1 17 0612 |
| Unit Descriptor | This unit of competence covers the skills, knowledge and attitudes required to develop workplace relationship and contribute in workplace activities. |

| Element | Performance Criteria |
| --- | --- |
| - Develop effective workplace relationship | - Duties and responsibilities are done in a positive manner to promote cooperation and good relationship - Assistance is sought from workgroup when difficulties arise and addressed through discussions - Feedback provided by others in the team is encouraged, acknowledged and acted upon - Differences in personal values and beliefs are respected and acknowledged in the development |
| - Contribute to work group activities | - Support is provided to team members to ensure workgroup goals are met - Constructive contributions to workgroup goals and tasks are made according to organizational requirements - Information relevant to work is shared with team members to ensure designated goals are met |

| #### Variable | #### Range |
| --- | --- |
| Duties and responsibilities | - Job description and employment arrangements - Organization’s policy relevant to work role - Organizational structures - Supervision and accountability requirements including OHS - Code of conduct |
| Work group | - Supervisor or manager, peers/work colleagues - Other members of the organization |
| Feedback on performance | - Formal/Informal performance appraisal - Obtaining feedback from supervisors and colleagues and clients - Personal, reflective behaviour strategies - Routine organizational methods for monitoring service delivery |
| Providing support to team members | - Explaining/clarifying, Helping colleagues - Providing encouragement - Providing feedback to another team member - Undertaking extra tasks if necessary |
| Organizational requirements | - Goals, objectives, plans, system and processes - Legal and organization policy/guidelines - OHS policies, procedures and programs - Ethical standards - Defined resources parameters - Quality and continuous improvement processes & standards |

| - Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Provided support to team members to ensure goals are met - Acted on feedback from clients and colleagues - Accessed learning opportunities to extend own personal work competencies to enhance team goals and outcomes |
| Underpinning Knowledge | Demonstrates knowledge of: - The relevant legislation that affects operations, especially with regards to safety - Reasons why cooperation and good relationships are important - Knowledge of the organization’s policies, plans and procedures - Understanding how to elicit and interpret feedback - Knowledge of workgroup member’s responsibilities and duties - Importance of demonstrating respect and empathy in dealings with colleagues - Understanding of how to identify and prioritize personal development opportunities and options |
| Underpinning Skills | Demonstrates skills to: - Ability to read and understand the organization’s policies and work procedures - Write simple instructions for particular routine tasks - Interpret information gained from correspondence - Communication skills to request advice, receive feedback and work with a team - Planning skills to organized work priorities and arrangement - Technology skills including the ability to select and use technology appropriate to a task - Ability to relate to people from a range of social, cultural and ethnic backgrounds. |
| Resource Implications | The following resources must be provided: - Access to relevant workplace or appropriately simulated environment where assessment can take place - Materials relevant to the proposed activity or task |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Observation/Demonstration with Oral Questioning |
| Context for Assessment | Competence assessment may occur in workplace or any appropriately simulated environment |
| Occupational Standard: Power Line Works Support Level I |  |
| Unit Title | Develop Understanding of Entrepreneurship |
| Unit Code | EIS LWS1 18 0612 |
| Unit Descriptor | This unit of competence covers skills, knowledge and attitude required to understand the principles, functions, strategies and methods of entrepreneurship. It also covers identifying and developing the major entrepreneurial competences. |

| Elements | Performance Criteria |
| --- | --- |
| - Describe and explain the principles, concept and scope of entrepreneurship | - The principles, concept and terminology of entrepreneurship are analyzed and discussed - The different / various forms of enterprises in the community are identified and their roles understood - The identified enterprises are categorized and classified - The terms and elements involved in the concept of enterprising, both on a personal level and in the context of being enterprising in business are identified and interpreted - Functions of entrepreneurship in business and how the entrepreneurs improved business and economic environment are explained |
| - Discuss how to become entrepreneur | - Self-employment as an alternative option for an individual economic independence and personal growth is discussed and analyzed - Advantages and disadvantages of self-employment are discussed and explained - Entrepreneurial characteristics and traits are identified and discussed - Self-potential is assessed to determine if qualified to become future entrepreneur - Major competences of successful entrepreneurship are identified and explained |
| - Discuss how to organize an enterprise | - The importance and role of business entrepreneurship in the society are discussed and correlated to the operations of the economy - Facts about small and medium enterprises are discussed, clarified and understood - Key success factor in setting up small and medium business are identified and explained - Business opportunities are identified and assessed - Business ideas are generated using appropriate tools, techniques and steps - Procedures for identifying suitable market for business are discussed and understood - Major factors to consider in selecting a location for a business are identified and discussed - Basic types of business ownership are identified and explained - Amount of money needed to start an enterprise estimated and distinction between pre operations and initial operation payments clarified - Advantages and disadvantages of using various sources of capital to start an enterprise are identified |
| - Discuss how to operate an enterprise | - Disadvantages and advantages of three alternative means of becoming an entrepreneur are identified and understood - Process of hiring and managing people is discussed and explained - The importance and techniques of managing time are discussed and understood - The techniques and procedures of managing sales are discussed and explained - Factors to consider in selecting suppliers and the steps to follow when doing business with them are identified and discussed - Awareness of how new technologies can affect small and medium business are developed - Characteristics of appropriate technology for use in small and medium business are identified and explained - Different types of cost that occur in a business and how to manage them are discussed and understood - Factors and procedures in knowing the cost of the enterprise are discussed and understood - Importance of financial record keeping and preparing simple financial statement are explained and understood - The application of self-management skills and negotiation skills are discussed in operating a business - Risk assessment and management of business enterprise are performed |
| - Develop one’s own business plan | - Process of preparing/ writing a business plan is discussed and applied - Standard structure and format are applied in preparing business plan - Findings of the business plan are interpreted, assessed and analyzed - Feasibility of the business idea is made clear and understandable - Problems that may arise or encounter when starting a business are identified and understand - Techniques and procedures in obtaining and sourcing information are discussed and understood |

| Variables | Range |
| --- | --- |
| Classification | - Private vs. public - Profit vs. non-profit - Formal vs. Non-formal - Individual vs. Community - Local vs. Foreign - Business vs. Social - Small vs. Large - Manufacturing vs. Service - Consumer vs. Industrial |
| Major factors | - Economics (local economy) - Population - competition |
| Three alternative | - Buying an existing business - Starting a new business - Operating a franchising business |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - explained principles and concept of entrepreneurship - discussed how to become entrepreneur - discussed how to organize an enterprise - discussed how to operate an enterprise - develop business plan |
| Underpinning Knowledge and Attitudes | Demonstrate knowledge of: - Entrepreneurship principles, concepts and terminologies - Entrepreneurial competence - Entrepreneurial motivation - Risk assessment and evaluation - Principles and process of negotiations - Self-management and self-employment - Managing sales, people and time - Factors in setting up small and medium business - Small and Medium Enterprise - Business plan development - Discussion techniques and procedures |
| Underpinning Skills | Demonstrate skills in: - Planning and Leading - Presentation skills - Using technology - Managing money - Preparing simple financial statement - Selecting suppliers |
| Resource Implications | The following resources must be provided: - Tools, equipment and facilities appropriate to the proposed activities - Materials relevant to the proposed activities |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Demonstration/ Direct Observation with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Line Works Support Level I |  |
| --- | --- |
| Unit Title | Apply 5S Procedures |
| Unit Code | EIS LWS1 19 1012 |
| Unit Descriptor | This unit of competence covers the skills, attitudes and knowledge required by an employee or worker to apply 5S procedures (structured approach to housekeeping) to their own job and work area and maintains the housekeeping and other standards set by 5S. The unit assumes the employee or worker has a particular job and an allocated work area and that processes in the work area are known by the individual. |

| Elements | Performance Criteria |
| --- | --- |
| - Develop understanding of quality system | - Discuss quality assurance procedures of the enterprise or organization - Understand the relationship of quality system and continuous improvement in the workplace - Identify and relate to workplace requirements the purpose and elements of quality assurance (QA) system - Explain the 5S system as part of the quality assurance of the work organization |
| - Sort needed items from unneeded | - Identify all items in the work area - Distinguish between essential and non-essential items - Sort items to achieve deliverables and value expected by downstream and final customers - Sort items required for regulatory or other required purposes - Place any non-essential item in a appropriate place other than the workplace - Regularly check that only essential items are in the work area |
| - Set workplace in order | - Identify the best location for each essential item - Place each essential item in its assigned location - After use immediately return each essential item to its assigned location - Regularly check that each essential item is in its assigned location |
| - Shine work area | - Keep the work area clean and tidy at all times - Conduct regular housekeeping activities during shift - Ensure the work area is neat, clean and tidy at both beginning and end of shift |
| - Standardize activities | - Follow procedures - Follow checklists for activities, where available - Keep the work area to specified standard |
| - Sustain 5S system | - Clean up after completion of job and before commencing next job or end of shift - Identify situations where compliance to standards is unlikely and take actions specified in procedures - Inspect work area regularly for compliance to specified standard - Recommend improvements to lift the level of compliance in the workplace |

| Variable | Range |
| --- | --- |
| Elements of QA system | - corrective action - mission statements - monitoring procedures - SOPs - work instructions - PDCA concept |
| 5S | 5S is a system of work organization originally developed in Japan based around housekeeping principles. A close translation of the five stages in the housekeeping approach is: - sort - set in order - shine - standardize - sustain Japanese terms: - seiri - eliminating everything not required for the work being performed (sort) - seiton - efficient placement and arrangement of equipment and material (set in order) - seison - tidiness and cleanliness (shine) - seiketsu - ongoing, standardised, continually improving seiri, - seiton, seison - shitsuke - discipline with leadership |
| Items in the work area | Includes: - tools - jigs/fixtures - materials/components - plant and equipment - manuals - personal items (e.g. bags, lunch boxes and posters) - safety equipment and personal protective equipment - other items which happen to be in the work area |
| Sort | Sort involves keeping only what is absolutely necessary for the processes in the work area. Sort includes: - clearing the work area of all non-essential equipment and materials Non-essential items are those not required to either produce product, conduct process or operations, or make required adjustments to equipment during process or operations |
| Set in order | After removing unnecessary materials, the remaining materials must be those that are required immediately for either the machine or the job at hand. All of these materials/change/parts etc must have an assigned location on the production floor. Locations should be clearly marked and labeled to show what belongs where. assigning required equipment and materials appropriate locations in the work area |
| Shine | includes: - keeping the work area clean at all times - this should be carried out to a regular daily schedule against allowed time and, on most occasions, at the end of a job |
| Standardize | Once 5S is established, standardizing activities help maintain the order and the housekeeping standards. Standardizing may use procedures and checklists developed from a procedure. Standardizing includes: - activities that help maintain the order and the housekeeping standards - using procedures and checklists developed from a procedure - OHS measures such as signage, symbols / coding and labeling of work area and equipment |
| Procedures | Procedures may include: - work instructions - standard operating procedures - formulas/recipes - batch sheets - temporary instructions and similar instructions provided for the operation of the plant - good operating practice as may be defined by industry codes of practice (e.g. good manufacturing practice (GMP) and responsible care) and government regulations Procedures may be: - written, verbal, computer based or in some other format |
| Sustain | includes: - making sure that daily activities are completed every day regardless of circumstance - cleaning up after a job - undertaking inspections, including: - informal inspections carried out often, at least weekly - formal inspections carried out at least monthly - generating continuous improvement actions from daily activities - following up specific actions to generate continuous improvement |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | A person who demonstrates competence in this unit must be able to provide evidence of the ability to: - identify own tasks and responsibilities and relate them to organization and customer requirements - identify and explain the stages of 5S - implement 5S in own work area - identify waste (muda) in the work area - routine practice of 5S as part of their job |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - operations and processes relevant to own job - basic principle of quality assurance system and its elements - quality procedures and continuous improvement (kaizen) - meaning and application of 5S steps to own job and work area - principles of efficient workplace organization - purposes of 5S - methods of making/recommending improvements |
| Underpinning Skills | Demonstrates skills to: - communicating with others to clarify issues during 5S implementation, communicate results and contribute suggestions for improvement - visualizing operations in terms of flow and contribution to customer outcomes - planning own tasks in implementation of 5S - implementing 5S in own work area according to instructions - identifying waste (muda) - organizing, prioritizing activities and items - reading and interpreting documents describing procedures - recording activities and results against templates and other prescribed formats - working with others - solving problems |
| Resources Implication | Access may be required to: - workplace procedures and plans relevant to work area - specifications and documentation relating to planned, currently being implemented, or implemented changes to work processes and procedures relevant to the candidate - documentation and information in relation to production, waste, overheads and hazard control/management - reports from supervisors/managers - case studies and scenarios to assess responses to contingencies |
| Methods of Assessment | A holistic approach should be taken to the assessment. Competence in this unit may be assessed by using a combination of the following to generate evidence: - demonstration in the workplace - workplace projects - suitable simulation - case studies/scenarios (particularly for assessment of contingencies, improvement scenarios, and so on) - targeted questioning In all cases it is expected that practical assessment will be combined with targeted questioning to assess underpinning knowledge. |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. Assessment of performance must be undertaken in a workplace using or implementing 5S as competitive systems and practices. |

Sector:	Economic Infrastructure

Sub-Sector:  Power Generation, Transmission and Distribution

Power Transmission and Distribution Management

Power Transmission, Distribution Inspection and Maintenance

Power Generation and Substation Installation and Maintenance -Electrical and Electronics

Power Generation Operation

Power Substation Operation

Power Distribution Network Infrastructure System Installation

Power Generation and Substation Operation and Maintenance Support

Power Distribution Network Infrastructure System Installation

Power Generation and Substation Management

Level I

Level II

Level III

Level IV

Level V

Power Generation and Substation Installation and Maintenance -Electrical and Electronics

Power Generation Operation

Power

System Operation

Power System Operation Management

Power Transmission Systems Operation

Power Generation Mechanical Maintenance

Power Transmission Systems Operation

Power Generation and Substation Installation and Maintenance -Mechanical

Power Generation Operation and Maintenance Support

Power Line Works Support

Acknowledgement

We wish to extend thanks and appreciation to the many representatives of business, industry, academe and government agencies who donated their time and expertise to the development of this occupational standard.

We would like also to express our appreciation to the Experts of EEPCo, Ministry of Education (MoE) and Engineering Capacity Building Program (ECBP) who made the development of this occupational standard possible.

This occupational standard was developed on the June 2012 at Gibe, Ethiopia.