Federal Democratic Republic of Ethiopia

Occupational Standard

POWER SUBSTATION OPERATION

NTQF Level III

Ministry of Education

June 2012

Introduction

Ethiopia has embarked on a process of reforming its TVET-System. Within the policies and strategies of the Ethiopian Government, technology transformation – by using international standards and international best practices as the basis, and, adopting, adapting and verifying them in the Ethiopian context – is a pivotal element. TVET is given an important role with regard to technology transfer. The new paradigm in the outcome-based TVET system is the orientation at the current and anticipated future demand of the economy and the labor market.

The Ethiopia Occupational Standards (EOS) is the core element of the Ethiopian National TVET-Strategy and an important factor within the context of the National TVET-Qualification Framework (NTQF). They are national Ethiopian standards, which define the occupational requirements and expected outcome related to a specific occupation without taking TVET delivery into account.

This document details the mandatory format, sequencing, wording and layout for the Ethiopia Occupational Standard which comprised of Units of Competence.

A Unit of Competence describes a distinct work activity.  It is documented in a standard format that comprises:

- Occupational title and NTQF level

- Unit title

- Unit code

- Unit descriptor

- Elements and Performance criteria

- Variables and Range statement

- Evidence guide

Together all the parts of a Unit of Competence guide the assessor in determining whether the candidate is competent.

The ensuing sections of this EOS document comprise a description of the occupation with all the key components of a Unit of Competence:

- chart with an overview of all Units of Competence for the respective level (Unit of Competence Chart) including the Unit Codes and the Unit Titles

- contents of each Unit of Competence (competence standard)

- occupational map providing the technical and vocational education and training (TVET) providers with information and important requirements to consider when designing training programs for this standards and for the individual, a career path

UNIT OF COMPETENCE CHART

| Occupational Standard: Power Substation Operation |  |
| --- | --- |
| Occupational Code: EIS SOP |  |
| NTQF Level III EIS SOP3 27 1012 Maintain Quality System and Continuous Improvement Processes (Kaizen) EIS SOP3 01 0612 Apply Quality Systems to Work EIS SOP3 02 0612 Operate and Monitor Communications Systems EIS SOP3 03 0612 Conduct Single Energy Source Isolation Procedures for Permit to Work EIS SOP3 04 0612 Operate and Monitor Fixed Fire Protection Systems EIS SOP3 05 0612 Interpret and Analyze Single Operation Protection Devices EIS SOP3 06 0612 Operate and Monitor Supervisory, Control and Data Acquisition Systems EIS SOP3 07 0612 Conduct First Response within Workplace Team EIS SOP3 08 0612 Operate Explosive Powered Tools EIS SOP3 09 0612 Setup and Configure Basic Local Area Networking EIS SOP3 11 0612 Operate HV Secondary Switchgear EIS SOP3 12 0612 Perform Substation Switching Operation to a Given Schedule EIS SOP3 10 0612 Administer User Networks EIS SOP3 13 0612 Conduct Non-Routine Operational Testing EIS SOP3 15 0612 Operate HV Condition Changing Apparatus EIS SOP3 14 0612 Monitor Implementation of Under Frequency Load Shedding EIS SOP3 17 0612 Operate HV Primary Switchgear EIS SOP3 16 0612 Coordinate HV Distribution and Sub Transmission Networks EIS SOP3 18 0612 Operate and Monitor System Equipment (SCADA) EIS SOP3 21 0612 Liaise with Stakeholders EIS SOP3 19 0612 Implement and Monitor Environmental and Sustainable Energy Management Policies and Procedures EIS SOP3 20 0612 Respond to Technical Enquiries and Requests EIS SOP3 24 0612 Lead Workplace Communication EIS SOP3 23 0612 Monitor Implementation of Work Plan/Activities EIS SOP3 22 0612 Apply Quality Control EIS SOP3 25 0612 Lead Small Teams EIS SOP3 26 0612 Improve Business Practice |  |
| Occupational Standard: Power Substation Operation Level III |  |
| Unit Title | Apply Quality Systems to Work |
| Unit Code | EIS SOP3 01 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to apply the desired standards to work as specified within the quality system. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for quality systems. | - Appropriate quality systems/procedures are identified from enterprise and/or site quality systems requirements - Performance objectives are identified and agreed with the team leader in accordance with work plan - Work plan is structured to ensure quality standards are achieved in accordance with site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Apply quality systems and practices | - Quality assurance systems and practices are implemented by the individual in accordance with manufacturer’s/site requirements - Work is monitored against agreed standards, sustainable energy principles and clarified with appropriate personnel in accordance with site requirements - Allocated jobs or tasks are completed in accordance with team/enterprise quality requirements |
| - Initiate changes to quality systems | - Improvements and changes to quality procedures are identified by analysis of systems outcomes in accordance with site requirements - Extent and nature of proposed changes to quality procedures are identified following investigation of enterprise/technical requirements in accordance with site requirements - Proposed changes are negotiated and agreed with appropriate parties in accordance with site requirements |

| Variable | Range |
| --- | --- |
| Quality assurance systems and procedures include: | - sustainable energy principles and includes those factors defined in the glossary under “environment” |
| Work may be affected by: | - Occupational Health and Safety standards, codes of practice, manufacturer’s specifications, environmental requirements and enterprise procedures |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement occupational health and safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Occupational, health and safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Ethiopian and/or international standards related to quality systems - The application of quality systems - Identifying procedural change requirements |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Ethiopian and/or International standards related to quality - Quality management theory - Divisional and team quality systems and procedures including: responsibilities and prerogatives - documentation system including quality manual and quality plan, quality records processes, performance and achievement audits - Elementary quality systems design processes - Communication procedures - principles of sustainable energy practice |
| Underpinning Skills | Demonstrates skills to: - Access, interpret and apply enterprise quality systems procedures and practices - Read manuals - Apply Occupational Health and Safety - Monitor outcomes - Compile documentation - Keep records - Suggest alternative/improvements to existing systems and procedures - Communicate effectively - Apply data analysis techniques and tools |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |
| Occupational Standard: Power Substation Operation Level III |  |
| Unit Title | Operate and Monitor Communications System |
| Unit Code | EIS SOP3 02 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate and monitor the application of communications systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Select and use equipment | - The appropriate medium for communication is determined from analysis of available options, previous communication or current circumstances and used in accordance with enterprise guidelines, manufacturer's and/or site requirements - Communication procedures for opening, passing and receiving messages are conducted to enterprise/site requirements - Communication equipment is used in accordance with manufacturer's and enterprise/site procedures - Limitations of communication links are identified and alternatives considered - Communication is conveyed logically, concisely and articulately in a manner appropriate to the situation to satisfy job requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Monitor communication system | - Data acquisition is monitored and assessed for quality and action taken in accordance with enterprise/site procedures - Effectiveness of communication, including understanding of the intent and content, is confirmed between the parties in accordance with site requirements. - The need for communication assistance is identified and addressed in accordance with job requirements. |
| - Complete documentation | - Documentation is updated, logs maintained and equipment problems, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Medium for communications may include: | - facsimile - telephone - radio - other electronic medium - memo - letter - report form - log book - switchboard - e-mail - pager - intercom - CB, poster - personal contact - signal and - body language |
| Communication procedures may include: | - protocol - appropriate forms/log books - telephone answering procedure and - radio procedure |
| Limitations may be: | - radio/mobile phone dead spots - weather conditions - customer language barriers - customers lack of technical knowledge and incoherent or irate callers |
| Information and documentation sources may include: | - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/site standing and operating instructions - enterprise log books - manufacturer's operation and maintenance manuals and - equipment and alarm manuals |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate able to: - Implement occupational health and safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Demonstrate performance across a representative range of contexts from the prescribed items below: - knowledge and application of relevant sections of: occupational, health and safety legislation - statutory legislation; enterprise/site safety procedures; enterprise/site emergency procedures - Acknowledging and prioritising fault communication - Selecting and applying communication systems - Monitoring communication systems |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques; - Plant status - Relevant plant and equipment, it's locations and operating parameters - Enterprise recording procedures - Policies - Alternative communication links - Communication systems and principles - Computers and software |
| Underpinning Skills | Demonstrates skills to: - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Communicate information or instructions in a clear and concise manner - Plan and prioritize work - Co-ordinate the operation of equipment to maintain plant integrity - personnel safety and continuity of supply - Apply alternative communication links - Communicate effectively - Apply data analysis techniques and tools - Operate and monitor communication systems |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. In addition to the resources listed above in Context of assessment', evidence should show competence working in confined spaces, with different types of plant and equipment as well as different structural/construction types and method and in a variety of environments. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |
| Occupational Standard: Power Substation Operation Level III |  |
| Unit Title | Conduct Single Energy Source Isolation Procedures for Permit to Work |
| Unit Code | EIS SOP3 03 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to apply single energy source isolation procedures of the permit to work procedures at the isolating level. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for isolation, de- isolation and restoration | - Work requirements are identified from request/work orders or equivalent and clarified/confirmed with the appropriate parties or by site inspection - Safety issues are identified to comply with statutory, enterprise and site requirements - Materials, equipment and resources required to satisfy the job plan are identified, requisitioned, obtained and inspected for compliance with job specifications - Work is planned in detail with the responsible issuing officer, including sequencing and prioritizing of work, and the maintenance of plant security and capacity in accordance with permit/site requirements - Job requirements including permits are co-ordinate with other personnel involved in, or affected by, the isolation in accordance with enterprise/site requirements - Where appropriate the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of on-the-job training |
| - Perform isolation | - Plant to be isolated is correctly identified - Isolation is performed in accordance with enterprise/site permit to work procedures - Isolations are confirmed with others involved in, or affected by, the work in accordance with enterprise/site procedures |
| - Perform de- isolation and restoration | - De-isolation and restoration of plant is performed in accordance with permit to work procedures - De-isolations are confirmed with other personnel involved in, or affected by, the work in accordance with enterprise/site procedures - Work completion details are finalised in accordance with enterprise/site procedures |
| Variable | Range |
| Other personnel involved may include: | - issuing officer, - isolating officers, - recipient in charge and - testing officer or their equivalent |
| Permits may include: | - any documentation/forms approved for use by the enterprise safety rules and - permit to work procedures |
| Work completion details may include: | - log books, - computer input |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement OHS workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Environmental legislation - Plant status - Relevant plant and equipment its location and operating parameters; - Enterprise recording procedures - Isolating procedures - Communication principles and procedures - Computers and software - Introduction to power production plant - Typical arrangement of power production plant - Thermodynamics - Properties of matter - Power plant cycle - General responsibilities for power production - plant operations - Electrical principles - Transformers and Switchgear - Electrical protection - Schematic diagrams - Auxiliary supply systems - High voltage systems - High voltage switching procedures - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate and/or identify relevant plant and equipment - Operate plant within design parameters - Identify plant status - Prepare plant/equipment for operation - Communicate effectively - Apply isolating procedures - Plan and prioritize work - Use drawings, diagrams and symbols - Apply data analysis techniques and tools |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Fixed Fire Protection Systems |
| Unit Code | EIS SOP3 04 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to operate, inspect and monitor fixed fire protection systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work | - Safety issues are identified to comply with enterprise/site requirements - Work requirements are identified from relevant personnel and documentation - Documentation to determine plant status is assessed and evaluated - Localized plant inspection and field preparations for service are carried out in accordance with manufacturer and enterprise procedures - Plant operational prerequisites are established in accordance with manufacturer and enterprise procedures - Sequence for re-commissioning of plant is determined to suit existing circumstances in accordance with enterprise requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate plant | - Plant is operated in accordance with enterprise and manufacturer operating procedures - Plant is monitored and observed to detect deviations from normal operating conditions - Corrective actions are taken to rectify abnormalities in accordance with manufacturer and enterprise procedures |
| - Test plant operation | - Tests are performed in accordance with defined procedures applicable to the operational test - Plant is observed for correct operational response in accordance with enterprise / manufactures requirements - Correct action is taken in accordance with enterprise procedures - Plant is returned to required operational status upon completion of test |
| - Analyze system faults | - Causes of abnormal plant operating conditions are identified by analysing the technical and operational information in a logical and sequential manner - Corrective action taken is in accordance with enterprise procedures - Plant integrity and personnel safety are maintained through consultation with appropriate personnel, and with reference to plant, technical and operational documentation |
| - Monitor and inspect plant | - Plant to be monitored/inspected is physically identified - Plant is monitored/inspected for normal operation or to detect deviations - Corrective action taken is in accordance with enterprise procedures - Appropriate personnel are notified when defects are detected |
| - Complete documentation | - Documentation is updated and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards may include: | - relevant sections of Occupational Health and Safety legislation enterprise safety rules, - relevant state and federal legislation, - national standards for plant and - environmental legislation |
| Information and documentation sources may include: | - verbal and written communications, - enterprise/site safety rules documentation/form(s), - equipment and alarm manuals, - dedicated computer equipment, - enterprise/site standing and operating instructions, - enterprise/site log book and manufacturer operation and - maintenance manuals |
| Tests may include: | - stand-by plant tests, - post maintenance operating tests and - alarm tests |
| Test, fault finding and operating tools may include: | - hand and power tools and - CO2 equipment |
| Faults and abnormal operating conditions may include: | - motor/pump/ actuator/valve/damper failure/malfunction, - control equipment failure/ malfunctions, - loss of electrical supply to plant and equipment, - loss/ low air, - water, - lubricating oil to plant/ equipment, - CO2 system faults/ malfunctions, - CO2 leaks, - high filter/ strainer, and - excessive vibration pumps/ motors |
| Technical and operational indicators may include: | - stimuli (audio, smell, touch, visual), - local indicators and recorders, - computers and - alarms (visible and or audible) |
| Appropriate personnel to consult, give or receive direction may include: | - supervisor/team leader or equivalent, - power system control personnel or equivalent, - contractor and specialist personnel, - maintenance staff and - power plant operations personnel |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement OHS workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Preparation and planning of work - Operation of fixed fire protection systems - Operationally testing plant - Analyzing plant faults - Monitoring plant operation |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, its location and - operating parameters - Plant status - Environmental legislation - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment - Emergency procedures |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Organize resources - Operate fixed fire protection systems - Apply diagnostic and testing techniques - Identify and respond to abnormal plant operating conditions - Plan and prioritize work - Use relevant hand tools - Communicate effectively - Apply data analysis techniques and tools - Operate in a team - Use diagrams, drawings and symbols - Co-ordinate the operation of equipment to maintain plant integrity - Personnel safety and continuity of supply |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Interpret and Analyze Single Operation Protection Devices |
| Unit Code | EIS SOP3 05 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to interpret and analyze of the operation of single operation protection devices. |

| Elements | Performance Criteria |
| --- | --- |
| - Respond to protection operation | - Protection operation is confirmed in accordance with enterprise procedures - Apparatus affected is identified in accordance with enterprise procedures - Targets, flags and alarms are identified and recorded in accordance with enterprise/site procedure - Relevant stake holders are advised in accordance with enterprise procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Interpret and determine cause of protection operation | - External information is managed and communication with external stakeholders is conducted and recorded in accordance with enterprise procedures - Information is collated and assessed in a logical and sequential manner in accordance with enterprise procedures - Sequence of events prior to and following protection operation is identified and assessed in accordance with enterprise procedures - Protection operations are assessed and evaluated in accordance with enterprise procedures - Findings are analysed in conjunction with protection type and recorded data, to determine most probable cause of protection operation |
| - Restore protection | - All relevant stake holders are informed of findings and plan of action in accordance with enterprise procedures - Relevant protection indicators are reset in accordance with enterprise procedures - Corrective action is taken according to fault type in accordance with enterprise/site procedures |
| - Complete documentation | - Records are maintained and all events and operations are logged in accordance with enterprise procedures |
| Variable | Range |
| Protection may include: | - over current - over voltage/overload - bucholz - winding temperatures - related L.V. protection |
| Communications may be by means of | - telephone - two way radio - pager - computer (electronic mail) - operating logs (written or verbal) |
| Information and documentation sources may include: | - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/site standing and operating instructions - enterprise log books - manufacturer operation and maintenance manuals - equipment and alarm manuals |
| Technical and operational indicators may include: | - stimuli (audio, smell, touch, visual) - local indicators and recorders - computers - alarms (visible and or audible) |
| Operating environment may be: | - remote from plant and equipment being operated, (operation is assisted by remote indicators of plant status and other parameters monitored), - during inclement or otherwise harsh weather conditions, - in wet/noisy/dusty areas or during night periods |

| Evidence Guide |  |
| --- | --- |
| Critical aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Responding to protection equipment operation - Interpreting and determining cause of equipment operation - Restoring protection - Knowledge of protection equipment and schemes |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - Responding to protection equipment operation - Interpreting and determining cause of equipment operation - Restoring protection - Knowledge of protection equipment and schemes |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Communicate effectively - Apply data analysis techniques and tools - Apply diagnostic techniques - Apply or determine appropriate corrective actions required - Plan and prioritize work - Use plans, drawings and symbols - Recognize abnormal plant/system/equipment - operating conditions - Evaluate protection operation and determine the - appropriate response |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor Supervisory, Control and Data Acquisition Systems |
| Unit Code | EIS SOP3 06 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake monitoring and operation of screen based Supervisory, control and data acquisition systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Operate screen displays | - Safety issues are identified in accordance with enterprise/system requirements - System requirements are identified from relevant personnel and documentation - Screen displays and applications are identified and retrieved in accordance with system requirements - Functions available from the screen based equipment are identified and selected in accordance with system procedures - Functions available from the screen based equipment are utilized in accordance with system requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Monitor and interpret information | - Screen displays are monitored in accordance with enterprise/system procedures - Abnormal values are identified by analysis of information obtained from screen displays in accordance with enterprise/system procedures - Corrective action taken is in accordance with enterprise/system procedures - Alarms are acknowledged, prioritised and responded to in accordance with enterprise/system procedures |
| - Enhance screen display | - Requirements for the development of new screen displays are identified and confirmed in accordance with system requirements - New screen displays are researched, assessed and confirmed with appropriate personnel in accordance with system requirements |

| Variable | Range |
| --- | --- |
| Safety standards may include: | - relevant sections of Occupational Health and Safety legislation - enterprise safety rules - Relevant state and federal legislation and national standards for plant |
| Information and documentation sources may include: | - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/site standing and operating instructions - enterprise log books - manufacturer operation and maintenance manuals - equipment and alarm manuals |
| Displays and functions may include: | - trends - alarms - generation plant - fuel supplies - remote plant and equipment - substations - power distribution network - transmission network - stakeholder systems - multiple screens - multiple windows - linkage between screens - trending facilities - index searches - formats - colors - tags - key commands - dedicated keys |
| Faults and abnormal operating conditions may include: | - hardware and software faults and - System failures |
| Appropriate personnel to consult, give or receive direction may include: | - supervisor/team leader or equivalent - power plant operations personnel or equivalent - technical and engineering officers or equivalent - maintenance staff - other operating staff or equivalent - system controller/network controller - field operator - restricted HV operators |
| Evidence Guide |  |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement OHS workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - The full range of displays and applications available are explained - Operation of screed based equipment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Relevant plant and equipment, it’s location and operating parameters - Equipment status - Enterprise recording procedures - Communication principles - Control and data acquisition systems - Computers and software - Supervisory, alarm, protection and control equipment |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Operate screen based equipment - Identify equipment status - Plan and priorities work - Communicate effectively - Apply data analysis techniques and tools - Identify and respond to abnormal equipment operating conditions - Use diagrams, drawings and symbols |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |
| Occupational Standard: Power Substation Operation Level III |  |
| Unit Title | Conduct First Response within a Workplace Team |
| Unit Code | EIS SOP3 07 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to conduct a first response within emergency team operations. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify emergency team roles and responsibilities | - The purpose of the team is identified and, where necessary, clarified with relevant personnel - The duties and responsibilities of team members are identified - Instructions from supervising team members are carried out in accordance with enterprise/site procedures - Team members are supported in relation to duties and responsibilities - Appropriate team member identification is displayed in accordance with procedures |
| - Cooperate with other emergency service(s) personnel | - The roles and responsibilities of emergency service(s) personnel are clarified, where necessary - Role and authority of emergency services is conveyed to other team members - Instructions from relevant emergency services personnel are clarified and complied with |
| - Evaluate the emergency | - The emergency situation is identified and classified and appropriate action determined - Advice is accessed from relevant personnel in evaluating the emergency - Advice is accessed from relevant personnel in evaluating the emergency - Emergency evacuation procedures are followed where appropriate - Requirement for special expert assistance is identified - Incident is evaluated to prevent repetition of risk - Location of emergency is identified and most effective route to emergency is determined - Situations where first attack actions are not safe are reported according to enterprise/site procedures |
| - Contain emergencies | - Emergencies are contained to their area of origin were possible, in accordance with procedures - Emergency control equipment or facilities used to confine emergency are used in a safe manner, and with regard to other team members and personnel - Emergency control equipment or facilities are used within limitations and relevant operating procedures - Manufacturer’s specifications, environmental requirements and enterprise procedures are identified, applied and monitored throughout the work procedures - The anticipated behavior and characteristics of the fire or emergency incident are taken into account in the directions and advice given to team members after appropriate site inspection - A plan to ensure personnel safety and plant integrity is developed, in accordance with statutory, industry and site standards - Relevant documentation is obtained in accordance with procedures - Materials, equipment and resources required to satisfy the job are identified and obtained - Effective lines of communication are established if required |
| - Use emergency equipment | - Appropriate equipment is selected to attack emergency situation - Equipment is checked in accordance with procedures or standards to ensure it is safe and ready for use - Equipment is used in accordance with relevant procedures and standards - Operation and location of others in the team are monitored to ensure the continuing communication, visual contact and safety in accordance with enterprise/site procedures - Use of equipment is co-ordinate in conjunction with other emergency actions/responses - Rescue and first aid procedures are applied as required and in accordance with procedures |
| - Report outcomes of emergency response | - Fire and emergency equipment is marked or positioned after use, in accordance with procedures, to indicate it requires servicing or replacing - The use of emergency equipment is reported according to procedures - De-briefing is attended and responded to in accordance with procedures - Effectiveness of emergency response is evaluated and recommendations are submitted for consideration |

| Variable | Range |
| --- | --- |
| External emergency groups | May include: - police - fire fighting agencies - ambulance - state emergency service - supply authorities (such as water utility) |
| Special assistance | May be on: - site personnel (e.g. chemists, fire team) - rescue team - environmental officer - safety officer - radiation officer - floor warden or equivalent - chief - warden or equivalent - security staff |
| Incidents | May include: - fire - rescue - hazardous substances - explosions - bomb alerts - terrorists - radiation - natural disasters - environmental - electrical storms/incidents - accidents - electrical - equipment - structural - security related or wildlife related incidents |
| Personnel refers to all personnel and | May include: - supervisory - maintenance - operational - contractors and administrative personnel, - visitors and shift operatives |
| Safety standards | May include: - relevant sections of OHS legislation, enterprise safety rules and national standards for plant |
| Information and documentation sources | May include: - verbal and written communications - enterprise/site operating instructions - manufacturer’s operating and maintenance manuals - dedicated computer equipment - enterprise/site log books - critiques - meetings, discussion, demonstrations and explanations - feedback - comments on suitability of procedures and effectiveness of control equipment - materials safety data sheets - drawings and maps |
| Communications | May be by means of: - verbal - telephone system - two-way radio - pager - emergency public address system - radio - facsimile - computer (electronic mail) - enterprise/site log book |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Ability to communicate effectively with the appropriate personnel and agencies during an emergency - Knowledge and ability to apply first aid and resuscitation techniques - Knowledge of potential hazards during initial response - Knowledge and application of firefighting and rescue principles and techniques - Ability to respond to an emergency situation - Ability to use emergency equipment |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Relevant plant and equipment, its location and operating parameters - Site communications systems - First aid - Appropriate warning signs - Equipment appropriate for the task - Operation of emergency stations - Roles of the emergency team and its members - Classifications of fires and emergencies - Roles and responsibilities of emergency services - Firefighting and rescue principles and techniques - Communication principles - Human resources and management principles within a team - Material safety data sheets and emergency service |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Locate relevant plant and equipment - Prepare emergency plant/equipment for operation - Communicate effectively - Plan and prioritize work - Work in a team - Apply first aid and resuscitation techniques - Apply emergency and evacuation procedures - Identify and operate appropriate emergency communications equipment - Apply emergency techniques and procedures. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Operate Explosive Powered Tools |
| Unit Code | EIS SOP3 08 0612 |
| Unit Descriptor | This unit of competence specifies the outcomes required to apply safe and effective operation of explosive power tools (EPT), used to fasten materials or fix fasteners to bases. It includes both direct action and indirect action explosive powered fastening tools. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare | - Work instructions, including plans, specifications, quality requirements and operational details, are obtained, confirmed and applied from relevant information for planning and preparation. - Safety (OHS) requirements are followed in accordance with safety plans and policies. - Signage and barricade requirements are identified and implemented. - Plant, tools and equipment selected to carry out tasks are consistent with job requirements, checked for serviceability, and any faults are rectified or reported prior to commencement. - Material quantity requirements are calculated in accordance with plans and specifications. - Materials appropriate to work application are identified, obtained, prepared, safely handled and located ready for use. - Environmental requirements are identified for the project in accordance with environmental plans and statutory and regulatory authority obligations, and are applied. |
| - Set out fasteners | - Minimum distances for set out from edge of substrate material are adhered to in accordance with legislation, regulations and codes of practice. - Material is located and temporarily held or fixed into designed position according to detailed drawings. |
| - Use EPT | - EPT is checked for operation according to manufacturer specifications and safety (OHS) requirements for use of EPT. - Fastener is selected according to requirements of job. - Charge is selected to assess requirements for material, base and penetration. - Attachments and accessories are installed to EPT in accordance with manufacturer specifications and safety (OHS) requirements. - Fastener and charge in EPT are located to manufacturer specifications. - EPT operation is carried out and fastener is fixed into place in accordance with manufacturer recommendations, legislation, regulations and codes of practice. - Fastening penetration is checked and appropriate depth into material is applied. - Power regulating device is adjusted for conditions. - Misfire procedures are carried out according to manufacturer recommendations, legislation, regulations and codes of practice. - Temporary holding and fixings are removed without damage to material. |
| - Secure and store equipment and charges | - Charges are stored in designated container in accordance with legislation, regulations and codes of practice and used charges are recorded. - Unused fasteners, the EPT and attachments are stored in a carry case in line with manufacturer recommendations. - Logbook is checked and maintenance recorded according to manufacturer recommendations. |
| - Maintain EPT and kit | - Safety features of tools are checked for serviceability in accordance with manufacturer operating manual. - Tools are cleaned and lubricated to manufacturer recommendations. - Periodic maintenance service is carried out to manufacturer specifications. - Diminished stocks of charges and fasteners are replenished to designed effectiveness of EPT kit. |
| - Clean up | - Work area is cleared and materials disposed of, reused or recycled in accordance with legislation, regulations, and codes of practice and job specification. - Plant, tools and equipment are cleaned, checked, maintained and stored in accordance with manufacturer recommendations and standard work practices. |

| Variable | Range |
| --- | --- |
| Information include: | - diagrams or sketches - instructions issued by authorized - organizational or external personnel - manufacturer specifications and instructions where specified - memos - MSDS - organization work specifications and requirements - plans and specifications - regulatory and legislative requirements - pertaining to using EPT - relevant local standards - safe work procedures related to using EPT - signage - verbal or written and graphical instructions - work bulletins - work schedules |
| Planning and preparation include: | - work site inspection - equipment defect identification - assessment of conditions and hazards - determination of work requirements |
| Safety (OHS) is to be in accordance with legislation, regulations, codes of practice, organizational safety policies and procedures, and project safety plan and may include: | - emergency procedures, including extinguishing fires, organizational first aid requirements and evacuation - handling of materials - hazard control - hazardous materials and substances - safe operating procedures, including the conduct of operational risk assessment and treatments associated with: - earth leakage boxes - lighting - power cables, including overhead service trays, cables and conduits - restricted access barriers - surrounding structures - traffic control - trip hazards - work site visitors and the public - working at heights - working in confined spaces - working in proximity to others - working with dangerous materials - organizational first aid - personal protective clothing and equipment prescribed under legislation, regulations workplace policies and practices - use of firefighting equipment - use of tools and equipment - workplace environment and safety |
| Tools and equipment include: | - direct action EPT - indirect action EPT - clamps and - levels |
| Materials include: | - timber - metals - patented fasteners |
| Environmental requirements include: | - clean-up management - noise and dust - vibration - waste management |
| Statutory and regulatory authorities include: | - federal, state and local authorities - administering applicable Acts, - regulations and codes of practice |
| Minimum distance for set out of fasteners is to be in accordance with: | - regulated minimum distances - bases, including concrete, masonry or steel |
| Use of EPT include: | - stripping and assembling tools - completing log of serviceability - maintaining and cleaning tools - selecting charges and fasteners applicable to - the base material and material being fixed - misfire procedures - using attachments - complying with storage and security - regulations and OHS requirements for the - working environment - selecting signage - test fire |
| Attachments include: | - channel, rebate and other manufacturer attachments |
| Fastener and charge include: | - firing a test shot with misfire procedures, complying with the regulated safety procedure for misfire |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Location, interpretation and application of relevant information, standards and specifications - Compliance with site safety plan and OH&S legislation/regulations/codes of practice applicable to workplace operations - Compliance with organizational policies and procedures including quality requirements - Safe and effective operational use of tools and equipment - Communication and working effectively and safely with others - The fixing of metal or timber to a steel, concrete or masonry base on one project of each to job specifications including completion of all activities listed in the fourth dot point of the Unit Scope |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - construction terminology - EPT materials - EPT charges and fasteners - equipment safety manuals and instructions - job safety analysis (JSA) and safe work method statements - material safety data sheets (MSDS) - materials storage and environmentally friendly waste management - plans, specifications and drawings - processes for the calculation of material requirements - quality requirements - relevant Acts, regulations and codes of practice - security and storage procedures for equipment and charges - types, characteristics, uses and limitations of plant, tools and equipment - workplace and equipment safety requirements |
| Underpinning Skills | Demonstrates skills to: - communication skills to: - Determine requirements - enable clear and direct communication, using questioning to identify and - confirm requirements, share information, listen and understand - follow instructions - read and interpret: - documentation from a variety of sources - drawings and specifications - report faults - use language and concepts appropriate to cultural differences - use and interpret non-verbal communication, such as hand signals - written skills to record maintenance in logbook - identifying and accurately reporting to appropriate personnel any faults in tools, equipment or materials - numeracy skills to apply measurements and make calculations - organizational skills, including the ability to plan and set out work - teamwork skills to work with others to action tasks and relate to people from a range of cultural and ethnic backgrounds and with varying physical and mental abilities - technological skills to: - use a range of mobile technology, such as two-way radio and mobile phones - voice and hand signals to access and understand site-specific instructions |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Set up and Configure Basic Local Area Network |
| Unit Code | EIS SOP3 09 0612 |
| Unit Descriptor | This unit covers setting up, configuring and maintaining operation of a basic local area network (LAN) of up to 20 connected devices. It encompasses safe working practices, installing network hardware, installing and configuring network software, establish user accounts, configure shared Internet connection and documenting set up parameters and LAN topology. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to set up and configure basic local area network | - OHS processes and procedures for a given work area are identified, obtained and understood. - The extent of set-up and configuration work is determined from job specifications and in consultation with appropriate person(s). - Appropriate personnel are consulted to ensure the work is coordinated effectively with others involved on the work site. - Hardware and software needed for the work is obtained in accordance with established procedures and checked against job requirements. - Preparatory work is checked to ensure no damage has occurred and complies with requirements. |
| - Set up, configure and maintain basic local area network | - OHS risk control measures and procedures for carrying out the work are followed. - Layout of network hardware, cabling and outlets is determined from job specifications or in consultation with appropriate person(s). - Hardware is installed in accordance with network requirements. - Network software is in installed and configured in accordance with network requirements. - Network operations are tested and anomalies identified and corrected. - Reported network failures and faults are responded to and appropriate tools and methods are used to - Identified causes of reported problems are rectified and network is tested in accordance with established procedures. Unexpected situations are dealt with safely and with the approval of an authorized person. - Set-up configuration and maintenance are carried out efficiently without waste of materials or damage to apparatus and the surrounding environment or services and using sustainable energy practices. |
| - Complete work and document activities | - OHS risk control work completion measures and procedures are followed. - Work site is cleaned and made safe in accordance with established procedures. - Network configuration and maintenance records are maintained in accordance with established procedures. - Service report is completed and forwarded to appropriate person(s) in accordance with established procedures. |

| Variable | Range |
| --- | --- |
| This unit shall be demonstrated in relation to setting up and configuring basic local area network that include at least: | - 3 personal computers/work stations - 1 server - 1 hub or switch or router - 1 input or output device |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement OHS workplace procedures and practices, including the use of risk control measures as specified in the performance criteria and range statement - Apply sustainable energy principles and practices as specified in the performance criteria and range statement - Set up and configure basic local area network including: - Establishing the extent of work accurately. - Obtaining specified hardware and software. - Laying out network appropriately. - Installing hardware as specified. - Installing and configuring software to requirements. - Identifying and correcting anomalies. - Diagnosing and rectifying the cause of malfunctions effectively. - Documenting network activities. - Dealing with unplanned events by drawing on essential knowledge and skills to provide appropriate solutions in a holistic manner. |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Local area network fundamentals - Basic configuration of local area network - Techniques and procedures of diagnosing / rectifying faults or malfunctions |
| Underpinning Skills | Demonstrates skills to: - apply OHS measures and procedures - prepare to set up and configure basic local area network - set up, configure and maintain basic local area network - complete documentation |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Administer User Networks |
| Unit Code | EIS SOP3 10 0612 |
| Unit Descriptor | This unit covers the administration of network servers. It encompasses safe working practices, establishing and maintaining user and group permissions, network security and shared resource management, monitoring and optimizing network systems performance and reliability, maintaining currency of the network and documenting all administration activities. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to install, upgrade and maintain network operations | - OHS procedures for a given work area are identified, obtained and understood. - Established OHS risk control measures and procedures are followed in preparation for the work. - The nature of the network is established from network specifications and in consultation with appropriate person(s). - Activities are planned to meet scheduled timelines in consultation with others involved in the work. - Network operating system versions and updates needed to maintain the network are obtained in accordance with established procedures and checked against job requirements. |
| - Install, upgrade and maintain network operations | - OHS risk control measures and procedures for carrying out the work are followed. - Server operating systems in current use are installed and upgraded and configure in accordance with developer's instructions and network requirements. (See Note 2) - Devices and drivers, desktop environment, network protocols and services and system security are implemented in accordance with requirements. - Access to resources is configured within the limitations specified for each user. - Network malfunctions are identified and rectified using logical techniques and drawing knowledge of devices and drivers, storage, network protocols, connections and services and system security configuration processes. - Network performance and reliability is monitored and optimized in accordance with established procedures. - Methods for dealing with unexpected situations are selected on the basis of safety and specified work outcomes. |
| - Document network administration activities | - Network administration documentation are maintained in accordance with established procedures. - OHS procedures for a given work area are identified, obtained and understood. |

| Variable | Range |
| --- | --- |
| This unit shall be demonstrated in relation to | - administering at least two networks each with a different server operating system in current use |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement OHS workplace procedures and practices, including the use of risk control measures as specified in the performance criteria and range statement - Apply sustainable energy principles and practices as specified in the performance criteria and range statement - Administer user networks including: - Establishing network requirements and operating system versions and updates. - Installing, upgrading and configuring server operating system correctly. - Configuring access to resources for each user. - Identifying network malfunctions. - Rectifying network malfunctions. - Documenting network administration activities. - Dealing with unplanned events by drawing on essential knowledge and skills to provide appropriate solutions. |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Network operating system implementation - Network operating systems essentials - Unix fundamentals |
| Underpinning Skills | Demonstrates skills to: - Apply OHS measures and practices - Install, upgrade and maintain network operations |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |
| Occupational Standard: Power Substation Operation Level III |  |
| Unit Title | Operate HV Secondary Switchgear |
| Unit Code | EIS SOP3 11 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake the local operation of high voltage secondary circuit breaking devices. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to operate secondary switchgear | - Work requirements are identified and clarified/confirmed with appropriate parties in accordance with enterprise procedures - Procedures/safety precautions when operating H.V. switch gears are identified and recognized in accordance with enterprise procedures - Location of switchgear is determined from appropriate drawings, plans and maps - Identify switch gear type and determine correct operating procedure in accordance with enterprise procedures - Examine and assess switch gear condition for safe operation in accordance with enterprise procedures - Suppress related protection if and where necessary in accordance with enterprise procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate switch gear | - Mechanical operation and limitations of the equipment are identified in accordance with enterprise procedures - Implications of actions are identified and recognised in accordance with enterprise procedures - Switch gear is operated and confirmation that required status has been achieved is given in accordance with enterprise procedures - Racking, testing, isolation, circuit earthen and reinstatement procedures are carried out to manufacturer’s instructions and enterprise/site procedures |
| - Validate switch gear integrity | - Equipment inspected for safe operation in accordance with enterprise procedures - Switch gear environment is inspected to ensure all statutory requirements are met - Confirm switch gear operates in accordance with manufacturer’s specifications |
| - Complete documentation | - Documentation is updated, log sheets maintained and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Appropriate personnel for consultation, to give or receive direction may include: | - supervisor/team leader or equivalent, - power plant operations personnel or equivalent - technical and engineering officers or equivalent - maintenance staff - other operating staff or equivalent - system controller/network controller - field operator and restricted HV operators |
| Safety standards may include: | - relevant sections of occupational health and safety legislation - enterprise safety rules - relevant state and federal legislation and national standards for plant |
| Implications may be | - safety of personnel and public - damage to equipment - loss of plant - legal implications - system integrity - capital cost - lost enterprise revenue and community costs |
| Equipment may include: | - air insulated single phase/three phase link operated URD switchgear - oil immersed ring main switch (RMU) metal clad - compact switching station - load break elbows and oil immersed rotary switch - ring main switch SF6 metal clad - arc chute air break switch - horn deflecting air break switch - sectionalizes and expulsion drop outs and H.V. links |
| Technical and operational indicators may include: | - stimuli (audio, smell, touch, visual), - local indicators and recorders, - computers and alarms (visible and or audible) |
| Information and documentation sources may include: | - verbal or written communications; - enterprise safety rules documentation; - enterprise operating instructions; - dedicated computer equipment; - enterprise/site standing and operating instructions; - enterprise log books; - manufacturer’s operation and maintenance manuals; and equipment and alarm manuals |
| Evidence Guide |  |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement OHS workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - The preparation for secondary switchgear operations - The operation and knowledge of secondary switch gear - The implications of secondary switch gear operations |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Secondary switch gear operating parameters - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - Consequences of operator actions - H.V. power systems and parameters - H.V. protection schemes - Enterprise procedures - Secondary switch gear construction and operation - Isolation and earthen procedures - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate relevant plant and equipment - Operate switch gear within design parameters - Identify plant status - Prepare equipment for operation - Communicate effectively - Recognize abnormal switch gear operation - Plan and prioritize work - Use plans, diagrams and symbols - Operate protection equipment - Isolate and earth - Apply enterprise procedures. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Perform Substation Switching Operation to a Given Schedule |
| Unit Code | EIS SOP3 12 0612 |
| Unit Descriptor | This covers the conducting of switching operations in a substation in accordance to a given instructions, switching schedule and established enterprises procedures. It encompasses the operation of substation switching devices such as circuit breakers, air break switches, fuses, recloses, ring main units and isolators. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for substation switching to a given schedule | - Switching and work schedule(s), including drawings, plans, requirements, established procedures, and material lists, are received, analysed and confirmed, if necessary, by site inspection. - Relevant requirements and established procedures for the work are communicated to all personnel and identified for all work sites. - OHS policies and procedures related to requirements and established procedures for substation switching are obtained and confirmed for the purposes of the work to be performed and communicated. - Work is prioritised and sequenced following consultation with others for completion within acceptable timeframes and in accordance with established procedures. - Hazards are identified; OHS risks assessed and control measures are prioritised, implemented and monitored including emergency exits kept clear according to established procedures. - Relevant authority is obtained to access and perform work according to requirements and/or established procedures. - Resources including personnel, equipment, tools and personal protective equipment required for the job are obtained and confirmed in working order. - Relevant personnel at worksite are confirmed current in First Aid, Pole Top Rescue and other related work procedures according to requirements - Liaison and communication issues with other/authorised personnel, authorities, clients and land owners are resolved to carry out work where necessary. - Site is prepared according to the work schedule and to minimise risk and damage to property, commerce, and individuals in accordance with established procedures. - Personnel participating in the work, including plant operators and contractors, are fully briefed and respective responsibilities confirmed where applicable in accordance with established procedures. - Road signs, barriers and warning devices are positioned in accordance with requirements. |
| - Carry out substation switching to a given schedule | - OHS and Sustainable Energy principles and practices to reduce the incidents of accidents and minimise waste are monitored and followed in accordance with requirements and/or established procedures. - Lifting, climbing, working in confined spaces and aloft, and use of power tools/equipment, techniques and practices are safely followed and, currency according to requirements confirmed. - Apply Essential Knowledge and Associated Skills in the safe substation switching to a given schedule to ensure completion in an agreed timeframe and, to quality standards with a minimum of waste according to requirements - Communications with Switching Control Officer are established and maintained throughout the isolation operation according to established procedures. - Electrical equipment and associated circuits line/network or work site to be switched is isolated and proved de-energised using appropriate devices, earthed where required and load transfer successfully achieved according to requirements and established procedures. - Substation switching to a given schedule is carried out, in accordance with the work schedule and requirements/established procedures. - Hazard warnings and safety signs are recognised and hazards and assessed OHS risks are reported to the immediate authorised persons for directions according to established procedures. - Unplanned events occurring during substation switching to a given schedule are responded to and undertaken within the scope of established procedures. - Relevant permits are prepared and issued in accordance with established procedures. - Known solutions to a variety of problems are applied using acquired Essential Knowledge and Associated Skills. - Ongoing checks of quality of the work are undertaken in accordance with instructions and established procedures |
| - Complete substation switching to a given schedule | - Work undertaken is checked against works schedule for conformance with requirements and anomalies reported in accordance with established procedures. - Accidents and/or injuries are reported in accordance with requirements/established procedures, where applicable. - Work site is rehabilitated, cleaned up and made safe in accordance with established procedures. - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. - Relevant permit(s) are signed off, safety devices are removed, and the system is re-energised and returned to service in accordance with requirements/established procedures. - Works completion records, reports, as installed /modified drawing and/or documentation and information are finalised and processed and appropriate personnel and authority notified. |

| Variable | Range |
| --- | --- |
| Switching program/schedule including: | - Necessary detail, e.g. structure, switch or equipment number - locations - HV feeder - outage times - works plan/order |
| Switchgear includes: | - ring main units - circuit breakers - isolators - earth switches - HV links - air break switches - capacitor banks and reactor banks - line/wave traps and - fuses |
| Specialist tools include: | - HV phasing sticks - HV link sticks - HV live-line clamp operating sticks - HV ground transformer isolating handles and associated earths - HV overhead operating earths and HV detectors |
| Evidence Guide |  |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Low voltage switching principles - High voltage switching principles - High voltage fault switching principles - High voltage distribution transformer principles |
| Underpinning Skills | Demonstrates skills to: - Switchgear installation - High voltage SWER system - Feeder automation system |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Conduct Non-Routine Operational Testing |
| Unit Code | EIS SOP3 13 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to conduct testing of generation plant and associated equipment which may be of a non-routine nature. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for testing | - Safety issues are identified and complied with in accordance with enterprise/site and legislative requirements - Needs and outcomes for the tests are defined in accordance with work requirements - Test procedures are determined and monitoring equipment requirements are defined in accordance with the test objectives - Availability and access to plant is determined in accordance with work requirements - Coordination requirements, including requests for isolations where appropriate, are resolved with others involved, affected or required by the testing procedure - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Conduct non-routine testing | - Testing is performed in accordance with relevant sections of enterprise, state or national standards and codes of practise - Required isolations are confirmed where appropriate in accordance with enterprise/site requirements - Testing is performed in accordance with defined procedures application to the test - Plant is observed and corrective action taken when response is not in accordance with plant operating parameters/plant integrity or personnel safety - Testing completed, permits relinquished where appropriate, and plant returned to required operational status |
| - Complete the work | - Appropriate personnel notified of the completion of testing in accordance with enterprise/site procedures - Plant problems or abnormalities are reported and logged in accordance with enterprise/site procedures - Test results/observations are interpreted and documented in accordance with enterprise/site procedures |

| Variable | Range |  |
| --- | --- | --- |
| Generation plant and/or equipment may include: | - turbines and generators - mills and fans - pumps - heat exchangers - fired and unfired pressure vessels - motors and transformers - switchgear - pneumatic, hydraulic and electrical/electronic control systems - cooling systems - chemical treatment and water quality systems |  |
| Relevant standards may include: | - sections of OHS legislation - enterprise safety rules and procedures - relevant state and federal legislation - national standards or codes of practices for plant |  |
| Information and documentation sources may include: | - verbal or written communications - enterprise safety rules documentation - equipment and alarm manuals - dedicated computer equipment - drawings and logic diagrams - plant records, enterprise/site log books - manufacturer operation and maintenance manuals |  |
| Testing may include: | - commissioning of newly installed plant or equipment/ post maintenance tests - QA/QC tests and fault finding procedures |  |
| Test results may be conveyed to | - supervisor/team leader or equivalent - technical and engineering officers or equivalent - power system control personnel or equivalent - maintenance staff - power plant operations staff personnel - contractor and external specialist personnel |  |
| Testing environment may be | - remote from plant - aided by indicators and monitors - during inclement or otherwise harsh weather conditions - wet/noisy/dusty areas - during night periods; and in confined spaces |  |
| Test equipment may include: | - calculators - thermocouples - Multi meters - flow meters | - stopwatch - check sheets - data logger - power or hand tools |
| Evidence Guide |  |  |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Preparation and planning of work - Testing techniques and procedures - Operational requirements of the plant and/or associated equipment |  |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Location of relevant plant and equipment and its operating parameters - Testing procedures and techniques - Enterprise recording procedures - Isolation procedures - Communication principles |  |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Locate relevant plant and equipment - Identify plant status - Recognize abnormal plant operating conditions - Restore normal operating conditions - Apply testing techniques and procedures - Use testing equipment - Communicate effectively - Apply data analysis techniques and tools |  |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |  |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |  |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |  |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Monitor Implementation of Under Frequency Load Shedding |
| Unit Code | EIS SOP3 14 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to implement and monitor under frequency load shedding facilities for isolated and integrated generation/network systems. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan for load shedding | - Safety issues are identified to comply with enterprise/site requirements - Work, plant and resource requirements are identified from relevant information and documentation - Checks are carried out in accordance with enterprise and site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Set under frequency load shedding | - Individual load source data is collated, assessed, evaluated and prioritised in accordance with enterprise/site procedures. - Data is assessed against trends to determine suitability for load shed selection. - Load data is grouped and summed to match generator/units output into stages of priority. - Selected load shedding is implemented. - Staged load data is monitored and recalculated to detect deviations from parameters in accordance with enterprise procedures. |
| - Respond to under frequency load shedding operation | - Load data is monitored and selections adjusted to maintain values within permissible parameters. - Enterprise procedures relating to deviations are followed and appropriate stakeholders are consulted and course of corrective action determined. |
| - Complete documentation | - Documentation is updated and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Safety standards may include: | - relevant sections of Occupational Health and Safety legislation, enterprise safety rules - relevant regional and federal legislation and national standards |
| Systems, plant and equipment may include: | - generators - unit co-ordinate control system - generator circuit breaker/transformer - unit auxiliary switchboards - electricity market - auto loading procedures - prime mover governing system |
| Information and documentation sources may include: verbal or written communications; | - enterprise operating instructions - equipment and alarm manuals - dedicated computer equipment - enterprise standing instructions and plant notes - enterprise log books - market load profile forecasts - electricity market bidding information - manufacturer operation and maintenance manuals |
| Appropriate personnel for consultation, to give or receive direction may include: | - supervisor/team leader; operating staff - technical and engineering officers or equivalent - maintenance personnel - contractor staff |
| Appropriate personnel for consultation, to give or receive direction may include: | - supervisor/team leader; operating staff - technical and engineering officers or equivalent - maintenance personnel - contractor staff |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Plan and Prepare for equipment operation - Set Under Frequency Load-Shedding - Respond to Deviations - Analyze system/plant data |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations; - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Relevant plant and equipment, its location and operating parameters - Enterprise recording procedures - Systems components and interactions, load shedding schemes, customer prioritization, stakeholder communication and generator capacities. |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply enterprise recording procedures - Identify plant status - Prepare plant/equipment for operation - Communicate effectively - Co-ordinate the operation of plant and equipment; - Apply data analysis techniques and tools - Recognize abnormal plant operating conditions - Apply or determine appropriate corrective actions required - Plan and prioritize work - Interpret remote indication of plant status and condition - Interpret diagrams and symbols - Set load shedding within operation parameters, forecast system load shifting, scheduling load shedding to match generator output. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Operate HV Condition Changing Apparatus |
| Unit Code | EIS SOP3 15 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake the local operation of all high voltage condition modifying devices. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for operations | - Procedures and safety requirements/limits for operating condition changing devices are adhered to in accordance with manufacturers enterprise/site and statutory requirements - Location of apparatus is determined from plans, drawings, system diagrams and where appropriate maps - Device to be operated is identified and confirmed - Condition and status of apparatus to be safely operated is determined visually - Prepare device for operation in accordance with enterprise procedures - Device to be operated is verified with key stake holders, using appropriate procedures and guidelines, in accordance with enterprise policy - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate condition changing device | - Contact with stake holders is maintained throughout and communication is concise and clear - System conditions are evaluated prior to operation in accordance with enterprise procedures - Device is operated to manufacturer instructions and enterprise policy and guidelines in accordance with enterprise procedures - Device is controlled and adjusted in order to alter system conditions to achieve desired outcome - Apparatus is examined to ensure device has functioned correctly - System conditions are re-evaluated to confirm desired outcome - Apparatus is secured in accordance with operational procedure and policy - Confirmation procedure is conducted after operation in accordance with enterprise policy |
| - Complete documentation | - Documentation is updated; equipment problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures. |

| Variable |  | Range |
| --- | --- | --- |
| Safety standards may include: |  | - relevant sections of Occupational Health and Safety legislation, enterprise safety rules, - relevant state and federal legislation and national standards for plant |
| Operating environment may be: |  | - remote from plant and equipment being operated (operation is assisted by remote indicators of plant status and other parameters monitored) - during inclement or otherwise harsh weather conditions - in wet/ noisy/dusty areas or during night periods |
| Apparatus/devices may include: |  | - on load transformer tap changers - off load transformer tap changers - capacitor banks - rotary converters - voltage regulators - rectifiers and transformers |
| Communications may be by means of: |  | - telephone - two way radio, - pager - computer (electronic mail) - operating logs (written or verbal) - intercom |
| System parameters may include: |  | - voltage - current - frequency - VAR load - equipment capability |
| Technical and operational indicators may include: |  | - stimuli (audio, smell, touch, visual) - local indicators and recorders - computers - alarms (visible and or audible) |
| Information and documentation sources may include: |  | - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/site standing and operating instructions - enterprise log books - manufacturer operation and maintenance manuals - equipment and alarm manuals |
| Evidence Guide |  |  |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement OHS workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Preparing for operating apparatus - Operating H.V. apparatus |  |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - Enterprise procedures - H.V. systems and interconnected circuitry - Communication principles |  |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate relevant plant and equipment - Operate equipment within design parameters - Identify plant status - Prepare equipment for operation - Communicate effectively - Recognize abnormal switch gear operation - Plan and prioritize work - Apply enterprise procedures |  |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |  |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |  |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |  |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Coordinate HV Distribution and Sub Transmission Networks |
| Unit Code | EIS SOM4 16 0612 |
| Unit Descriptor | This covers the monitoring of HV distribution and sub transmission networks in real time. This includes voltage control and monitoring the status of access authorities and ensuring that the network is operated within design parameters at all times. It also includes dispatching and coordination of field repair crews to respond to and rectify abnormalities and liaison with other electrical authority |

| Elements | Performance Criteria |
| --- | --- |
| - Plan for the coordination of HV distribution and sub Transmission network | - OHS practices/procedures and environmental and sustainable energy procedures, which may influence the coordination of HV distribution and sub transmission network, are reviewed and determined. - Purpose of the coordination of the network is established after data is analyzed and expected outcomes of the work are confirmed with the appropriate personnel. - Organizational established procedures on polices and specifications for the coordination of the network are obtained or established with the appropriate personnel. - Testing procedures are discussed with/directed to the appropriate personnel in order to ascertain the project brief. - Testing parameters are established from organizational established procedures on polices and specifications. - Equipment/tools and personal protective equipment are selected based on specified Performance Criteria and established procedures. - Work roles and tasks are allocated according to requirements and individuals’ competencies. - Work is prioritized and sequenced for the most efficient/effective outcome, completed within an acceptable timeframe to a quality standard and in accordance with established procedures. - Liaison and communication issues with other/authorized personnel, authorities, clients and land owners are resolved and activities coordinated to carry out work. - Risk control measures are identified, prioritized and evaluated against the work schedule. - Relevant work permits are secured to coordinate the performance of work according to requirements and/or established procedures. |
| - Carry out the coordination of HV distribution and sub transmission network | - Circuit/systems modeling are used to evaluate alternative proposals as per established procedures. - OHS and sustainable energy principles, functionality and practices to reduce the incidents of accidents and minimize waste are incorporated into the project in accordance with requirements and/or established procedures. - Coordination decisions are made on the basis of safety and effective outcomes according to requirements and/or established procedures. - Mathematical and/or engineering models of the coordination process are used to analyze the effectiveness of the finished project as per requirements and established procedures. - Technical advice is given to potential hazards, safety risks and control measures so that monitoring and preventative action can be undertaken and/or appropriate authorities consulted, where necessary, in accordance with requirements and established procedures. - Essential knowledge and associated skills is applied to analyze specific data and compare it with compliance specifications to ensure completion of the project within an agreed timeframe according to requirements. - Testing of coordination process is undertaken according to requirements and established procedures. - Work teams/groups are arranged/coordinated/evaluated to ensure planned goals are met according to established procedures. - Solutions to non-routine problems are identified and implemented, using acquired essential knowledge and associated skills, according to requirements. - Quality of work is monitored against personal performance agreement and/or established organizational and professional standards. - Strategic plans are developed incorporating organization initiatives as per established procedures. |
| - Complete the coordination of HV distribution and sub transmission network | - Final review of the coordination processes is undertaken to ensure they comply with all requirements and include: all specifications and documentations needed to complete the project. - Appropriate personnel are notified of completion and reports and/or completion documents are finalized/ commissioned. - Reports and/or completion documents are submitted to relevant personnel/organizations for approval and, where applicable, statutory or regulatory approval. - Approved copies of coordination documents are issued and records are updated in accordance with established procedures. |

| Variable | Range |
| --- | --- |
| This may be demonstrated in relation to the monitoring of HV distribution and sub transmission networks, ensuring that the network is operated within design parameters at all times and may be demonstrated using the following: | - HV Sub transmission feeders/sub transmission network - HV Distribution feeders/distribution network - transformers with HV windings - HV bus bars; - HV isolators - HV switchgear (applicable to enterprise equipment) - Switching instructions (applicable to enterprise equipment) - computers (applicable to enterprise equipment) - network diagrams (applicable to enterprise equipment) - access authorities; regulatory requirements |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement OHS workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles - Coordinating and directing switching schedules - High voltage overhead and substation switching principles |
| Underpinning Skills | Demonstrates skills of: - Electrical safe working practice - Coordinating permit access authority procedures - Systems switching operations and authorization procedures — HV - High voltage switching instruction preparation |
| Resources Implication | - Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. Note: - Access will be also needed to: relevant protection, control, metering and alarm equipment, network drawings, computerized electrical plant control and monitoring facilities, operational event data, enterprise operational policies, procedures and work practices and crisis management procedures. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Operate HV Primary Switchgear |
| Unit Code | EIS SOP3 17 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake the local operation of high voltage primary circuit breaking devices. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to operate primary switchgear | - Work requirements are identified and clarified/confirmed with appropriate parties in accordance with enterprise procedures - Procedures/safety precautions when operating H.V. circuit breakers are identified and recognized in accordance with enterprise procedures - Identify circuit breaker type and determine correct operating procedure in accordance with enterprise procedures - Examine and assess circuit breaker condition for safe operation in accordance with enterprise procedures - Suppress related protection if and where necessary in accordance with enterprise procedures - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Operate circuit breaker | - Mechanical operation and limitations of the equipment are identified in accordance with enterprise procedures - Implications of actions are identified and recognised in accordance with enterprise procedures - Circuit breaker is operated and confirmation that required status has been achieved is given in accordance with enterprise procedures - Racking, testing, isolation, circuit earthen and reinstatement procedures are carried out to manufacturer instructions and enterprise/site procedures - Confirm test equipment integrity and prove circuit de-energised in accordance with operating procedures |
| - Validate circuit breaker integrity | - Equipment inspected for safe operation in accordance with enterprise procedures - Circuit breaker environment is inspected to ensure all statutory requirements are met - Confirm circuit breaker operates in accordance with manufacturer specifications |
| - Complete documentation | - Documentation is updated, log sheets maintained and plant problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures. |

| Variable | Range |
| --- | --- |
| Safety standards may include: | - relevant sections of Occupational Health and Safety legislation, enterprise safety rules, relevant state and federal legislation and national standards for plant |
| Equipment may include: | - vacuum circuit breaker - oil circuit breaker - gas circuit breaker - air circuit breaker - phasing sticks - earthen trucks - gloves - testers - earths and discharge equipment (personal safety equipment) |
| Implications may be | - safety of personnel and public - damage to equipment - loss of plant - legal implications - system integrity - capital cost - lost enterprise revenue and community costs |
| Technical and operational indicators may include: | - stimuli (audio, smell, touch, visual), - local indicators and recorders - computers - alarms (visible and or audible) |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement OHS workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Preparation for primary switchgear operations - Operation and knowledge of circuit breakers - Implications of circuit breaker operations |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations; - Relevant statutory legislation; - Relevant enterprise/site safety procedures; - Enterprise/site emergency procedures and techniques; - Plant status; - Circuit breaker operating parameters; - Relevant plant and equipment, it’s location and operating parameters; - Enterprise recording procedures; - Consequences of operator actions; - H.V. power systems and parameters; - H.V. protection schemes; - Enterprise procedures; - Circuit breaker construction and operation; - Isolation and earthen procedures; - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations; - Apply relevant statutory legislation; - Apply relevant enterprise/site safety procedures; - Apply enterprise/site emergency procedures and techniques; - Apply enterprise recording procedures; - Locate relevant plant and equipment; - Operate circuit breaker within design parameters; - Identify plant status; - Prepare equipment for operation; - Communicate effectively; - Recognize abnormal circuit breaker operation; - Plan and prioritize work; - Use plans, diagrams and symbols; - Operate protection equipment; - Isolate and earth; - Apply enterprise procedures. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Operate and Monitor System Equipment (SCADA) |
| Unit Code | EIS SOP3 18 0612 |
| Unit Descriptor | This covers the skills and knowledge to operate, monitor and control HV apparatus on the network via SCADA control. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for the operation, monitoring and control of system equipment | - OHS practices/procedures and environmental and sustainable energy procedures, which may influence the preparation of the switching program, are reviewed and determined. - System requirements are established after data is analyzed and expected outcomes of the work are confirmed with the appropriate personnel. - System and associated equipment operational prerequisites are identified and established in accordance with manufacturers and/or enterprise/site procedures - System monitoring and control procedures are discussed with and/or directed to the appropriate personnel in order to ascertain the project brief. - Operational parameters are ascertained from established policies, procedures and specifications. - Work roles and tasks are allocated according to requirements and individuals’ competencies. - Work is prioritized and sequenced for the most efficient/effective outcome, completed within an acceptable timeframe to a quality standard and in accordance with established procedures. - Liaison and communication issues with other/authorized personnel, authorities and clients are resolved and activities coordinated to carry out work. - Risk control measures are identified, prioritized and evaluated against the work schedule. - Relevant work permits are secured to coordinate the performance of work according to requirements and/or established procedures. |
| - Carry out and coordinate the operation, monitoring and control of system equipment | - OHS and sustainable energy principles, functionality and practices to reduce the incidents of accidents and minimize waste are incorporated into the project in accordance with requirements and/or established procedures. - Decisions concerning the operation, monitoring and control of system equipment are made on the basis of safety and effective outcomes according to requirements and/or established procedures. - The effectiveness of the finished project is analyzed as per requirements and established procedures. - Technical advice is given regarding potential hazards, safety risks and control measures so that monitoring and preventative action can be undertaken and/or appropriate authorities consulted, where necessary, in accordance with requirements and established procedures. - Essential knowledge and associated skills are applied to analyze specific data and compare it with compliance specifications to ensure completion of the project within an agreed timeframe according to requirements. - Work teams/groups are arranged/coordinated/evaluated to ensure planned goals are met according to established procedures. - Solutions to non-routine problems are identified and implemented, using acquired essential knowledge and associated skills, according to requirements. - Quality of work is monitored against personal performance agreement and/or established organizational and professional standards. |
| - Complete the operation, monitoring and control of system equipment | - Final review of the operation, monitoring and control of system equipment is undertaken to ensure it complies with all requirements and include: all specifications and documentations needed to complete the project. - Appropriate personnel are notified of completion and reports and/or completion documents are finalized/ commissioned. - Reports and/or completion documents are submitted to relevant personnel/organizations for approval and, where applicable, statutory or regulatory approval. |

| Variable | Range |
| --- | --- |
| Safety standards may include: | - relevant sections of Occupational Health and Safety legislation, enterprise safety rules - relevant state and federal legislation - national standards for plant and - environmental legislation |
| Equipment shall include: | - Network primary and secondary plant types applicable to the enterprise. This may include: - machines circuit breakers, - tap changers, - protection settings, - capacitor/condenser banks, - switch gear, - generators and - transformers |
| Communications may be by means of: | - telephone - two way radio - pager - public address system - computer (electronic mail) and - operating log (written or verbal) |
| Operations may be: | - continuous operation or - during inclement or otherwise - harsh weather conditions or - during night periods |
| Faults and abnormal operating conditions may include: | - control equipment failure/malfunctions/ parameters out of specification - loss of electrical supply to plant and equipment - loss of transmission components - system limitations due to location - weather conditions, - natural disasters - accidents - temperature and - power swings |
| Operational prerequisites may include: | - switching programs - pre-operational checks and - plant status |
| Information and documentation sources may include: | - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/site standing and operating instructions - enterprise log books - manufacturer’s operation and maintenance manuals and equipment and alarm manuals - Technical and operational indicators that may include: - stimuli - local indicators and recorders - computers and - alarms (visible and or audible) |
| Appropriate personnel to consult, give or receive direction may include: | - supervisor/team leader or equivalent - power plant operations personnel or equivalent - technical and engineering officers or equivalent - maintenance staff - other operating staff or equivalent - system controller/network controller - field operator and - restricted HV operators |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles - Enterprises specific — technical drawing and documents |
| Underpinning Skills | Demonstrates skills to: - Electrical safe working practice - Using supervisory control and data acquisition systems - Personal computer operating systems, basics - Personal computers, engineering applications software basic - Generation power systems - Transmission, distribution and rail power systems - Substations, power transformers and reactors - Enterprises specific — policies and procedure instructions - Enterprises specific — OHS instructions - Interpretation of power distribution network drawings and documentation - Analyze and interpret results and measurements — substations - Discrete protection systems - Interdependent protection systems |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. Note: Access will be needed to relevant modeling tools, drawings, computerized electrical plant control and monitoring facilities and enterprise operational policies, procedures and work practices. In addition to the resources listed above, in Context of and specific resources for assessment, evidence should show demonstrated competence working in realistic environment and a variety of conditions. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |
| Occupational Standard: Power Substation Operation Level III |  |
| Unit Title | Implement and Monitor Environmental and Sustainable Energy Management Policies and Procedures |
| Unit Code | EIS SOP3 19 0612 |
| Unit Descriptor | This specifies the outcomes for the collecting, interpretation and application of environmental management information, identification of environmental impacts and assessment of risks and establishment of best practice procedures for implementation of the management plans to ensure compliance. It also consists of monitoring during the implementing of, environmental and sustainable energy polices and plans and, development of modifications as part of the review process. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare/plan to implement and monitor environmental and sustainable energy management policies and procedures | - Works schedule(s), including drawings, plans, requirements, established procedures, and material lists, are obtained, analysed, if necessary, by site inspection and the extent of the preparation of the work determined for planning and coordination. - Work is prioritised and sequenced for the most efficient and effective outcome following consultation with others for completion within acceptable timeframes, to a quality standard and in accordance with established procedures. - Relevant requirements and established procedures for the work are to all personnel and identified for all work sites. - Hazards are identified, OHS risks assessed and control measures are prioritised, implemented and monitored including emergency exits kept clear, to ensure safe systems of work are followed and according to established procedures. - Relevant work permits are secured to coordinate the performance of work according to requirements and/or established procedures. - Resources including personnel, equipment, tools and personal protective equipment required for the job are identified, scheduled and coordinated and confirmed in a safe and technical working order. - Clients/Customers are provided with possible solutions and/or options within the scope, acceptable cost and requirements. - Liaison and communication issues with other/authorised personnel, authorities, clients and land owners are resolved and activities coordinated to carry out work. - Personnel participating in the work, including plant operators and contractors, are fully briefed and respective responsibilities authorised and coordinated where applicable in accordance with established procedures. - Site is prepared according to the work schedule and to minimise OHS risk, damage to property, commerce, and individuals in accordance with established procedures. - Positioning of road signs, barriers and warning devices is planned in accordance with requirements, traffic control management requirements and established procedures. |
| - Carry out the implementation and monitoring of environmental and sustainable energy management policies and procedures | - OHS and Sustainable Energy principles and practices to reduce the incidents of accidents and minimise waste are implemented and monitored and implemented in accordance with requirements and/or established procedures. - First Aid, Pole Top Rescue and other related work procedures are performed according to requirements and/or established procedures. - Lifting, climbing, working in confined spaces, working at heights, and use of power tools/equipment, techniques and practices are safely exercised according to requirements. - Hazard warnings and safety signs are recognised and hazards and assessed OHS risks are risk control measures are implemented, preventative action taken and monitored and/or appropriate authorities consulted, where necessary, in accordance with requirements and established procedures. - Remedial actions are taken to overcome any shortfalls encountered in the work schedule according to requirements and/or established procedures. - Implementation and monitoring of environmental and sustainable energy management policies and procedures are carried out, in accordance with the work schedule and requirements and/or established procedures. - Essential knowledge and associated skills in the safe implementation and monitoring of environmental and sustainable energy management policies and procedures is applied to ensure completion in an agreed timeframe and, to quality standards with a minimum of waste according to requirements. - Solutions to non-routine problems are identified and implemented using acquired essential knowledge and associated skills according to requirements. - Ongoing checks of quality of the work are undertaken in accordance with requirements and established procedures to ensure a quality like outcome is achieved for the client/customer and to a community/industry standard. |
| - Complete the implementation and monitoring of environmental and sustainable energy management policies and procedures | - Work undertaken is checked against works schedule for conformance with requirements, anomalies reported and solutions identified in accordance with established procedures. - Accidents, incidents and/or injuries are reported and followed up in accordance with requirements/established procedures. - Work site is rehabilitated, cleaned up and confirmed safe in accordance with established procedures. - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. - Relevant work permit(s) are signed off and the work completed/returned to service and advised to client/customer in accordance with requirements. - Works completion records, reports, as installed /modified drawing(s) and/or documentation and information are confirmed, processed and appropriate personnel notified. |
| Variable | Range |
| Environmental legislation may include: | - relevant federal legislation - relevant state/territory legislation - relevant local government by-laws - relevant government or quasi government policies and regulations - relevant community planning and development agreements (e.g. Land care agreements) |
| Incidents of environmental impact may include: | - emissions to air - releases to/of water - releases to land; disposal of waste - contamination of land - impact on communities - destruction of habitat - use of energy sources - waste generation processes and technologies; extraction of water - changes to water temperature - changes to water salinity - regulation of water flow - land use; and may involve the implementation of emergency responses |
| Environmental management documentation may include: | - information on applicable environmental laws or other requirements - complaint records - training records - process information - process operational log books - inspection, maintenance and calibration records - relevant contractor and supplier information - incident reports - information on emergency preparedness and response |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - implementing and monitoring environmental and sustainable energy management policies and procedures - Environmental fundamentals - Enterprise specific - sustainable energy principles |
| Underpinning Skills | Demonstrates skills to: - Power line environmental impact – implementation and monitoring - Power line sustainable energy management –implementation and monitoring - Enterprise specific - policies and procedure instructions - Enterprise specific - OHS instructions |
| Resources Implication | - Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. - In addition to the resources listed above, in context of and specific resources for assessment, evidence should show demonstrated competence working below ground, in limited spaces, with different structural/construction types and method and in a variety of environments |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |
| Occupational Standard: Power Substation Operation Level III |  |
| Unit Title | Respond to Technical Enquiries and Requests |
| Unit Code | EIS SOP3 20 0612 |
| Unit Descriptor | This covers responding to enquiries of a technical nature using electricity supply industry (ESI) requirements, techniques and processes. It includes the relevant application of knowledge of relevant acts and regulations, codes of practice, guidelines and compliance regimes, and arrangements used to facilitate a response to enquiries or requests. The enquiries may be internal or with customers. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare to respond to technical enquiries and requests | - Instructions related to responding to enquiries using industry requirements, techniques and processes of a technical nature to be performed are received and confirmed - Relevant requirements and established procedures to be followed and, relevant personnel (including internal and/or customer) to be communicated with for the work to be performed are identified - OHS policies and procedures to be followed for the work to be performed are received and confirmed. - Suggestions to assist in meeting the safety requirements for responding to technical enquiries and requests are made to others involved in the work. - Hazards are identified; OHS risks assessed and control measures are prioritised, implemented and monitored including emergency exits kept clear according to established procedures. - Scope of responsibility and process of relevant work permit(s) issue is identified, received and confirmed according to requirements and established procedures - Relevant responsibility associated with First Aid, Safety Observers and/or other related work safety procedures at the worksite are identified in accordance with requirements and established procedures to ensure safety measures are followed in the instance of an incident - Processes for identifying and reporting client (including internal and customer) issues to appropriate personnel in accordance with industry/acceptable /community standards are identified - Workplace and the work schedule is confirmed according to given instructions for a quality outcome and to minimise risk and damage to property, commerce, stock and individuals in accordance and established procedures - Electricity infrastructure assets, related voltages and requirements, where applicable, for working safely near live electrical apparatus as non-electrical worker are identified - Safe approach distances including any zones thereof that may apply, as defined in industry guidelines, requirements and/or established procedures for the intended work are confirmed |
| - Carry out responses to technical enquiries and requests | - OHS principles and practices to reduce the incidents of accidents are identified in accordance with given instructions, requirements and/or established procedures - Enquiries and/or requests are responded to according to requirements and established procedures, and in a timely manner - Working safely and complying with all safety requirements for responding to technical enquiries and requests are followed in accordance with given instructions and established routines/procedures - Processes for monitoring and reporting/referring hazards and OHS risks to the immediate authorised personnel for directions according to established procedures are followed - Non-routine events are referred to the immediate authorised personnel for directions according to established procedures - Apply essential knowledge and associated skills in the application of responding to technical enquiries and requests to ensure completion in an agreed timeframe and, to quality standards with a minimum of waste according to requirements - Unexpected events associated with enquiries and/or requests of a technical nature are responded to using acquired known solutions and skills related to routine procedures to ensure work instructions and established procedures are met. |
| - Complete responses to technical enquiries and requests | - Work schedule and anomalies for completion and checking of the work are reported to authorised personnel in accordance with established procedures - Processes for reporting to authorised personnel accidents and/or incidents are confirmed in accordance with established procedures - Requirements for returning work permit(s) and/or access authorisation permits, where applicable, are confirmed - Appropriate personnel are notified of work completion according to established procedures. - Works completion records, report forms/data sheets are completed accurately in accordance with given instructions and established procedures |

| Variable | Range |
| --- | --- |
| Enquiries may be: | - internal or with customers |
| Work functions may include: | - the application of knowledge of electricity supply industry (ESI) requirements, techniques and processes and - The application of knowledge of relevant acts and regulations, codes of practice, guidelines and compliance regimes, and arrangements used to facilitate a response to enquiries or requests. Examples include: knowledge of critical codes in the industry – e.g. storm code emergencies, identification of key equipment, - recognition of normal and abnormal industry situations, key processes and systems used in the industry such as, maps, catalogues, and the application of general safety and environmental processes and practices used in the industry |
| Knowledge and identification of key equipment used in industry. | Questioning (customer information gathering techniques) including: - observance of equipment - identification of anomalies from the norm and reporting of information |
| Recognition of normal and abnormal industry situations may include: | - equipment, performance indicators, anomalies report, knowledge of critical system/network failures/anomalies and knowledge of key processes and systems used in the industry e.g. maps, drawings etc., and safety and environment processes and practices used in the industry |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement occupational health and safety workplace - procedures and practices including the use of risk control - measures - Apply sustainable energy principles and practices - Demonstrated performance across a representative range of contexts from the prescribed items below: - Confirmation of the “safe working zone” for safe work and access near live electrical and mechanical apparatus - Application of knowledge of relevant acts and regulations, codes of practice, guidelines and compliance regimes, and arrangements used - Identification of established (enterprise) procedures and processes - Confirmation of the principles of electricity, the three phase power system, electric shock and resuscitation, power system - Recognition of aerial voltage systems - Identification of Low Voltage Networks - Identification of High Voltage Networks - Procedures in the event of an incident - Events constituting an incident - Procedures for responding to incidents - Hazard and risk assessment general principles and procedures - Principles for conducting work-site Hazard Assessment checks, basic safety principles and hazard control measures: - Purpose and use of work permits and/or authorization permits - Sustainable energy principles and practices - Possible affects of weather conditions on working near electrical apparatus as a non-electrical worker - Knowledge of critical codes in the industry – e.g. storm code emergencies - Identification of key equipment used in the industry - Recognition of normal and abnormal industry situations - Provision of a response to a technical enquiry or request in accordance with established procedures and timely manner |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles - Generation power systems - Transmission, distribution and rail power systems - Fundamentals for working safely near live electrical apparatus - Environmental fundamentals |
| Underpinning Skills | Demonstrates skills to: - Engineering applications of material properties - Material handling and the environment - Enterprise specific - policy and procedure instructions - Enterprise specific - OHS instructions - Enterprise specific - technical drawings and documents - Technical enquiries and requests |

| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| --- | --- |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Liaise with Stakeholders |
| Unit Code | EIS SOP3 21 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to communicate with staff and external/internal stakeholders. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for communication | - Communication requirement is identified, from previous communication or current circumstances, and confirmed - The appropriate tone for communication is determined from analysis of previous communication or current circumstances - The appropriate medium for communication is determined from analysis of available options, previous communication or current circumstances and used in accordance with enterprise guidelines, manufacturer’s and/or site requirements - Information is provided according to urgency and importance - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Communicate in writing | - Written communication is structured to provide or request information in accordance with site requirements - Appropriate format is identified, from analysis of available options and current circumstances, in accordance with site requirements - Communication is presented logically, concisely and legibly to satisfy job requirements - Information dissemination is adhered to in accordance with enterprise policy |
| - Communicate orally | - Oral communication is structured to provide or request information in accordance with site requirements - Communication is conveyed logically, concisely and articulately in a manner appropriate to the situation to satisfy job requirements - Effectiveness of communication, including understanding of the intent and content, is confirmed between the parties in accordance with site requirements - Information dissemination is adhered to in accordance with enterprise policy |
| - Use communications systems | - Communications system is used in accordance with enterprise guidelines, manufacturer’s and/or site requirements |
| - Complete documentation | - Documentation is updated, maintained and equipment problems, movements, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Information and documentation sources may include: | - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/site standing and operating instructions - enterprise log books - manufacturer’s operation and maintenance manuals - equipment and - alarm manuals |
| Medium for communications may include: | - facsimile - pager - telephone - radio - memo - letter - report form - log book - switchboard - e-mail - intercom - CB - posters - personal contact - signals and - body language |
| Policies may include: | - operating procedures - land rights - operating conditions - codes of practice - availability roster - fuel supply policy - information security and asset security - contractor arrangement |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace - procedures and practices including the use of risk control measures as specified in the Performance criteria and Range Statement - Apply sustainable energy principles and practices as - specified in the Performance Criteria and Range Statement - Communicating and identifying key stake holders - Communicating effectively in writing and/or orally - Using communication systems |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Identifying stake holder requirements - Two way radio capabilities, uses and procedures - Electronic mediums procedures - Documentation procedures - Enterprise policies |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health & safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate relevant plant and equipment and its operating parameters - Communicate effectively - Use appropriate communication mediums - Adapt the form of communication to anticipated contexts and audiences |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Apply Quality Control |
| Unit Code | EIS SOP3 22 0612 |
| Unit Descriptor | This unit covers the knowledge, attitudes and skills required in applying quality control in the workplace. |

| Elements | Performance Criteria |
| --- | --- |
| - Implement quality standards | - Agreed quality standard and procedures are acquired and confirmed - Standard procedures are introduced to organizational staff / personnel. - Quality standard and procedures documents are provided to employees in accordance with the organization policy. - Standard procedures are revised / updated when necessary |
| - Assess quality of service delivered | - Services delivered are checked against organization quality standards and specifications - Service delivered are evaluated using the appropriate evaluation parameters and in accordance with organization standards - Causes of any identified faults are identified and corrective actions are taken in accordance with organization policies and procedures |
| - Record information | - Basic information on the quality performance is recorded in accordance with organization procedures - Records of work quality are maintained according to the requirements of the organization |
| - Study causes of quality deviations | - Causes of deviations from final outputs or services are investigated and reported in accordance with organization procedures - Suitable preventive action is recommended based on organization quality standards and identified causes of deviation from specified quality standards of final service or output |
| - Complete documentation | - Information on quality and other indicators of service performance is recorded. - All service processes and outcomes are recorded. |

| Variable | Range |
| --- | --- |
| Quality check | - Check against design / specifications - Visual inspection and Physical inspection |
| Quality standards | - materials - components - process and procedures |
| Quality parameters | - standard design / specifications - material specification |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Checked completed work continuously against organization standard - Identified and isolated faulty or poor service - Checked service delivered against organization standards - Identified and applied corrective actions on the causes of identified faults or error - Recorded basic information regarding quality performance - Investigated causes of deviations of services against standard - Recommended suitable preventive actions |
| Underpinning Knowledge | Demonstrates knowledge of: - Relevant quality standards, policies and procedures - Characteristics of services - Safety environment aspects of service processes - Evaluation techniques and quality checking procedures - Workplace procedures and reporting procedures |
| Underpinning Skills | Demonstrates skills to: - interpret work instructions, specifications and standards appropriate to the required work or service - carry out relevant performance evaluation - maintain accurate work records - meet work specifications and requirements - communicate effectively within defined workplace procedures |
| Resource Implications | The following resources should be provided: - Access to relevant workplace or appropriately simulated environment and materials relevant to the activity/ task |
| Methods of Assessment | Competence may be accessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the workplace or in a simulated workplace setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Monitor Implementation of Work Plan/Activities |
| Unit Code | EIS SOP3 23 0612 |
| Unit Descriptor | This unit covers competence required to oversee and monitor the quality of work operations within an enterprise. This unit may be carried out by team leaders or supervisors. |

| Elements | Performance Criteria |
| --- | --- |
| - Monitor and improve workplace operations | - Efficiency and service levels are monitored on an ongoing basis. - Operations in the workplace support overall enterprise goals and quality assurance initiatives. - Quality problems and issues are promptly identified and adjustments are made accordingly. - Procedures and systems are changed in consultation with colleagues to improve efficiency and effectiveness. - Colleagues are consulted about ways to improve efficiency and service levels. |
| - Plan and organise workflow | - Current workload of colleagues is accurately assessed. - Work is scheduled in a manner which enhances efficiency and customer service quality. - Work is delegated to appropriate people in accordance with principles of delegation. - Workflow is assessed against agreed objectives and timelines and colleagues are assisted in prioritisation of workload. - Input is provided to appropriate management regarding staffing needs. |
| - Maintain workplace records | - Workplace records are accurately completed and submitted within required timeframes. - Where appropriate completion of records is delegated and monitored prior to submission. |
| - Solve problems and make decisions | - Workplace problems are promptly identified and considered from an operational and customer service perspective. - Short term action in initiated to resolve the immediate problem where appropriate. - Problems are analysed for any long term impact and potential solutions are assessed and implemented in consultation with relevant colleagues. - Where problem is raised by a team member, they are encouraged to participate in solving the problem. - Follow up action is taken to monitor the effectiveness of solutions in the workplace. |

| Variables | Range |
| --- | --- |
| Problems | May include: but not limited to: - difficult customer service situations - equipment breakdown/technical failure - delays and time difficulties - competence |
| Workplace records | May include: but is not limited to: - staff records and regular performance reports |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment must confirm appropriate knowledge and skills to: - ability to effectively monitor and respond to a range of common operational and service issues in the workplace - understanding of the role of staff involved in workplace monitoring - knowledge of quality assurance, principles of workflow planning, delegation and problem solving |
| Underpinning Knowledge and Attitudes | Demonstrate knowledge of: - roles and responsibilities in monitoring work operations - overview of leadership and management responsibilities - principles of work planning and principles of delegation - typical work organization methods appropriate to the sector - quality assurance principles and time management - problem solving and decision making processes - industrial and/or legislative issues which affect short term work organization as appropriate to industry sector |
| Underpinning Skills | Demonstrate skills to: - monitoring and improving workplace operations - planning and organizing workflow - maintaining workplace records |
| Resource Implications | Access is required to real or appropriately simulated work areas, materials and equipment |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the workplace or in a simulated workplace setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Lead Workplace Communication |
| Unit Code | EIS SOP3 24 0612 |
| Unit Descriptor | This unit covers the knowledge, attitudes and skills needed to lead in the dissemination and discussion of information and issues in the workplace. |

| Elements | Performance Criteria |
| --- | --- |
| - Communicate information about workplace processes | - Appropriate communication method is selected - Multiple operations involving several topics areas are communicated accordingly - Questions are used to gain extra information - Correct sources of information are identified - Information is selected and organized correctly - Verbal and written reporting is undertaken when required - Communication skills are maintained in all situations |
| - Lead workplace discussion | - Response to workplace issues are sought - Response to workplace issues are provided immediately - Constructive contributions are made to workplace discussions on such issues as production, quality and safety - Goals/objectives and action plan undertaken in the workplace are communicated. |
| - Identify and communicate issues arising in the workplace | - Issues and problems are identified as they arise - Information regarding problems and issues are organized coherently to ensure clear and effective communication - Dialogue is initiated with appropriate staff/personnel - Communication problems and issues are raised as they arise |

| Variable | Range |  |
| --- | --- | --- |
| Methods of communication | - Non-verbal gestures - Verbal - Face to face - Two-way radio - Speaking to groups | - Using telephone - Written - Using Internet - Cell phone |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge to: - Dealt with a range of communication/information at one time - Made constructive contributions in workplace issues - Sought workplace issues effectively - Responded to workplace issues promptly - Presented information clearly and effectively written form - Used appropriate sources of information - Asked appropriate questions - Provided accurate information |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Organization requirements for written and electronic communication methods - Effective verbal communication methods |
| Underpinning Skills | Demonstrates skills to: - Organize information - Understand and convey intended meaning - Participate in variety of workplace discussions - Comply with organization requirements for the use of written and electronic communication methods |
| Resources Implication | The following resources must be provided: variety of information, communication tools, simulated workplace |
| Methods of Assessment | Competence may be assessed through: - Interview / Oral Questioning - Observation/Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the workplace or in a simulated workplace setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Lead Small Teams |
| Unit Code | EIS SOP3 25 0612 |
| Unit Descriptor | This unit covers the knowledge, attitudes and skills to lead small teams including setting and maintaining team and individual performance standards. |

| Elements | Performance Criteria |
| --- | --- |
| - Provide team leadership | - Work requirements are identified and presented to team members - Reasons for instructions and requirements are communicated to team members - Team members’ queries and concerns are recognized, discussed and dealt with |
| - Assign responsibilities | - Duties and responsibilities are allocated having regard to the skills, knowledge and aptitude required to properly undertake the assigned task and according to company policy - Duties are allocated having regard to individual preference, domestic and personal considerations, whenever possible |
| - Set performance expectations for team members | - Performance expectations are established based on client needs and according to assignment requirements - Performance expectations are based on individual team members duties and area of responsibility - Performance expectations are discussed and disseminated to individual team members |
| - Supervised team performance | - Monitoring of performance takes place against defined performance criteria and/or assignment instructions and corrective action taken if required - Team members are provided with feedback, positive support and advice on strategies to overcome any deficiencies - Performance issues which cannot be rectified or addressed within the team are referenced to appropriate personnel according to employer policy - Team members are kept informed of any changes in the priority allocated to assignments or tasks which might impact on client/customer needs and satisfaction - Team operations are monitored to ensure that employer/ client needs and requirements are met - Follow-up communication is provided on all issues affecting the team - All relevant documentation is completed in accordance with company procedures |

| Variable | Range |
| --- | --- |
| Work requirements | - client profile - assignment instructions |
| Team member’s concerns | - roster/shift details |
| Monitor performance | - formal process - informal process |
| Feedback | - formal process - informal process |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - maintained or improved individuals and/or team performance given a variety of possible scenario - assessed and monitored team and individual performance against set criteria - represented concerns of a team and individual to next level of management or appropriate specialist and to negotiate on their behalf - allocated duties and responsibilities, having regard to individual’s knowledge, skills and aptitude and the needs of the tasks to be performed - set and communicated performance expectations for a range of tasks and duties within the team and provided feedback to team members |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of - maintaining or improving individuals and/or team performance given a variety of possible scenario - assessing and monitoring team and individual performance against set criteria - representing concerns of a team and individual to next level of management or appropriate specialist and to negotiate on their behalf - allocating duties and responsibilities, having regard to individual’s knowledge, skills and aptitude and the needs of the tasks to be performed - setting and communicating performance expectations for a range of tasks and duties within the team and providing feedback to team members |

| Underpinning Skills | Demonstrate skill to: - communication skills required for leading teams - informal performance counseling skills - team building skills - negotiating skills |
| --- | --- |
| Resource Implications | The following resources must be provided: - access to relevant workplace or appropriately simulated environment where assessment can take place - materials relevant to the proposed activity or task |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation/Demonstration with Oral questioning |
| Context of Assessment | Competence may be assessed individually in the actual workplace or through accredited institution |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Improve Business Practice |
| Unit Code | EIS SOP3 26 0612 |
| Unit Descriptor | This unit covers the skills, knowledge and attitudes required in promoting, improving and growing business operations. |

| Elements | Performance Criteria |
| --- | --- |
| - Diagnose the business | - Data required for diagnosis is determined and acquired - Competitive advantage of the business is determined from the data - SWOT analysis of the data is undertaken |
| - Benchmark the business | - Sources of relevant benchmarking data are identified - Key indicators for benchmarking are selected in consultation with key stakeholders - Like indicators of own practice are compared with benchmark indicators - Areas for improvement are identified |
| - Develop plans to improve business performance | - A consolidated list of required improvements is developed - Cost-benefit ratios for required improvements are determined - Work flow changes resulting from proposed improvements are determined - Proposed improvements are ranked according to agreed criteria - An action plan to implement the top ranked improvements is developed and agreed - Organizational structures are checked to ensure they are suitable |
| - Develop marketing and promotional plans | - The practice vision statement is reviewed - Practice objectives are developed/reviewed - Target markets are identified/refined - Market research data is obtained - Competitor analysis is obtained - Market position is developed/reviewed - Practice brand is developed - Benefits of practice/practice products/services are identified - Promotion tools are selected/developed |
| - Develop business growth plans | - Plans to increase yield per existing client are developed - Plans to add new clients are developed - Proposed plans are ranked according to agreed criteria - An action plan to implement the top ranked plans is developed and agreed - Practice work practices are reviewed to ensure they support growth plans |
| - Implement and monitor plans | - Implementation plan is developed in consultation with all relevant stakeholders - Indicators of success of the plan are agreed - Implementation is monitored against agreed indicators - Implementation is adjusted as required |

| Variable | Range |
| --- | --- |
| Data required include: | - organization capability - appropriate business structure - level of client service which can be provided - internal policies, procedures and practices - staff levels, capabilities and structure - market, market definition - market changes/market segmentation - market consolidation/fragmentation - revenue - level of commercial activity - expected revenue levels, short and long term - revenue growth rate - break even data - pricing policy - revenue assumptions - business environment - economic conditions - social factors - demographic factors - technological impacts - political/legislative/regulative impacts - competitors, competitor pricing and response to pricing - competitor marketing/branding - competitor products |
| Competitive advantage include: | - services/products - fees - location - timeframe |
| Objectives should be 'SMART' , that | - Specific - Measurable - Achievable - Realistic - Time defined |
| Market research data include: | - data about existing clients - data about possible new clients - data from internal sources - data from external sources such as: - trade associations/journals - Yellow Pages small business surveys - libraries - Internet - Chamber of Commerce - client surveys - industry reports - secondary market research - primary market research such as: - telephone surveys - personal interviews - mail surveys |
| Competitor analysis | - competitor offerings - competitor promotion strategies and activities - competitor profile in the market place |
| SWOT analysis include: | - internal strengths such as staff capability, recognized - quality - internal weaknesses such as poor morale - under-capitalization, poor technology - external opportunities such as changing market and - economic conditions - external threats such as industry fee structures, strategic - alliances, competitor marketing |
| Key indicators may include: | - salary cost and staffing - personnel productivity (particularly of principals) - profitability - fee structure - client base - size staff/principal - overhead/overhead control |
| Organizational structures include: | - legal structure (partnership, limited liability company, etc) - organizational structure/hierarchy - reward schemes |
| Market position should include: data on: | - product - the good or service provided - product mix - the core product - what is bought - the tangible product - what is perceived - the augmented product - total package of consumer - features/benefits - product differentiation from competitive products - new/changed products - price and pricing strategies (cost plus, supply/demand, ability to pay, etc) - pricing objectives (profit, market penetration, etc) - cost components - market position - distribution strategies - marketing channels - promotion - promotional strategies - target audience - communication - promotion budget |
| Practice brand may include: | - practice image - practice logo/letter head/signage - phone answering protocol - facility decor - slogans - templates for communication/invoicing - style guide - writing style - AIDA (attention, interest, desire, action) |
| Benefits may include: | - features as perceived by the client - benefits as perceived by the client |
| Promotion tools include: | - networking and referrals - seminars - advertising - press releases - publicity and sponsorship - brochures - newsletters (print and/or electronic) - websites - direct mail - telemarketing/cold calling |
| Yield per existing client may be increased by: | - raising charge out rates/fees - packaging fees - reduce discounts - sell more services to existing clients |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | The candidate must be able to demonstrate: - ability to identify the key indicators of business performance - ability to identify the key market data for the business - knowledge of a wide range of available information sources - ability to acquire information not readily available within a business - ability to analyze data and determine areas of improvement - ability to negotiate required improvements to ensure implementation - ability to evaluate systems against practice requirements - and form recommendations and/or make recommendations - ability to assess the accuracy and relevance of information |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - data analysis - communication skills - computer skills to manipulate data and present information - negotiation skills - problem solving - planning skills - marketing principles - ability to acquire and interpret relevant data - current product and marketing mix - use of market intelligence - development and implementation strategies of promotion and growth plans |
| Underpinning Skills | Demonstrates skill in: - data analysis and manipulation - ability to acquire and interpret required data, current practice systems and structures and sources of relevant benchmarking data - applying methods of selecting relevant key benchmarking indicators - communication skills - working and consulting with others when developing plans for the business - planning skills, negotiation skills and problem solving - using computers to manipulate, present and distribute information |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the workplace or in a simulated workplace setting |

| Occupational Standard: Power Substation Operation Level III |  |
| --- | --- |
| Unit Title | Maintain Quality System and Continuous Improvement Processes (Kaizen) |
| Unit Code | EIS SOP3 27 1012 |
| Unit Descriptor | This unit of competence covers the skills and knowledge required to prevent process improvements in their own work from slipping back to former practices or digressing to less efficient practices. It covers responsibility for the day- to-day operation of the work/functional area and ensuring that quality system requirements are met and that continuous improvements are initiated and institutionalized. |

| Elements | Performance Criteria |
| --- | --- |
| - Develop and maintain quality framework within work area | - Distribute and explain information about the enterprise's quality system to personnel - Encourage personnel to participate in improvement processes and to assume responsibility and authority - Allocate responsibilities for quality within work area in accordance with quality system - Provide coaching and mentoring to ensure that personnel are able to meet their responsibilities and quality requirements |
| - Maintain quality documentation | - Identify required quality documentation, including records of improvement plans and initiatives - Prepare and maintain quality documentation and keep accurate data records - Maintain document control system for work area - Contribute to the development and revision of quality manuals and work instructions for the work area - Develop and implement inspection and test plans for quality controlled products |
| - Facilitate the application of standardized procedures | - Ensure all required procedures are accessible by relevant personnel - Assist personnel to access relevant procedures, as required - Facilitate the resolution of conflicts arising from job - Facilitate the completion of required work in accordance with standard procedures and practices. |
| - Provide training in quality systems and improvement processes | - Analyze roles, duties and current competency of relevant personnel - Identify training needs in relation to quality system and continuous improvement processes (kaizen) - Identify opportunities for skills development and/or training programs to meet needs - Initiate and monitor training and skills development programs - Maintain accurate training record |
| - Monitor and review performance | - Review performance outcomes to identify ways in which planning and operations could be improved - Use the organization’s systems and technology to monitor and review progress and to identify ways in which planning and operations could be improved - Enhance customer service through the use of quality improvement techniques and processes - Adjust plans and communicate these to personnel involved in their development and implementation |
| - Build continuous improvement process | - Organize and facilitate improvement team - Encourage work group members to routinely monitor key process indicators - Build capacity in the work group to critically review the relevant parts of the value chain - Assist work group members to formalize improvement suggestions - Facilitate relevant resources and assist work group members to develop implementation plans - Monitor implementation of improvement plans taking appropriate actions to assist implementation where required. |
| - Facilitate the identification of improvement opportunities | - Analyze the job completion process - Ask relevant questions of job incumbent - Encourage job incumbents to conceive and suggest improvements - Facilitate the trying out of improvements, as appropriate |
| - Evaluate relevant components of quality system | - Undertake regular audits of components of the quality system that relate to the work area - Implement improvements in the quality system in accordance with own level of responsibility and workplace procedures - Facilitate the updating of standard procedures and practices - Ensure the capability of the work team aligns with the requirements of the procedure |

| Variable | Range |
| --- | --- |
| Coaching and mentoring | May refer to: - providing assistance with problem-solving - providing feedback, support and encouragement - teaching another member of the team, usually focusing on a specific work task or skill |
| Continuous improvement processes may include: | May include: - cyclical audits and reviews of workplace, team and individual performance - evaluations and monitoring of effectiveness - implementation of quality systems, such as International Standardization for Organization (ISO) - modifications and improvements to systems, processes, services and products - policies and procedures which allow the organization to systematically review and improve the quality of its products, services and procedures - seeking and considering feedback from a range of stakeholders - Kaizen - Enterprise-specific improvement systems |
| Technology | May include: - computerized systems and software such as databases, project management and word processing - telecommunications devices - any other technology used to carry out work roles and responsibilities |
| Customer service | May be: - internal or external - to existing, new or potential clients |
| Key process indicators | Key process indicators may include: - statistical process control data/charts - orders - lost time, injury and other OHS records - equipment reliability charts, etc. |
| Continuous improvement tools | May include: - statistics - cause and effect diagrams - fishbone diagram - Pareto diagrams - run charts - X bar R charts - PDCA - Sigma techniques - balanced scorecards - benchmarking - performance measurement - upstream and downstream customers - internal and external customers immediate and/or final |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Evidence of the following is essential: - taking active steps to implement, monitor and adjust plans, processes and procedures to improve performance - supporting others to implement the continuous improvement system/processes, and to identify and report opportunities for further improvement - knowledge of principles and techniques associated with continuous improvement systems and processes - assist others to follow standard procedures and practices - assist others make improvement suggestions - standardize and sustain improvements Assessors should ensure that candidates can: - implement and monitor defined quality system - requirements and initiate continuous improvements within the work area - apply effective problem identification and problem solving techniques - strengthen customer service through a focus on continuous improvement - implement, monitor and evaluate quality systems in the work area - initiate quality processes to enhance the quality of performance of individuals and teams in the work area - gain commitment of individuals/teams to quality principles and practices - implement effective communication strategies - encourage ideas and feedback from team members when developing and refining techniques and processes - analyze training needs and implement training programs - prepare and maintain quality and audit documentation |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - principles and techniques associated with: - benchmarking - best practice - change management - continuous improvement systems and processes - quality systems - range of procedures available and their application to different jobs - applicability of takt time and muda to jobs - identification and possible causes of variability in jobs - continuous improvement process for organization - questioning techniques - methods of conceiving improvements - suggestion and try out procedures - relevant OHS - quality measurement tools for use in continuous improvement processes - established communication channels and protocols - communication/reporting protocols - continuous improvement principles and process - enterprise business goals and key performance indicators - enterprise information systems management - enterprise organizational structure, delegations and responsibilities - policy and procedure development processes - relevant health, safety and environment requirements - relevant national and international quality standards and protocols - standard operating procedures (SOPs) for the technical work performed in work area - enterprise quality system |
| Underpinning Skills | Demonstrates skills to: - coach and mentor team members - gain the commitment of individuals and teams to continuously improve - innovate or design better ways of performing work - communicate with relevant people - prioritize and plan tasks related to encouraging and improving use of standardized procedures - negotiate with others to resolve conflicts and gain commitment to standardized procedures - facilitate other employees in improvement activities - implement and monitor defined quality system requirements - initiate continuous improvements within the work area - apply effective problem identification and problem solving techniques - strengthen customer service through a focus on continuous improvement - implement, monitor and evaluate quality systems - implement effective communication strategies - encourage ideas and feedback from team members when developing and refining techniques and processes - analyze training needs and implementing training programs - prepare and maintain quality and audit documentation |
| Resources Implication | Access may be required to: - workplace procedures and plans relevant to work area - specifications and documentation relating to planned, currently being implemented, or implemented changes to work processes and procedures relevant to the candidate - documentation and information in relation to production, waste, overheads and hazard control/management - enterprise quality manual and procedures - quality control data/records |
| Methods of Assessment | Competence in this unit may be assessed by using a combination of the following to generate evidence: - demonstration in the workplace - suitable simulation - oral or written questioning to assess knowledge of procedures and contingency management; principles and techniques associated with change management - review of the audit process and outcomes generated by the candidates Those aspects of competence dealing with improvement processes could be assessed by the use of suitable simulations and/or a pilot plant and/or a range of case studies and scenarios. In all cases, practical assessment should be supported by questions to assess underpinning knowledge and those aspects of competence which are difficult to assess directly. |
| Context of Assessment | Competence may be assessed in the work place or in a simulated workplace setting / environment. |

Sector:	Economic Infrastructure

Sub-Sector:  Power Generation, Transmission and Distribution

Power Generation and Substation Management

Power System Operation Management

Power Transmission and Distribution Management

Level V

Power Generation Installation and Maintenance -Mechanical

Power Transmission Systems Operation

Power Distribution Network Infrastructure System Installation

Power Generation and Substation Installation and Maintenance - Electrical and Electronics

Power Generation Operation

Power

System Operation

Level IV

Power Generation Operation and Maintenance Support

Power Line Works Support

Power Transmission, Distribution Inspection and Maintenance

Power Generation and Substation Installation and Maintenance -Mechanical

Power Generation and Substation Installation and Maintenance -Electrical and Electronics

Power Generation Operation

Power Substation Operation

Power Transmission Systems Operation

Power Distribution Network Infrastructure System Installation

Power Generation and Substation Operation and Maintenance Support

Level I

Level II

Level III

Acknowledgement

We wish to extend thanks and appreciation to the many representatives of business, industry, academe and government agencies who donated their time and expertise to the development of this occupational standard.

We would like also to express our appreciation to the Experts of EEPCo, Ministry of Education (MoE) and Engineering Capacity Building Program (ECBP) who made the development of this occupational standard possible.

This occupational standard was developed on the June 2012 at Gibe, Ethiopia.