Federal Democratic Republic of Ethiopia

Occupational Standard

POWER SYSTEM OPERATION MANAGEMENT

NTQF Level V

Ministry of Education

June 2012

Introduction

Ethiopia has embarked on a process of reforming its TVET-System. Within the policies and strategies of the Ethiopian Government, technology transformation – by using international standards and international best practices as the basis, and, adopting, adapting and verifying them in the Ethiopian context – is a pivotal element. TVET is given an important role with regard to technology transfer. The new paradigm in the outcome-based TVET system is the orientation at the current and anticipated future demand of the economy and the labor market.

The Ethiopia Occupational Standards (EOS) is the core element of the Ethiopian National TVET-Strategy and an important factor within the context of the National TVET-Qualification Framework (NTQF). They are national Ethiopian standards, which define the occupational requirements and expected outcome related to a specific occupation without taking TVET delivery into account.

This document details the mandatory format, sequencing, wording and layout for the Ethiopia Occupational Standard which comprised of Units of Competence.

A Unit of Competence describes a distinct work activity.  It is documented in a standard format that comprises:

- Occupational title and NTQF level

- Unit title

- Unit code

- Unit descriptor

- Elements and Performance criteria

- Variables and Range statement

- Evidence guide

Together all the parts of a Unit of Competence guide the assessor in determining whether the candidate is competent.

The ensuing sections of this EOS document comprise a description of the occupation with all the key components of a Unit of Competence:

- chart with an overview of all Units of Competence for the respective level (Unit of Competence Chart) including the Unit Codes and the Unit Titles

- contents of each Unit of Competence (competence standard)

- occupational map providing the technical and vocational education and training (TVET) providers with information and important requirements to consider when designing training programs for this standards and for the individual, a career path

UNIT OF COMPETENCE CHART

| Occupational Standard: Power System Operation Management |  |
| --- | --- |
| Occupational Code: EIS PSM |  |
| NTQF Level V EIS PSM5 01 0612 Maintain Quality System within the Team EIS PSM5 02 0612 Manage Occupational Health and Safety Policy and Procedures EIS PSM5 03 0612 Manage Critical Incidents EIS PSM5 04 0612 Perform Cost Estimations EIS PSM5 05 0612 Manage First Response Team Operation EIS PSM5 06 0612 Manage and Coordinate Permit to Work System EIS PSM5 08 0612 Manage System Restart EIS PSM5 09 0612 Design and Develop Text Documents EIS PSM5 07 0612 Manage the Network/System EIS PSM5 10 0612 Investigate Quality of Supply Issues EIS PSM5 12 0612 Plan Scheduled Outage EIS PSM5 11 0612 Coordinate and Direct Switching Program EIS PSM5 15 0612 Deliver and Monitor Service to Customers EIS PSM5 14 0612 Conduct Project Management EIS PSM5 13 0612 Manage Operational Crisis to Maintain/ Restore Power System Integrity EIS PSM5 16 0612 Manage Commissioning/ Decommissioning EIS PSM5 17 0612 Manage Quality Systems and Procedures EIS PSM5 18 0612 Provide Leadership in the Workplace EIS PSM5 20 0612 Facilitate Continuous Improvement EIS PSM5 19 0612 Ensure Team Effectiveness EIS PSM5 21 0612 Manage Workplace Information System EIS PSM5 22 0612 Facilitate and Capitalize on Change and Innovation EIS PSM5 23 0612 Manage Project Quality EIS PSM5 24 0612 Establish and Conduct Business Relationships EIS PSM5 25 1012 Develop and Refine Systems for Continuous Improvement in Operations |  |
| Occupational Standard: Power System Operation Management Level V |  |
| Unit Title | Maintain Quality System within the Team |
| Unit Code | EIS PSM5 01 0612 |
| Unit Descriptor | This unit is intended to augment formally acquired competencies. It is suitable for employment-based programs under an approved contract of training. |

| Elements | Performance Criteria |
| --- | --- |
| - Formulate team aspects of the quality system | - Team quality assurance requirements/targets are identified or modified from an analysis of enterprise needs - Team performance indicators, identified during team consultations, are agreed or referred to the appropriate party for approval in accordance with job requirements - Compatibility between total team and total individual performance indicators is effectively co-ordinated in accordance with job requirements - Site and team quality systems documentation is obtained, edited and summarised as required and made available to all members in accordance with job requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Facilitate team quality systems | - Team members are provided with encouragement and training in team quality systems matters in accordance with job requirements - The application of quality systems is monitored regularly both in the workplace and with customers in accordance with job requirements - Instances of inability to satisfy key performance indicators are recorded, investigated and referred to team mechanisms and appropriate authorities for remedial actions in accordance with enterprise procedures - Quality systems are regularly reviewed with the team to ensure their currency and continuing relevance in accordance with enterprise procedures - Team quality systems records are maintained and made available to interest parties in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| Work may be affected by: | - Relevant standards - Occupational Health and Safety standards - Codes of practice - Manufacturer specifications - Environmental requirements and - Enterprise procedures |

| Evidence Guide |  |
| --- | --- |
| Critical aspects of Competence | Assessment requires evidence that the candidate able to: - Implement Occupational Health and Safety workplace - procedures and practices including the use of risk control - measures - Apply sustainable energy principles and practices - Demonstrate performance across a representative range of contexts from the prescribed items below: - Knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Ethiopian and/or international standards related to quality - Monitoring and reviewing quality systems - Maintaining records and documentation |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - International standards related to quality - Ethiopian standards related to quality (if any) - Quality management theory - Team quality systems and procedures including: - responsibilities and prerogatives, - documentation system including quality manual and - quality plan, - quality records processes, - performance and achievement audits, - Elementary quality systems design processes - Communication procedures |
| Underpinning Skills | Demonstrates skills to: - Access, interpret and apply enterprise quality systems procedures and practices - Formulate elementary quality systems - Formulate quality practices for the team operations - Establish quality performance indicators for teams and site work - Conduct and analyze the results of quality systems audits - Co-ordinate the development and maintenance of team competence in quality systems - Co-ordinate the modification of team systems based on quality systems findings - Communicate effectively - Apply data analysis techniques and tools |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. In addition to the resources listed above in Context of assessment', evidence should show competence working, in limited spaces, with different types of plant and equipment as well as different structural/construction types and methods and in a variety of environments. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage Occupational Health and Safety Policy and Procedures |
| Unit Code | EIS PSM5 02 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to establish and evaluate the organization’s Occupational Health and Safety system in order to ensure that the workplace is, so far as is practicable, safe and without risks to the health of employees. |

| Elements | Performance Criteria |
| --- | --- |
| - Establish and maintain the framework for the Occupational Health and Safety system in the area of responsibility | - Occupational Health and Safety policies are developed which clearly express the organisation's commitment to Occupational Health and Safety within the area of managerial responsibility and how relevant Occupational Health and Safety legislation will be implemented, consistent with overall organisational policies - Occupational Health and Safety responsibilities and duties which will allow implementation and integration of the occupational health and safety system are clearly defined, allocated and included in job descriptions and duty statements for all relevant positions - Financial and human resources for the operation of the occupational health and safety system are identified, sought and/or provided in a timely and consistent manner - Information on the occupational health and safety system and procedures for the area of responsibility is provided and explained in a form which is readily accessible to employees - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of on-the-job training |
| - Establish and maintain participative arrangements for the management of Occupational Health and Safety | - Appropriate consultative processes are established and maintained in consultation with employees and their representatives in accordance with relevant Occupational Health and Safety legislation and consistent with the organisation's overall process for consultation - Issues raised through participation and consultation are dealt with and resolved promptly and effectively in accordance with procedures for issue resolution - Information about the outcomes of participation and consultation is provided in a manner accessible to employees |
| - Establish and maintain procedures for identifying hazards | - Existing and potential hazards within the area of managerial responsibility are correctly identified, and identification confirmed in accordance with occupational health and safety legislation, codes of practice and trends identified from the OHS records system - A procedure for ongoing identification of hazards is developed and integrated within systems of work and procedures - Activities are appropriately monitored to ensure that this procedure is adopted effectively throughout the area of managerial responsibility - Hazard identification is addressed at the planning, design and evaluation stages of any change in the workplace to ensure that new hazards are not created |
| - Establish and maintain procedures for assessing risks | - Risks presented by identified hazards are correctly assessed in accordance with occupational health and safety legislation and codes of practice - Risk assessment is addressed at the planning, design and evaluation stages of any change within the area of managerial responsibility to ensure that the risk from hazards is not increased - Activities are monitored to ensure that this procedure is adopted effectively throughout the area of managerial responsibility - A procedure for ongoing assessment of risks is developed and integrated within systems of work and procedures |
| - Establish and maintain procedures for controlling risks | - Measures to control assessed risks are developed and implemented in accordance with the hierarchy of control, relevant occupational health and safety legislation, codes of practice and trends identified from the occupational health and safety record system - When measures which control a risk at its source are not immediately practicable, interim solutions are implemented until a permanent control measure is developed - A procedure for ongoing control risks, based on the hierarchy of control, is developed and integrated within general systems of work and procedures - Activities are monitored to ensure that the risk control procedure is adopted effectively throughout the area of managerial responsibility - Risk control is addressed at the planning, design and evaluation stages of any change within the area of managerial responsibility to ensure that adequate risk control measures are included - Inadequacies in existing risk control measures are identified in accordance with the hierarchy of control and resources enabling implementation of new measures are sought and/or provided according to appropriate procedures |
| - Establish and maintain organizational procedures for dealing with hazardous events | - Potential hazardous events are correctly identified - Procedures which would control the risks associated with hazardous events and meet any legislative requirements as a minimum are developed in consultation with appropriate emergency services - Appropriate information and training is provided to all employees to enable implementation of the correct procedures in all relevant circumstances |
| - Establish and maintain an Occupational Health and Safety training program | - An occupational health and safety training program is developed and implemented to identify and fulfil employees' Occupational Health and Safety training needs as part of the organisation's general training program |
| - Establish and maintain a system for Occupational Health and Safety records | - A system for keeping occupational health and safety records is established and monitored to allow identification of patterns of occupational injury and disease within the area of managerial responsibility |
| - Evaluate the organization’s Occupational Health and Safety system and related policies, procedures and programs | - The effectiveness of the Occupational Health and Safety system and related policies, procedures and programs is assessed according to the organisation's aims with respect to Occupational Health and Safety - Improvements to the Occupational Health and Safety system are developed and implemented to ensure more effective achievement of the organisation's aims with respect to Occupational Health and Safety - Compliance with Occupational Health and Safety legislation and codes of practice is assessed to ensure that legal Occupational Health and Safety standards are maintained as a minimum |

| Variable | Range |
| --- | --- |
| Involves application of relevant Occupational Health and Safety legislation and codes of practice, particularly: | - general duty of care - requirements for the maintenance of records of occupational injury and disease - provision of information and training - those dealing with Occupational Health and Safety committees - health and safety representatives and issue resolution |
| Processes for consultation include: | - Occupational Health and Safety committees - consultation with health and safety representatives - issuing resolution procedures and - participative/consultative procedures conducted by supervisory staff within the area of managerial responsibility |
| Monitoring of activities may include: | - review of written reports - performance appraisal or - auditing procedures |
| Hazardous events include: | - accidents, - fires and - Emergencies such as chemical spills or bomb scares. Procedures for dealing with them include: - evacuation, - chemical containment and - first aid procedures |

| Evidence Guide |  |
| --- | --- |
| Critical aspects of Competence | Assessment requires evidence that the candidate able to: - Implement OHS workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Demonstrate performance across a representative range of contexts from the prescribed items below: - Evidence of detailed knowledge of all relevant OHS legislation and codes of practice and how they will be implemented within the area of responsibility is required - Evidence of understanding of the hierarchy of control (the preferred order or risk control measures from most to least preferred, that is, elimination, engineering controls, administrative controls and lastly, personal protective equipment) is required - Evidence of understanding of the significance of equal employment opportunity principles and practices for Occupational Health and Safety is required - Evidence of understanding of the significance of other management systems and procedures for Occupational Health and Safety is required |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures including identification of hazards and controlling of risks - Enterprise /site emergency procedures and techniques - Environmental legislation - Plant status - Enterprise participative arrangements for Occupational Health and Safety - Provision of Occupational Health and Safety training - Maintenance of Occupational Health and Safety records |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise /site emergency procedures and techniques - Apply enterprise recording procedures - Locate and/or identify relevant plant and equipment - Identify plant status - Communicate effectively. - Management / supervision of staff |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. In addition to the resources listed above in Context of assessment', evidence should show competence working, in limited spaces, with different types of plant and equipment as well as different structural/construction types and methods and in a variety of environments. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage Critical Incidents |
| Unit Code | EIS PSM5 03 0612 |
| Unit Descriptor | This unit refers to the management of incidents of a critical nature that may impact on the operational effectiveness of the plant or system, endanger human life or property, or have an adverse impact on the environment. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify critical incident and consequences | - Critical incidents and probable implications are identified and assessed in accordance with enterprise procedures - Secondary threats to situation are identified and monitored in accordance with enterprise procedures - Data is evaluated in accordance with enterprise procedures to determine probable causes, consequences and potential responses - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Establish contingency plan | - Contingency plans are identified using relevant enterprise documentation and procedures - Requirements for additional resources are identified in accordance with enterprise procedures - Alternate contingencies to cater for crisis variations are developed in consultation with team members |
| - Establish communications | - Communication links with appropriate external authorities for coordination of their resources are established in accordance with enterprise procedures - Communication with appropriate key stakeholders is established to disseminate information in accordance with enterprise procedures - Team roles, both internal and external, are identified and conveyed to appropriate personnel in accordance with enterprise procedures |
| - Manage critical incident | - Response is managed in accordance with enterprise/site requirements and allowances for personnel/equipment limitations are made - Events and responses are prioritized taking into account needs of stakeholders in accordance with enterprise procedures - Impact of secondary threats are identified and assessed in accordance with enterprise procedures - Contingency plans are implemented in accordance with enterprise/site policy and procedure - Additional resources are coordinated and directed in accordance with enterprise procedures - Restoration strategies are monitored, evaluated and adjusted as necessary in accordance with enterprise procedures |
| - Document and review incident and response | - Equipment failure/problems are recorded and processed in accordance with enterprise procedures - Feedback from stakeholders is recorded where necessary and analyzed in accordance with enterprise procedures - Required reports and findings are generated and distributed to appropriate personnel in accordance with enterprise procedures - Improvements to the critical incident management process are recommended to the appropriate parties in accordance with enterprise procedures - Alternative contingencies are analyzed and recommendations are communicated to appropriate personnel in accordance with enterprise procedures |

| Variable | Range |  |  |
| --- | --- | --- | --- |
| Documentation may include: | - policy and procedure - contingency plans | - standard operating instructions - emergency switching programs |  |
| Information and documentation sources may include: | - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/site standing and operating instructions - enterprise log books - manufacturer's operation and maintenance manuals and - equipment and alarm manuals |  |  |
| Communications may be by means of: | - telephone - two way radio - pager - computer (electronic mail) and - operating logs (written or verbal) |  |  |
| Liaison with key stakeholders may be: | - system/network controllers/coordinators - oncoming shift change - field operators - support staff - asset centers - patrolmen - customers |  | - other government bodies - co-generation authorities - generation plant operators - on call staff - police - fire and emergency services - private systems |
| Types of incident may include: | - localized blackout - interconnected/isolated power system potential power system threat - accidents - life threatening situations - generation plant and auxiliary plant faults/failure and - loss of network and generation components - natural and environmental disasters |  |  |
| Post incident debrief may be: | - probable fault/failure cause - strategic/contingency plan - environmental implications - economic factors - policy - procedure - training - safety factors and emergency switching programs |  |  |
| Appropriate personnel, team members/other authorities may include: | - supervisor/team leader or equivalent - power plant operations personnel or equivalent - technical and engineering officers or equivalent - maintenance staff - other operating staff or equivalent - system controller - field operators - restricted operators - emergency personnel - network controllers/coordinators - generation controllers - plant operators and field operators - support staff - fire service - police - ambulance - emergency services - enterprise and site representatives - consumers and independent power producers |  |  |

| Evidence Guide |  |
| --- | --- |
| Critical aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Demonstrated performance across a representative range of contexts from the prescribed items below: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Knowledge of emergency procedures - Knowledge of the rolls of external authorities/bodies - Ability to establish and manage emergency situations - Ability to tactical decision making techniques - Policies for system incident and follow up procedures |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Relevant plant and equipment, it's locations and - operating parameters - Enterprise recording procedures - System/network characteristics - Contingency plans - Supervisory, alarm, protection and control equipment - Switchgear operation - Load shedding principles - Communication principles - Control and data acquisition systems - Computers and software - Switching practices and procedures |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Manager and control system/network - Identify plant status - Communicate effectively - Apply data analysis techniques and tools - Identify and respond to abnormal system operating conditions - Plan and prioritize work - Coordinate the operation of system/network to maintain plant integrity, personnel safety, continuity of supply and optimum efficiency - Use diagrams, drawings and symbols - Apply stress management techniques - Direct and coordinate personnel - Select appropriate load shedding - Apply diagnostic techniques |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. In addition to the resources listed above in Context of assessment, evidence should show competence working in limited spaces with different types of plant and equipment as well as different structural/construction types and methods and in a variety of environments. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Perform Cost Estimations |
| Unit Code | EIS PSM5 04 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to perform cost estimations for planned and forced plant outages (plant may be a single item or whole unit). |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare work details | - Work plan and methods are obtained including preparation and re-commissioning - Time frame of work is established including required working patterns - Details of materials, equipment, specialist services and contractual provisions are obtained - Any specific disposal requirements are identified - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Identify costs | - Costs associated with the outage are identified in accordance with appropriate procedures - Penalty and transfer costs associated with the outage are determined and minimised |
| - Identify causes and options | - Potential causes of time frame over runs are identified - Potential variations in work scope are identified and options considered |
| - Complete documentation | - Final costs are documented and produced in accordance with appropriate procedures |

| Variable | Range |
| --- | --- |
| Costs may include: | - labor - spares - specialist services - disposal of waste and contractual costs - various options are: - schedule of rates - period of quote validity and - variations from original specification detailed |
| Costed work may be in accordance with the following legislation: | - Occupational Health and Safety - quality assurance standards - environmental - enterprise/site standards and - agreements |
| Documentation may include: | - drawings - material lists - maintenance methods and plans - spare parts information - specifications and quotes |

| Evidence Guide |  |
| --- | --- |
| Critical aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace - procedures and practices including the use of risk control - measures - Apply sustainable energy principles and practices - Demonstrated performance across a representative range of contexts from the prescribed items below: - The knowledge and application of relevant sections of: Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Costing and quotation techniques and procedures - Employment awards and agreements - Penalty and transfer pricing procedures and systems - Data analysis |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Enterprise recording procedures - Environmental awareness and procedures - Relevant plant and equipment - Costing and quotation techniques and procedures - Employment awards and agreements - Penalty and transfer pricing procedures and systems - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Use drawings - Communicate effectively - Apply data analysis techniques and tools - Compile data - Identify cause and consequence of potential cost excursions - Produce quotations - Produce cost options |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. In addition to the resources listed above in Context of assessment', evidence should show competence working in limited spaces with different types of plant and equipment as well as different structural/construction types and methods and in a variety of environments. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage First Response Team Operation |
| Unit Code | EIS PSM5 05 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to manage the operation of a response team. It covers the development, implementation and review of the procedures for the operation of the first response team. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan for the operation of the first response team | - The purpose of the response team is identified and, where necessary, clarified with relevant people or organizations - Requirements for the development of new procedures are identified and confirmed as required - Consultation with all key internal and external stakeholders to determine whether contingency plans require review is carried out in accordance with enterprise policy - The roles and responsibilities of emergency service(s) personnel are clarified, and where necessary conveyed to others. - Team members are identified and supported in relation to duties and responsibilities - Directions and advice are given to emergency service personnel and team members after appropriate site inspection |
| - Develop the first response team operational procedures | - Instructions from relevant emergency services personnel are clarified and complied with - Procedures are researched, created, assessed and confirmed with the appropriate personnel - Procedures are planned and developed in accordance with statutory, enterprise/site requirements - Resources are identified, obtained and utilized for development of the response team - Procedures are documented and approved in accordance with statutory and enterprise procedures - A plan to ensure personnel safety and plant integrity is developed in accordance |
| - Manage the operation of the first response team | - Incidents are investigated, assessed and evaluated to prevent repetition of risk - Results and recommendations relating to incident investigations are documented and confirmed with the appropriate personnel and in accordance with enterprise procedures - Guidance and assistance for emergency services is provided in accordance with enterprise/site procedures - Materials, equipment and resources required to satisfy the job are identified obtained and assessed - De-briefing is conducted and findings are responded to in accordance with procedures |
| - Review the operation of the first response team | - Incident response is audited, and results are evaluated in accordance with enterprise procedures - Results are documented and reports/recommendations are confirmed with the appropriate personnel |
| - Report outcomes of emergency response | - Improvements to incident response procedures are identified and confirmed with the appropriate personnel. - Improvements to incident response procedures are implemented. |

| Variable | Range |
| --- | --- |
| Technical advice may include | - plant layout and location - isolation points - location and quantity of hazardous substances and location of fire hydrants, pumps and water supplies |
| External emergency groups may include | - police - fire brigade - ambulance - national emergency service supply authorities (such as water utility) |
| Personnel refers to | - all people on site at the time of the emergency and may include supervisory, maintenance and operational staff, contractors, trainees and visitors |
| Safety standards may include | - relevant sections of occupational health and safety legislation, enterprise safety rules, national standards for plant and relevant state and federal legislation |
| Site hazards may include | - power lines - trees - overhead service lines - abnormal weather conditions - dangerous materials/chemicals - earthworks/obstructions - underground services - hazardous substances and electrical - thermal - explosive and structural hazards |
| Special assistance may be | - on site personnel (e.g. chemists, fire team), - rescue team - environmental officer - safety officer - radiation officer floor warden or equivalent - chief warden or equivalent and security staff |
| Additional resources may include | - personnel - firefighting equipment - firefighting protective clothing - chemical protective clothing - air cylinders for breathing apparatus - rescue equipment - fire retardant compounds - oil containment materials/equipment - vehicles for transport of materials or personnel - stand-by air compressors - storm water pumps - gas monitoring equipment - communication equipment - ladders, spill kits - salvage gear and forcible entry tools |
| Incidents may include | - fire - rescue - hazardous substances - explosions - bomb alerts - terrorists - radiation - natural disasters - environmental - electrical storms/incidents - accidents - electrical equipment - structural - security related or wildlife related incidents |
| Information and documentation sources may include | - verbal and written communications - enterprise/site operating instructions - equipment manufacturer’s recommendations - dedicated computer equipment - enterprise/site log books |
| Identification may include | - helmets - armbands - vests - other apparel |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Evidence shall incorporate evidence that shows a candidate is able to: - Implement occupational health and safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Knowledge and application of relevant sections of: - occupational health and safety legislation, statutory legislation and enterprise/site safety procedures - enterprise/site emergency procedures - ability to apply leadership skills - ability to communicate effectively with the appropriate personnel and agencies following an emergency - knowledge of potential hazards - knowledge and application of fire-fighting and rescue principles and techniques - ability to manage the teams response to an emergency situation - dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health and safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Relevant plant and equipment, its location and operating parameters - Site communications systems - First aid - Appropriate warning signs - Equipment appropriate for the task - Operation of emergency stations - Roles of the first response team and its members - Classifications of fires and emergencies - Roles and responsibilities of emergency services - Firefighting and rescue principles and techniques - Communication principles - Human resources and management principles within a team Material safety data sheets and emergency services |
| Underpinning Skills | Demonstrates skills to: - Apply relevant occupational health and safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Locate relevant plant and equipment - Prepare emergency plant/equipment for operation - Communicate effectively - Plan and prioritize work - Develop emergency and evacuation procedures - Develop emergency response techniques and procedures - Identify and operate appropriate emergency communications equipment |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. In addition to the resources listed above in Context of assessment', evidence should show competence working in limited spaces with different types of plant and equipment as well as different structural/construction types and methods and in a variety of environments. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage and Co-ordinate Permit to Work System |
| Unit Code | EIS PSM5 06 0612 |
| Unit Descriptor | This unit refers to the management of the permit to work system, its implementation, development and application on a day to day basis and during major outages and projects |

| Elements | Performance Criteria |
| --- | --- |
| - Plan for implementation of permit to work procedures | - Statistical records are consulted to ascertain most favorable time for outage - Requirements for the development of new procedures, as required, are identified and confirmed - Identify key stakeholders and/or equipment affected - Consultation with all key stakeholders to determine whether contingency plans require implementation and/or timetables require review is carried out in accordance with enterprise policy - Disruptions to key stakeholders are minimized by providing alternative options. |
| - Develop permit to work system and procedures | - Requirements for the development of new procedures, as required, are identified and confirmed - Procedures are researched, created, assessed and confirmed with the appropriate personnel - Procedures are planned and developed in accordance with statutory, enterprise/site requirements - Resources are identified, obtained and utilized for development of the work system - Procedures are documented and approved in accordance with enterprise procedures |
| - Implement permit to work procedures | - Work requirements are identified from relevant personnel and documentation - Permit to work is planned and prepared to achieve the defined work requirement in accordance with statutory, enterprise and site procedures - Plant isolations are coordinated and confirmed with the appropriate personnel - Issue, cancellation and recording of the permit to work is carried out in accordance with enterprise and site procedures - Plant de-isolation and restoration is coordinated and confirmed with the appropriate personnel - Documentation is completed in accordance with enterprise/site requirements - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of on-the-job training |
| - Co-ordinate outage permit to work requirements | - Outage plan is obtained from, and confirmed with, the appropriate personnel - Critical paths, major milestones and potential conflicts between permits are identified and assessed - Permit to work plan is created and structured to achieve outage targets - Permits are planned in accordance with statutory, enterprise/site procedures - Resources are identified, obtained and utilized to ensure outage plan is maintained - Issue and cancellation of permits is controlled and coordinated in accordance with work requirements - De-isolation and restoration of plant is planned and coordinated to meet re-commissioning targets - Records are maintained during the outage in accordance with enterprise/site requirements |
| - Manage permit to work system | - Permit to work system incidents are identified - Incidents are investigated and assessed - Results and recommendations relating to incident investigations are documented and confirmed with the appropriate personnel and in accordance with enterprise procedures |
| - Audit permit to work procedures | - Permit to work system is audited, and results are evaluated in accordance with enterprise procedures - Audit results are documented and reports/ recommendations are confirmed with the appropriate personnel - Recommendations relating to audit results are documented and confirmed with the appropriate personnel and in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| Appropriate personnel | May include but not limited to: - project engineers and leaders, maintenance personnel, operations personnel, internal and external specialist services personnel, line management, contractors and standing permit to work and/or safety committees. |
| Documentation | May include but not limited to: - occupational health and safety and environmental legislation, industry standards, enterprise safety and/or permit to work rules, enterprise and site procedures, enterprise permit to work documentation/form(s), operation and maintenance manuals, plant drawings and schematics and computer based software packages |
| Resources | May include but not limited to: - approved documentation/form(s), manpower, isolation equipment (locking devices, signs etc) and personal or mainframe computers |
| Permit to work | May include but not limited to: - any approved documentation/form(s) controlled by the safety rules or permit to work procedures of the candidates enterprise |
| Incidents | May refer to : - permit to work system breaches |
| Auditing | May include but not limited to: - quantity, quality and suitability of permits and isolation procedures Incidents may refer to permit to work system breaches |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Demonstrate an appropriate level of skills enabling employment - Conduct work observing the relevant legislation, regulations, polices and workplace procedures - Statutory legislation; - Enterprise/site safety procedures; - Enterprise/site emergency procedures - Implementing permit to work system - Coordinating permit to work system - Managing permit to work system |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Relevant plant and equipment, its location and operating parameters - Environmental legislation - Enterprise recording procedures - Computers and software - Auditing procedures and techniques - Investigation and evaluating techniques - Communication principles - Human resources and management principles - General responsibilities for plant operations - Safe operating principles Auditing principles and incident investigation - Development and management techniques - Introduction to power production plant - Typical arrangements of power production plant - Thermodynamics - Properties of matter - Power plant cycle - General responsibilities for power production plant operations - Control of a boiler - Basic turbine construction and operating principles - Turbine operations - Electrical principles - Transformers; AC generators; Alternators, excitors and hydrogen systems - Switchgear; Electrical protection; - Schematic diagrams - Auxiliary supply systems; - High voltage systems; High voltage switching procedures - Safe operating principles |
| Underpinning Skills | Demonstrates skills to: - Manage the application of relevant OHS regulations - Relevant statutory legislation - Relevant enterprise/site emergency procedures and techniques - Communicate effectively - Apply data analysis techniques and tools - Develop and manage permit to work systems - Access and use diagrams, drawings and symbols - Conduct audits and review incident reports - Apply enterprise/site safety procedures - Locate relevant plant and equipment - Identify plant status - Plan and prioritize work - Apply planning principles and techniques - techniques and tools - Manage human resources |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage the Network/System |
| Unit Code | EIS PSM5 07 0612 |
| Unit Descriptor | This unit refers to the management of a network/system. Systems may be interconnected, remote or isolated |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare network operations | - Information and documentation to determine network/system status is assessed and evaluated in accordance with system requirements - Network/system and associated equipment operational pre-requisites are established in accordance with enterprise/system procedures - Sequence for re-commissioning of network sections and equipment is identified and determined to suit existing circumstances in accordance with enterprise/system procedures - Forecast prediction is based on the accurate interpretation and analysis of relevant information in accordance with system procedures - Network/system limitations and performance due to location and external influences are identified - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Manage and control network /system. | - Network/system is operated in accordance with enterprise/system operating procedures - Network/system demand is met with contingencies in place to maintain quality of supply standards in accordance with statutory requirements - Network/system voltage and current requirements are assessed, evaluated and controlled to maintain stability and system integrity - Voltage/load profiles are identified and adhered to minimizing transmission losses - Network/system load shedding sequence and priorities are monitored to ensure system integrity - Network/system data is monitored for normal operation or to detect deviations - Corrective actions to rectify abnormalities are implemented following analysis of data in accordance with system procedures - Resources required to meet system requirements are identified and coordinated in accordance with system procedures - Where required, operations are carried out in consultation with team members |
| - Analyze and respond to network/ system faults or incidents | - Causes of abnormal network/system operating conditions are identified by analyzing the technical and operational information in a logistical and sequential manner - Operation of protection systems are identified and assessed to evaluate the nature and cause of fault conditions. - Communication may be established with other authorities and/or key stake holders to identify nature/source of system interference - Corrective action is taken in accordance with enterprise/system procedures - Network/system integrity and personnel safety are maintained through consultation with appropriate personnel and reference to plant technical, operational documentation and contingency plans |
| - Review incident response and preventative procedures | - Incident responses are assessed and reviewed in accordance with system procedures - Alternative responses/contingencies are identified and assessed in accordance with system procedures - Alternative responses/contingencies are documented and approved in accordance with system procedures |
| - Complete documentation | - Documentation is updated, log sheets maintained equipment/system problems, movements abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Information and documentation sources | May include but not limited to: - verbal or written communications; enterprise safety rules documentation; - enterprise operating instructions; dedicated computer equipment; - enterprise/site standing and operating instructions; - enterprise log books; - manufacturer’s operation and maintenance manuals; and - equipment and alarm manuals - Systems may be interconnected, remote or isolated |
| Equipment | May include but not limited to: - machines - circuit breakers - tap changers - protection settings - capacitor/condenser banks - generators and - SCADA systems |
| System limitations | May include: - location - weather conditions - natural disasters - accidents - temperature - power swings |
| Appropriate personnel, team members/other authorities | May include: - supervisor/team leader or equivalent - power plant operations personnel or equivalent - technical and engineering officers or equivalent - maintenance staff, other operating staff or equivalent - system controller - field operators - restricted operators - emergency personnel - network controllers/ coordinators - generation controllers, plant operators - field operators - support staff - fire service - police, ambulance - emergency services - enterprise and site representatives - consumers and independent power producers |
| Team members/other authorities | May include: - network controllers/coordinators - generation controllers - plant operators - field operators - support staff - fire service - police - ambulance - emergency services - enterprise and site representatives - consumers and independent power producers |
| Voltage control | May be: - synchronous compensator - generation VAR output - capacitor/condenser - switchgear - tap changers - network configuration |
| System condition | May be but not limited to: - may voltage profiles - spare plant - generation/transmission capability limits - deviation from generation schedule - variation from normal trends - plant testing - switching programs - responsive spinning reserve |
| Technical and operational indicators | May include but not limited to: - local indicators and recorders - computers and alarms (visible and or audible) |
| Unit operations | May include: - spurious faults in automatic systems - automatic systems operating out of range - failure of automatic system components - routine plant movement |
| Communications | May be by means of : - telephone - two way radio - pager, computer (electronic mail) - operating logs (written or verbal) |
| System integrity | May be affected by: - machine and system stability - transmission line and transformer overloading - correct tap changer position - protection settings - voltage transformer selection - synchronizing - required load shedding selected - capacitor/condenser bank selection - loss of network - generation components |
| Types of incidents | May include: - localized blackout - interconnected/ isolated power system potential power system threat - accidents, life threatening situations - generation plant and auxiliary plant faults/failure - loss of network and - generation components |
| Contingencies | May include: - responsive spinning reserve - spare/stand-by plant - load shedding |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge of: - Occupational, health and safety legislation; statutory legislation; enterprise/site safety procedures - Enterprise/site emergency procedures - Relevant system type - Preparing for system operations - Managing and controlling a network/system operation - Coordination requirements - Analyzing and responding to faults and abnormal system operating conditions Impact of actions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant OHS regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status; Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - System/Network types and characteristics - Contingency plans - Problem solving - Supervisory, alarm, protection and control equipment - Switchgear operation - Load shedding principles - Communication principles - Control and data acquisition systems - Computers and software - Switching practices and procedures |
| Underpinning Skills | Demonstrates skills to: - Apply relevant OHS regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures; - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Manager and control system/network - Identify plant status - Communicate effectively - Apply data analysis techniques and tools - Identify and respond to abnormal system operating conditions - Plan and prioritize work - Co-ordinate the operation of system/network to maintain plant - integrity, personnel safety, continuity of supply and optimum efficiency - Use diagrams, drawings and symbols - Apply stress management techniques - Direct and co-ordinate personnel - Select appropriate load shedding - Apply diagnostic techniques |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage System Re-Start |
| Unit Code | EIS PSM5 08 0612 |
| Unit Descriptor | This competence unit deals with the skills and knowledge required to manage a system re-start after the islanding or shut down of a system/network. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify cause | - Probable implications are identified and assessed in accordance with enterprise procedures - Secondary threats to situation are identified and monitored in accordance with enterprise procedures - The system configuration and/or generation capability is evaluated in accordance with enterprise procedures - External information is sort, collated and assessed in accordance with enterprise procedures - Probable cause of shutdown is identified from available information and resources - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training - Communication with appropriate key stakeholders is established in accordance with enterprise procedures - Communications with relevant personnel is established in accordance with enterprise procedures - Team roles, both internal and external, are identified and conveyed to appropriate personnel in accordance with enterprise procedures |
| - Restore system/ network/ generation | - Response is managed in accordance with enterprise/site requirements and allowances for personnel/equipment limitations are made - Responses are prioritised in accordance with enterprise procedures - Contingency/re-start plans are implemented in accordance with enterprise/site policy and procedure - Additional resources are coordinated and directed in accordance with enterprise procedures - Re-start plans are monitored, evaluated and adjusted as necessary in accordance with enterprise procedures |

| - Document | - Equipment failure/problems are recorded and processed in accordance with enterprise procedures - Feedback from stakeholders is recorded and in accordance with enterprise procedures - Required reports and findings are generated and distributed to appropriate personnel in accordance with enterprise procedures - Alternative contingencies/re-start plans and/or recommendations are communicated to appropriate personnel in accordance with enterprise procedures |
| --- | --- |

| Variable | Range |
| --- | --- |
| Information and documentation sources | May include: - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/site standing and operating instructions - enterprise log books - manufacturer’s operation and maintenance manuals - equipment and alarm manuals and external stake holder agreements |
| Communications | May be by means of: - telephone - two way radio - pager - computer (electronic mail) - operating logs (written or verbal) and - intercoms |
| Liaison with key stakeholders | May be: - system/network controllers/coordinators - oncoming shift change - field operators - support staff - asset centers - patrolmen - customers - other government bodies - co-generation authorities - generation plant operators - on call staff, police - fire - emergency services - private systems and - independent power producers |
| Appropriate personnel for consultation, to give or receive direction | May include: - supervisor/team leader or equivalent, power plant operations personnel or equivalent - technical and engineering officers or equivalent - maintenance staff - power plant operations personnel - police - fire brigade - ambulance - emergency services - interconnected equipment personnel - public relations - management - system/network controllers |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - implemented OHS workplace procedures and practices - including the use of risk control measures as specified in the Performance Criteria and Range Statement - applied sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - has knowledge of the roles of external authorities/bodies - has the ability to establish and control emergency situations in operating the network system - has the ability to apply tactical decision making techniques in operating the network system |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Environmental awareness - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - Equipment starting pre requisites - Supervisory, alarm, protection and control equipment - Auxiliary plant and plant operation - Computers and software - External authorities/bodies role - Independent generators - Communication equipment - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate relevant plant and equipment - Operate plant within design parameters - Identify plant status - Communicate effectively - Apply diagnostic techniques - Apply data analysis techniques and tools - Recognize abnormal plant operating conditions - Apply or determine appropriate corrective actions required - Plan and prioritize work - Maintain generator unit integrity - Interpret remote indication of plant status and condition - Use plans, diagrams, drawings and symbols - Delegate to and manage staff - Apply stress management techniques. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Design and Develop Text Documents |
| Unit Code | EIS PSM5 09 0612 |
| Unit Descriptor | The unit covers the design and development of predominantly text-based documents using advanced features of document design software. |

| Elements | Performance Criteria |
| --- | --- |
| - Use safe work practices | - Workspace, furniture and equipment are adjusted to suit the ergonomic requirements of the user - Work organisation meets organisational and statutory requirements for computer operation - Energy and resource conservation techniques are used to minimize wastage in accordance with organizational and statutory requirements |
| - Establish parameters for text document design and structure | - Organisational requirements for text-based business documents are identified to ensure consistency of style and image - Task requirements for the design of text-based business documents are determined to meet organisational purposes |
| - Design text documents | - Text document structure and layout are designed to suit the purpose, audience and information requirements of the task - Text document is designed to enhance readability and appearance and meet organisational and task requirements for style and layout - Style sheets and automatic functions are used to ensure consistency of design and layout |
| - Produce text documents | - Advanced software functions are used to enable efficient production of text documents - Text and other data are entered or imported, and edited to meet required specifications - Text documents are previewed, adjusted and printed in accordance with organisational and task requirements - Text documents are named and stored, in accordance with organisational requirements and the application exited without information loss/damage - Text documents are prepared within designated timelines and organisational requirements for speed and accuracy |

| Variable | Range |  |
| --- | --- | --- |
| Legislation, codes and national standards relevant to the workplace which | May include: - award and enterprise agreements and relevant industrial instruments - relevant legislation from all levels of government that affects business operation, especially in regard to Occupational Health and Safety and environmental issues, equal opportunity, industrial relations and anti-discrimination relevant industry codes of practice |  |
| Software | May include: - word processing - desktop publishing |  |
| Organizational policy and procedures may include: | - log-on procedures - password protection - storage / location of data | - standard formats - author's instructions - use of templates |
| Ergonomic requirements may include: | - workstation height and layout - chair height, seat and back adjustment - footrest - screen position - keyboard and mouse position | - document holder - posture - avoiding radiation from computer screens - lighting - noise minimisation |
| Work organization may include: | - mix of repetitive and other activities - rest periods - exercise breaks |  |
| Conservation techniques may include: | - double-sided paper use - re-used paper for rough drafts (observing confidentiality requirements) - recycling used and shredded paper - utilising power-save options for equipment |  |
| Organizational requirements may include: | - consistent corporate image - company logo - company colour scheme - established guidelines and procedures for document production - 'house styles' | - content restrictions - templates - organisation name, time, date, document title, filename, etc in header / footer - observing copyright legislation |
| Text-based documents may include: | - memos and faxes - multi-page letters - mail merge documents, including labels - forms - tables | - schedules - calendars - reports - flyers - brochures - promotional material |
| Structure and layout may include: | - white space - typeface - graphics - photographs - drawing - boxes | - colour - page layout - headings - columns - letter and memo conventions |
| Design may include: | - simplicity and diversity - balance - typography | - text flow - relative positioning of graphics and headings |
| Automatic functions may include: | - AutoText - AutoCorrect - page numbering - auto date - headers and footers | - table headings - auto format - styles - default settings |
| Consistency of design and layout may include: | - indentations - spacing - page numbers - typeface styles and point size - captions | - bullet/ number lists - footnotes/endnotes - annotated references - borders - consistency with other business documents |
| Advanced software functions may include: | - templates - alternate headers and footers - styles - newspaper columns - mail merge - tables | - sort - importing data / objects / pictures - sections - drawing tools - graphics tools |
| Data may include: | - graphics - clip art - digital photographs - scanned photographs and logos - files | - tables, graphs and charts - data from other software applications - quotes - references |
| Printing may include: | - with drawing objects - with comments - with hidden text | - with field codes - print to file - print merge |
| Naming and storage of documents may include: | - file names which are easily identifiable in relation to the content - file/directory names which identify the operator, author, section, date etc - file names according to organizational procedure eg numbers rather than names - storage in folders / sub-folders - storage on hard/floppy disk drives, CD ROM, tape backup - organisation policy for backing up files - organisation policy for filing hard copies of documents - filing locations - security / password protection - authorised access |  |
| Designated timelines may include: | - timeline agreed with supervisor/person requiring Document - timeline agreed with internal/external client - organization timeline e.g. deadline requirements |  |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate able to demonstrate: - Knowledge and application of advanced text-based software functions - Knowledge and application of text-based document design principles |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant legislation from all levels of government that affects business operation, especially in regard to Occupational Health and Safety and environmental issues, equal opportunity, industrial relations and - anti-discrimination - Basic functions of word processing and/or desktop publishing software applications - The impact of formatting and design on the presentation and readability of documents - Organisation policies and procedures |
| Underpinning Skills | Demonstrates skills to: - Literacy skills to interpret and evaluate the purposes and objectives of various uses of technology; consider aspects of context, purpose and audience when generating and formatting texts; display logical organization of written information through the use of coherently linked paragraphs - Keyboarding skills - Proofreading and editing skills to ensure clarity of meaning and conformity to organizational requirements; check for accuracy and consistency of information by consulting additional resources - Problem solving skills to use processes flexibly and interchangeably - Communication skills to follow complex oral instructions when using new technology; listen to and interpret complex sequenced instructions - Ability to relate to people from a range of social, cultural and ethnic backgrounds and physical and mental abilities |
| Resources Implication | The learner and trainer should have access to appropriate documentation and resources normally used in the workplace which may include: - workplace references such as computer user manuals, organizational policies and procedures and workplace procedural manuals - computer equipment including relevant software, printer - guide/examples of ‘house style’ - equipment (e.g. paper and other materials) |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Investigate Quality of Supply Issues |
| Unit Code | EIS PSM5 10 0612 |
| Unit Descriptor | This unit covers the technical investigation of quality of supply issues and recommends solutions. Quality of supply issues may include television and radio interference, voltage complaints, harmonics and system irregularities. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and coordinate for the investigation of issues in quality of supply | - OHS practices/procedures and environmental and sustainable energy procedures, which may influence the investigation of issues in the quality of supply, are reviewed and determined. - Purpose of the investigation is established and expected outcomes of the work are confirmed with the appropriate personnel. - Organizational established procedures on policies and specifications for the investigation are obtained or established with the appropriate personnel. - Equipment/tools and personal protective equipment are selected and coordinated based on specified requirements and established procedures. - Work is prioritized and sequenced for the most efficient and effective outcome following consultation with others for completion within acceptable timeframes, to a quality standard and in accordance with established procedures. - Risk control measures are identified, prioritized and evaluated against the work schedule. - Relevant work permits are secured to coordinate the performance of work according to requirements and/or established procedures. - Resources including personnel, equipment, tools and personal protective equipment required for the job are identified, scheduled and coordinated and confirmed in a safe and technical working order. - Liaison and communication issues with other/authorized personnel, authorities, clients and land owners are resolved and activities coordinated to carry out work. - Site is prepared according to the work schedule and to minimize risk and damage to property, commerce, and individuals in accordance with established procedures. - Personnel participating in the work, including plant operators and contractors, are fully briefed and respective responsibilities coordinated and authorized where applicable in accordance with established procedures. - Positioning of road signs, barriers and warning devices is planned in accordance with requirements. |
| - Carry out and coordinate the investigation of issues in the quality of supply | - Circuit/system modeling is used to evaluate alternative proposals as per established procedures. - OHS and sustainable energy principles, functionality and practices to reduce the incidents of accidents and minimize waste are incorporated into the project in accordance with requirements and/or established procedures. - Investigation decisions are made on the basis of safety and effective outcomes according to requirements and/or established procedures. - Mathematical models of the quality system are used to analyze the effectiveness of the finished product/service as per requirements and established procedures. - Technical advice is given to potential hazards, safety risks and control measures so that monitoring and preventative action can be undertaken and/or appropriate authorities consulted, where necessary, in accordance with requirements and established procedures. - Essential knowledge and associated skills is applied to analyze specific data and compare it with compliance specifications to ensure completion of the project within an agreed timeframe according to requirements. - Solutions to non-routine problems are identified and implemented using acquired essential knowledge and associated skills according to requirements. - Quality of work is monitored against personal performance agreement and/or established organizational and professional standards. - Testing of quality is undertaken according to requirements and established procedures. |
| - Complete and coordinate the investigation of issues in the quality of supply | - Final assessments of the quality of supply are undertaken to ensure they comply with all requirements and include all specifications and documentations needed to complete the supply brief. - Appropriate personnel are notified of completion and reports and/or completion documents are finalized. - Reports and/or completion documents are submitted to relevant personnel/organizations for approval and, where applicable, statutory or regulatory approval. - Approved copies of quality assessment documents are issued and records are updated in accordance with established procedures. |

| Variable | Range |
| --- | --- |
| This Competence Standard Unit shall/may be demonstrated in relation to the investigation of supply issues and may include the following: | - distribution feeders/networks - substations - transformers - HV switchgear - LV switchgear - relevant protection systems - fuses and circuit breakers |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace - procedures and practices including the use of risk control - measures - Apply sustainable energy principles and practices |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety principles - Occupational Health and Safety principles - enterprise responsibilities - Safe design principles - Test equipment – fundamentals - Test equipment E – field |
| Underpinning Skills | Demonstrates skills of: - Electrical safe working practice - Quality of supply measures |
| Resources Implication | - Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. In addition to the resources listed above, in Context of and specific resources for assessment, evidence should show demonstrated competence working realistic environment and a variety of conditions |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Coordinate and Direct Switching Program |
| Unit Code | EIS PSM5 11 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to co-ordinate and direct resources when managing a switching program. |

| Elements | Performance Criteria |
| --- | --- |
| - Prepare for switching program | - Qualifications/authorizations of personnel performing switching operations are established - Occupational health and safety standards, statutory/enterprise regulations, codes of practice and environmental requirements are identified, applied and monitored throughout the program - Contingency plans are evaluated and discussed with appropriate stakeholders and, where necessary, amendments are relayed to all relevant parties - Permits and access requirements are established prior to program commencement - Documentation is distributed to relevant parties prior to program commencement - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Direct switching program | - All parties involved in switching program are advised and directed to locations - Communication is established with all involved parties and maintained throughout duration of program - System schematic diagram or equivalent is updated as program proceeds - Access to plant is controlled in accordance with enterprise/site policy - Work groups are coordinated and directed in accordance with enterprise procedures - Permits issued are monitored and recorded in accordance with enterprise procedures - Switching program is controlled to ensure outage coincides with planned timetable |

| - Maintain dynamic integrity of system | - Switching program steps are verified before and after each operation - Steps are logged upon successful completion of each operation - System conditions/stability is constantly monitored in accordance with system requirements - Alternative program steps are quickly and accurately developed if/when unexpected problems occur |
| --- | --- |
| - Complete documentation | - Documentation is updated and equipment problems, abnormalities and status are reported and logged in accordance with enterprise/site procedures |

| Variable | Range |
| --- | --- |
| Appropriate personnel for consultation, to give or receive direction | May include: - supervisor/team leader or equivalent - power plant operations personnel or equivalent - technical and engineering officers or equivalent - maintenance staff, other operating staff or equivalent - high voltage operators - restricted high voltage operators - testers in charge - testers - recipient in charge - recipients - contractors - system/network operators |
| Safety standards | May include: - relevant sections of Occupational Health and Safety legislation, - enterprise safety rules, - relevant State and federal legislation and - national standards for plant |
| Information and documentation sources | May include: - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/site standing and operating instructions - enterprise log books - Manufacturer’s operation and maintenance manuals - equipment and alarm manuals |
| Technical and operational indicators | May include: - stimuli (audio, smell, touch, visual) - local indicators and recorders - computers - alarms (visible and or audible) |
| Communications may be by means of: | - telephone - two way radio - pager - computer (electronic mail) - operating logs (written or verbal) - faxes and reports |
| Work parties | May include: - enterprise personnel - contractors |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement - Preparing for switching programs - Directing and coordinating switching programs - Monitoring system integrity and stability |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - Switching operations and procedures - System diagrams - Systems (network) - Communication principles - Computers and software |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Communicate effectively - Acquire and analyze information relevant to system operation - Recognize abnormal plant/system operating conditions - Determine appropriate corrective actions required - Plan and prioritize work - Acquire and analyze information relevant to system operation - Recognize abnormal plant/system operating conditions - Determine appropriate corrective actions required. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Plan Scheduled Outage |
| Unit Code | EIS PSM5 12 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to plan for a scheduled outage. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify outage requirements | - Outage requirements are identified from notification of requirement, work orders or equivalent and clarified with the appropriate parties and/or site inspection - Safety issues are identified to comply with statutory enterprise and site requirements - Date, time and expected duration of outage is assessed and confirmed - Schematic diagrams, drawings, plans and/or maps are consulted to determine area affected - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training. |
| - Create outage plan | - Statistical records are consulted to ascertain most favourable time for outage - Implications of outage are identified and assessed to ascertain impact of outage - Identify key stakeholders and/or equipment affected - Current status of affected equipment and consumers is identified and assessed - Consult with all key stakeholders to determine whether contingency plans require implementation and/or timetables require review is carried out in accordance with enterprise policy - Disruptions to key consumers are minimised by providing alternative routes of supply - Scope of work to be carried out during outage is evaluated against the allocated time frame. - Types of permits required to undergo work prior to and during outage are established in accordance with enterprise procedures - Notification of requirement or other pre-emptive request is approved in accordance with enterprise procedures |
| - Implement outage plan | - Work crews are notified of the outage plan through the appropriate channels in accordance with enterprise procedures - Notification of outage is communicated to all stakeholders in accordance with enterprise procedures |
| - Complete documentation | - Documentation is updated, files and records maintained in accordance with enterprise/site procedures. |

| Variable | Range |
| --- | --- |
| Safety standards | May include: - relevant sections of Occupational Health and Safety legislation - enterprise safety rules - relevant State and federal legislation and - National standards for plant. |
| Information and documentation sources | May include: - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment; enterprise/site standing operating instructions - enterprise log books - manufacturer’s operation and maintenance manuals - Equipment and alarm manuals |
| Communications may be by means of: | - telephone - two way radio - pager - computers (electronic mail) - Operating logs (written or verbal) |
| Appropriate personnel for consultation, give or receive direction | May include: - supervisor/team leader or equivalent - power plant operations personnel or equivalent - technical and engineering officers or equivalent - maintenance staff - other operating staff or - Equivalent and system/network controllers |
| Type of scheduled outages | May be: - distribution/network H.V. bus section - generation plant - major auxiliary plant - fuel supply - L.V. switchboards - Transmissions |
| Consumers and key stakeholders | May include: - domestic customers - essential services - police - fire service - emergency services - local councils - corporate enterprises - industry - internal enterprise management - operators - controllers - maintenance personnel - contractors - independent power utilities |
| Notification | May include: - television - radio - newspaper - mail - telephone - e-mail memos and - notices |
| Documentation | May include: - operations project file - records - reports - computers - memos - notification of requirement - work orders |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Investigating and understanding implications of outage - Identifying and advising key stakeholders - Identifying outage requirements - Creating outage plans - Conducting meetings |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Environmental awareness - Relevant plant and equipment, it’s location and operating parameters - Knowledge of system/s - Consumer requirements/ commitments - Contractual obligations - Essential consumers - Computations and use of statistics - Communications principles - Computers and software |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Identify plant status - Communicate effectively - Apply data analysis techniques and tools - Plan and prioritize work - Use diagrams, drawings, plans, maps and symbols - Draft interruption notices - Communicate with public and key stake holder. |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage Operational Crisis to Maintain/Restore Power System Integrity |
| Unit Code | EIS PSM5 13 0612 |
| Unit Descriptor | This unit refers to the management of a crisis of a magnitude which affects the integrity and effectiveness of the system |

| Elements | Performance Criteria |
| --- | --- |
| - Identify crisis | - Crisis and probable implications are identified and assessed in accordance with enterprise procedures - Secondary threats to situation are identified and monitored in accordance with enterprise procedures - The system configuration and/or generation capability is evaluated in accordance with enterprise procedures - Data determining network/system and/or generation status is assessed and evaluated in accordance with enterprise procedures - External information is received, collated and assessed in accordance with enterprise procedures - Probable cause of crisis is identified from available information and resources - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Establish contingency plan | - Contingency plans are identified using relevant enterprise documentation and procedures - Requirements for additional resources are identified in accordance with enterprise procedures - Alternate contingencies to cater for crisis variations are developed in consultation with team members |
| - Establish communications | - Communication links with appropriate external authorities for coordination of their resources are established in accordance with enterprise procedures - Communication with appropriate key stake holders is established to disseminate information in accordance with enterprise procedures - Customers are dealt with in accordance with enterprise policy and procedure - Team roles, both internal and external, are identified and conveyed to appropriate personnel in accordance with enterprise procedures |
| - Manage crisis | - Response is managed in accordance with enterprise/site requirements and allowances for personnel/equipment limitations are made - Events and responses are prioritized taking into account needs of stake holders in accordance with enterprise procedures - Impact of secondary threats are identified and assessed in accordance with enterprise procedures - Contingency plans are implemented in accordance with enterprise/site policy and procedure - Additional resources are coordinated and directed in accordance with enterprise procedures - Restoration strategies are monitored, evaluated and adjusted as necessary in accordance with enterprise procedures - Systems are stabilized and integrity maintained in accordance with enterprise procedures |
| - Document and review crisis and response | - Equipment failure/problems are recorded and processed in accordance with enterprise procedures - Feedback from stake holders is recorded and analyzed in accordance with enterprise procedures - Required reports and findings are generated and distributed to appropriate personnel in accordance with enterprise procedures - Improvements to the crisis management process are recommended to the appropriate parties in accordance with enterprise procedures - Alternative contingencies are analyzed and recommendations are communicated to appropriate personnel in accordance with enterprise procedures |

| Variable | Range |
| --- | --- |
| Information and documentation sources | May include but not limited to: - verbal or written communications - enterprise safety rules documentation - enterprise operating instructions - dedicated computer equipment - enterprise/ site standing and operating instructions - enterprise log books - manufacturer’s operation and maintenance manuals - equipment and alarm manuals - external stake holder agreements |
| Communications | May be include but not limited to: - may by means of telephone - two way radio - pager - computer (electronic mail) - operating logs (written or verbal) - intercoms |
| Appropriate personnel for consultation, to give or receive direction | May include but not limited to: - supervisor/team leader or equivalent - power plant operations personnel or equivalent - technical and engineering officers or equivalent - maintenance staff - power plant operations personnel - police - fire brigade - ambulance - emergency services - interconnected equipment personnel - public relations - management - system/network controllers |
| System implications | May include but not limited to: - machine and system stability - transmission line and transformer overloading - correct tap changer position - protection settings - voltage transformer selection - synchronizing - required load shedding selected - capacitor/confessor bank selection |
| System conditions | May include but not limited to: - voltage profiles - spare plant - generation/ transmission capability limits - variation from normal trends and switching |
| Documentation | May include but not limited to: - policy - procedure - standard operating instructions - contingency plans - emergency switching programs |
| Liaison with key stake holders | May include but not limited to: - system/network controllers/coordinators - oncoming shift change - field operators - support staff - asset centers - patrolmen - customers - other government bodies - co-generation authorities - generation plant operators - on call staff - police - fire - emergency services - private systems - independent power producers |
| Post incident debrief | May include but not limited to: - probable fault/failure cause - strategic/contingency plan - environmental implications - economic factors - policy, procedure - training - safety factors - emergency switching programs |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Demonstrates skills and knowledge in: - Occupational, health and safety legislation; - Statutory legislation; - Enterprise/site safety procedures; - Enterprise/site emergency procedures - The knowledge of emergency procedures - The knowledge of the roles of external authorities/bodies - The ability to establish and control emergency situations - The ability to apply tactical decision making techniques |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant occupational health & safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Plant status - Plant operating parameters - Environmental awareness - Relevant plant and equipment, it’s location and operating parameters - Enterprise recording procedures - Equipment starting pre-requisites - Supervisory, alarm, protection and control equipment - Auxiliary plant and plant operation - Computers and software - External authorities/bodies role - Independent generators - Communication equipment - Communication principles |
| Underpinning Skills | - Demonstrates skills to: - Apply relevant occupational health & safety regulations - Apply relevant statutory legislation - Apply relevant enterprise/site safety procedures - Apply enterprise/site emergency procedures and techniques - Apply enterprise recording procedures - Locate relevant plant and equipment - Operate plant within design parameters - Identify plant status - Communicate effectively - Apply diagnostic techniques - Apply data analysis techniques and tools - Recognize abnormal plant operating conditions - Apply or determine appropriate - corrective actions required - Plan and priorities work - Maintain generator unit integrity - Interpret remote indication of plant status and condition - Use plans, diagrams, drawings and symbols - Delegate to and manage staff - Apply stress management techniques |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Conduct Project Management |
| Unit Code | EIS PSM5 14 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to plan, implement, monitor and complete project work. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare | - Work scope, desired outcomes, budget and key dates are identified - Required resources and clients are identified, availability assessed, and allocated for effective management and completion of the project - The preparation of technical specifications is coordinated and achieved within key dates - Agreements with service providers and clients is coordinated and established within key dates - An integrated overview plan is prepared and distributed for review by personnel involved in and/or influenced by the project - Areas for potential over-run and resource complications are assessed - Availability of up to date documentation, materials and equipment as referred to in specification, is ensured - Communication processes such as regular meetings are organized to meet the needs of project clients/customers and service providers - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Coordinate project plan | - Plant isolation and access requirements are coordinated in accordance with statutory, industry and enterprise/site standards - Specialist equipment and/or personnel are coordinated to achieve desired project outcomes - Communication processes are executed to ensure adequate information flow - Project progress and costs are regularly reviewed and compared with base-line plans - Deviations from plan are identified and actions taken to recover original project program - Deviations from original program requirements are reported to the appropriate personnel and when appropriate direction is sought - Project is regularly reviewed in relation to safety, quality, resources, time frame, costs and equipment |
| - Documentation | - Quality assurance documents and outage reports are provided in accordance with statutory and enterprise/site requirements - Plant and maintenance records are updated in accordance with enterprise/site requirements - Plant availability is declared on completion of the project - Project completion is reviewed against the established plan, and opportunities for future improvement are established and documented |

| Variable | Range |
| --- | --- |
| Resources | - May include: - service providers - materials - plant - equipment - tools - finances and - specialists. |
| Project management | May include: - a set of interrelated activities, with defined start and end dates, designed to achieve a unique and common objective; - the planning, organizing, monitoring and controlling of all aspects of a project in a continuous process to achieve its objectives, both internal and external; and - major project work. |
| Documentation | May include: - job cards - budgets - cost centers - check sheets - safety rule procedures - plant records - drawings - quality assurance procedures and documentation - maintenance procedures and outage reports - codes of practice, and - contract specifications. |
| Service providers | May include but are not limited to: - internal staff and specialists - external specialists - contractors and contract specialists. |
| Finalization of work agreements | May include but are not limited to: - procurement procedures for period orders - fixed price and/or variable contracts - proprietary line contractors - internal and external service agreements and local/contract staff commitments.. |
| Work performed to be in accordance with: | - legislation and relevant codes of practice - Occupational Health and Safety - assurance (relevant Ethiopian standard) and - environmental legislation. |
| Coordination | May include: - supplementary personnel - clients - service providers - plant and - equipment. |
| Plant and equipment storage requirements | May depend on: - length of the project and plant needs |

| Evidence Guide |  |
| --- | --- |
| Critical aspects of Competence | Assessment requires evidence that the candidate able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Demonstrate performance across a representative range of contexts from the prescribed items below: - Knowledge and application of relevant sections of: - Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures - Knowledge of project management principles, the ability to apply project management principles, Business principles, Performing project management, Communicating effectively |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant Occupational Health and Safety regulations - Relevant statutory legislation - Relevant enterprise/site safety procedures - Enterprise/site emergency procedures and techniques - Environmental awareness and procedures - Codes of practice - Location of relevant plant and equipment - Enterprise recording procedures - Quality assurance and control procedures - Plant and related systems - Re commissioning procedures - Enterprise financial and contractual procedures - Project management principles and concepts - Work scope coordination and preparation - Human resource management principles - Time management principles - Communication principles - Contractual principles |
| Underpinning Skills | Demonstrates skills to: - Apply relevant Occupational Health and Safety regulations - Apply relevant statutory legislation - Apply enterprise/site emergency procedures and techniques - Locate relevant plant and equipment - Identify interactions and conflict of plant and work scope - Respond to deviations from original plans - Apply quality assurance/quality control procedures - Work scope coordination and preparation - Manage human resources - Communicate effectively - Apply contractual procedures - Monitor income and expenditure - Manage time and resources - Apply project management principles - Contribute to/prepare project plans - Coordinate a project plan |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Deliver and Monitor Service to Customers |
| Unit Code | EIS PSM5 15 0612 |
| Unit Descriptor | This unit describes the performance outcomes, skills and knowledge required to identify customer needs and monitor service provided to customers. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify customer needs | - Use appropriate interpersonal skills to accurately identify and clarify customer needs and expectations - Assess customer needs for urgency to determine priorities for service delivery in accordance with organizational requirements - Use effective communication to inform customers about available choices for meeting their needs and assist in the selection of preferred options - Identify limitations in addressing customer needs and seek appropriate assistance from designated individuals |
| - Deliver a service to customers | - Provide prompt service to customers to meet identified needs in accordance with organizational requirements - Establish and maintain appropriate rapport with customers to ensure completion of quality service delivery - Sensitively and courteously handle customer complaints in accordance with organizational requirements - Provide assistance or respond to customers with specific needs in accordance with organizational requirements - Identify and use available opportunities to promote and enhance services and products to customers |
| - Monitor and report on service delivery | - Regularly review customer satisfaction with service delivery using verifiable evidence in accordance with organizational requirements - Identify opportunities to enhance the quality of service and products, and pursue within organizational requirements - Monitor procedural aspects of service delivery for effectiveness and suitability to customer requirements - Regularly seek customer feedback and use to improve the provision of products and services - Incorporate evidence of customer satisfaction in decisions to modify products or services, ensuring they are within organizational requirements - Ensure reports are clear, detailed and contain recommendations focus on critical aspects of service delivery |

| Variable | Range |
| --- | --- |
| Appropriate interpersonal skills. | May include: - listening actively to what the customer is communicating - providing an opportunity for the customer to confirm their request - questioning to clarify and confirm customer needs - seeking feedback from the customer to confirm understanding of needs - summarizing and paraphrasing to check understanding of customer message - using appropriate body language |
| Customers. | May include: - corporate customers - individual members of the organization - individual members of the public - internal or external - other agencies |
| Customer needs and expectations. | May include: - accuracy of information - advice or general information - complaints - fairness/politeness - further information - making an appointment - prices/value - purchasing organization’s products and services - returning organization’s products and services - specific information |
| Organizational requirements. | May include: - access and equity principles and practice - anti-discrimination and related policy - defined resource parameters - goals, objectives, plans, systems and processes - legal and organizational policies, guidelines and requirements - OHS policies, procedures and programs payment and delivery options - pricing and discount policies - quality and continuous improvement processes and standards - quality assurance and/or procedures manuals - replacement and refund policy and procedures - who is responsible for products or services |
| Effective communication | May include: - giving customers full attention - maintaining eye contact, except where eye contact may be culturally inappropriate - speaking clearly and concisely - using active listening techniques - using appropriate language and tone of voice - using clear written information/communication - using non-verbal communication e.g. body language, personal presentation (for face-to-face interactions) - using open and/or closed questions |
| Designated individuals | May include: - colleagues - customers - line management - supervisor |
| Customer complaints | May include: - administrative errors such as incorrect invoices or prices - customer satisfaction with service quality - damaged goods or goods not delivered - delivery errors - product not delivered on time - service errors - warehouse or store room errors such as incorrect product delivered |
| Specific needs of customers | May relate to: - age - beliefs/values - culture - disability - gender - language - religious/spiritual observances |
| Opportunities to promote and enhance services and products | May include: - extending time lines packaging procedures - procedures for delivery of goods - returns policy - system for recording complaints - updating customer service charter |
| Verifiable evidence | May include: - customer satisfaction questionnaires - audit documentation and reports - quality assurance data - returned goods - lapsed customers - service calls - complaints |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate able to: - identify needs and priorities of customers - distinguish between different levels of customer satisfaction - treat customers with courtesy and respect - respond to and reporting on, customer feedback - demonstrate knowledge of organizational policy and procedures for customer service |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - key provisions of relevant legislation from all levels of government that may affect aspects of business operations, such as: - anti-discrimination legislation - ethical principles - codes of practice - privacy laws - financial legislation - occupational health and safety (OHS) - organizational policy and procedures for customer service including handling customer complaints - service standards and best practice models - public relations and product promotion - techniques for dealing with customers, including customers with specific needs |
| Underpinning Skills | Demonstrates skills of: - literacy to read and understand a variety of texts; to prepare general information and papers according to target audience; and to edit and proofread texts to ensure clarity of meaning and accuracy of grammar and punctuation - technology s to select and use technology appropriate to a task - communication skills to monitor and advise on customer service strategies - problem-solving to deal with customer enquiries or complaints - analytical skills to identify trends and positions of products and services |
| Resources Implication | Assessment must ensure: - access to an actual workplace or simulated environment - access to office equipment and resources - examples of customer complaints - examples of documents relating to customer service standards and policies. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage Commissioning/ Decommissioning |
| Unit Code | EIS PSM5 16 0612 |
| Unit Descriptor | This unit deals with the skills and knowledge required to undertake the management of commissioning of plant and equipment and its subsequent decommissioning. It may also involve the decommissioning and re commissioning of plant and equipment for refurbishment. |

| Elements | Performance Criteria |
| --- | --- |
| - Plan and prepare for the work | - Work requirements are identified from request/work orders or equivalent and clarified/confirmed with appropriate parties or by site inspection - Occupational health and safety standards, statutory requirements, relevant local standards, codes of practice, manufacturers’ specifications, environmental requirements and enterprise procedures are identified, applied and monitored throughout the work procedure - Resources required to satisfy the work plan are identified, obtained and inspected for compliance with the job specifications - Relevant plans, drawings and texts are selected and interpreted in accordance with the work plan - Correct size, type and quantity of materials/components are determined, obtained and inspected for compliance with the job specifications - Work is planned in detail including sequencing and prioritizing and considerations made where appropriate for the maintenance of plant security and capacity in accordance with system/site requirements - Coordination requirements, including requests for isolations where appropriate, are resolved with others involved, affected or required by the work - Potential hazards are identified and prevention and/or control measures are selected in accordance with the work plan and site procedures - Work area is prepared in accordance with work requirements and site procedures plan and prepare for the work - Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |
| - Commission plant or equipment | - Required isolations are confirmed where appropriate in accordance with site requirements - Equipment is commissioned in conjunction with others involved in, or affected by, the work in accordance with the work plan - Equipment is connected to energy and/or material sources in accordance with the work plan - Equipment is commissioned in accordance with the work plan and specifications |
| - Decommission plant or equipment | - Required isolations are confirmed where appropriate in accordance with site requirements - Equipment is decommissioned in conjunction with others involved in, or affected by, the work, in accordance with the work plan - Equipment is disconnected from energy and/or material sources in accordance with the work plan |
| - Remove the plant or equipment | - Required isolations are confirmed, where appropriate, in accordance with site requirements - Removal of plant or equipment is carried out in conjunction with others involved in, or affected by, the work in accordance with the work plan - Removal of plant or equipment is carried out, mindful of the effect on other plant or structures, in accordance with the work plan - Unused electrical conductors are isolated and terminated in accordance with the work plan Other sources of energy or material are terminated and blanked in accordance with the work plan |
| - Re-commission the plant or equipment | - Sequence for re-commissioning procedures are strictly adhered to in accordance with the work plan - Plant or equipment performance is monitored using appropriate methods and test equipment in accordance with the work plan - Data is collected, interpreted and referenced against specifications and variances recorded - Plant or equipment is adjusted to specifications using appropriate techniques in accordance with the work plan - Final inspections and performance data collected to ensure compliance with specifications |
| - Complete the work | - Work is completed and appropriate personnel notified in accordance with site/enterprise requirements - Work area is cleared of waste, cleaned, restored and secured in accordance with site/enterprise procedures - Plant, tools and equipment are maintained and stored in accordance with site/enterprise procedures - Work completion details are finalized in accordance with site/enterprise procedures |

| Variable | Range |
| --- | --- |
| Energy sources may include: | - electrical - hydraulic - pneumatic - oil - gas and - water |
| Plant may include: | - a complete generating set, e.g. boiler and associated systems - turbine and auxiliaries - a sub-system, e.g. mill, conveyor, draught fan - electrical / electronic equipment - hydraulic and pneumatic; and water treatment |
| Specifications or reference documentation includes: | - operating - maintenance procedures - manuals, - drawings - original equipment manufacturer data - statutory requirements and - standards |

| Evidence Guide |  |
| --- | --- |
| Critical aspects of Competence | Assessment requires evidence that the candidate able to: - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures - Apply sustainable energy principles and practices - Demonstrate performance across a representative range of contexts from the prescribed items below: - Knowledge and application of relevant sections of: - Occupational Health and Safety legislation; - Statutory legislation; Enterprise/site safety procedures; - Enterprise/site emergency procedures - Isolation procedures - Decommissioning procedures - Re-commissioning procedures - Communication principles |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Occupational Health and Safety standards - Relevant Statutory requirements and codes of practice - Environmental policies/requirements - Isolation procedures - Decommissioning procedures - Re-commissioning procedures - Test and measurement equipment - Relevant plant or equipment - Communication principles |
| Underpinning Skills | Demonstrates skills to: - Apply Occupational Health and Safety standards - Apply relevant statutory requirements and codes of practice - Apply environmental policies/requirements - Apply isolation procedures - Apply decommissioning procedures - Apply re-commissioning procedures - Use test and measuring equipment - Analyze relevant data - Identify relevant plant or equipment - Communicate effectively |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. In addition to the resources listed above in Context of assessment’, evidence should show competence working, in limited spaces, with different types of plant and equipment as well as different structural/construction types and method and in a variety of environments. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage Quality Systems and Procedures |
| Unit Code | EIS PSM5 17 0612 |
| Unit Descriptor | This unit covers the skills and knowledge to manage a quality system and procedures. |

| Elements | Performance Criteria |
| --- | --- |
| - Develop or manage quality assurance system | 1.1 Quality assurance policy is established, documented and communicated to all levels of the workplace. 1.2 Sampling techniques are developed that reflect needs of workplace and product. 1.3 Quality circles and other relevant aspects of quality assurance systems are established or maintained. 1.4 Facilitation for monitoring of work teams is organized to ensure compliance with standards. 1.5 Quality assurance system is developed and maintained. 1.6 Quality standards and regulations are identified and relevance to specific products is determined. |
| - Determine resource requirements | 2.1 Strategic planning is assessed to facilitate achievement of quality policy. 2.2 Resources are determined and allocated to meet requirements. 2.3 External quality assessment requirements are determined. |
| - Plan development of quality procedures | 3.1 Quality procedure requirements are determined through consultation with internal and external groups. 3.2 Product performance requirements are determined through consultation. 3.3 Development of procedures is planned to ensure quality system is maintained. 3.4 OHS practices are accommodated in quality procedures. |
| - Establish implementation and review strategies | 4.1 Implementation strategies are established to meet workplace objectives. 4.2 Reviews of quality system are undertaken or arranged at appropriate intervals and appropriate action to ensure its continuity, suitability and effectiveness initiated. |
| - Evaluate system implementation | 5.1 Implementation of system is evaluated and its effectiveness and level of support for internal improvement programs assessed. 5.2 Results are assessed and changes to system are authorised and necessary action is taken. |
| - Maintain records | 6.1 Records are maintained and reports prepared. |

| Variable | Range |
| --- | --- |
| Legislative /regulatory requirements | All work must comply with relevant Federal and State or Territory legislative or regulatory requirements. |
| Aspects of quality assurance systems may include: | - developing and managing the system - planning procedures development - conducting audits and monitoring performance |
| Quality standards and regulations may include: | - sizing - labelling - fire rating - Relevant Ethiopian Standards |
| OHS practices include: | - hazard identification and control, |
| Risk assessment and implementation of risk reduction measures specific to the tasks described by this unit, and may relate to: | - manual handling techniques - standard operating procedures - personal protective equipment - safe materials handling - taking of rest breaks - Ergonomic arrangement of workplaces - following marked walkways - safe storage of equipment - housekeeping - reporting accidents and incidents - environmental practices |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate able to: demonstrate skills and knowledge to: - ensure relevant personnel are aware of quality assurance system and procedures - monitor quality performance of work teams and ensure compliance - allocate resource requirements - determine quality requirements - implement quality improvement strategies - evaluate and assess effectiveness of quality system and procedures - maintain accurate records |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - principles of quality management and their application - delegation of responsibilities within quality systems - appropriate quality methodologies, their capabilities, limitations, applicability and contribution to outcomes - sampling techniques - quality standards and practices - OHS practices, including hazard identification and control measures - workplace practices - recording and reporting practices |
| Underpinning Skills | Demonstrates skills to: - establish and manage a quality system and procedures - determine implementation requirements and prepare implementation plan - monitor performance - investigate and apply methods to eliminate causes of unsatisfactory performance - assess results - prepare reports - communicate effectively within the workplace, including liaising with other departments - establish or interpret procedures, where required - determine report requirements and present information in appropriate formats - read, interpret and follow information on work specifications, standard operating procedures and work instructions, and other reference material - maintain accurate records - communicate within the workplace - sequence operations - meet specifications - clarify and check task-related information - carry out work according to OHS practices |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting. |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Provide Leadership in the Workplace |
| Unit Code | EIS PSM5 18 0612 |
| Unit Descriptor | Frontline management has an important leadership role in the development of the organisation. This will be evident in the way they work with teams and individuals, their standard of conduct and the initiative they take in influencing others. At this level, work will normally be carried out within complex and diverse methods and procedures which require the exercise of considerable discretion and judgement, using a range of problem solving and decision making strategies. |

| Elements | Performance Criteria |
| --- | --- |
| - Model high standards of management performance and behavior | - Management performance and behaviour meets the organisation's requirements - Management performance and behaviour serves as a positive role model for others - Performance plans are developed and implemented in accordance with the organisation's goals and objectives - Key performance indicators are established and used to meet the organization’s goals and objectives |
| - Enhance the organisation's image. | - The organisation's standards and values are used in conducting business - Standards and values considered to be damaging to the organisation are questioned through established communication channels - Personal performance contributes to developing an organisation which has integrity and credibility |
| - Influence individuals and teams positively | - Expectations, roles and responsibilities are communicated in a way which encourages individuals/teams to take responsibility for their work - Individual's/team's efforts and contributions are encouraged, valued and rewarded - Ideas and information receive the acceptance and support of colleagues |
| - Make informed decisions | - Information relevant to the issue(s) under consideration is gathered and organised - Individuals/teams participate actively in the decision making processes - Options are examined and their associated risks assessed to determine preferred course(s) of action - Decisions are timely and communicated clearly to individuals/teams - Plans to implement decisions are prepared and agreed by relevant individuals/teams - Feedback processes are used effectively to monitor the implementation and impact of decisions |

| Variable | Range |
| --- | --- |
| Frontline management will normally be engaged in a workplace context where they: | - Engage in tactical and operational planning within the organisation's strategic plans. For example, prepares an annual tactical plan for a department - Take responsibility for own outputs in relation to broad quantity and quality parameters. For example, evaluates own annual performance against personal work plans and the organisation's standards - Take limited responsibility for the achievement of group outcomes. For example, reviews group performance against plans and prepares in consultation with the group a performance improvement strategy - Demonstrate understanding of a broad knowledge base incorporating theoretical concepts, with substantial depth in some areas. For example, understands in depth the principles and techniques of performance management - Transfer and apply theoretical concepts and/or technical or creative skills to a range of situations. For example, researches, negotiates and establishes protocols for customer service for the department - Analyse and plan approaches to technical problems or management requirements. For example, given the work team's inability to achieve planned outcomes/outputs, analyses the team's performance and develops strategies with the team to rectify the situation - Evaluate information using it to forecast for planning or research purposes. For example, the organisation's goals and strategic and tactical plans are analysed in preparation for the preparation of the department's annual operational plan |
| Frontline management at this level normally operate in a relatively diverse and complex workplace environment in which they use the organisation's: | - goals, objectives, plans, systems and processes - quality and continuous improvement processes and standards - access and equity principles and practice - business and performance plans - resources, which may be subject to negotiation - ethical standards |
| They may use legislation, codes and national standards relevant to the workplace including: | - award and enterprise agreements - commonwealth and state/territory legislative requirements especially in regard to Occupational Health and Safety - industry codes of practice |
| Organisation's requirements will be: | - Expressed in written documentation and orally. They will normally be expressed in terms of goals, plans, processes and procedures. The requirements also include the culture and standards demonstrated by the organisation |
| The organisation's standards and values will be: | - stated or implied by the way the organisation conducts its business |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Displays high standards of leadership - Demonstrates a positive influence on others - Uses effective consultative processes - Makes soundly researched decisions |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - Relevant legislation from all levels of government that affects business operation, especially in regard to Occupational Health and Safety and environmental issues, equal opportunity, industrial relations and anti-discrimination - The principles and techniques associated with: - leading people - preparing performance plans - establishing key performance indicators - influencing others - establishing effective consultative processes - making decisions - The characteristics of a positive role model - The types of actions which uphold the organisation's image |
| Underpinning Skills | Demonstrates skills to: - Functional literacy to use written and oral information about workplace requirements - Communication including receiving and analysing feedback and reporting - Accessing and interpreting the organisation's standards and values - Research and analytical skills to interpret data - Planning and organising to meet work priorities - Monitoring and introducing practices to improve work performance - Being a positive influence on colleagues - Use information systems to advantage - Use feedback to achieve positive outcomes - Use coaching and mentoring skills to provide support to colleagues - Ability to relate to people from a range of social, cultural and ethnic backgrounds and physical and mental abilities |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Ensure Team Effectiveness |
| Unit Code | EIS PSM5 19 0612 |
| Unit Descriptor | This unit specifies the outcomes required by frontline managers to facilitate all aspects of team work within the organisation. It involves taking a leadership role in the development of team plans, leading and facilitating team work and actively engaging with the management of the organisation. |

| Elements | Performance Criteria |
| --- | --- |
| - Establish team performance plan | - Team members are consulted to establish team purpose, roles, responsibilities and accountabilities in accordance with organisational goals, plans and objectives - Performance plans are developed in consultation with team members, to establish expected outcomes, outputs, key performance indicators and goals for work team - Team members are supported in meeting expected performance outcomes |
| - Develop and facilitate team cohesion | - Strategies are developed to ensure team members have input into planning, decision making and operational aspects of work team - Policies and procedures are developed to ensure team members take responsibility for own work and assist others to undertake required roles and responsibilities - Feedback is provided to team members to encourage, value and reward individual and team efforts and contributions - Processes are developed to ensure that issues, concerns and problems identified by team members are recognised and addressed |
| - Facilitate team work | - Team members and individuals are encouraged to participate in and take responsibility for team activities, including communication processes - The team is supported in identifying and resolving work performance problems - Own contribution to work team serves as a role model for others and enhances the organisation's image to all stakeholders |

| - Liaise with stakeholders | - Open communication processes with all stakeholders are established and maintained - Information from line manager/management is communicated to the team - Unresolved issues, concerns and problems raised by team members are communicated to, and followed up with, line manager/management and other relevant stakeholders - Unresolved issues, concerns and problems raised by internal or external stakeholders are evaluated, and necessary corrective action taken |
| --- | --- |

| Variable | Range |
| --- | --- |
| Legislation, codes and national standards relevant to the workplace | May include: - award and enterprise agreements and relevant industrial instruments - relevant legislation from all levels of government that affects business operation, especially in regard to occupational health and safety (OHS) and environmental issues, equal opportunity, industrial relations, anti-discrimination and record keeping standards and legislation - relevant industry codes of practice |
| Accountabilities Performance plans | May refer to: - a statement of conduct outlining responsibilities/actions/performance - responsibilities as defined in position descriptions, codes of conduct/behaviour, duty statements or similar |
|  | May refer to: - team plans based on work assignments and responsibilities - individual performance plans linked to team goals |
| Outcomes, outputs, key performance indicators | May refer to agreed: - measures for monitoring and evaluating the efficiency or effectiveness of systems or services - targets for productivity improvements such as reduced downtime, higher production levels, decreases in absenteeism - improved individual and team performance and participation - improvements to systems, operations - changes in work roles and responsibilities - quality standards and expectations - targets for training and development |
| Strategies | May refer to: - long-term or short-term plans factoring in opportunities for team input - mentoring and 'buddy' systems to support team members in providing input - clarification of roles and expectations - training and development activities - electronic communication devices and processes, such as intranet and email communication systems, to facilitate input - newsletters and briefings |
| Policies and procedures | May refer to: - organisational guidelines and systems that govern operational functions - procedures that detail the activities that must be carried out for the completion of actions and tasks - Standard Operating Procedures |
| Processes | May refer to: - discussions with individuals regarding their concerns - brainstorming options with the team for addressing concerns - creating a matrix of issues and concerns and distributing it for comment - distributing drafts for comment with a range of options for resolution of concerns - training and development sessions |
| Stakeholders | May include: - the work team - Board members - union/employee groups and representatives - business or government contacts - funding bodies |
| Line manager/management | May refer to: - frontline manager's direct superior - other management representatives - the Chief Executive Officer |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate must be able to provide evidence that they are able to: - demonstrate leadership in developing plans, - leading and facilitating team work and - actively engaging with stakeholders - actively promote team work which is supported and encouraged within the work team; and - served as a role model for others and enhances the organisation's image |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - relevant legislation from all levels of government that affects business operation, especially in regard to occupational health and safety and environmental issues, equal opportunity, industrial relations and anti-discrimination - organisational policies and procedures - organisational goals, objectives and plans - organisational structure and organisational chart - the principles and techniques involved in: - contingency planning - performance planning - problem identification and resolution - consultation and communication - record keeping and management - relationship management including motivation and negotiation - group dynamics, processes and politics - methods for collecting and utilising feedback development of strategies, processes and procedures to facilitate and monitor team effectiveness - learning and development options available within and through organisation - strategies that contribute to the elimination of discrimination/bias |
| Underpinning Skills | Demonstrates skills to: - ability to relate to people from a range of social, cultural and ethnic backgrounds and physical and mental abilities - communication skills - basic training, including mentoring and coaching - planning and organising - problem solving - leadership - identify needs, goals and aspirations of others - group facilitation skills - attributes: - assertive - persuasive - empathic - communicative - showing positive leadership - self-aware - supportive - trusting - open - flexible - accommodating - initiating - loyal - recognising achievement - fair - adaptable |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Facilitate Continuous Improvement |
| Unit Code | EIS PSM5 20 0612 |
| Unit Descriptor | This unit describes the performance outcomes, skills and knowledge required to lead and manage continuous improvement systems and processes. Particular emphasis is on the development of systems and the analysis of information to monitor and adjust performance strategies, and to manage opportunities for further improvements. |

| Elements | Performance Criteria |
| --- | --- |
| - Lead continuous improvement systems and processes | - Develop strategies to ensure that team members are actively encouraged and supported to participate in decision making processes, and to assume responsibility and exercise initiative as appropriate - Establish systems to ensure that the organization’s continuous improvement processes are communicated to all stakeholders - Develop effective mentoring and coaching processes to ensure that individuals and teams are able to implement and support the organization’s continuous improvement processes |
| - Monitor and adjust performance strategies | - Develop strategies to ensure that systems and processes are used to monitor operational progress and to identify ways in which planning and operations could be improved - Adjust and communicate strategies to all stakeholders according to organizational procedures |
| - Manage opportunities for further improvement | - Establish processes to ensure that team members are informed of outcomes of continuous improvement efforts - Ensure processes include documentation of work team performance to aid the identification of further opportunities for improvement - Consider areas identified for further improvement when undertaking future planning |

| Variable | Range |
| --- | --- |
| Strategies | May refer to: - clarification of roles and expectations - communication devices and processes, such as intranet and email communication systems, to facilitate input into workplace decisions - long-term or short-term plans factoring in opportunities for team input - mentoring and 'buddy' systems to support team members to participate in decision making - performance plans - reward/recognition programs for high performing staff - training and development activities |
| Systems | May refer to: - forums, meetings - newsletters and reports - policies and procedures - web-based communication devices |
| Continuous improvement processes | May include: - cyclical audits and reviews of workplace, team and individual performance - evaluations and monitoring of effectiveness - modifications and improvements to systems, processes, services and products - policies and procedures which allow an organization to systematically review and improve the quality of its products, services and procedures - seeking and considering feedback from a range of stakeholders |
| Operational progress | May refer to: - customer service indicators - occupational health and safety indicators - productivity gains - success in meeting agreed goals and performance indicators |
| Stakeholders | May include: - business or government contacts - funding bodies - individuals within the work team - internal and external contacts - organization’s clients and customers - professional associations - senior management and board members - unions/employee groups |
| Documentation of work team performance | May include: - annotated performance plans - quantitative data such as production figures - recommendations for improvement - records and reports |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Evidence of the following is essential: - examples of strategies and approaches to improve work outcomes or organizational functioning - methods for monitoring performance and customer service - knowledge of continuous improvement models |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - continuous improvement models - quality systems |
| Underpinning Skills | Demonstrates skills to: - innovation and lateral thinking skills to design better ways for achieving work outcomes - leadership skills to gain the confidence and trust of others - communication skills to communicate opportunities for improvement, and to coach and mentor staff |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Observation/Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage Workplace Information System |
| Unit Code | EIS PSM5 21 0612 |
| Unit Descriptor | This unit specifies how identifying, acquiring, analysing and using appropriate information plays a significant part in the efficiency and effectiveness of the individual's/ team's/organisation's performance. At this level, work will normally be carried out within complex and diverse methods and procedures which require the exercise of considerable discretion and judgement, using a range of problem solving and decision making strategies. |

| Elements | Performance Criteria |
| --- | --- |
| - Identify and source information needs | - The information needs of teams is determined and the sources are identified - Information held by the organisation is acquired and reviewed to determine suitability and accessibility - Plans are prepared to obtain information which is not available/accessible within the organization |
| - Collect, analyze and report information | - Collection of information is timely and relevant to the needs of teams - Information is in a format suitable for analysis, interpretation and dissemination - Information is analysed to identify and report relevant trends and developments in terms of the needs for which it was acquired |
| - Use management information systems | - Management information systems are used effectively to store and retrieve data for decision making - Technology available in the work area is used to manage information effectively - Recommendations for improving the information system are submitted to designated persons/groups |
| - Prepare business plan/budgets | - Teams are involved in business plans and/or budget preparation in a way which uses their contribution effectively and gains their support for the outcomes - Business plans and/or budgets are prepared and presented in accordance with the organisation's guidelines and requirements - Contingency plans are prepared in the event that alternative action is required |

| - Prepare resource proposals | - Resource planning data is collected in consultation with colleagues, including those who have a specialist role in resource management - Estimates of resource needs and use reflects the organisation's business plans, and customer and supplier requirements - Proposals to secure resources are supported by clearly presented submissions describing realistic options, benefits, costs and outcomes |
| --- | --- |

| Variable | Range |
| --- | --- |
| Frontline management will normally be engaged in a workplace context where they: | - Engage in tactical and operational planning within the organisation's strategic plans. For example, prepares an annual tactical plan for a department - Take responsibility for own outputs in relation to broad quantity and quality parameters. For example, evaluates own annual performance against personal work plans and the organisation's standards - Take limited responsibility for the achievement of group outcomes. For example, reviews group performance against plans and prepares in consultation with the group a performance improvement strategy - Demonstrate understanding of a broad knowledge base incorporating theoretical concepts, with substantial depth in some areas. For example, understands in depth the principles and techniques of performance management - Transfer and apply theoretical concepts and/or technical or creative skills to a range of situations. For example, researches, negotiates and establishes protocols for customer service for the department - Analyse and plan approaches to technical problems or management requirements. For example, given the work team's inability to achieve planned outcomes/outputs, analyses the team's performance and develops strategies with the team to rectify the situation - Evaluate information using it to forecast for planning or research purposes. For example, the organisation's goals and strategic and tactical plans are analysed in preparation for the preparation of the department's annual operational plan |
| Frontline management at this level normally operate in a relatively diverse and complex workplace environment in which they use the organisation's: | - goals, objectives, plans, systems and processes - quality and continuous improvement processes and standards - access and equity principles and practice - business and performance plans - resources, which may be subject to negotiation - ethical standards |
| They may use legislation, codes and national standards relevant to the workplace including: | - award and enterprise agreements - commonwealth and state/territory legislative requirements especially in regard to Occupational Health and Safety - industry codes of practice |
| Information | May be: - available in writing or verbally, held in computer or in manual systems, available internally or externally |
| Technology will be | - that readily available in the workplace and be appropriate to frontline management's roles and responsibilities |
| Designated persons/groups includes | - those who have the authority to make decisions and/or recommendations about information systems |
| Resources | May include: - for example, people, power/enEISy, information, finance, buildings/facilities, equipment, technology, time |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment requires evidence that the candidate: - Accesses, uses and communicates workplace information - Provides feedback on how to improve the management information system - Researches and prepares financial and resource plans/proposals |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - At this level the learner must demonstrate understanding of a broad knowledge base incorporating theoretical concepts, with substantial depth in some areas. - Underpinning knowledge relates to the essential knowledge and understanding a person needs to perform work to the required standard - Relevant legislation from all levels of government that affects business operation, especially in regard to Occupational Health and Safety and environmental issues, equal opportunity, industrial relations and anti-discrimination - The principles and techniques of: - workplace information systems - business plans/budgets - resource proposals - The basic financial concepts in business plans/budgets - The methods to gain efficiency in resource management |
| Underpinning Skills | Demonstrates skills to: - Functional literacy to access and use workplace information - Communication including information collection, analysis and interpretation and reporting - Identifying information requirements of the team - Managing information to achieve goals and results - Researching information - Improving information usage in decision making - Preparing information in a format for use by colleagues - Using coaching and mentoring skills to provide support to colleagues - Accessing technology to extract/input information - Ability to relate to people from a range of social, cultural and ethnic backgrounds and physical and mental abilities |
| Resources Implication | Access is required to real or appropriately simulated situations, including work areas, materials and equipment, and to information on workplace practices and OHS practices. |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation / Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Facilitate and Capitalize on Change and Innovation |
| Unit Code | EIS PSM5 22 0612 |
| Unit Descriptor | This unit specifies the outcomes required to plan and manage the introduction and facilitation of change; particular emphasis is on the development of creative and flexible approaches, and on managing emerging opportunities and challenges. |

| Elements | Performance Criteria |
| --- | --- |
| - Participate in planning the introduction and facilitation of change | - Manager contributes effectively to the organization’s planning processes to introduce and facilitate change - Plans to introduce change are made in consultation with appropriate stakeholders - Organization’s objectives and plans to introduce change are communicated effectively to individuals and teams |
| - Develop creative and flexible approaches and solutions | - Variety of approaches to managing workplace issues and problems are identified and analyzed - Risks are identified and assessed, and action initiated to manage these to achieve a recognized benefit or advantage to the organization - Workplace is managed in a way which promotes the development of innovative approaches and outcomes - Creative and responsive approaches to resource management improve productivity and services, and/or reduce costs |
| - Manage emerging challenges and opportunities | - Individuals and teams are supported to respond effectively and efficiently to changes in the organization’s goals, plans and priorities - Coaching and mentoring assist individuals and teams to develop competencies to handle change efficiently and effectively - Opportunities are identified and taken as appropriate, to make adjustments and to respond to the changing needs of customers and the organization - Information needs of individuals and teams are anticipated and facilitated as part of change implementation and management - Recommendations for improving the methods and techniques to manage change are identified, evaluated and negotiated with appropriate individuals and groups |

| Variables | Range |
| --- | --- |
| Manager | - a person with frontline management roles and responsibilities, regardless of the title of their position |
| Appropriate stakeholders may refer to: | those individuals and organizations who have a stake in the change and innovation being planned, including: - organization directors and other relevant managers - teams and individual employees who are both directly and indirectly involved in the proposed change - union/employee representatives or groups - OHS committees - other people with specialist responsibilities - external stakeholders where appropriate - such as clients, suppliers, industry associations, regulatory and licensing agencies |
| Risks may refer to: | - any event, process or action that may result in goals and objectives of the organization not being met - any adverse impact on individuals or the organization - various risks identified in a risk management process |
| Information needs may include: | - new and emerging workplace issues - implications for current work roles and practices including training and development - changes relative to workplace legislation, such as OHS, workplace data such as productivity, inputs/outputs and future projections - planning documents - reports - market trend data - scenario plans - customer/competitor data |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | Assessment must show evidence that the candidate: - Planning the introduction and facilitation of change - Developing creative and flexible approaches and solutions - Managing emerging challenges and opportunities |
| Underpinning Knowledge and Attitudes | - Relevant legislation from all levels of government that affects business operation, especially in regard to occupational health and safety and environmental issues, equal opportunity, industrial relations and anti-discrimination - the principles and techniques involved in: - change and innovation management - development of strategies and procedures to implement and facilitate change and innovation - use of risk management strategies: identifying hazards,assessing risks and implementing risk control measures - problem identification and resolution - leadership and mentoring techniques - management of quality customer service delivery - consultation and communication techniques - record keeping and management methods - the sources of change and how they impact - factors which lead/cause resistance to change - approaches to managing workplace issues |
| Underpinning Skills | Demonstrate skills on: - Communication skills - Planning work - Managing risk |
| Resources Implication | The following resources must be provided: - Workplace or fully equipped assessment location with necessary tools, equipment and consumable materials |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Observation/Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the work place or in a simulated work place setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Manage Project Quality |
| Unit Code | EIS PSM5 23 0612 |
| Unit Descriptor | This unit specifies the outcomes required to manage quality within projects. It covers determining quality requirements, implementing quality assurance processes, and using review and evaluation to make quality improvements in current and future projects. |

| Elements | Performance Criteria |
| --- | --- |
| 1. Determine quality requirements | - Quality objectives, standards and levels are determined, with input from stakeholders and guidance of a higher project authority, to establish the basis for quality outcomes and a quality management plan - Established quality management methods, techniques and tools are selected and used to determine preferred mix of quality, capability, cost and time - Quality criteria are identified, agreed with a higher project authority and communicated to stakeholders to ensure clarity of understanding and achievement of quality and overall project objectives - Agreed quality requirements are included in the project plan and implemented as basis for performance measurement |
| 2. Implement quality assurance | - Results of project activities and product performance are measured and documented throughout the project life cycle to determine compliance with agreed quality standards - Causes of unsatisfactory results are identified, in consultation with the client, and appropriate actions are recommended to a higher project authority to enable continuous improvement in quality outcomes - Inspections of quality processes and quality control results are conducted to determine compliance of quality standards to overall quality objectives - A quality management system is maintained to enable effective recording and communication of quality issues and outcomes to a higher project authority and stakeholders |
| 3. Implement project quality improvements | - Processes are reviewed and agreed changes implemented continually throughout the project life cycle to ensure continuous improvement to quality - Project outcomes are reviewed against performance criteria to determine the effectiveness of quality management processes and procedures - Lessons learned and recommended improvements are identified, documented and passed on to a higher project authority for application in future projects |

| Variable | Range |
| --- | --- |
| Quality objectives may include: | - requirements from the client and other stakeholders - requirements from a higher project authority - negotiated trade-offs between cost, schedule and performance - those quality aspects which may impact on customer satisfaction |
| Quality management plan may include: | - established processes - authorizations and responsibilities for quality control - quality assurance - continuous improvement |
| Quality management methods, techniques and tools may include | - brainstorming - benchmarking - charting processes - ranking candidates - defining control - undertaking benefit/cost analysis - processes that limit and/or indicate variation - control charts - flowcharts - histograms - pare to charts - scatter gram - run charts |
| Quality control may include: | - monitoring conformance with specifications - recommending ways to eliminate causes of unsatisfactory - performance of products or processes - monitoring of regular inspections by internal or external agents |
| Improvements may include: | - formal practices, such as total quality management or continuous improvement - improvement by less formal processes which enhance both the product quality and processes of the project, for example client surveys to determine client satisfaction with project team performance |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | A person who demonstrates competence in this unit must be able to provide evidence that they have taken responsibility for quality management of projects. This will include evidence of managing the work of others within the project team with respect to quality. Products that could be used as evidence include: documentation produced in managing projects such as: - lists of quality objectives, standards, levels and measurement criteria - records of inspections, recommended rectification actions and quality outcomes - management of quality management system and quality management plans - application of quality control, quality assurance and continuous improvement processes - records of quality reviews - lists of lessons learned and recommended improvements Processes that could be used as evidence include: - how quality requirements and outcomes were determined for projects - how quality tools were selected for use in projects - how team members were managed throughout projects with respect to quality within the project - how quality was managed throughout projects - how problems and issues with respect to quality and arising during projects were identified and addressed - how projects were reviewed with respect to quality management - how improvements to quality management of projects have been acted upon |
| Underpinning Knowledge and Attitudes | Broad knowledge and understanding of: - the principles of project quality management and their application - acceptance of responsibilities for project quality management - use of quality management systems and standards - the place of quality management in the context of the project life cycle - appropriate project quality management methodologies; and their capabilities, limitations, applicability and contribution to project outcomes - attributes: - analytical - attention to detail - able to maintain an overview - communicative - positive leadership |
| Underpinning Skills | Demonstrate skills of: - ability to relate to people from a range of social, cultural and ethnic backgrounds, and physical and mental abilities - project management - quality management - planning and organizing - communication and negotiation - problem-solving - leadership and personnel management - monitoring and review skills |
| Resources Implication | The following resources must be provided: - access to workplace documentation - real or simulated workplace |
| Methods of Assessment | Competence may be assessed through: - Interview/Written Test - Observation/Demonstration with Oral Questioning |
| Context of Assessment | Competence may be assessed in the real workplace or in a simulated workplace setting |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Establish and Conduct Business Relationships |
| Unit Code | EIS PSM5 24 0612 |
| Unit Descriptor | This unit covers the skills, attitudes and knowledge required to manage business relationship with customers. |

| Elements | Performance Criteria |
| --- | --- |
| - Establish contact with customer | - Welcoming customer environment is maintained. - Customer is greeted warmly according to enterprise policies and procedures. - Effective service environment is created through verbal and non-verbal presentation according to enterprise policies and procedures. - Customer data is maintained to ensure database relevance and currency. - Information on customers and service history is gathered for analysis. - Opportunities to maintain regular contact with customers are identified and taken up. |
| - Clarify needs of customer | - Customer needs are determined through questioning and active listening. - Customer needs are accurately assessed against the products/services of the enterprise. - Customer details are documented clearly and accurately in required format. - Conduct negotiations in a business-like and professional manner. - Maximize benefits for all parties in the negotiation through use of established techniques and in the context of establishing long term relationships. - Communicate the results of negotiations to appropriate colleagues and stakeholders within appropriate timeframes. |
| - Provide information and advice | - Features and benefits of products/services provided by the enterprise are described / recommended to meet customer needs. - Information to satisfy customer needs is provided. - Alternative sources of information/advice are discussed with the customer. |
| - Foster and maintain business relationships | - Pro-actively seek, review and act upon information needed to maintain sound business relationships. - Honor agreements within the scope of individual responsibility. - Make adjustments to agreements in consultation with the customer and share information with appropriate colleagues. - Nurture relationships through regular contact and use of effective interpersonal and communication styles. |

| Variables | Range |
| --- | --- |
| Opportunities to maintain regular contact with customers may include: | - informal social occasions - industry functions - association membership - co-operative promotions - program of regular telephone contact |
| Negotiation techniques | - identification of goals, limits - clarification of needs of all parties - identifying points of agreement and points of difference - preparatory research of facts - active listening and questioning - non-verbal communication techniques - appropriate language - bargaining - developing options - confirming agreements - appropriate cultural behavior |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | It is essential that competence is fully observed and there is ability to transfer competence to changing circumstances and to respond to unusual situations in the critical aspects of: - consistently applying enterprise policies and procedures and industry codes of practice in regard to customer service - providing a quality service environment by treating customers in a courteous and professional manner through all stages of the procedure - using effective questioning/active listening and observation skills to identify customer needs - communicating effectively with others involved in or affected by the work - maintaining relevant and current customer databases in accordance with enterprise policies and procedures - ability to build and maintain relationships to achieve successful business outcomes |
| Underpinning Knowledge and Attitudes | Demonstrate knowledge of: - Operational knowledge of enterprise policies and procedures in regard to: - customer service - dealing with difficult customers - maintenance of customer databases - allocated duties/responsibilities - General knowledge of the range of enterprise merchandise and services, location of telephone extensions and departments/sections - Basic operational knowledge of legislation and statutory requirements, including consumer law, trade practices and fair trading legislation - Basic operational knowledge of industry/workplace codes of practice in relation to customer service - negotiation and communication techniques appropriate to negotiations that may be of significant commercial value |
| Underpinning Skills | Demonstrate skills of: - Use workplace technology related to use of customer database - Collect, organize and understand information related to collating and analyzing customer information to identify needs - Communicate ideas and information - Plan and organize activities concerning information for database entries - Use mathematical ideas and techniques to plan database cells and size - Establish diagnostic processes which identify and recommend improvements to customer service |
| Resources Implication | The following should be made available: - a workplace or simulated workplace - documentation, such as enterprise policy and procedure manuals relating to customer service |
| Methods of Assessment | Competence may be assessed through: - Interview / Written Test - Observation/Demonstration with Oral Questioning |
| Context of Assessment | Elements of competence contain both knowledge and practical components. Knowledge components may be assessed off the job. Practical components should be assessed on the job or in a simulated work environment. |

| Occupational Standard: Power System Operation Management Level V |  |
| --- | --- |
| Unit Title | Develop and Refine Systems for Continuous Improvement in Operations |
| Unit Code | EIS PSM5 25 1012 |
| Unit Descriptor | This unit of competency covers the skills, knowledge and processes required to ensure that continuous improvement systems do not stultify and continue to improve along with other operational systems in an organization. This unit is about improving the process yield/unit of effort or cost, reducing process variation and increasing process reliability, upgrading, enhancing or refining process outputs, and includes developing a culture of reviewing and sustaining change ensuring improvements are maintained and built on. |

| Elements | Performance Criteria |
| --- | --- |
| - Establish parameters of current internal improvement systems | - Describe organization systems that impact on continuous improvement - Identify current relevant metrics and their values - Check that metrics are collected for all improvements - Determine yield of current improvement processes - Review results of improvements |
| - Distinguish breakthrough improvement processes | - Identify all improvements which have occurred over an agreed period of time - Distinguish between breakthrough improvements and continuous improvements - Determine the timing of breakthrough improvement processes - Analyze factors controlling the timing and selection of breakthrough improvements - Analyze continuous improvements to identify cases where breakthrough improvements were required - Validate findings with process/system owners and obtain required approvals - Improve timing/selection of breakthrough improvements. - Improve other factors limiting the gains from breakthrough improvements. |
| - Develop continuous improvement practice | - Check that levels of delegated authority and responsibility are appropriate for continuous improvement from the shop floor - Ensure all personnel have appropriate capabilities for continuous improvement processes - Ensure personnel and systems recognize potential breakthrough improvement projects - Ensure sufficient resources are available for the operation of continuous and breakthrough improvement processes - Check that relevant information flows from improvement changes to all required areas and stakeholders - Check data collection and metrics analysis capture changes which result from improvement actions - Check that improvement changes are standardized and sustained - Check review processes for routine continuous improvements - Remove or change factors limiting gains from improvements - Modify systems to ensure appropriate possible changes are referred to other improvement processes - Institutionalize breakthrough |
| - Establish parameters of current external improvement system | - Review value stream systems that impact on improvement - Review procedures for deciding improvement methodologies Identify current relevant metrics and their values, as appropriate - Determine yield of current improvement processes - Review results of improvements |
| - Explore opportunities for further development of value stream improvement processes | - Review mechanisms for consultation with value stream members - Develop mechanisms for further improving joint problem solving - Develop mechanisms for increased sharing of organizational knowledge - Obtain support and necessary authorizations from process/system owners - Capture and standardize improvements - Improve factors limiting gains from continuous improvements |
| - Review systems for compatibility with improvement strategy | - Review all systems which impact or are impacted on improvements and the improvement system - Analyze relationships between improvement systems and other relevant systems - Analyze practices caused by and results from the systems - Negotiate changes to the systems to improve the outcomes from improvement systems - Obtain necessary approvals to implement changes - Monitor the implementation of the changes. |

| Variable | Range |
| --- | --- |
| Competitive systems and practices | Competitive systems and practices may include, but are not limited to: - lean operations - agile operations - preventative and predictive maintenance approaches - monitoring and data gathering systems, such as Systems Control and Data Acquisition (SCADA) software, Enterprise Resource Planning (ERP) systems, Materials Resource Planning (MRP) and proprietary systems - statistical process control systems, including six sigma and three sigma - JIT, kanban and other pull-related operations control systems - supply, value, and demand chain monitoring and analysis - 5S - continuous improvement (kaizen) - breakthrough improvement (kaizen blitz) - cause/effect diagrams - overall equipment effectiveness (OEE) - takt time - process mapping - problem solving - run charts - standard procedures - current reality tree - Competitive systems and practices should be interpreted so as to take into account: - stage of implementation of competitive systems and practices - the size of the enterprise - the work organization, culture, regulatory environment and the industry sector |
| Code of practice and standards | Where reference is made to industry codes of practice, and/or Ethiopian/international standards, the latest version must be used |
| Organization systems | Organization systems may include: - problem recognition and solving - operational/process improvement - improvement projects - product/process design and development - processes for making incremental improvements |
| Relevant metrics | Relevant metrics include all those measures which might be used to determine the performance of the improvement system and may include: - hurdle rates for new investments - KPIs for existing processes - quality statistics - delivery timing and quantity statistics - process/equipment reliability (‘uptime’) - incident and non-conformance reports - complaints, returns and rejects |
| Process improvement yield | Improvement process yield may be regarded as: - the benefit achieved for the effort invested |
| Breakthrough improvements | Breakthrough improvements include: - those which result from a kaizen blitz or other improvement project or event and are a subset of all improvements |
| Timing of breakthrough improvements | Timing of breakthrough improvements includes: - frequency (which should be maximized) and duration (which should be minimized) of events/projects |
| Continuous improvement | Continuous improvement is part of normal work and does not require a special event to occur (although may still require authorizations) and contrasts with breakthrough improvement/kaizen blitz which occurs by way of an event or project |
| Resources for improvement | Resources for improvements include: - improvement budget - guidelines for trialing of possible improvements - mechanism for approvals for possible improvements - business case guidelines for proposed improvements - indicators of success of proposed improvement - mechanisms for tracking and evaluation of changes - forum for the open discussion of the results of the implementation - mechanisms for the examination of the improvement for additional improvements - organization systems to sustain beneficial changes |
| Capturing value stream improvements | Capturing value stream improvements includes: - revised contractual arrangements - revised specifications - signed agreements - other documented arrangements which formalize the raised base line |
| Systems impacting improvements | Systems which impact/are impacted on improvements and the improvement system include: - office - purchasing - rewards (individual or team at all levels) - sales - marketing - maintenance - process/product - transport and logistics |
| Organizational knowledge | Organizational knowledge should: - be able to be quantified or otherwise modified to make its outcomes measurable or observable - be able to be expressed in an accessible and distributable form appropriate to the organization operations and stakeholders |
| Improvements | Improvements may: - be to process, plant, procedures or practice - include changes to ensure positive benefits to stakeholders are maintained |
| Manager | Manager may include: - any person who may have either a permanent or an ad hoc role in facilitating the function of multiple teams in a workplace, departments or entire organizations |

| Evidence Guide |  |
| --- | --- |
| Critical Aspects of Competence | A person who demonstrates competency in this unit must be able to provide evidence of the ability to: - critically review current continuous improvement processes - establish ongoing review of continuous improvement processes - implement improvements in the practice of continuous improvement - better align internal and external systems - gather data through interviews with stakeholders - review existing data - obtain additional data through a variety of techniques - communicate and negotiate at all levels within the organization |
| Underpinning Knowledge and Attitudes | Demonstrates knowledge of: - competitive systems and practices tools, including: - value stream mapping - 5S - Just in Time (JIT) - mistake proofing - process mapping - establishing customer pull - kaizen and kaizen blitz - setting of KPIs/metrics - identification and elimination of waste (muda) - continuous improvement processes including implementation, monitoring and evaluation strategies for a whole organization and its value stream - difference between breakthrough improvement and continuous improvement - organizational goals, processes and structure - approval processes within organization - cost/benefit analysis methods - methods of determining the impact of a change - advantages and disadvantages of communication media, methods and formats for different messages and audiences - customer perception of value - define, measure, analyze, improve, and control and sustain (DMAIC) process |
| Underpinning Skills | Demonstrates skills to: - undertaking self-directed problem solving and decision-making on issues of a broad and/or highly specialized nature and in highly varied and/or highly specialized contexts - communicating at all levels in the organization and value stream and to audiences of different levels of literacy and numeracy - analyzing current state/situation of the organization and value stream - determining and implementing the most appropriate method for capturing value stream improvements - collecting and interpreting data and qualitative information from a variety of sources - analyzing individually and collectively the implementation of competitive systems and practices tools in the organization and determining strategies for improved implementation - relating implementation and use of competitive systems and practices and continuous improvement to customer benefit - solving highly varied and highly specialized problems related to competitive systems and practices implementation and continuous improvement to root cause - negotiating with stakeholders, where required, to obtain information required for implementation and refinement of continuous improvements, including management, unions, value stream members, employees and members of the community - reviewing relevant metrics, including all those measures which might be used to determine the performance of the improvement system, including: - key performance indicators (KPIs) for existing processes - quality statistics - delivery timing and quantity statistics - process/equipment reliability (‘uptime’) - incident and non-conformance reports - implementing continuous improvement to support systems and areas, including maintenance, office, training and human resources |
| Resources Implication | Access may be required to: - workplace procedures and plans relevant to work area - specifications and documentation relating to planned, currently being implemented, or implemented changes to work processes and procedures relevant to the assessee - documentation and information in relation to production, waste, overheads and hazard control/management - reports from supervisors/managers - case studies and scenarios to assess responses to contingencies |
| Methods of Assessment | Competence in this unit may be assessed by using a combination of the following to generate evidence: - demonstration in the workplace - suitable simulation - oral or written questioning to assess knowledge of principles and techniques associated with change management In all cases it is expected that practical assessment will be combined with targeted questioning to assess underpinning knowledge |
| Context of Assessment | Assessment of performance must be undertaken in a workplace using or implementing one or more competitive systems and practices. |

Sector:	Economic Infrastructure

Sub-Sector:  Power Generation, Transmission and Distribution

Power Generation Operation and Maintenance Support

Power Line Works Support

Power Generation Installation and Maintenance-Mechanical

Power Transmission, Distribution, Inspection and Maintenance

Power Generation and Substation Installation and Maintenance- Mechanical

Power Generation and Substation Installation and Maintenance- Electrical and Electronics

Power Generation Operation

Power Substation Operation

Power Transmission Systems Installation and Maintenance

Power Distribution Network Infrastructure/ System Installation and Maintenance

Power Generation and Substation Operation and Maintenance Support

Power Transmission System

Power Distribution Network Infrastructure System Installation

Power Generation and Substation Management

Level I

Level II

Level III

Level IV

Level V

Power Generation and Substation Installation and Maintenance -Electrical and Electronics

Power Generation Operation

Power

System Operation

Power System Operation Management

Power Transmission and Distribution Management

Acknowledgement

We wish to extend thanks and appreciation to the many representatives of business, industry, academe and government agencies who donated their time and expertise to the development of this occupational standard.

We would like also to express our appreciation to the Experts of EEPCo, Ministry of Education (MoE) and Engineering Capacity Building Program (ECBP) who made the development of this occupational standard possible.

This occupational standard was developed on the June 2012 at Gibe, Ethiopia.