Ministry of Education

Sector: Construction

Occupation: Installation Construction Works L-I

(Sanitary Installation Works L-I / Bldg Elect’l Installation L-I)

LIST OF SUPPLIES & MATERIALS FOR ELECTRICAL & COMMUNICATION SYSTEMS

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
| 1 | (PVC pipe) Poly Vinyl Chloride | 1.5 | Meters | 16mm diameter |
| 2 | Distribution box (Din rail only) | 150 | mm | (standard) |
| 3 | Junction Box | 1 | Pcs | Round type (standard) |
| 4 | Utility box | 4 | Pcs | Round type (standard) |
| 5 | Incandescent lamp | 1 | Pc | 25 W, 220 V |
| 6 | One Way Switch | 1 | Pc | Flush type (5 A 220 V-SPST) |
| 7 | Circuit Breaker (Main) | 1 | Pc | 20 A, 220 V (1 Ph) |
| 8 | Circuit Breaker (Lamp) | 1 | Pc | 10 A, 220 V (1 Ph) |
| 9 | Circuit Breaker (Power outlet) | 1 | Pc | 16 A, 220 V (1 Ph) |
| 10 | Pipe-Clamp/support | 7 | Pcs | 16mm2 diameter |
| 11 | Metal/Wood screw | 20 | Pcs | 5mm X 12mm |
| 12 | Insulation Tape | 1 | Pc | Small |
| 13 | Solid Copper Wire | 2.0 | Meter | 2.5mm2 Black |
| 14 | Solid Copper Wire | 2.0 | Meter | 2.5mm2 Red/blue |
| 15 | Solid Copper Wire | 1.5 | Meter | 2.5mm2 Yellow green |
| 16 | Telephone wire | 0.2 | Meter | Twisted pair (CAT 3) |
| 17 | Earth rod | 1 | Pc | Standard |
| 28 | Telephone socket | 1 | Pc | Standard |
| 19 | Telephone Trunking | 200 | mm | 20X15 mm |
| 20 | Fly board (For wiring board)) | 1 | Pc | 1200mm X 1200mm X 20mm |

LIST OF TOOLS AND EQUIPMENT FOR ELECTRICAL, COMMUNICATION

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
| 1 | Multi-tester | 1 | Pc | Analog / Digital |
| 2 | Hacksaw with blade | 1 | Pc | Standard |
| 3 | Side cutting plier | 1 | Pc | Standard |
| 4 | Long nose plier | 1 | Pc | Standard |
| 5 | Combination plier | 1 | Pc | Standard |
| 6 | Flat screw drivers | 1 | Pc | Standard |
| 7 | Philips screw drivers | 1 | Pc | Standard |
| 8 | Claw hammer | 1 | Pc | Standard |
| 9 | Electrician's knife/Wire stripper | 1 | Pc | Standard |
| 10 | Spirit/Level bar | 1 | Pc | Standard |
| 11 | Pull-push rule/measuring tape | 1 | Pc | 3 m |
| 12 | Heat blower/Elec. stove | 1 | Pc | 220 V, 1000 W |
| 13 | Pencil/Chalk liner | 1 | Pc |  |

|  | LIST OF TOOLS AND EQUIPMENT FOR WATER SUPPLY SYSTEM: የእጅ መሳሪያዎችና እቃዎች አቅርቦት ዝርዝር |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | No. ተ.ቁ | Item ዝርዝር | Qty ብዛት | Unit መለከያ | Specification ዝርዝር መግለጫ |  |  |
|  |  | Portable masonry drilling machine ተንቀሳቃሽ የኤሌክትሪክ መሰርሰሪያ ማሽን | 1 | Pc | Portable standard size with 8-12mm concert drilling bits ከ8 -12 ሚሜ የግድግዳ መብሻ |  |  |
|  |  | Hacksaw with blade(24 teeth per inch) የብረት መቁረጫ መጋዝና ምላጭ (ሴጌቶ) 24ጥርስ | 1 | Pc | Hack saw standard የብረት መጋዝ |  |  |
|  |  | Screw driver ጠመንጃ መፍቻ (ካቻቢቴ) | 1 | Pc | Philips head መስቀለኛ ራስ |  |  |
|  |  | Screw driver ጠመንጃ መፍቻ (ካቻቢቴ) | 1 | Pc | Flat head ጠፍጣፋ ራስ |  |  |
|  |  | Non adjustable pipe thread cutter (die stock) ተስተካካይ ያልሆነ ጥርስ ማዉጫ | 1 | Pc | Spain made set አንድ ሙሉ የስፔን ሀገር |  |  |
|  |  | round files ክብ ሞረድ | 1 | Pc | Standard size በመስፈርቱ ልክ |  |  |
|  |  | Oil can ተዘይት መርጫ ጣሳ | 1 | Pc | Standard መስፈርቱን የጠበቀ |  |  |
|  |  | Pipe wrench የቧንቧ መፍቻ | 2 | Pcs | Adjustable medium size(12” and 14”) ከ12 -14 መጠን ያለዉ መፍቻ |  |  |
|  |  | Pipe vise ተንቀሳቃሽ የቧንቧ ሞርሳ | 1 | Pc | Portable ተንቀሳቃሽ |  |  |
|  |  | Adjustable wrench ተስተካካይ የሆነ ጥርስ የለለዉ መፍቻ | 1 | Pc | 10,12,14 |  |  |
|  |  | Measuring tape ሜትር | 1 | pc | 3m range 3.ሜ ርዝመት |  |  |
|  |  | Wire brush የብረት ሺቦ ብሩሽ | 1 | pc | Standard መስፈርቱን የጠበቀ |  |  |
|  |  | Pressure testing pump በጊፊት የሚሰራ መፈተሻ | 1 | pc | Standard መስፈርቱን የጠበቀ |  |  |

LIST OF SUPPLIES AND MATERIALS FOR WATER SUPPLY SYSTEM:

ጥሬ እቃዎች አቅርቦት ዝርዝር

| No. ተ.ቁ | Item ዝርዝር | Qty ብዛት | Unit መለከያ | Specification ዝርዝር መግለጫ |
| --- | --- | --- | --- | --- |
|  | 1/2”Galvanized steel pipe 1/2”የብረት ቧንቧ | 3 | ml | Akaki የአገር ዉስጥ |
|  | Ø ¾ -½” Galvanized reducer ከ Ø ¾ -½” መቀነሻ | 1 | Pc | Standard መስፈርቱን የጠበቀ |
|  | Ø ½” Galvanized steel elbow Ø ½” የብረት ኤልቦ | 3 | pcs | standard መስፈርቱን የጠበቀ |
|  | Ø ½” Galvanized steel angle valve Ø ½” የብረት አንግል ŠልV | 1 | Pc | Standard መስፈርቱን የጠበቀ |
|  | Ø ½” Galvanized steel nipple Ø ½” የብረት ኒፕልስ | 1 | Pcs | Standard መስፈርቱን የጠበቀ |
|  | ½” Galvanized steel Plug ½”የብረት መደፈኛ | 1 | Pc | Standard መስፈርቱን የጠበቀ |
|  | Ø 50mm PVC pipe 50ሚ.ሜ የኤሌክትሪክ ቧንቧ | 3 | m | Standard መስፈርቱን የጠበቀ |
|  | 50mm PVC Coupling socket 50ሚ.ሜ ካፐሊንግ (ሶኬት) | 2 | Pc | Standard መስፈርቱን የጠበቀ |
|  | Ø 50mm PVC elbow 50ሚ.ሜ ፕላስቲክ ኤልቦ | 2 | pcs | Standard መስፈርቱን የጠበቀ |
|  | Ø 1/2” Pipe clip 1/2”የቧንቧማሰሪያ ክሊፕ | 5 | Pc | Standard መስፈርቱን የጠበቀ |
|  | Hemp ቃጫ | 1/4 | Kg | Standard መስፈርቱን የጠበቀ |
|  | ½” wide x 20m Teflon tape ቴፍሎን ቴፕ | 2 | Pcs | Standard መስፈርቱን የጠበቀ |
|  | Lubricating oil ማለስለሻ ዘይት | 200 | ml | Standard መስፈርቱን የጠበቀ |
|  | Rag ስትራቾ | 1/4 | kg | Standard መስፈርቱን የጠበቀ |
|  | Hand wash basin and fixtures | 1 | pc | standard |

IST OF SUPPLIES AND MATERIALS FOR WATER SUPPLY SYSTEM:

| No. | Item | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
|  | 1/2”Galvanized steel pipe | 3 | ml | Akaki |
|  | Ø ¾ -½” Galvanized reducer | 1 | Pc | Standard |
|  | Ø ½” Galvanized steel elbow | 4 | pcs | standard |
|  | Ø ½” Galvanized steel angle valve | 2 | Pc | Standard |
|  | Ø 3/4” Galvanized steel nipple | 1 | Pcs | Standard |
|  | Ø ¾ Galvanized steel Tee | 1 | pcs | Standard |
|  | Ø ½” Galvanized steel Tee | 1 | pcs | Standard |
|  | Ø 3/4” Galvanized steel pipe | 1.5 | ml | Akaki |
|  | Ø 110PVC pipe | 2 | ml | standard |
|  | Ø 50PVC pipe | 2.5 | ml | standard |
|  | Ø 110PVC Tee | 1 | pc | standard |
|  | Ø 110*50PVC | 1 | pc | standard |
|  | Ø 50PVC Elbow | 3 | pc | standard |
|  | Ø 50PVC y-branch | 1 | pc | standard |
|  | Ø 3/4” get valve | 1 | pc | standard |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.

List of Materials Needed/የሚያስፈልጉ እቃወች ዝርዝር

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
|  | Distribution Board | 1 | Pc | DB in metal/plastic enclosure with Neutral and earth bas able to hold 4 CBs. |
|  | PVC Conduit | 3 | Meters | Ø -16mm |
|  | Conduit clip | 14 | Pcs | Ø -16mm |
|  | Telephone Trunking | 1.20 | Meter | 20X15 mm |
|  | Outlet box | 3 | Pcs | Ø –65 mm |
|  | Junction box | 2 | Pcs | Ø -85mm |
|  | Incandescent bulb | 1 | Pcs | 40 W, 220 V |
|  | Incandescent bulb holder | 1 | Pcs | Round type, wall mounted |
|  | Circuit breaker | 3 | Pcs | 10A, 16A & 20A |
|  | One way switch | 2 | Pcs | Surface mounted (10 A , 220 V) |
|  | Twin /Dual General purpose socket outlet | 1 | pc | Surface mounted (standard) |
|  | Telephone outlet | 1 | pc | Having RJ 11port |
|  | Telephone terminal cabinet | 1 | PC | Capable to hold 10 subscribers |
|  | Telephone wire | 1.50 | Meter | Standard |
|  | Metal/Wood screw | 25 | Pcs | 5mm X 12mm |
|  | Insulation Tape | 1 | Pc | Small |
|  | Solid Copper Wire | 1.5 | Meters | 2.5 mm2 Black |
|  | Solid Copper Wire | 1.5 | Meters | 2.5 mm2 Red |
|  | Solid Copper Wire | 1.5 | Meters | 2.5 mm2 Yellow/Green |
|  | Solid Copper Wire | 1,5 | Meters | 1.5 mm2 Black |
|  | Solid Copper Wire | 3 | Meters | 1.5 mm2 Red |
|  | Solid Copper Wire | 1 | Meter | 4 mm2 Black |
|  | Solid Copper Wire | 1 | Meter | 4 mm2 Red |
|  | Solid Copper Wire | 1 | Meter | 4 mm2 Yellow/green |
|  | Insulating cap connector | 25 | Pcs | Ø -7mm gato |
|  | Fly board (For wiring board) | 1 | Pc | 1200mm X 1200mm X 20mm |
|  | 1/2”Galvanized steel pipe | 2.50 | Meters | Standard |
|  | Ø ¾ -½” Galvanized reducer | 2 | Pcs | Standard |
|  | Ø ¾” Galvanized steel elbow | 1 | Pc | Standard |
|  | Ø ½” Galvanized steel gate valve | 2 | Pcs | Standard(England) |
|  | Ø ¾” Galvanized steel nipple | 1 | Pcs | Standard |
|  | Ø ¾” Galvanized steel gate valve | 1 | Pcs | Standard(England) |
|  | Ø ¾” Galvanized steel union | 1 | Pc | Standard(Akaki) |
|  | Ø ¾” Galvanized steel Tee | 1 | Pc | Standard(akaki) |
|  | Ø ½” flexible hose | 2 | Pcs | Standard |
|  | Ø 50mm PVC elbow | 3 | Pcs | Standard |
|  | Ø 50mm PVC Tee | 2 | Pcs | Standard |
|  | Ø 50mm trap | 1 | Pcs | Standard |
|  | Hand wash basin | 1 | Pc | Standard |
|  | Ø ½” faucet | 1 | pc | Standard |
|  | Tap (hand wash faucet) | 1 | pc | Standard |
|  | Ø 50mm PVC pipe | 1.5 | Meters | Standard |
|  | 50mm PVC Coupling socket | 1 | Pc | Standard |
|  | Ø 1/2” Pipe clip | 5 | Pcs | Standard |
|  | Hemp | 0.02 | Kg | Standard |
|  | ½” wide x 20m Teflon tape | 1 | Pcs | Standard |
|  | y-branch | 1 | Pcs | Standard |
|  | pvc reducer | 2 | Pcs | 110 to 50 mm |
|  | bottle trap | 1 | Pcs | Standard |
|  | floor drain | 1 | Pcs | Standard |

LIST OF TOOLS  AND EQUIPMENT: የሚያስፈልጉ መሳሪያወች ዝርዝር

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
| 1 | Multi-tester | 1 | Pc | Analog / Digital |
| 2 | Hacksaw with blade | 1 | Pc | Standard |
| 3 | Side cutting plier | 1 | Pc | Standard |
| 4 | Long nose plier | 1 | Pc | Standard |
| 5 | Combination plier | 1 | Pc | Standard |
| 6 | Flat screw drivers | 1 | Pc | Standard |
| 7 | Philips screw drivers | 1 | Pc | Standard |
| 8 | Claw hammer | 1 | Pc | Standard |
| 9 | Electrician's knife/Wire stripper | 1 | Pc | Standard |
| 10 | Spirit/Level bar | 1 | Pc | Standard |
| 11 | Pull-push rule/measuring tape | 1 | Pc | 3 m |
| 12 | Heat blower/Elec. stove | 1 | Pc | 220 V, 1000 W |
| 13 | Pencil/Chalk liner | 1 | Pc |  |
| 1 | Portable masonry drilling machine | 1 | Pc | Portable standard size with 8-12mm concert drilling bits |
| 2 | Hacksaw with blade(24 teeth per inch) | 1 | Pc | Hack saw standard |
| 3 | Screw driver | 1 | Pc | Philips head |
| 4 | Screw driver | 1 | Pc | Flat head |
| 5 | Non adjustable pipe thread cutter (die stock) | 1 | Pc | Spain made set |
| 6 | round files | 1 | Pc | Standard size |
| 7 | Oil can | 1 | Pc | Standard |
| 8 | Pipe wrench | 1 | Pc | Adjustable medium size(12” and 14”) |
| 9 | Pipe vise | 1 | Pc | Portable |
| 10 | Adjustable wrench (spanner) | 1 | pc | 10 |
| 11 | Measuring tape | 1 | pc | 3m range |
| 12 | Wire brush | 1 | pc | Standard |
| 13 | Pressure testing pump | 1 | pc | Standard |
| 14 | water closet | 1 | Pcs | Standard |
| 15 | hand wash basin | 1 | Pcs | Standard |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.

LIST OF SUPPLIES & MATERIAL:VI

| NO. |  | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- | --- |
| 1 | Installation board |  | 1 | Pc | 1200mm X 1200mm X 20mm |
|  | (PVC pipe) Poly Vinyl Chloride |  | 3 | Meters | 16mm diameter |
| 2 | Distribution board |  | 1 | Pc | (standard) |
| 3 | Junction Box 65 Diameter |  | 5 | Pcs | Round type (standard) |
| 4 | Junction Box 85 Diameter |  | 3 | Pcs | Round type (standard) |
| 5 | Incandescent lamp |  | 2 | Pc | 25 W, 220 V |
| 6 | Two Way Switches |  | 2 | Pc | Flush type (5 A 220 V-SPST) |
| 7 | Circuit Breaker |  | 1 | Pc | 25 A, 220 V (1 P) |
| 8 | Circuit Breaker |  | 1 | Pc | 10 A, 220 V (1 P) |
|  | Lamp holder |  | 2 | Pc | standard |
|  | conduit clip |  | 20 | Pc | Standard |
|  | Wire connector |  | 15 | Pc | Standard |
|  | Solid Copper Wire |  | 2.0 | Meter | 1.5mm2 Black |
|  | Solid Copper Wire |  | 8.0 | Meter | 1.5mm2 Red |
|  | Telephone wire |  | 0.2 | Meter | Twisted pair (CAT 3) |
|  | TTB |  | 1 | Pc | 20X15 CM |
|  | Telephone socket |  | 1 | Pc | Standard |
| 1 | 1/2”Galvanized steel pipe |  | 1 | Pc | Standard |
| 2 | Ø ¾ -½” Galvanized reducer |  | 1 | Pc | Standard |
| 3 | Ø ½” Galvanized steel elbow |  | 1 | Pc | Standard |
| 4 | Ø ½” Galvanized steel angle valve |  | 1 | Pc | Standard |
| 5 | Ø ½” Galvanized steel nipple |  | 1 | Pc | Standard |
| 6 | ½” Galvanized steel Plug |  | 2 | Pcs | Standard |
| 7 | Ø 50mm PVC pipe |  | 1 | Pc | Standard |
| 8 | 50mm PVC Coupling socket |  | 1 | Pc | Standard |
| 9 | Ø 50mm PVC elbow |  | 3 | Pcs | Standard |
| 10 | Ø 1/2” Pipe clip |  | 5 | Pcs | Standard |
| 11 | Hemp |  | 1/4 | Kg | Standard |
| 12 | ½” wide x 20m Teflon tape |  | 2 | Pcs | Standard |
| 13 | Lubricating oil |  | 200 | ml | Standard |
| 14 | Rag |  | 1/4 | kg | Standard |

LIST OF TOOLS AND EQUIPMENT:

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
| 1 | Multi-tester | 1 | Pc | Analog / Digital |
| 2 | Hacksaw with blade | 1 | Pc | Standard |
| 3 | Side cutting plier | 1 | Pc | Standard |
| 4 | Long nose plier | 1 | Pc | Standard |
| 5 | Combination plier | 1 | Pc | Standard |
| 6 | Flat screw drivers | 1 | Pc | Standard |
| 7 | Philips screw drivers | 1 | Pc | Standard |
| 8 | Claw hammer | 1 | Pc | Standard |
| 9 | Electrician's knife/Wire stripper | 1 | Pc | Standard |
| 10 | Spirit/Level bar | 1 | Pc | Standard |
| 11 | Pull-push rule/measuring tape | 1 | Pc | 3 m |
| 12 | Heat blower/Elec. stove | 1 | Pc | 220 V, 1000 W |
| 13 | Pencil/Chalk liner | 1 | Pc | Standard |
| 14 | Master test light | 1 | Pc | standard |
| 1 | Portable masonry drilling machine | 1 | Pc | Portable standard size with 8-12mm concert drilling bits |
| 2 | Hacksaw with blade(24 teeth per inch) | 1 | Pc | Hack saw standard |
| 3 | Screw driver | 1 | Pc | Philips head |
| 4 | Screw driver | 1 | Pc | Flat head |
| 5 | Non adjustable pipe thread cutter (die stock) | 1 | Pc | Spain made set |
| 6 | round files | 1 | Pc | Standard size |
| 7 | Oil can | 1 | Pc | Standard |
| 8 | Pipe wrench | 1 | Pc | Adjustable medium size(12” and 14”) |
| 9 | Pipe vise | 1 | Pc | Portable |
| 10 | Adjustable wrench | 1 | Pc | 10,12,14 |
| 11 | Measuring tape | 1 | Pc | 3m range |
| 12 | Wire brush | 1 | Pc | Standard |
| 13 | Pressure testing pump | 1 | Pc | Standard |
| 14 | WC with all fitting accessories | 1 | set | standard |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.

LIST OF SUPPLIES & MATERIAL:

| NO. |  | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- | --- |
| 1 | (PVC pipe) Poly Vinyl Chloride |  | 1.5 | Meters | 16mm diameter |
| 2 | Distribution box (Din rail only) |  | 150 | mm | (standard) |
| 3 | Junction Box |  | 1 | Pcs | Round type (standard) |
| 4 | Utility box |  | 4 | Pcs | Round type (standard) |
| 5 | Incandescent lamp |  | 1 | Pc | 25 W, 220 V |
| 6 | One Way Switch |  | 1 | Pc | Flush type (5 A 220 V-SPST) |
| 7 | Circuit Breaker (Main) |  | 1 | Pc | 20 A, 220 V (1 P) |
| 8 | Circuit Breaker (Lamp) |  | 1 | Pc | 10 A, 220 V (1 P) |
| 9 | Circuit Breaker (Power outlet) |  | 1 | Pc | 16 A, 220 V (1 P) |
|  | Pipe-Clamp/support |  | 7 | Pcs | 16mm2 diameter |
|  | Metal/Wood screw |  | 20 | Pcs | 5mm X 12mm |
|  | Insulation Tape |  | 1 | Pc | Small |
|  | Solid Copper Wire |  | 2.0 | Meter | 2.5mm2 Black |
|  | Solid Copper Wire |  | 2.0 | Meter | 2.5mm2 Red/blue |
|  | Solid Copper Wire |  | 1.5 | Meter | 2.5mm2 Yellow green |
|  | Telephone wire |  | 0.2 | Meter | Twisted pair (CAT 3) |
|  | Earth rod |  | 1 | Pc | Standard |
|  | Telephone socket |  | 1 | Pc | Standard |
|  | Telephone Trunking |  | 200 | mm | 20X15 mm |
|  | Fly board (For wiring board)) |  | 1 | Pc | 1200mm X 1200mm X 20mm |
| 1 | 1/2”Galvanized steel pipe |  | 1 | Pc | Standard |
| 2 | Ø ¾ -½” Galvanized reducer |  | 1 | Pc | Standard |
| 3 | Ø ½” Galvanized steel elbow |  | 1 | Pc | Standard |
| 4 | Ø ½” Galvanized steel angle valve |  | 1 | Pc | Standard |
| 5 | Ø ½” Galvanized steel nipple |  | 1 | Pc | Standard |
| 6 | ½” Galvanized steel Plug |  | 2 | Pcs | Standard |
| 7 | Ø 50mm PVC pipe |  | 1 | Pc | Standard |
| 8 | 50mm PVC Coupling socket |  | 1 | Pc | Standard |
| 9 | Ø 50mm PVC elbow |  | 3 | Pcs | Standard |
| 10 | Ø 1/2” Pipe clip |  | 5 | Pcs | Standard |
| 11 | Hemp |  | 1/4 | Kg | Standard |
| 12 | ½” wide x 20m Teflon tape |  | 2 | Pcs | Standard |
| 13 | Lubricating oil |  | 200 | ml | Standard |
| 14 | Rag |  | 1/4 | kg | Standard |

LIST OF TOOLS AND EQUIPMENT:

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
| 1 | Multi-tester | 1 | Pc | Analog / Digital |
| 2 | Hacksaw with blade | 1 | Pc | Standard |
| 3 | Side cutting plier | 1 | Pc | Standard |
| 4 | Long nose plier | 1 | Pc | Standard |
| 5 | Combination plier | 1 | Pc | Standard |
| 6 | Flat screw drivers | 1 | Pc | Standard |
| 7 | Philips screw drivers | 1 | Pc | Standard |
| 8 | Claw hammer | 1 | Pc | Standard |
| 9 | Electrician's knife/Wire stripper | 1 | Pc | Standard |
| 10 | Spirit/Level bar | 1 | Pc | Standard |
| 11 | Pull-push rule/measuring tape | 1 | Pc | 3 m |
| 12 | Heat blower/Elec. stove | 1 | Pc | 220 V, 1000 W |
| 13 | Pencil/Chalk liner | 1 | Pc |  |
| 1 | Portable masonry drilling machine | 1 | Pc | Portable standard size with 8-12mm concert drilling bits |
| 2 | Hacksaw with blade(24 teeth per inch) | 1 | Pc | Hack saw standard |
| 3 | Screw driver | 1 | Pc | Philips head |
| 4 | Screw driver | 1 | Pc | Flat head |
| 5 | Non adjustable pipe thread cutter (die stock) | 1 | Pc | Spain made set |
| 6 | round files | 1 | Pc | Standard size |
| 7 | Oil can | 1 | Pc | Standard |
| 8 | Pipe wrench | 1 | Pc | Adjustable medium size(12” and 14”) |
| 9 | Pipe vise | 1 | Pc | Portable |
| 10 | Adjustable wrench |  |  | 10,12,14 |
| 11 | Measuring tape |  |  | 3m range |
| 12 | Wire brush |  |  | Standard |
| 13 | Pressure testing pump |  |  | Standard |
| 14 | Pressure testing pump |  |  | Standard |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.

| SUPPLIES & MATERIALS NO; ITEMS; QTY; UNIT; SPECIFICATION. 1; (PVC pipe) Poly Vinyl Chloride; 1.5; Meters; 16mm diameter. 3; Distribution box (Din rail only); 150; mm; (standard). 4; Junction Box; 4; Pcs; Round type (standard). 5; Utility box; 1; Pcs; Round type (standard). 5; Fluorescent lamp (Assembly); 1; Pc; 18 W, 220 V. 7; One Way Switch; 1; Pc; Flush type (5 A 220 V-SPST). 9; Circuit Breaker (Main); 1; Pc; 20 A, 220 V (1 Ph). 10; Circuit Breaker (Lamp); 1; Pc; 10 A, 220 V (1 Ph). 11; Circuit Breaker (Telephone); 1; Pc; 6 A, 220 V (1 Ph). 12; Circuit Breaker; 1; Pc; 16 A, 220 V (1 Ph). 12; Pipe-Clamp/support; 8; Pcs; 16mm2 diameter. 13; Metal/Wood screw; 20; Pcs; 5mm X 12mm. 14; Insulation Tape; 1; Pc; Small. 15; Solid Copper Wire; 1.7; Meter; 2.5mm2 Black. 16; Solid Copper Wire; 1.7; Meter; 2.5mm2 Red/blue. 17; Solid Copper Wire; 1.1; Meter; 2.5mm2 Yellow green. 18; Telephone wire; 0.6; Meter; Twisted pair (CAT 3). 18; Earth rod; 1; Pc; Standard. 20; Telephone socket; 1; Pc; Standard. 21; Telephone Trunking; 0.6; mm; 20X15 mm. 20; Fly board (For wiring board)); 1; Pc; 1200mm X 1200mm X 20mm. LIS TOOLS AND EQUIPMENT NO.; ITEMS; QTY; UNIT; SPECIFICATION. 1; Multi-tester; 1; Pc; Analog / Digital. 2; Hacksaw with blade; 1; Pc; Standard. 3; Side cutting plier; 1; Pc; Standard. 4; Long nose plier; 1; Pc; Standard. 5; Combination plier; 1; Pc; Standard. 6; Flat screw drivers; 1; Pc; Standard. 7; Philips screw drivers; 1; Pc; Standard. 8; Claw hammer; 1; Pc; Standard. 9; Electrician's knife/Wire stripper; 1; Pc; Standard. 10; Spirit/Level bar; 1; Pc; Standard. 11; Pull-push rule/measuring tape; 1; Pc; 3 m. 12; Heat blower/Elec. stove; 1; Pc; 220 V, 1000 W. 13; Pencil/Chalk liner; 1; Pc. TOOLS AND EQUIPMENT for Project 2: |
| --- |
|  | No. ተ.ቁ | Item ዝርዝር | Qty ብዛት | Unit መለከያ | Specification ዝርዝር መግለጫ |
|  |  | Portable masonry drilling machine ተንቀሳቃሽ የኤሌክትሪክ መሰርሰሪያ ማሽን | 1 | Pc | Portable standard size with 8-12mm concert drilling bits ከ8 -12 ሚሜ የግድግዳ መብሻ |
|  |  | Hacksaw with blade(24 teeth per inch) የብረት መቁረጫ መጋዝና ምላጭ (ሴጌቶ) 24ጥርስ | 1 | Pc | Hack saw standard የብረት መጋዝ |
|  |  | Screw driver ጠመንጃ መፍቻ (ካቻቢቴ) | 1 | Pc | Philips head መስቀለኛ ራስ |
|  |  | Screw driver ጠመንጃ መፍቻ (ካቻቢቴ) | 1 | Pc | Flat head ጠፍጣፋ ራስ |
|  |  | Non adjustable pipe thread cutter (die stock) ተስተካካይ ያልሆነ ጥርስ ማዉጫ | 1 | Pc | Spain made set አንድ ሙሉ የስፔን ሀገር |
|  |  | round files ክብ ሞረድ | 1 | Pc | Standard size በመስፈርቱ ልክ |
|  |  | Oil can ተዘይት መርጫ ጣሳ | 1 | Pc | Standard መስፈርቱን የጠበቀ |
|  |  | Pipe wrench የቧንቧ መፍቻ | 2 | Pcs | Adjustable medium size(12” and 14”) ከ12 -14 መጠን ያለዉ መፍቻ |
|  |  | Pipe vise ተንቀሳቃሽ የቧንቧ ሞርሳ | 1 | Pc | Portable ተንቀሳቃሽ |
|  |  | Adjustable wrench ተስተካካይ የሆነ ጥርስ የለለዉ መፍቻ | 1 | Pc | 10,12,14 |
|  |  | Measuring tape ሜትር | 1 | pc | 3m range 3ሜ ርዝመት |
|  |  | Wire brush የብረት ሺቦ ብሩሽ | 1 | pc | Standard መስፈርቱን የጠበቀ |
|  |  | Pressure testing pump በጊፊት የሚሰራ መፈተሻ | 1 | pc | Standard መስፈርቱን የጠበቀ |

SUPPLIES AND MATERIALS for Project 2:

| No. | Item | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
|  | 1/2”Galvanized steel pipe 1/2”የብረት ቧንቧ | 3 | ml | Akaki የአገር ዉስጥ |
|  | Ø ¾ -½” Galvanized reducer ከ Ø ¾ -½” መቀነሻ | 1 | Pc | Standard መስፈርቱን የጠበቀ |
|  | Ø ½” Galvanized steel elbow Ø ½” የብረት ኤልቦ | 3 | pcs | standard መስፈርቱን የጠበቀ |
|  | Ø ½” Galvanized steel angle valve Ø ½” የብረት አንግል ŠልV | 1 | Pc | Standard መስፈርቱን የጠበቀ |
|  | Ø ½” Galvanized steel nipple Ø ½” የብረት ኒፕልስ | 1 | Pcs | Standard መስፈርቱን የጠበቀ |
|  | ½” Galvanized steel Plug ½”የብረት መደፈኛ | 1 | Pc | Standard መስፈርቱን የጠበቀ |
|  | Ø 50mm PVC pipe 50ሚ.ሜ የኤሌክትሪክ ቧንቧ | 3 | m | Standard መስፈርቱን የጠበቀ |
|  | 50mm PVC Coupling socket 50ሚ.ሜ ካፐሊንግ (ሶኬት) | 2 | Pc | Standard መስፈርቱን የጠበቀ |
|  | Ø 50mm PVC elbow 50ሚ.ሜ ፕላስቲክ ኤልቦ | 2 | pcs | Standard መስፈርቱን የጠበቀ |
|  | Ø 1/2” Pipe clip 1/2”የቧንቧማሰሪያ ክሊፕ | 5 | Pc | Standard መስፈርቱን የጠበቀ |
|  | Hemp ቃጫ | 1/4 | Kg | Standard መስፈርቱን የጠበቀ |
|  | ½” wide x 20m Teflon tape ቴፍሎን ቴፕ | 2 | Pcs | Standard መስፈርቱን የጠበቀ |
|  | Lubricating oil ማለስለሻ ዘይት | 200 | ml | Standard መስፈርቱን የጠበቀ |
|  | Rag ስትራቾ | 1/4 | kg | Standard መስፈርቱን የጠበቀ |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.

Consumable mmaterials to be used: For Project 1and 2 per candidate

| No | Item description | Quantity | Unit | Specification |
| --- | --- | --- | --- | --- |
| Project 1 |  |  |  |  |
| 1 | PVC conduits | 1.5 | m | 16mm Ø |
| 2 | Solid wire | 5 | m | Red /yellow / Blue & black |
| 3 | Circuit breaker enclosure | 1 | pcs | Plastic |
| 4 | Circuit breakers | 3 | pcs | 25A, 10A,16A |
| 5 | Junction box | 2 | pcs | Plastic |
| 6 | Utility boxes | 2 | pcs | Plastic ( flush type) |
| 7 | Single switch | 1 | pcs | 10A, flush type |
| 8 | Lamp holder | 1 | pcs | porcelain |
| 9 | Electric bulb | 1 | pcs | 60W, 220v/50Hz |
| 10 | Electrical Tape | 1 | pcs |  |
| 11 | Wood screws | 20 | pcs | 18mm |
| 12 | Clamps/ conduit clip | 20 | pcs | For 16mm pipe |

Tools & equipment/ Instruments

| No | Item description | Quantity | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | VOM | 1 | Pcs | Digital |
| 2 | Electrician’s pliers | 1 | Pcs | Standard |
| 3 | Claw hammer | 1 | Pcs | Standard |
| 4 | Test light | 1 | pcs | Standard |
| 5 | Long nose pliers | 1 | pcs | Standard |
| 6 | Electrician’s knife | 1 | pcs | Standard |
| 7 | Set of screw drivers | 1 | set | Standard |
| 8 | Hack saw with blade | 1 | pcs | Standard |
| 9 | Measuring Tape | 1 | pcs | Standard |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.

Material list

| No | Item description | Quantity | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | PVC Pipe Ø 110 | 1.5 | m |  |
| 2 | PVC tee Ø 110 | 1 | Pcs |  |
| 3 | Reducer Ø 110- Ø50 | 1 | Pcs |  |
| 4 | PVC Pipe Ø 50 | 4 | m |  |
| 5 | PVC elbow Ø 50 | 3 | Pcs |  |
| 6 | PVC tee Ø 50 | 1 | Pcs |  |
| 7 | GSP ½ inch | 4 | m |  |
| 8 | GSP elbow ½ inch | 5 | Pcs |  |
| 9 | GSP tee ½ inch | 2 | Pcs |  |
| 10 | GSP Nipple ½ inch | 2 | Pcs |  |
| 11 | Gate valve | 2 | Pcs |  |
| 12 | Crown valve | 1 | Pcs |  |
| 13 | Hemp | 50 | gram |  |
| 14 | Shower head | 1 | Pcs |  |

Tools & equipment

| No | Item description | Quantity | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | Pipe wrench | 2 | Pcs | Standard |
| 2 | File | 1 | Pcs | Standard |
| 3 | Pipe vice | 1 | Pcs | Standard |
| 4 | Dai set | 1 | set | Standard |
| 5 | Folding meter | 1 | pcs | Standard |
| 6 | Hack saw with blade | 1 | pcs | Standard |
| 7 | Measuring Tape | 1 | pcs | Standard |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.