Ministry of Education

ትምህርት ሚኒስቴር

Sector: Building Construction

ዘርፍ:-ህንፃ ግንባታ

Occupation: Sanitary Installation L - III

ሙያዉ:-የቧንቧ ዝርጋታ ስራ ደረጃ III

| List of supplies & materials |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| NO. | ITEMS |  |  | QY | UNIT | SPECIFICATION |
| 1 | 1/2”Galvanized steel pipe |  |  | 3 | ml | akaki |
| 2 | 1/2”Galvanized steel Nipples |  |  | 7 | pcs | Galvanized |
| 3 | 1/2”Galvanized steel Tee |  |  | 5 | pcs | Galvanized |
| 4 | 1/2”Galvanized steel Elbow |  |  | 4 | pcs | Galvanized |
| 5 | 1/2” Check valve ” |  |  | 1 | pcs | standard |
| 6 | 1/2” Gate valve |  |  | 1 | pcs | standard |
| 7 | Teflon tap |  |  | 2 | pcs | standard |
| 8 | Shower head / sprinkler head |  |  | 4 | pcs | standard |
| 9 | 1/2”Galvanized steel union |  |  | 1 | pcs | Galvanized |
| List of tools and equipment |  |  |  |  |  |  |
| NO. | ITEMS | QTY | UNIT |  | SPECIFICATION |  |
| 1 | Die stock | 1 | pcs |  | Spain |  |
| 2 | Hack saw | 1 | pcs |  | Spain |  |
| 3 | Oil can | 1 | pcs |  | standard |  |
| 4 | Meter | 1 | pcs |  | standard |  |
| 5 | Round file | 1 | pcs |  | standard |  |
| 6 | Pipe vice | 1 | pcs |  | Spain |  |
| 7 | Pipe cutter | 1 | pcs |  | Spain |  |
| 8 | Pipe wrench | 2 | pcs |  | Spain |  |
| 9 | Spanner wrench | 1 | pcs |  | standard |  |
| 10 | pliers | 1 | pcs |  | standard |  |
| 11 | Screw driver | 2 | pcs |  | Flat and Philips |  |
| 12 | Marking tools | 1 | pcs |  | standard |  |