Ministry of Education

Sector: Construction

Occupation: Building Electrical Installation L-II

List of Materials Needed

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
|  | Rigid Steel Conduit (RSC) | 1.65 | Meters | 16mm diameter |
|  | Distribution Board (DIN rail only) | 150 | mm | DIN Rail type (Standard) |
|  | Junction Box | 1 | Pc | Standard (square type-10x10 cm) |
|  | Junction Box | 5 | Pcs | Standard (round type Ø - 65 mm ) |
|  | Lock nut/Tapper | 12 | Pcs | RSC (16 mm Ø) |
|  | Incandescent Bulb | 2 | Pcs | 25 W, 220 V |
|  | Lamp holder | 2 | Pcs | Round type, wall mounted |
|  | Two Way Switch | 2 | Pcs | Surface mounted (10 A , 220 V) |
|  | SPST switch | 1 | Pc | Surface mounted (10 A , 220 V) |
|  | Circuit Breaker | 1 | Pc | 20 A, 220 V |
|  | Circuit Breaker | 1 | Pc | 10 A, 220 V |
|  | Circuit Breaker | 1 | Pc | 16 A, 220 V |
|  | Terminal lug | 1 | Pcs | 2 terminals |
|  | Pipe-Clamp/Support | 10 | Pcs | 16mm diameter |
|  | Metal/Wood screw | 24 | Pcs | 5mm X 12mm |
|  | Insulation Tape | 1 | Pc | Small |
|  | Solid Copper Wire | 2.1 | Meters | 2.5mm2 Black |
|  | Solid Copper Wire | 2.1 | Meters | 2.5mm2 Red or blue |
|  | Solid Copper Wire | 0.8 | Meter | 2.5 mm2 Yellow green |
|  | Fly board (For wiring board)) | 1 | Pc | 1200mm X 1200mm X 20mm |

List of Tools and Equipment Needed:

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
|  | Multi-tester | 1 | Pc | Analog / Digital |
|  | Hacksaw with blade | 1 | Pc | Standard |
|  | All sets of electrical pliers | 1 | Set | Standard |
|  | All sets of screw drivers | 1 | Set | Standard |
|  | Claw hammer | 1 | Pc | Standard |
|  | Electrician's knife/Wire stripper | 1 | Pc | Standard |
|  | Level bar | 1 | Pc | Standard |
|  | Pull-push rule/measuring tape | 1 | Pc | 3 meters |
|  | Pencil/Chalk liner | 1 | Pc |  |
|  | Pipe vise | 1 | Pc | Standard |
|  | Pipe threader | 1 | Pc | 16mm diameter |
|  | Pipe cutter | 1 | Pc | Standard |
|  | Pipe reamer | 1 | Pc | Standard |
|  | Lubricant | 0.2 | Liter | Any lubricant oil |

List of Materials Needed

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
|  | Distribution Board | 1 | Pc | DB in metal enclosure: Bus bar rating of 40 A/3P including phase, neutral and earth bar and consisting of : 1 Pc ACB of 32A/3P (Main) 1 Pc ACB of 10 A/1P 1 Pc ACB of 16A/1P 1 Pc ACB of 20A/1P 1 Pc ACB of 20A/3P |
|  | Rigid Steel Conduit | 7 | Meters | Ø -16mm |
|  | Rigid steel Conduit | 1.5 | Meters | Ø -25mm |
|  | RSC lock nut/tapper | 22 | Ps | Ø -16mm |
|  | RSC lock nut/tapper | 2 | Ps | Ø -25mm |
|  | Utility box | 6 | Pc | 6cm X 8cm |
|  | Junction box | 7 | Ps | 10 X 10 cm |
|  | Junction box | 3 | Ps | Ø – 65 mm |
|  | Incandescent bulb | 3 | Ps | 25 W, 220 V |
|  | Fluorescent lamp | 1 | Pc | 15 watts, 220 V |
|  | Incandescent bulb holder | 2 | Ps | Round type, wall mounted |
|  | 2 way switch | 2 | Ps | Surface mounted (10 A , 220 V) |
|  | 3 way switch (intermediate) | 1 | Pc | Surface mounted (10 A, 220 V) |
|  | SPST switch | 2 | Ps | Surface mounted (10 A , 220 V) |
|  | Pipe-clamp/support | 20 | Ps | Ø -16mm |
|  | Metal/Wood screw | 50 | Ps | 5mm X 12mm |
|  | Insulation Tape | 1 | Pc | Small |
|  | Solid Copper Wire | 5 | Meters | 4 mm2 Black |
|  | Solid Copper Wire | 5 | Meters | 4 mm2 Red |
|  | Solid Copper Wire | 5 | Meters | 4 mm2 Yellow |
|  | Solid Copper Wire | 5 | Meters | 4 mm2 Blue |
|  | Solid Copper Wire | 5 | Meters | 4 mm2 Yellow/Green |
|  | Solid Copper Wire | 15 | Meters | 2.5mm2 Black |
|  | Solid Copper Wire | 15 | Meters | 2.5mm2 Red |
|  | Solid Copper Wire | 10 | Meters | 2.5mm2 Yellow green |
|  | Solid Copper Wire | 2 | Meters | 4 mm2 4 mm2 Yellow green |
|  | Insulating cap connector | 25 | Ps | Ø -7mm |
|  | Earth rod | 1 | Pc | 12.4 X 400mm |
|  | Fly board (For wiring board)) | 1 | Pc | 1200mm X 1200mm X 20mm |
|  | Kilowatt meter | 1 | pc | Standard |
|  | 3pin/1phase socket outlet | 1 | pc | Surface mounted |

List of Tools and Equipment Needed:

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
|  | Multi-tester | 1 | Pc | Analogy / Digital |
|  | Hacksaw with blade | 1 | Pc | Standard |
|  | Adjustable wrench | 1 | Ps | 6 inches |
|  | All sets of electrical pliers | 1 | Set | Standard |
|  | All sets of screw drivers | 1 | Set | Standard |
|  | Claw hammer | 1 | Pc | Standard |
|  | Electrician's knife/Wire stripper | 1 | Pc | Standard |
|  | Level bar | 1 | Pc | Standard |
|  | Pull-push rule/measuring tape | 1 | Pc | 3 meters |
|  | Pencil/Chalk liner | 1 | Pc |  |
|  | Pipe vies | 1 | Pc | Standard |
|  | Pipe threaded | 1 | Pc | Ø -16mm |
|  | Pipe threaded | 1 | Pc | Ø -25mm |
|  | Pipe cutter | 1 | Pc | Standard |
|  | Pipe bender | 1 | Pc | Ø -16mm |
|  | Pipe bender | 1 | Pc | Ø -25mm |
|  | Pipe reamer | 1 | Pc | Standard |
|  | Lubricant | 0.2 | Litter | Any lubricant oil |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.

List of Materials Needed

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
|  | Distribution Board | 1 | Pc | DB in metal enclosure: Bus bar rating of 40 A/3P including phase, neutral and earth bar and consisting of : 1 Pc ACB of 32A/3P (Main) 1 Pc ACB of 10 A/1P 1 Pc ACB of 16A/1P 1 Pc ACB of 20A/1P 1 Pc ACB of 20A/3P |
|  | Rigid Steel Conduit | 7 | Meters | Ø -16mm |
|  | Rigid steel Conduit | 1.5 | Meters | Ø -25mm |
|  | RSC lock nut/tapper | 22 | Pcs | Ø -16mm |
|  | RSC lock nut/tapper | 2 | Pcs | Ø -25mm |
|  | Utility box | 6 | Pc | 6cm X 8cm |
|  | Junction box | 7 | Pcs | 10 X 10 cm |
|  | Junction box | 3 | Pcs | Ø – 65 mm |
|  | Incandescent bulb | 3 | Pcs | 25 W, 220 V |
|  | Fluorescent lamp | 1 | Pc | 15 watts, 220 V |
|  | Incandescent bulb holder | 2 | Pcs | Round type, wall mounted |
|  | 2 way switch | 2 | Pcs | Surface mounted (10 A , 220 V) |
|  | 3 way switch (intermediate) | 1 | Pc | Surface mounted (10 A, 220 V) |
|  | SPST switch | 2 | Pcs | Surface mounted (10 A , 220 V) |
|  | Pipe-clamp/support | 20 | Pcs | Ø -16mm |
|  | Metal/Wood screw | 50 | Pcs | 5mm X 12mm |
|  | Insulation Tape | 1 | Pc | Small |
|  | Solid Copper Wire | 5 | Meters | 4 mm2 Black |
|  | Solid Copper Wire | 5 | Meters | 4 mm2 Red |
|  | Solid Copper Wire | 5 | Meters | 4 mm2 Yellow |
|  | Solid Copper Wire | 5 | Meters | 4 mm2 Blue |
|  | Solid Copper Wire | 5 | Meters | 4 mm2 Yelllow/Green |
|  | Solid Copper Wire | 15 | Meters | 2.5mm2 Black |
|  | Solid Copper Wire | 15 | Meters | 2.5mm2 Red |
|  | Solid Copper Wire | 10 | Meters | 2.5mm2 Yellow green |
|  | Solid Copper Wire | 2 | Meters | 4 mm2 4 mm2 Yellow green |
|  | Insulating cap connector | 25 | Pcs | Ø -7mm |
|  | Earth rod | 1 | Pc | 12.4 X 400mm |
|  | Fly board (For wiring board)) | 1 | Pc | 1200mm X 1200mm X 20mm |

List of Tools and Equipment Needed:

| NO. | ITEMS | QTY | UNIT | SPECIFICATION |
| --- | --- | --- | --- | --- |
|  | Multi-tester | 1 | Pc | Analog / Digital |
|  | Hacksaw with blade | 1 | Pc | Standard |
|  | Adjustable wrench | 1 | Pcs | 6 inches |
|  | All sets of electrical pliers | 1 | Set | Standard |
|  | All sets of screw drivers | 1 | Set | Standard |
|  | Claw hammer | 1 | Pc | Standard |
|  | Electrician's knife/Wire stripper | 1 | Pc | Standard |
|  | Level bar | 1 | Pc | Standard |
|  | Pull-push rule/measuring tape | 1 | Pc | 3 meters |
|  | Pencil/Chalk liner | 1 | Pc |  |
|  | Pipe vise | 1 | Pc | Standard |
|  | Pipe threader | 1 | Pc | Ø -16mm |
|  | Pipe threader | 1 | Pc | Ø -25mm |
|  | Pipe cutter | 1 | Pc | Standard |
|  | Pipe bender | 1 | Pc | Ø -16mm |
|  | Pipe bender | 1 | Pc | Ø -25mm |
|  | Pipe reamer | 1 | Pc | Standard |
|  | Lubricant | 0.2 | Liter | Any lubricant oil |