- Ministry of Education

ትምህርትሚኒስቴር

Sector: Electro technology

Occupation: Mechatronics and Instrument and Servicing Management L-IV

Materials to be used:

| Quantity | Item description | Specification | Reference |
| --- | --- | --- | --- |
| 1 pc | Contactor Auxiliary | 24V DC, 5NO |  |
| 1 pc | Push button | NO for test lamp |  |
| 1pcs | Contactor 18A 24V DC |  |  |
| 1 roll | Sealing Materials | tiplon |  |
| 1 length | Pipes/ tubes | Galvanized pipe ½ inch diameter |  |
| 4 pc | Fittings | Elbow, ½ inch diameter |  |
| 8 pc |  | Union, ½ inch diameter |  |
| 2 pc |  | Tee, ½ inch diameter |  |
| 1 pc | Emergency push button | standard |  |
| 1 pc | Pressure sensor | 0 – 10 bar |  |
| 1 pc | Level Processor | Display type processor for program calibration | RIA452-A211A-11A [ENDRESS HAUSER] |
| 1 pc | Circuit Breaker | 220V, 10A,single phase |  |
| 1 pc | Fuse | 5A, |  |
| 2 pc | Commutator | Three position fixes Selector switch |  |
| 2 pc | Level sensors | standard |  |
| 1 pc | Water tank | 1m3 (2 X 1 X 0.5) meter |  |
| 1 pc | Motor pump | 1.5 Hp ,220V |  |
| 1pcs | Thermic switch | 13-18A | GV2ME20 |
| 3 pc | Contactors Auxiliary | 24V DC, 5A 3No/2Nc |  |
| 1 length | Galvanize pipe | ½ inch |  |
| 30 m | Solid wire | 1.5mm2 |  |
| 20 m |  | 2.5mm2 |  |
| 4 pcs | Indicator lamp | LED 24V DC 1white 1red,2green |  |
| 1 roll | Electrical tape | standard |  |
| 1 roll | Sealing materials | tiplon |  |
| 1pcs | Power supply | 220VAC/24VDC 2.5A | 6EP1332-2BA01 (SIMENS) |

Tools & Instruments:

| No. | Item description | Quantity | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | VOM Multi tester | 1 | pc | Analog/ digital |
| 2 | Electrician’s pliers | 1 | pc | Standard Pliers |
| 3 | Long nose pliers | 1 | pc | Standard Pliers |
| 4 | Electrician’s knife | 1 | pc | Utility Knife |
| 5 | Set of screw drivers | 1 | pc | Assorted Sizes |
| 6 | Hack saw with blade | 1 | pc | Standard |
| 7 | Threading tool | 1 | pc | Standard |
| 8 | Portable Electric Drill | 1 | pc | 500W, 220V |
| 9 | Set of Drill Bits | 1 | pc | Assorted Sizes |
| 10 | Measuring Tape | 1 | pc | Retractable Tape measure |
| 11 | Pipe Wrenches | 1 | pc | Size 8, 10, 12 |
| 12 | Portable electric grinder | 1 | pc | 500W,220V |
| 13 | Cutting Disk | 4 | pc | standard |
| 14 | Polisher Disk | 1 | pc | standard |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.

Consumable mmaterials to be used:

| No | Item description | Quantity | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | Contactor | 3 | pcs |  |
| 2 | Overload relay | 3 | Pcs |  |
| 3 | Timer | 1 | Pcs |  |
| 4 | Push button | 2 | Pcs | Start/stop |
| 5 | Motor (pump or any industrial motor) | 3 | pcs |  |
| 1 | Level controller | 1 | Pcs |  |
| 2 | Level control valve | 1 | Pcs |  |
| 3 | Water tanker | 1 | Pcs |  |
| 4 | Level transmitter | 1 | pcs |  |
| 5 | Inlet water pipe | 1 | 6m |  |
| 6 | Transformer | 1 | pcs | 220v input and 24/48/110v output |

Tools & equipment/ Instruments

| No | Item description | Quantity | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | Multi-meter | 1 | Pcs |  |
| 2 | Electrician’s pliers | 1 | Pcs |  |
| 3 | Set of screw drivers | 1 | Set |  |
| 1 | Adjustable wrench | 1 | Pcs |  |
| 2 | Bench vice | 1 | Pcs |  |
| 3 | Electrician’s knife | 1 | Pcs |  |
| 4 | Set of screw drivers | 1 | Set |  |
| 5 | Measuring tape | 1 | Pcs |  |
| 5 | Hack saw with blade | 1 | Pcs |  |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.