- Ministry of Education

ትምህርትሚኒስቴር

Occupation: Water Supply System Structure Construction and Maintenance L-I

Consumable materials to be used (Per Candidate):

| No | Items | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | String/nylon rope | 16 | m | Standard |
| 2 | Stone | 0.1 | m 3 | Any type |
| 3 | Cement/ Lime powder | 1 | bag | Standard |
| 4 | Sand | 0.15 | m 3 | Local |
| 5 | Gravel (03) | 0.3 | m 3 | Standard |
| 6 | Brick | 96 | pcs | Standard |
| 7 | Timber | 6 | m | Australian timber 2.5 cm thick x 10 cm wide |
| 8 | Nails | 0.25 | Kg | # 6 mm |
| 9 | Ting wire/black wire/ | 0.25 | Kg | Ø 1.5 mm diameter |
| 10 | Water | 200 | Liter | Tap water |
| 11 | Reinforcement bars | 14 | Berga | Ø 8 |
| 12 | Pegs | 12 | pcs | Standard |
| 13 | Black oil | 0.5 | Liter | Burned oil |

Non Consumable (Tools & Instruments) Per Candidate:

| No | Items | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | Spade | 1 | pc | Standard, long handle |
| 2 | Hoe | 1 | pc | standard |
| 3 | Wheel barrow | 1 | pc | standard |
| 4 | Trowel | 1 | pc | Standard |
| 5 | Bucket | 1 | pc | Standard |
| 6 | Batching box | 1 | Pc | 50 X 40 X 20 cm size |
| 7 | Steel tape meter | 1 | pc | 5m length |
| 8 | Water level | 1 | pc | 20 cm long |
| 9 | Try square | 1 | pc | Standard |
| 10 | Pliers | 1 | pc | standard |
| 11 | Hack saw/ bar cutter | 1 | pc | Standard |
| 12 | Nail Hammer | 1 | pc | Standard |
| 13 | Spoon | 1 | pc | Standard |
| 11 | Plumb bob | 1 | pc | Standard |
| 12 | Pick axe | 1 | pc | Locally made |
| 13 | Jerry can | 1 | pc | Plastic, 200 liter capacity |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.

Materials and supplies

| No | Items | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | String/nylon rope | 16 | meter | standard |
| 2 | Cement | 2 | bag | standard |
| 3 | Sand | 0.12 | M3 | standard |
| 4 | Grave (03) | 0.3 | M3 | standard |
| 5 | Timber | 4 | meter | Local timber 2.5cm thick x15cm wide |
| 6 | Nails # 6 mm | 1/4 | kg |  |
| 7 | Ting wire/black wire/ | 1/4 | kg | 2mm |
| 8 | Water | 200 | litter |  |

Tools, equipment and machinery

| No | Items | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | Spade | 1 | pc | Standard |
| 2 | Trowel | 1 | pc | Standard |
| 3 | Bucket | 1 | pc | Standard |
| 4 | Batching box | 1 | Pc | 50X40X20 cm size |
| 5 | Steel tape meter | 1 | pc | 5m length |
| 6 | Water level | 1 | pc | 20 cm long |
| 7 | Try square | 1 | pc | Standard |
| 8 | Hack saw | 1 | pc | Standard |
| 9 | Nail Hammer | 1 | pc | Standard |
| 10 | Spoon | 1 | pc | Standard |
| 11 | Plumb bob | 1 | pc | Standard |

Materials and supplies

| No | Items | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | String/nylon rope | 16 | meter | standard |
| 2 | Stone | 0.95 | M3 | Any type |
| 3 | Cement | 2 | bag | standard |
| 4 | Sand | 0.13 | M3 | standard |
| 5 | Grave (03) | 0.15 | M3 | standard |
| 6 | Timber | 2 | meter | Local timber 2.5cm thick x15cm wide |
| 7 | Nails # 6 mm | 1/4 | kg |  |
| 8 | Ting wire/black wire/ | 1/4 | kg | 2mm |
| 9 | Water | 200 | litter |  |
| 10 | Ø8 Reinforcement bars | 37 | m | Deformed bar |

Tools, equipment and machinery

| No | Items | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | Spade | 1 | pc | Standard |
| 2 | Trowel | 1 | pc | Standard |
| 3 | Bucket | 1 | pc | Standard |
| 4 | Batching box | 1 | Pc | 50X40X20 cm size |
| 5 | Steel tape meter | 1 | pc | 5m length |
| 6 | Water level | 1 | pc | 20 cm long |
| 7 | Try square | 1 | pc | Standard |
| 8 | Hack saw | 1 | pc | Standard |
| 9 | Nail Hammer | 1 | pc | Standard |
| 10 | Spoon | 1 | pc | Standard |
| 11 | Plumb bob | 1 | pc | Standard |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country

Consumable materials to be used: For Project 1, per candidate

| No | Item description | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| Project 1 |  |  |  |  |
| 1 | - Hard core | 1 | M3 | Locally available |
| 2 | - cement | 50 | kg | Locally available |
| 3 | - Water |  | L |  |
| 4 | - Bare | 2 | Pcs | ɸ6mm |
| 5 | Marking tools | 4 | Pcs | Chack |
| 6 | - gravel | 1 | bach | 002mm |
| 7 | - sand | 2 | bach | Locally available |

Tools & equipment/ Instruments

| No | Item description | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| Project 1 |  |  |  |  |
| 1 | Hammer | 1 | set | Non plastic locally available |
| 2 | - Sprit level | 1 | Pcs | Any size |
| 3 | - squadra | 1 | Pcs | Any size |
| 4 | - Plamb bob | 1 | Pcs | 1m length |
| 5 | - Gare | 1 | Pcs | Manual operater |
| 6 | - Bare cutter | 1 | Pcs | 1 to 5 candidates |
| 7 | - pegs | 8 | pcs | Locally available |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country

Consumable materials to be used: For Project 1, per candidate

| No | Item description | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| Project 1 |  |  |  |  |
| 1 | - Hard core | 1 | M3 | Locally available |
| 2 | - cement | 50 | kg | Locally available |
| 3 | - Water |  | L |  |
| 4 | - Bare | 2 | Pcs | ɸ6mm |
| 5 | Marking tools | 4 | Pcs | Chack |
| 6 | - gravel | 1 | bach | 002mm |
| 7 | - sand | 2 | bach | Locally available |

Tools & equipment/ Instruments

| No | Item description | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| Project 1 |  |  |  |  |
| 1 | Hammer | 1 | set | Non plastic locally available |
| 2 | - Sprit level | 1 | Pcs | Any size |
| 3 | - squadra | 1 | Pcs | Any size |
| 4 | - Plamb bob | 1 | Pcs | 1m length |
| 5 | - Gare | 1 | Pcs | Manual operater |
| 6 | - Bare cutter | 1 | Pcs | 1 to 5 candidates |
| 7 | - pegs | 8 | pcs | Locally available |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country

Materials and supplies

Consumable materials to be used: For Projects 1 per candidate

| No | Items | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | String/nylon rope | 16 | meter | Standard |
| 2 | Cement | 0.25 | bag | Standard |
| 3 | Sand | 0.12 | M3 | Standard |
| 4 | Grave size (03 ) | 0.3 | M3 | Standard |
| 5 | For one Timber length 4m | 4 | meter | Local timber 2.5cm thick x15cm wide |
| 6 | Nails | 0.25 | kg | # 6 mm |
| 7 | Ting wire/black wire/ | 0.25 | kg | # 2mm |
| 8 | Water | 100 | litter | Quality water |

Tools, equipment and machinery

Consumable materials to be used: For Projects 1 per candidate

| No | Items | Qty | Unit | Descrption/Specification |
| --- | --- | --- | --- | --- |
| 1 | Spade /shovel | 1 | pc | Standard |
| 2 | Trowel/Spoon | 1 | pc | Standard |
| 3 | Bucket | 1 | pc | Standard |
| 4 | Batching box | 1 | Pc | 50X40X20 cm size |
| 5 | Steel tape meter | 1 | pc | 5m length |
| 6 | Water level | 1 | pc | 20 cm long |
| 7 | Try square | 1 | pc | Standard |
| 8 | Hack saw | 1 | pc | Standard |
| 9 | Nail Hammer | 1 | pc | Standard |
| 10 | Plumb bob | 1 | pc | Standard |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country