- Ministry of Education

- Sector: Construction

- Sub-sector: Water works construction

- Occupation: Electro-Mechanical Equipment / Machinery Maintenance L-II

Materials and supplies (Consumable)

| No | Item description | Quantity | Unit | Specification |
| --- | --- | --- | --- | --- |
|  | Overload Relay | 1 | pcs |  |
|  | Wire clips | 10 | pcs |  |
|  | Circuit breaker enclosure | 1 | pcs | Plastic |
|  | Circuit breakers | 1 | pcs | 3 phase, 16A, |
|  | Push button | 1 | pcs | Start, Stop |
|  | Manually operated switch | 1 | pcs |  |
|  | Magnetic Contactor | 1 | pcs | 3 phase, Control voltage 220v |
|  | Phase sequencer | 1 | pcs |  |
|  | Circuit breaker | 1 | pcs | 10A, single phase |
|  | pump | 1 | pcs | 3 phase, 1.5 Kw |
|  | Incandescent lamp | 3 | pcs | 220V, 25W |
|  | Lamp holder | 3 | pcs | standard |
|  | Solid wire | 10 | m | 2.5mm |
|  | Solid wire | 10 | m | 1.5mm |
|  | Galvanized steel pipe | 1 | pcs | 1inch |
|  | Gs elbow | 2 | pcs | 1 inch |
|  | Gs nipple | 2 | pcs | 1 inch |
|  | Gs coupling | 2 | pcs | 1 inch |

Tools & Equipment

| No. | Items | Qty | unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | VOM | 1 | pcs | Standard |
| 2. | Electrician’s pliers | 1 | pcs | Standard |
| 3. | Long nose pliers | 1 | pcs | Standard |
| 4. | Electrician’s knife | 1 | pcs | Standard |
| 5. | Set of screw drivers | 1 | pcs | Standard |
| 6 | Clamp meter | 1 | pcs | Standard |
| 7 | DMM | 1 | pcs | Standard |
| 8 | Threading die set | 1 | pcs | Standard |
| 9 | Pipe wrench | 2 | pcs | Standard |
| 10 | Hack saw | 1 | pcs | Standard |

Note: Materials and tools may be modified by the Assessor, depending on the actual job performed, and location & the standard installation practices of the country.