### Ministry of Education

ትምህርት ሚኒስቴር

Sector: Municipality

Occupation: Fire & Rescue Equipment Maintenance L-III

Tools, Equipment, Materials and supplies

|  | Items(with all tools& accessories) | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| Tools and Equipment |  |  |  |  |
| 1 | Fire hydrant set | 1 | set | Standard |
| 2 | Molding machine | 1 | set | Standard for metal work |
| 3 | Cutting machine | 1 | set | Standard for metal work |
| 4 | Hose reel | 1 | Piece | Standard |
| 5 | Hydrant Opening stand | 1 | Piece | Standard |
| Supplies and Materials |  |  |  |  |
| 1 | Copper alloy | 0.5 | Meter |  |
| Tools and Equipment |  |  |  |  |
| 1 | Fire hydrant | 1 | Piece | set |
| 2 | Fork | 1 | Piece | Standard |
| 3 | Digging material | 1 | Piece | Standard |
| Supplies and Materials |  |  |  |  |
| 1 | Pen | 1 | Piece | Medium |
| 2 | Paper | 1 | Packet | Standard for printing |
| 3 | Note book | 1 | Piece | Medium |
| Tools and Equipment |  |  |  |  |
| 1 | Fire extinguisher | 1 | piece | Standard |
| 2 | Installing machine | 1 | Set | Standard |
| Tools and Equipment |  |  |  |  |
| 1 | Chemicals | 20 | Kg | Standard |
| 2 | Pen | 1 | Piece | Any type |
| 3 | Sealing material | 15 | cm | Standard |
| 4 | Note book | 1 | Piece | Medium |